## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Renovation (Civil & Electrical) work of new Rooms at 4th Floor, Bhabani Bhawan Main Building (for CID, West Bengal).
Contract No: WBPHIDCL/ACE/NIT- 101(e)/2018-2019 (2nd Call)
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [55 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Anti-termite treatment to the junction of wood work and masonry walls with chemical emulsion by admixing chloropyrofos emulsifiable concentrates (1% concentration) with water by weight including spraying at the points of contact with the adjoining masonry by drilling 6m. dia holes at a downward angle of about 45 degree at the junction of woodwork and masonry and squirting chemical emulsion into these holes at the rate of half litre per hole. The entire work is to be carried out as per specification of Code I.S.-6313 (Part-III)-1981. The shutters are to be sprayed with emulsion. on both sides. All wooden fixtures like almirahs, racks etc. are also to be throughly sprayed with chemical emulsion. (Payment will be made on the basis of outside measurements of doors and windows) | BI01010001010000000000000515BI0100001113 | 124.2 | SqM | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8569.8 | 8569.8 | INR Eight Thousand Five Hundred & Sixty Nine and Paise Eighty Only |  | 61 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. a) In fourth floor including roof. | BI01010001010000000000000515BI0100001114 | 12.6 | CuM | 731.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9221.81 | 9221.81 | INR Nine Thousand Two Hundred & Twenty One and Paise Eighty One Only |  | 647 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Dismantling R.C. floor, roof, beams etc. Including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. (a) In fourth floor including roof. | BI01010001010000000000000515BI0100001115 | 1.8 | CuM | 2438.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4389.97 | 4389.97 | INR Four Thousand Three Hundred & Eighty Nine and Paise Ninety Seven Only |  | 2156 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Dismantling artificial stone flooring upto 50 mm. thick by carefully chiselling without damaging the base and removing rubbish as directed within a lead of 75 m. a) In fourth floor including roof. | BI01010001010000000000000515BI0100001116 | 408 | SqM | 83.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34153.68 | 34153.68 | INR Thirty Four Thousand One Hundred & Fifty Three and Paise Sixty Eight Only |  | 74 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001117 | 763.059 | SqM | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16398.14 | 16398.14 | INR Sixteen Thousand Three Hundred & Ninety Eight and Paise Fourteen Only |  | 19 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Bonding new brick work with old at every 4th course including cutting chase and mending damages in cement mortar (1:4) and curing. [Mode of measurement: The actual bonded area shall be considered for payment] | BI01010001010000000000000515BI0100001118 | 3.23 | SqM | 295.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 953.63 | 953.63 | INR Nine Hundred & Fifty Three and Paise Sixty Three Only |  | 261 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4) in fourth floor. | BI01010001010000000000000515BI0100001119 | 21.48 | SqM | 886.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19049.75 | 19049.75 | INR Nineteen Thousand &Forty Nine and Paise Seventy Five Only |  | 784 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Extra for using approved H.B netting in every third layer of above in any floor | BI01010001010000000000000515BI0100001120 | 21.48 | SqM | 46.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 996.24 | 996.24 | INR Nine Hundred & Ninety Six and Paise Twenty Four Only |  | 41 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Controlled Cement concrete with well graded stone chips (20 mm nominal size) excluding shuttering and reinforcement with complete design of concrete as per IS : 456 and relevant special publications, submission of job mix formula after preliminary mix design after testing of concrete cubes as per direction of Engineer-in charge. Consumption of cement will not be less than 300 Kg of cement with Super plasticiser per cubic meter of controlled concrete but actual consumption will be determined on the basis of preliminary test and job mix foumula. In fourth floor.[using concrete mixture] (b) M 25 Grade | BI01010001010000000000000515BI0100001121 | 1 | CuM | 7825.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7825.51 | 7825.51 | INR Seven Thousand Eight Hundred & Twenty Five and Paise Fifty One Only |  | 6917.88 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (6mm nominal size) excluding shuttering and reinforcement,if any, in fourth floor as per relevant IS codes. Pakur variety | BI01010001010000000000000515BI0100001122 | 4 | CuM | 6598.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26393.16 | 26393.16 | INR Twenty Six Thousand Three Hundred & Ninety Three and Paise Sixteen Only |  | 5833 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | Extra rate for adding Polyester Fibre anti shrinkage material @ 0.25% by weight of cement [or as per Manufacturer's Specification] as secondary reinforcement to arrest hair crack in concrete including cost of Fibre . | BI01010001010000000000000515BI0100001123 | 0.5 | Kg | 468.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 234.16 | 234.16 | INR Two Hundred & Thirty Four and Paise Sixteen Only |  | 414
13 | Hire and labour charges for shuttering with centering and necessary staging upto 4 m using approved stout props and thick hard wood planks of approved thickness with required bracing for concrete slabs, beams and columns, lintels curved or straight including fitting, fixing and striking out after completion of works (upto roof of fourth floor) Steel shuttering or 9 to 12 mm thick approved quality ply board shuttering in any concrete work | BI01010001010000000000000515BI0100001124 | 10 | SqM | 498.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4988.6 | 4988.6 | INR Four Thousand Nine Hundred & Eighty Eight and Paise Sixty Only |  | 441
14 | Reinforcement for reinforced concrete work in all sorts of structures including distribution bars, stirrups, binders etc initial straightening and removal of loose rust (if necessary), cutting to requisite length, hooking and bending to correct shape, placing in proper position and binding with 16 gauge black annealed wire at every intersection, complete as per drawing and direction. For works upto roof of fourth floor (i) Tor steel/Mild Steel I. SAIL/ TATA/RINL | BI01010001010000000000000515BI0100001125 | 0.401 | MT | 82957.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33266.03 | 33266.03 | INR Thirty Three Thousand Two Hundred & Sixty Six and Paise Three Only |  | 73336
15 | Cleaning the concrete surface by removing dirt and debris, marking defective locations and removing loose concrete by careful stripping untill hard surface is exposed, cutting the concrete to regular shape, wire brushing the exposed surface and removing debris from site complete as per direction of the Engineer - in - Charge. | BI01010001010000000000000515BI0100001126 | 2 | SqM | 101.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203.62 | 203.62 | INR Two Hundred & Three and Paise Sixty Two Only |  | 90
16 | Cleaning the exposed reinforcement preferably upto full diameter by wire brush, applying two coats of polymer based rust removing compound left for 24 hours, removing the coating and then applying two (2) coats of polymer modified anti corrosive protective coating formulated to inhibit the corrosion of reinforcement as per manufacturer's specification] [Mode of measurement:The affected surface area of reinforcement shall be considered for payment] | BI01010001010000000000000515BI0100001127 | 0.1 | SqM | 884.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88.46 | 88.46 | INR Eighty Eight and Paise Forty Six Only |  | 782
17 | Applying epoxy based reactive joining agent for joining the old concrete with fresh concrete to be applied within manufacturer's specified time as per manufacturers specification. (0.4 Kg / m² of concrete surface). | BI01010001010000000000000515BI0100001128 | 2 | SqM | 349.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 699.08 | 699.08 | INR Six Hundred & Ninety Nine and Paise Eight Only |  | 309
18 | Applying 2 coats of Non-Toxic Acrylic Polymer modified Paint having adhesive & waterproofing properties by mixing in proportion (1 liquid: 4 cementitious material) or as per manufacturer's specification for water proofing layer in water tank etc. (No Departmental Cement is required) | BI01010001010000000000000515BI0100001129 | 7.2 | SqM | 291.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2101.32 | 2101.32 | INR Two Thousand One Hundred & One and Paise Thirty Two Only |  | 258
19 | Extra rate for using water proofing and plasticising admixture @ 0.2% by weight of cement (or at manufacturer's specified rate) for concrete of various grades. | BI01010001010000000000000515BI0100001130 | 1 | Kg | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 134.61 | 134.61 | INR One Hundred & Thirty Four and Paise Sixty One Only |  | 119
20 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. (B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m. Area of each tile above 0.09 Sq.m (i) Coloured decorative Fourth floor | BI01010001010000000000000515BI0100001131 | 35 | SqM | 1277.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44699.2 | 44699.2 | INR Forty Four Thousand Six Hundred & Ninety Nine and Paise Twenty Only |  | 1129
21 | Supplying and laying true to line and level Double Charge Vitrified Tiles of approved brand conforming to IS 15622: 2006 (Group B I a) and tested as per IS 13630:2006 (relevant parts) [Non-modular sizes for tiles with Water Absorption (av.) ≤ 0.08 %] in floor, skirting etc. using polymerised adhesive of 6mm thick layer applied directly over finished artificial stone floor/Mosaic etc without any backing course and joints grouted with admixture of white epoxy grout materials of approved brand including spacer -2mm as directed and removal of wax coating of top surface of tiles with warm water and polishing the tiles using soft and dry cloth upto mirror finish complete including the cost of materials,Iabour and all other incidental charges complete as per direction of Engineerin- Charge. (Note: This work should not be executed without specific permission of Superintending Engineer) (a) ln Fourth FIoor:(size not Iess than 600mmX 600 mm X 9.5 mm thick) | BI01010001010000000000000515BI0100001132 | 408 | SqM | 1744.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 711678.48 | 711678.48 | INR Seven Lakh Eleven Thousand Six Hundred & Seventy Eight and Paise Forty Eight Only |  | 1542
22 | M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S, W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in fourth floor. Grill weighing above 16 Kg./sq.mtr and above | BI01010001010000000000000515BI0100001133 | 10.8 | Qntl | 11413.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 123265.48 | 123265.48 | INR One Lakh Twenty Three Thousand Two Hundred & Sixty Five and Paise Forty Eight Only |  | 10089.7
23 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (e) Sal : Malayasian Fourth floor | BI01010001010000000000000515BI0100001134 | 1.316 | CuM | 95041.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 125074.17 | 125074.17 | INR One Lakh Twenty Five Thousand &Seventy Four and Paise Seventeen Only |  | 84018
24 | Supplying, fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to safisfy IS: 4020 door testing performance criteria.. (i) 66mm x 90mm | BI01010001010000000000000515BI0100001135 | 13 | Mtr | 562.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7308.73 | 7308.73 | INR Seven Thousand Three Hundred & Eight and Paise Seventy Three Only |  | 497
25 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in fourth floor. (a) 35 mm thick shutters (single leaf) | BI01010001010000000000000515BI0100001136 | 68.5 | SqM | 3071.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 210377.89 | 210377.89 | INR Two Lakh Ten Thousand Three Hundred & Seventy Seven and Paise Eighty Nine Only |  | 2715
26 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. In fourth floor. (i) 32 mm thick | BI01010001010000000000000515BI0100001137 | 7.2 | SqM | 3188.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22959.72 | 22959.72 | INR Twenty Two Thousand Nine Hundred & Fifty Nine and Paise Seventy Two Only |  | 2819
27 | Wood work in posts, post plates, rafters, battens, truss members, purlins etc. fitted and fixed complete (excluding the cost of bolts, paints, but including the cost of nails, screws etc.) (iii) Sal : Malayasian Fourth floor | BI01010001010000000000000515BI0100001138 | 1.5 | CuM | 95114.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 142672.04 | 142672.04 | INR One Lakh Forty Two Thousand Six Hundred & Seventy Two and Paise Four Only |  | 84083
28 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately) (a) 40mm X 6mm, 250mm Length | BI01010001010000000000000515BI0100001139 | 114 | Each | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3739.2 | 3739.2 | INR Three Thousand Seven Hundred & Thirty Nine and Paise Twenty Only |  | 29
29 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark. 100mm. X 75mm. X 3.50mm. | BI01010001010000000000000515BI0100001140 | 57 | Each | 74.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4255.62 | 4255.62 | INR Four Thousand Two Hundred & Fifty Five and Paise Sixty Two Only |  | 66
30 | Supplying 'Godrej' mortice lock chromium plated with keys 6 levers including fitting & fixing complete. | BI01010001010000000000000515BI0100001141 | 19 | Each | 2210.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41996.84 | 41996.84 | INR Forty One Thousand Nine Hundred & Ninety Six and Paise Eighty Four Only |  | 1954
31 | Godrej Hydraulic door closer fitted and fixed complete. (a) Heavy type | BI01010001010000000000000515BI0100001142 | 19 | Each | 2334.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44361.2 | 44361.2 | INR Forty Four Thousand Three Hundred & Sixty One and Paise Twenty Only |  | 2064
32 | Door stopper.(Brass) | BI01010001010000000000000515BI0100001143 | 19 | Each | 132.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2514.65 | 2514.65 | INR Two Thousand Five Hundred & Fourteen and Paise Sixty Five Only |  | 117
33 | Providing and fixing of false ceiling with powder coated exposed G.I. grid suspension system (E-Grid U-1520 or equivalent load carrying capacity with mid span deflection not exceeding 1/360 span with hanger spacing of 1200mm c/c ) consisting of Main Runner 3600 mm long, Cross Tee 1200 mm / 600 mm long and Wall Angle. The Wall Angle shall be fixed on PVC Dash Fasteners on the perimeter of the wall by steel screws with distance 300mm c/c. The Main Runners to be placed @ 1200 mm. The Cross Tee 1200mm will be inserted in the pre-cut slots of Main Runner at a regular interval of 600 mm to form a modular grid of 1200mm X 600mm. Additional Cross Tees of 600 mm shall be placed perpendicular to the Cross Tee 1200 mm long to finally form a grid of 600 mm X 600 mm. Grid of module size 600 mm X 600 mm shall be supported by 6 mm dia G.I. wire from purlins / soffit. 15mm thick OW Acoustic Board (Mineral Fiber Acoustic Ceiling Tiles) of approved patern and size 595mm X 595mm with NRC value > 0.65 should be placed in the Grid module to form a False Ceiling. All complete as per the drawing & directions of Engineer-in-charge. In fourth floor. a) Acoustic False Ceiling (with 15mm thick OW Acoustic Board and E-Grid U- 1520). | BI01010001010000000000000515BI0100001144 | 340 | SqM | 1598.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 543452.6 | 543452.6 | INR Five Lakh Forty Three Thousand Four Hundred & Fifty Two and Paise Sixty Only |  | 1413
34 | Supplying, fitting and fixing boiling water proof ply conforming to IS: 710-1977 bonded with phenol formaldehyde synthetic resin conforming to IS: 848-1974 of approved make and brand fitted and fixed as per design as per approval and direction of Engineer-in-Charge. [excluding the cost of supporting frame work and teak wood batten/Lipping] In fourth Floor 12mm | BI01010001010000000000000515BI0100001145 | 280 | SqM | 1996.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 559039.6 | 559039.6 | INR Five Lakh Fifty Nine Thousand &Thirty Nine and Paise Sixty Only |  | 1765
35 | Supplying fitting, fixing decorative lamination conforming to IS: 2046 : 1995 as per approved make, brand, finish and thickness with fitting, fixing the same on Particle/MDF / Ply Boards with recommended / approved adhesive with proper clipping the sides for better attachment as per direction of Engineer-incharge. The rate includes the cost of labour, adhesive and all incidental charges thereof. In fourth floor Glossy/Matt/Suede excluding surface texture or metallic lustre. (i) Thickness of laminate 1.5mm | BI01010001010000000000000515BI0100001146 | 280 | SqM | 970.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 271759.6 | 271759.6 | INR Two Lakh Seventy One Thousand Seven Hundred & Fifty Nine and Paise Sixty Only |  | 858
36 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (fourth floor).[Excluding cost of chipping over concrete surface] With 1:6 cement mortar 15 mm thick plaster | BI01010001010000000000000515BI0100001147 | 1180 | SqM | 188.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 222913.8 | 222913.8 | INR Two Lakh Twenty Two Thousand Nine Hundred & Thirteen and Paise Eighty Only |  | 167
37 | Closing gap between door and window frame and jambs with cement mortar (1:3) including removing old mortar (throughout entire surface of contact) and cleaning the joint. (Cement 0.012 Cu.m/100 Mtr.) | BI01010001010000000000000515BI0100001148 | 129.728 | Mtr | 12.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1617.71 | 1617.71 | INR One Thousand Six Hundred & Seventeen and Paise Seventy One Only | 0.27 | 11.02 | 129.458
38 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. Two Coats Solvent based interior grade Acrylic Primer | BI01010001010000000000000515BI0100001149 | 1180 | SqM | 54.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64734.8 | 64734.8 | INR Sixty Four Thousand Seven Hundred & Thirty Four and Paise Eighty Only |  | 48.5
39 | Acrylic Distemper to interior wall, ceiling with a coat of solvent based interior grade acrylic primer (as per manufacturer's specification) including cleaning and smoothning of surface. Two Coats | BI01010001010000000000000515BI0100001150 | 1180 | SqM | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93432.4 | 93432.4 | INR Ninety Three Thousand Four Hundred & Thirty Two and Paise Forty Only |  | 70
40 | Removing loose scales, blisters etc. from old painted surface and thoroughly smoothening the surface to make the same suitable for receiving fresh coat of paint. | BI01010001010000000000000515BI0100001151 | 420 | SqM | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9979.2 | 9979.2 | INR Nine Thousand Nine Hundred & Seventy Nine and Paise Twenty Only |  | 21
41 | Rendering the Surface of walls and ceiling with White Cement base WATER PROOF wall putty of approved make & brand.(1.5 mm thick) | BI01010001010000000000000515BI0100001152 | 1180 | SqM | 138.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 162851.8 | 162851.8 | INR One Lakh Sixty Two Thousand Eight Hundred & Fifty One and Paise Eighty Only |  | 122
42 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001153 | 49 | SqM | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1607.2 | 1607.2 | INR One Thousand Six Hundred & Seven and Paise Twenty Only |  | 29
43 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc | BI01010001010000000000000515BI0100001154 | 68.5 | SqM | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2944.82 | 2944.82 | INR Two Thousand Nine Hundred & Forty Four and Paise Eighty Two Only |  | 38
44 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : (a) On timber or plastered surface : With super gloss (hi-gloss) Two coats (with any shade except white) | BI01010001010000000000000515BI0100001155 | 68.5 | SqM | 91.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6276.66 | 6276.66 | INR Six Thousand Two Hundred & Seventy Six and Paise Sixty Six Only |  | 81
45 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : (b) On steel or other metal surface With super gloss (hi-gloss) Two coats (with any shade except white) | BI01010001010000000000000515BI0100001156 | 49 | SqM | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4378.64 | 4378.64 | INR Four Thousand Three Hundred & Seventy Eight and Paise Sixty Four Only |  | 79
46 | Removing old paint from blistered painted surface of steel or other metal by chipping including scraping and cleaning and exposing the original surface. | BI01010001010000000000000515BI0100001157 | 49 | SqM | 53.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2605.33 | 2605.33 | INR Two Thousand Six Hundred & Five and Paise Thirty Three Only |  | 47
47 | Supplying bubble free float glass of approved make and brand conforming to IS: 2835-1987. 5mm thick coloured / tinted / smoke glass | BI01010001010000000000000515BI0100001158 | 49 | SqM | 661.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32425.75 | 32425.75 | INR Thirty Two Thousand Four Hundred & Twenty Five and Paise Seventy Five Only |  | 585
48 | Supplying,fitting & fixing of 2-Track / 3-Track Aluminium sliding Window of all Aluminium sections viz. window frame (top,bottom & side frame), shutter (top, bottom, side & interlock member) made of aluminium alloy extrusions conforming to IS 733-1983 & IS 1285-1975, annodised conforming to IS 1868-1983, fitted with all other accessories viz. PVC roller, EPDM gasket, maruti lock, screws etc. including labour charges for fitting & fixing of aluminium 2-track/3-track sliding window with fixing of glass (excluding cost of glass) all complete as per architectural drawings and direction of Engineer-in-charge. 10-12 Micron thickness Annodizing film Natural white | BI01010001010000000000000515BI0100001159 | 318.5 | Kg | 506.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 161409.43 | 161409.43 | INR One Lakh Sixty One Thousand Four Hundred & Nine and Paise Forty Three Only |  | 448
49 | Supplying and laying true to line and level Anti-Skid, Full Body, Homogeneous & Granular finish Vitrified Tiles conforming to IS:15622-2006 & IS 4457-2007 and testing shall be made in accordance with IS:13630 [Non- modular sizes for tiles with Skid resistance > 0.5, Mohr's hardness > 5.0, Staining resistance: Class-1, Water Absorption: E < 0.5%], MOR > 35 N/sq.mm in Internal area of building e.g. Toilet Block, Passage, Corridor, Accessible Open Terrace etc. set in 20 mm sand cement mortar (1:4) and 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg./Sqm or using Polymerised Adhesive (6 mm thick layer applied directly over finished artificial stone floor/ Mosaic etc without any backing course) laid after application slurry using 1.75 Kg of cement per Sqm below mortar only, joints grouted with admixture of white cement and colouring pigment to match with colour of tiles/ epoxy grout materials of approved make as directed and removal of wax coating of top surface of tiles with warm water and polishing the tiles using soft and dry cloth upto mirror finish complete including the cost of materials, labour and all other incidental charges complete true to the manufacturer's specification and direction of Engineer-in-Charge. (White cement, synthetic adhesive and grout material to be supplied by the contractor). In Fourth Floor: Sizes-600 mm x600mm x10 mm with breaking strength > 1500 N | BI01010001010000000000000515BI0100001160 | 7.2 | SqM | 1851.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13332.74 | 13332.74 | INR Thirteen Thousand Three Hundred & Thirty Two and Paise Seventy Four Only |  | 1637
50 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge. Note:- (1) The elevational area of the scaffolding shall be measured for payment purpose.(2) The payment will be made once only for execution of all items for such works. | BI01010001010000000000000515BI0100001161 | 856 | SqM | 181.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 155030.16 | 155030.16 | INR One Lakh Fifty Five Thousand &Thirty and Paise Sixteen Only |  | 160.1
51 | Sanitary & Plumbing works | BI01010001010000000000000515BI0100001162 | [55 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
52 | Labour for dismantling G.I. pipe with fittings. 25 mm | BI01010001010000000000000515BI0100001163 | 80.75 | Mtr. | 6.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 548.29 | 548.29 | INR Five Hundred & Forty Eight and Paise Twenty Nine Only |  | 6
53 | Labour for dismantling G.I. pipe with fittings. 32 mm | BI01010001010000000000000515BI0100001164 | 74.2 | Mtr. | 6.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 503.82 | 503.82 | INR Five Hundred & Three and Paise Eighty Two Only |  | 6
54 | Labour for dismantling G.I. pipe with fittings. 40 mm | BI01010001010000000000000515BI0100001165 | 48.9 | Mtr. | 9.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 442.55 | 442.55 | INR Four Hundred & Forty Two and Paise Fifty Five Only |  | 8
55 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 25 mm dia | BI01010001010000000000000515BI0100001166 | 2 | Each | 1031.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2063.3 | 2063.3 | INR Two Thousand &Sixty Three and Paise Thirty Only |  | 912
56 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. a). Exposed Work(CPVC Pipes Class-1, SDR-11) 25 mm Dia | BI01010001010000000000000515BI0100001167 | 17.1 | Mtr. | 235.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4023.46 | 4023.46 | INR Four Thousand &Twenty Three and Paise Forty Six Only |  | 208
57 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. a). Exposed Work(CPVC Pipes Class-1, SDR-11) 32 mm Dia | BI01010001010000000000000515BI0100001168 | 17.5 | Mtr. | 320.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5602.28 | 5602.28 | INR Five Thousand Six Hundred & Two and Paise Twenty Eight Only |  | 283
58 | Supplying, fitting and fixing gunmetal wheel valve of approved brand and make tested to 21 kg per sq. cm. (for water lines only). (vi) 32 mm dia | BI01010001010000000000000515BI0100001169 | 2 | Each | 1312.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2624.38 | 2624.38 | INR Two Thousand Six Hundred & Twenty Four and Paise Thirty Eight Only |  | 1160
59 | Supplying, fitting and fixing gunmetal wheel valve of approved brand and make tested to 21 kg per sq. cm. (for water lines only). (vii) 25 mm dia | BI01010001010000000000000515BI0100001170 | 2 | Each | 880.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1760.14 | 1760.14 | INR One Thousand Seven Hundred & Sixty and Paise Fourteen Only |  | 778
60 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 Double Socketed 3 Meter Length (b) 110 mm | BI01010001010000000000000515BI0100001171 | 148.3 | Mtr. | 356.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52843.74 | 52843.74 | INR Fifty Two Thousand Eight Hundred & Forty Three and Paise Seventy Four Only |  | 315
61 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B). Fittings Coupler (b) 110 mm | BI01010001010000000000000515BI0100001172 | 11 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1057.65 | 1057.65 | INR One Thousand &Fifty Seven and Paise Sixty Five Only |  | 85
62 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B). Fittings Plain Tee b). 110 mm | BI01010001010000000000000515BI0100001173 | 12 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1153.8 | 1153.8 | INR One Thousand One Hundred & Fifty Three and Paise Eighty Only |  | 85
63 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B). Fittings Plain Y b). 110 mm | BI01010001010000000000000515BI0100001174 | 12 | Each | 233.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2796.36 | 2796.36 | INR Two Thousand Seven Hundred & Ninety Six and Paise Thirty Six Only |  | 206
64 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B). Fittings Bend 45° b). 110 mm | BI01010001010000000000000515BI0100001175 | 24 | Each | 100.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2416.32 | 2416.32 | INR Two Thousand Four Hundred & Sixteen and Paise Thirty Two Only |  | 89
65 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 Bend 87.5° b). 110 mm | BI01010001010000000000000515BI0100001176 | 22 | Each | 135.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2986.28 | 2986.28 | INR Two Thousand Nine Hundred & Eighty Six and Paise Twenty Eight Only |  | 120
66 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 Door Bend (T.S.) b). 110 mm | BI01010001010000000000000515BI0100001177 | 7 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1164.03 | 1164.03 | INR One Thousand One Hundred & Sixty Four and Paise Three Only |  | 147
67 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 Vent Cowl b). 110 mm | BI01010001010000000000000515BI0100001178 | 2 | Each | 37.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 74.66 | 74.66 | INR Seventy Four and Paise Sixty Six Only |  | 33
68 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 Pipe clip b). 110 mm | BI01010001010000000000000515BI0100001179 | 125 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2970 | 2970 | INR Two Thousand Nine Hundred & Seventy Only |  | 21
69 | 125/110 P Trap With W.C. Ring 75 mm | BI01010001010000000000000515BI0100001180 | 2 | Each | 384.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 769.22 | 769.22 | INR Seven Hundred & Sixty Nine and Paise Twenty Two Only |  | 340
70 | Reducer Tee 110x75mm 75 mm | BI01010001010000000000000515BI0100001181 | 2 | Each | 160.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 321.26 | 321.26 | INR Three Hundred & Twenty One and Paise Twenty Six Only |  | 142
71 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineer incharge. (Payment will be made on centre line measurement of the total pipeline including specials. A). Above Ground b). 110 mm | BI01010001010000000000000515BI0100001182 | 148.3 | Mtr | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9562.38 | 9562.38 | INR Nine Thousand Five Hundred & Sixty Two and Paise Thirty Eight Only |  | 57
72 | Dismantling wash basin with brackets with or without waste fittings. | BI01010001010000000000000515BI0100001183 | 3 | Each | 39.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 118.77 | 118.77 | INR One Hundred & Eighteen and Paise Seventy Seven Only |  | 35
73 | Dismantling pillar cock of wash basin. | BI01010001010000000000000515BI0100001184 | 3 | Each | 10.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30.54 | 30.54 | INR Thirty and Paise Fifty Four Only |  | 9
74 | Supplying, fitting and fixing shower of approved brand and make. (a) (i) Chromium plated round shower with revolving joint 100 mm dia with rubid cleaning system (Equivalent to Code No. 542(N) & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001185 | 2 | Each | 511.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1022.6 | 1022.6 | INR One Thousand &Twenty Two and Paise Sixty Only |  | 452
75 | (e) Chromium plated double coat Hook(Equivalent to Code No. 35761 & Model - KUBIX of Jaquar or similar). | BI01010001010000000000000515BI0100001186 | 2 | Each | 583.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1167.4 | 1167.4 | INR One Thousand One Hundred & Sixty Seven and Paise Forty Only |  | 516
76 | (f) Hand Shower(Health Faucet) with 1mtr Fexible Tube with Wall Hook(Equivalent to Code No.573 & Model -ALLIED of Jaquar or similar). | BI01010001010000000000000515BI0100001187 | 2 | Each | 1415.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2830.26 | 2830.26 | INR Two Thousand Eight Hundred & Thirty and Paise Twenty Six Only |  | 1251
77 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. b). Concealed Work CPVC Pipes Class-1,SDR-11 15 mm Dia | BI01010001010000000000000515BI0100001188 | 43.85 | Mtr. | 158.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6944.52 | 6944.52 | INR Six Thousand Nine Hundred & Forty Four and Paise Fifty Two Only |  | 140
78 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. b). Concealed Work CPVC Pipes Class-1,SDR-11 20 mm Dia | BI01010001010000000000000515BI0100001189 | 98.05 | Mtr. | 193.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18966.79 | 18966.79 | INR Eighteen Thousand Nine Hundred & Sixty Six and Paise Seventy Nine Only |  | 171
79 | Supplying, fitting and fixing CPVC (Chlorinated Polyvinyl Chloride) pipes of approved make conforming to IS-15778: 2007 . with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. b). Concealed Work CPVC Pipes Class-1,SDR-11 25 mm Dia | BI01010001010000000000000515BI0100001190 | 43.85 | Mtr. | 265.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11656.65 | 11656.65 | INR Eleven Thousand Six Hundred & Fifty Six and Paise Sixty Five Only |  | 235
80 | Supplying, fitting and fixing bib cock or stop cock. (b) (i) Chromium plated Stop Cock (Equivalent to Code No. 513(A) & 513(B) & Model - Tropical / Sumthing Special of ESSCO or similar brand | BI01010001010000000000000515BI0100001191 | 4 | Each | 557.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2230.72 | 2230.72 | INR Two Thousand Two Hundred & Thirty and Paise Seventy Two Only |  | 493
81 | Supplying, fitting and fixing bib cock or stop cock. (d) (i) Chromium plated angular Stop Cock with wall flange (Equivalent to Code No. 5053 & Model - Florentine of Jaquar or similar brand). | BI01010001010000000000000515BI0100001192 | 2 | Each | 921.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1843.86 | 1843.86 | INR One Thousand Eight Hundred & Forty Three and Paise Eighty Six Only |  | 815
82 | plain Floor Trap with Top tile & Strainer 75 mm | BI01010001010000000000000515BI0100001193 | 2 | Each | 162.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 325.78 | 325.78 | INR Three Hundred & Twenty Five and Paise Seventy Eight Only |  | 144
83 | Supplying, fitting and fixing 10 litre porcelain low-down cistern of approved make with either side or bottom inlet, side overflow, brackets complete with all internnal PVC fittings. White | BI01010001010000000000000515BI0100001194 | 2 | Each | 2598.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5196.74 | 5196.74 | INR Five Thousand One Hundred & Ninety Six and Paise Seventy Four Only |  | 2297
84 | Supplying, fitting and fixing white vitreous china best quality approved make wash basin with C.I. brackets on 75 mm X 75 mm wooden blocks, C.P. waste fittings of 32 mm dia., one approved quality brass C.P. pillar cock of 15 mm dia., C.P. chain with rubber plug of 30 mm dia., approved quality P.V.C. waste pipe with C.P. nut 32 mm dia., 900 mm long approved quality P.V.C. connection pipe with heavy brass C.P. nut including mending good all damages and painting the brackets with two coats of approved paint. (ii) 550 mm X 400 mm size | BI01010001010000000000000515BI0100001195 | 3 | Each | 2497.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7493.07 | 7493.07 | INR Seven Thousand Four Hundred & Ninety Three and Paise Seven Only |  | 2208
85 | Supplying, fitting and fixing stainless steel sink complete with waste fittings and two coats of painting of C.I. brackets. a). Sink only (ii) 630 mm X 550 mm X 180 mm | BI01010001010000000000000515BI0100001196 | 1 | Each | 4284.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4284.99 | 4284.99 | INR Four Thousand Two Hundred & Eighty Four and Paise Ninety Nine Only |  | 3788
86 | Supplying,fitting and fixing approved brand 32 mm dia.P.V.C. waste pipe, with PVC coupling at one end fitted with necessary clamps. (iv) 1050 mm long | BI01010001010000000000000515BI0100001197 | 4 | Each | 102.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 411.76 | 411.76 | INR Four Hundred & Eleven and Paise Seventy Six Only |  | 91
87 | Supplying, fitting and fixing Anglo-Indian W.C. in white glazed vitreous china ware of approved make complete in position with necessary bolts, nuts etc. with 'P' Trap(With Vent) | BI01010001010000000000000515BI0100001198 | 2 | Each | 3511.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7022.48 | 7022.48 | INR Seven Thousand &Twenty Two and Paise Forty Eight Only |  | 3104
88 | Supplying, fitting and fixing glass shelf with aluminium guard rails. (a) Ordinary type with 5.5 mm sheet glass 600 mm X 125 mm | BI01010001010000000000000515BI0100001199 | 2 | Each | 542.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1085.96 | 1085.96 | INR One Thousand &Eighty Five and Paise Ninety Six Only |  | 480
89 | Supplying, fitting and fixing liquid soap container. (a) Cromium plated. | BI01010001010000000000000515BI0100001200 | 2 | Each | 444.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 889.12 | 889.12 | INR Eight Hundred & Eighty Nine and Paise Twelve Only |  | 393
90 | Supplying, fitting and fixing soap holder. Fibre Glass | BI01010001010000000000000515BI0100001201 | 2 | Each | 65.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 131.22 | 131.22 | INR One Hundred & Thirty One and Paise Twenty Two Only |  | 58
91 | Supplying, fitting and fixing towel rail with two brackets. Aluminium (iii) 25 mm dia. and 750 mm long | BI01010001010000000000000515BI0100001202 | 2 | Each | 211.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 423.06 | 423.06 | INR Four Hundred & Twenty Three and Paise Six Only |  | 187
92 | Supplying, fitting and fixing Flat back urinal (half stall urinal) in white vitreous chinaware of approved make in position with brass screws on 75 mm X 75 mm X 75 mm wooden blocks complete. (i) 635 mm X 395 mm X 420 mm | BI01010001010000000000000515BI0100001203 | 2 | Each | 3245.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6490.82 | 6490.82 | INR Six Thousand Four Hundred & Ninety and Paise Eighty Two Only |  | 2869
93 | Labour for punching hole in plastic water storage tank upto 50 mm dia. | BI01010001010000000000000515BI0100001204 | 5 | Each | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 107.45 | 107.45 | INR One Hundred & Seven and Paise Forty Five Only |  | 19
94 | Electrical Works | BI01010001010000000000000515BI0100001205 | [55 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
95 | Supply & fixing of 415V 250A TPN switch in SS enclosure (Make LT/Siemens) with HRC fuses on LS & NL to be fixed on angle iron frame on wall | BI01010001010000000000000515BI0100001206 | 1 | set | 13590.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13590.24 | 13590.24 | INR Thirteen Thousand Five Hundred & Ninety and Paise Twenty Four Only |  | 12014
96 | Supply & fixing 415V DOUBLE DOOR 8 way VERTICAL TPNMCBDB in SS enclosure (Make Legrand) to be recessed in wall incl. interconnection, comprising of the following (make Legrand): a) 200A four pole MCB of breaking capacity 25KA/35KA with adjustable thermal & fixed magnetic setting ) -- 1 no b) 100 A TP MCB -- 3nos c) 6 3A TP MCB - 3 nos. d) 40A SP MCB - 6nos. | BI01010001010000000000000515BI0100001207 | 1 | set | 54696.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54696.91 | 54696.91 | INR Fifty Four Thousand Six Hundred & Ninety Six and Paise Ninety One Only |  | 48353
97 | Supply & fixing 415V 4 way TPNMCBDB in SS enclosure (Make Legrand) to be recessed in wall incl. interconnection, comprising of the following (make Legrand): a) 100A four pole isolator -- 1 no b) 10 to 32A SP MCB -- 12 nos | BI01010001010000000000000515BI0100001208 | 3 | set | 13513.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40539.96 | 40539.96 | INR Forty Thousand Five Hundred & Thirty Nine and Paise Ninety Six Only |  | 11946
98 | Supply & fixing 415V 4 way TPNMCBDB in SS enclosure (Make Legrand) to be recessed in wall incl. interconnection, comprising of the following (make Legrand): a) 63A four pole isolator -- 1 no b) 10 to 32A SP MCB -- 12 nos | BI01010001010000000000000515BI0100001209 | 3 | set | 7874.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23622.84 | 23622.84 | INR Twenty Three Thousand Six Hundred & Twenty Two and Paise Eighty Four Only |  | 6961
99 | Supply & Fixing (2+12) way SPN MCBDB (Legrand) with IP-42/43 protection Concealed in wall & mending good the damages to original finish incl. Interconnection with suitable copper wire & nuetral link incl. earthing attachment comprising with the following: a) 63A DP MCB isolator --- 1 no b) 6 to 25A SP MCB ---- 12 nos | BI01010001010000000000000515BI0100001210 | 4 | set | 5627.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22510.88 | 22510.88 | INR Twenty Two Thousand Five Hundred & Ten and Paise Eighty Eight Only |  | 4975
100 | Supply & Fixing (2+8) way SPN MCBDB (Legrand) with IP-42/43 protection Concealed in wall & mending good the damages to original finish incl. Interconnection with suitable copper wire & nuetral link incl. earthing attachment comprising with the following: a) 40A DP MCB isolator --- 1 no b) 6 to 25A SP MCB ---- 12 nos | BI01010001010000000000000515BI0100001211 | 4 | set | 4451.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17805.08 | 17805.08 | INR Seventeen Thousand Eight Hundred & Five and Paise Eight Only |  | 3935
101 | Supply & delivery of 1.1 Kv gr. XLPE/AL armoured cable (make Gloster/Havells/Nicco) of following sizes : a) 3.5 x 185 sq mm | BI01010001010000000000000515BI0100001212 | 80 | mtr | 1105.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88414.4 | 88414.4 | INR Eighty Eight Thousand Four Hundred & Fourteen and Paise Forty Only |  | 977
102 | Supply & delivery of 1.1 Kv gr. XLPE/AL armoured cable (make Gloster/Havells/Nicco) of following sizes : b) 3.5 x 50 sq mm | BI01010001010000000000000515BI0100001213 | 90 | mtr | 401.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36142.2 | 36142.2 | INR Thirty Six Thousand One Hundred & Forty Two and Paise Twenty Only |  | 355
103 | Supply & delivery of 1.1 Kv gr. XLPE/AL armoured cable (make Gloster/Havells/Nicco) of following sizes : c) 3.5 x 35 sq mm | BI01010001010000000000000515BI0100001214 | 75 | mtr | 280.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21040.5 | 21040.5 | INR Twenty One Thousand &Forty and Paise Fifty Only |  | 248
104 | Supply & delivery of 1.1 Kv gr. XLPE/AL armoured cable (make Gloster/Havells/Nicco) of following sizes : d) 2 x 10 sq mm. | BI01010001010000000000000515BI0100001215 | 160 | mtr | 170.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27329.6 | 27329.6 | INR Twenty Seven Thousand Three Hundred & Twenty Nine and Paise Sixty Only |  | 151
105 | Laying of XLPE /A Cable as below , after cutting floor/pavement/wall and making holes incl. embededding the cable at an average depth as below and mending the damages to original finish incl. removing the rubbish. a) 3.5 x 185 sq mm | BI01010001010000000000000515BI0100001216 | 30 | mtr | 204.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6142.5 | 6142.5 | INR Six Thousand One Hundred & Forty Two and Paise Fifty Only |  | 181
106 | Laying of XLPE /A Cable as below , after cutting floor/pavement/wall and making holes incl. embededding the cable at an average depth as below and mending the damages to original finish incl. removing the rubbish. b) 3.5 x 50 sq mm | BI01010001010000000000000515BI0100001217 | 40 | mtr | 179.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7194.4 | 7194.4 | INR Seven Thousand One Hundred & Ninety Four and Paise Forty Only |  | 159
107 | Laying of XLPE /A Cable as below , after cutting floor/pavement/wall and making holes incl. embededding the cable at an average depth as below and mending the damages to original finish incl. removing the rubbish. c) 3.5 x 35 sq mm | BI01010001010000000000000515BI0100001218 | 45 | mtr | 143.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6464.7 | 6464.7 | INR Six Thousand Four Hundred & Sixty Four and Paise Seventy Only |  | 127
108 | Laying of XLPE /A Cable as below , after cutting floor/pavement/wall and making holes incl. embededding the cable at an average depth as below and mending the damages to original finish incl. removing the rubbish. d) 2 x 10 sq mm | BI01010001010000000000000515BI0100001219 | 55 | mtr | 143.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7901.3 | 7901.3 | INR Seven Thousand Nine Hundred & One and Paise Thirty Only |  | 127
109 | Laying of XLPE /A Cable as below , on wall surface incl. S&F MS saddles with earthing attachment in 2x 10 SWG GI (hOT DIP) wire , making holes etc as necy. mending the damages and painting. a) 3.5 x 185 sq mm | BI01010001010000000000000515BI0100001220 | 50 | mtr | 97.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4864 | 4864 | INR Four Thousand Eight Hundred & Sixty Four Only |  | 86
110 | Laying of XLPE /A Cable as below , on wall surface incl. S&F MS saddles with earthing attachment in 2x 10 SWG GI (hOT DIP) wire , making holes etc as necy. mending the damages and painting b) 3.5 x 50 sq mm | BI01010001010000000000000515BI0100001221 | 50 | mtr | 80.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4016 | 4016 | INR Four Thousand &Sixteen Only |  | 71
111 | Laying of XLPE /A Cable as below , on wall surface incl. S&F MS saddles with earthing attachment in 2x 10 SWG GI (hOT DIP) wire , making holes etc as necy. mending the damages and painting c) 3.5 x 35 sq mm | BI01010001010000000000000515BI0100001222 | 30 | mtr | 80.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2409.6 | 2409.6 | INR Two Thousand Four Hundred & Nine and Paise Sixty Only |  | 71
112 | Laying of XLPE /A Cable as below , on wall surface incl. S&F MS saddles with earthing attachment in 2x 10 SWG GI (hOT DIP) wire , making holes etc as necy. mending the damages and painting d) 2 x 10 sq mm | BI01010001010000000000000515BI0100001223 | 125 | mtr | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8060 | 8060 | INR Eight Thousand &Sixty Only |  | 57
113 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. a) 4 x 25 sq mm + 1 x 16 sq mm | BI01010001010000000000000515BI0100001224 | 25 | mtr | 1091.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27290.25 | 27290.25 | INR Twenty Seven Thousand Two Hundred & Ninety and Paise Twenty Five Only |  | 965
114 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. a) 4 x 25 sq mm + 1 x 16 sq mm | BI01010001010000000000000515BI0100001225 | 100 | mtr | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89930 | 89930 | INR Eighty Nine Thousand Nine Hundred & Thirty Only |  | 795
115 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. a) 4 x 25 sq mm + 1 x 16 sq mm | BI01010001010000000000000515BI0100001226 | 95 | mtr | 255.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24286.75 | 24286.75 | INR Twenty Four Thousand Two Hundred & Eighty Six and Paise Seventy Five Only |  | 226
116 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. a) 4 x 25 sq mm + 1 x 16 sq mm | BI01010001010000000000000515BI0100001227 | 1000 | mtr | 205.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 205880 | 205880 | INR Two Lakh Five Thousand Eight Hundred & Eighty Only |  | 182
117 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. a) 4 x 25 sq mm + 1 x 16 sq mm | BI01010001010000000000000515BI0100001228 | 1200 | mtr | 171.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 206328 | 206328 | INR Two Lakh Six Thousand Three Hundred & Twenty Eight Only |  | 152
118 | Supply & fixing compression type gland with brass gland brass ring incl. socketing the ends off by crimping method incl. S/F solderless socket (Dowels make) & jointing ,materials etc. Of the following XLPE/A cable: a) 3.5 x 185 sq mm | BI01010001010000000000000515BI0100001229 | 2 | set | 1063.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2126.66 | 2126.66 | INR Two Thousand One Hundred & Twenty Six and Paise Sixty Six Only |  | 940
119 | Supply & fixing compression type gland with brass gland brass ring incl. socketing the ends off by crimping method incl. S/F solderless socket (Dowels make) & jointing ,materials etc. Of the following XLPE/A cable: b) 3.5 x 50 sq mm | BI01010001010000000000000515BI0100001230 | 6 | set | 459.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2755.62 | 2755.62 | INR Two Thousand Seven Hundred & Fifty Five and Paise Sixty Two Only |  | 406
120 | Supply & fixing compression type gland with brass gland brass ring incl. socketing the ends off by crimping method incl. S/F solderless socket (Dowels make) & jointing ,materials etc. Of the following XLPE/A cable: c) 3.5 x 35 sq mm | BI01010001010000000000000515BI0100001231 | 6 | set | 361.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2171.88 | 2171.88 | INR Two Thousand One Hundred & Seventy One and Paise Eighty Eight Only |  | 320
121 | Supply & fixing compression type gland with brass gland brass ring incl. socketing the ends off by crimping method incl. S/F solderless socket (Dowels make) & jointing ,materials etc. Of the following XLPE/A cable: d) 2 x 10 sq mm | BI01010001010000000000000515BI0100001232 | 12 | mtr | 168.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2022.6 | 2022.6 | INR Two Thousand &Twenty Two and Paise Sixty Only |  | 149
122 | Supply & Fixing 240 V, 25 A, Modular type AC m/c starter (Eletron OLP - 3) 4 Module GI Modular type switch board with 4 Module top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections with PVC Cu wire and earth continuity wire .(For AC m/c) | BI01010001010000000000000515BI0100001233 | 30 | set | 2545.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76356 | 76356 | INR Seventy Six Thousand Three Hundred & Fifty Six Only |  | 2250
123 | Supply & Fixing 240 V, 25 A, 3 pin Modular type plug socket (Brand approved by EIC), without plug top and switch with 2 Module GI Modular type switch board with top cover plate flushed in wall and making necy. connections with PVC Cu wire and earth continuity wire | BI01010001010000000000000515BI0100001234 | 30 | set | 399.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11979.3 | 11979.3 | INR Eleven Thousand Nine Hundred & Seventy Nine and Paise Thirty Only |  | 353
124 | Supply & Fixing 240 V,25 A, 3 pin Modular type plug top with indicator (Crabtree) & necy. Connections.(For AC m/c) | BI01010001010000000000000515BI0100001235 | 30 | set | 145.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4377.6 | 4377.6 | INR Four Thousand Three Hundred & Seventy Seven and Paise Sixty Only |  | 129
125 | Supply & fixing computer plug board modular type of 12 module GI box with cover plate recessed in wall comprising with the following (Legrand/Cabtree) a) 6/16A socket & 16A switch --1 set b) 6A socket & 6A switch --3 sets | BI01010001010000000000000515BI0100001236 | 100 | mtr | 1366.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 136649 | 136649 | INR One Lakh Thirty Six Thousand Six Hundred & Forty Nine Only |  | 1208
126 | Supply & Fixing 240 V, 16 A, 3 pin Modular type Power plug socket (Crabtree) with 16A Modular type socket (Cabtree) with 16A Modular type switch, without plug top on 4 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections with PVC Cu wire and earth continuity wire. | BI01010001010000000000000515BI0100001237 | 5 | mtr | 1463.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7318.85 | 7318.85 | INR Seven Thousand Three Hundred & Eighteen and Paise Eighty Five Only |  | 1294
127 | Distn. wiring in 3 x 1.5 sqmm single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Gloster/Finolex/Havells) in 19 mm bore, 3 mm thick polythene pipe complete with all accessories embedded in wall to light/fan/call bell points with Modular type switch (Legrand/Crabtree) fixed on Modular GI switch board with top cover plate flushed in wall incl. mending good damages to original finish (Ave run 8 mtr ) | BI01010001010000000000000515BI0100001238 | 172 | points | 1214.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 208964.52 | 208964.52 | INR Two Lakh Eight Thousand Nine Hundred & Sixty Four and Paise Fifty Two Only |  | 1074
128 | Distn. wiring in 3 x 1.5 sqmm single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire(Cabtree) in 19 mm bore, 3 mm thick polythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Cabtree) incl. S&F earth continuity wire, fixed on 4 Module GI switch board with 3/4 Module top cover plate flushed in wall incl.mending good damages to original finish a) on board | BI01010001010000000000000515BI0100001239 | 25 | points | 244.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6108.5 | 6108.5 | INR Six Thousand One Hundred & Eight and Paise Fifty Only |  | 216
129 | Distn. wiring in 3 x 1.5 sqmm single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire(Cabtree) in 19 mm bore, 3 mm thick polythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Cabtree) incl. S&F earth continuity wire, fixed on 4 Module GI switch board with 3/4 Module top cover plate flushed in wall incl.mending good damages to original finish b) Av. Run 4.5 mtr. | BI01010001010000000000000515BI0100001240 | 10 | points | 716.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7160.5 | 7160.5 | INR Seven Thousand One Hundred & Sixty and Paise Fifty Only |  | 633
130 | Supplying & Fixing 240 V AC/DC superior type Multitune (min 10 nos. Tune) Call Bell (Anchor) with selector switch for single/Multi Tunes mode, Battery operated on HW board incl. S&F HW board | BI01010001010000000000000515BI0100001241 | 4 | nos | 382.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1529.4 | 1529.4 | INR One Thousand Five Hundred & Twenty Nine and Paise Forty Only |  | 338
131 | S&F Square mounted 2ft x 2ft 36 W LED recessed mounted fittings . (Make crompton , cat no. LCTLRN-36-FO-CDL). | BI01010001010000000000000515BI0100001242 | 95 | set | 3962.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 376446.05 | 376446.05 | INR Three Lakh Seventy Six Thousand Four Hundred & Forty Six and Paise Five Only |  | 3503
132 | S&F slim design LED recessed mounted fittings . (Make crompton , cat no. LSDE-18-CDL). | BI01010001010000000000000515BI0100001243 | 10 | set | 1229.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12296.1 | 12296.1 | INR Twelve Thousand Two Hundred & Ninety Six and Paise Ten Only |  | 1087
133 | S&F slim design LED recessed mounted fittings . (Make crompton , cat no. LSDE-12-CDL). | BI01010001010000000000000515BI0100001244 | 10 | each | 876.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8766.8 | 8766.8 | INR Eight Thousand Seven Hundred & Sixty Six and Paise Eighty Only |  | 775
134 | SUPPLY OF 2ft. Long 8 watt LEDTube Light fittings(Make-crompton LTT 8-8 , IGP 131 LT 8-16) | BI01010001010000000000000515BI0100001245 | 8 | set | 887.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7103.92 | 7103.92 | INR Seven Thousand One Hundred & Three and Paise Ninety Two Only |  | 785
135 | SUPPLY OF 4ft. Long 18 watt LEDTube Light fittings(Make-crompton LTT 8-20-865 , IGP 131 LT 8-16) | BI01010001010000000000000515BI0100001246 | 10 | set | 1074.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10746.4 | 10746.4 | INR Ten Thousand Seven Hundred & Forty Six and Paise Forty Only |  | 950
136 | Fixing the above Tube light fitting suspended 30 cm. Below the ceiling with 2 Nos. 20 mm dia E.I. conduit (14 SWG) support fixed with "L" type clamp fixed on ceiling with fastener & S/F connecting copper wire. | BI01010001010000000000000515BI0100001247 | 18 | set | 122.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2199.06 | 2199.06 | INR Two Thousand One Hundred & Ninety Nine and Paise Six Only |  | 108
137 | Supply & fixing Modular socket & step type electronics fan regulator (Anchor/ Rider) including connection. | BI01010001010000000000000515BI0100001248 | 30 | each | 514.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15441 | 15441 | INR Fifteen Thousand Four Hundred & Forty One Only |  | 455
138 | Supply & fixing 1400 mm sweep Celing fan complete with all accessaries with out regulator (Crompton/ Havells / Orient) | BI01010001010000000000000515BI0100001249 | 5 | each | 2649.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13246.35 | 13246.35 | INR Thirteen Thousand Two Hundred & Forty Six and Paise Thirty Five Only |  | 2342
139 | Supply & fixing 1200 mm sweep Celing fan complete with all accessaries with out regulator (Crompton/ Havells / Orient) | BI01010001010000000000000515BI0100001250 | 18 | each | 2423.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43614.54 | 43614.54 | INR Forty Three Thousand Six Hundred & Fourteen and Paise Fifty Four Only |  | 2142
140 | Supply & fixing 900 mm sweep Celing fan complete withall accessaries with out regulator (Crompton/ Havells / Orient) | BI01010001010000000000000515BI0100001251 | 6 | each | 2305.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13832.34 | 13832.34 | INR Thirteen Thousand Eight Hundred & Thirty Two and Paise Thirty Four Only |  | 2038
141 | Supply & fixing following sizes of Exhaust fan with louvre shutter after cutting hole on wall & mending good the damage to original finish (EPC/Havells/crompton) a) 225 mm (12") sweep | BI01010001010000000000000515BI0100001252 | 6 | each | 3902.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23415.84 | 23415.84 | INR Twenty Three Thousand Four Hundred & Fifteen and Paise Eighty Four Only |  | 3450
142 | Supply & fixing following sizes of Exhaust fan with louvre shutter after cutting hole on wall & mending good the damage to original finish (EPC/Havells/crompton) b) 225 mm (9") sweep | BI01010001010000000000000515BI0100001253 | 2 | each | 2214.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4429.78 | 4429.78 | INR Four Thousand Four Hundred & Twenty Nine and Paise Seventy Eight Only |  | 1958
143 | Supply & delivery of 2- Ton capacity (4-Star) rating Split type Air Conditioning Machine (Make Hitachi/O-General/Mitsubisi) | BI01010001010000000000000515BI0100001254 | 2 | nos | 67860.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 135721.38 | 135721.38 | INR One Lakh Thirty Five Thousand Seven Hundred & Twenty One and Paise Thirty Eight Only |  | 59990
144 | Supply & delivery of 1.50 Ton capacity (3-Star) rating Split type Air Conditioning Machine (Make Hitachi/O-General/Mitsubisi) | BI01010001010000000000000515BI0100001255 | 19 | nos | 48630.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 923975.51 | 923975.51 | INR Nine Lakh Twenty Three Thousand Nine Hundred & Seventy Five and Paise Fifty One Only |  | 42990
145 | Supply & delivery of 1.00 Ton capacity (3-Star) rating Split type Air Conditioning Machine (Make Hitachi/O-General/Mitsubisi) | BI01010001010000000000000515BI0100001256 | 9 | nos | 40711.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 366407.01 | 366407.01 | INR Three Lakh Sixty Six Thousand Four Hundred & Seven and Paise One Only |  | 35990
146 | Extra Supply & drawing copper Pipe with necessary insulation etc. complete. | BI01010001010000000000000515BI0100001257 | 240 | mtr | 950.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 228050.4 | 228050.4 | INR Two Lakh Twenty Eight Thousand &Fifty and Paise Forty Only |  | 840
147 | Installation charge including Supply & fixing angle support, fastener etc. on wall & finally testing commisioninng to satisfactory operation | BI01010001010000000000000515BI0100001258 | 30 | each | 2771.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83143.2 | 83143.2 | INR Eighty Three Thousand One Hundred & Forty Three and Paise Twenty Only |  | 2450
148 | Earthing the installation by 50mm dia GI pipe (ISI-M) 3.64 mtr long & 1x4 SWG GI (Hot dip) wire (4mtr long) with suitable nuts, bolts & washers etc. Driven into a depth of 3.65 mtr below the ground level. | BI01010001010000000000000515BI0100001259 | 2 | set | 1548.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3097.22 | 3097.22 | INR Three Thousand &Ninety Seven and Paise Twenty Two Only |  | 1369
149 | S & F earth busbar of galvanized (Hot Dip) MS flat 25mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the busbar complete with GI bolts, nuts, washers, spacing insulators etc. as required | BI01010001010000000000000515BI0100001260 | 1 | mtr | 176.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 176.47 | 176.47 | INR One Hundred & Seventy Six and Paise Forty Seven Only |  | 156
Total in Figures | [51 empty] | 7828811.42 | 7828811.42 | INR Seventy Eight Lakh Twenty Eight Thousand Eight Hundred & Eleven and Paise Forty Two Only | 0 | 7828811.42 |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information