## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair, Renovation & Up-Gradation of Single storied Office -Cum-Barrack at Melli Bazar P.S. in Kalimpong District.
Contract No: WBPHIDCL/ACE/NIT- 115(e)/2018-2019 (2nd Call) For Sl. No. 2
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil work for Quarter | BI01010001010000000000000515BI0100001112 | [59 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Cleaning and removing conservancy garbage mixed with rubbish & other filthy materials from the road side flank, drain and compound including sutting, loading, unloading to and from truck or cart by Mathor labour & removing the same to any distance. | BI01010001010000000000000515BI0100001113 | 19 | Cum | 76.8583 | 1460.3068 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1460.3068 | 1460.3068 | INR One Thousand Four Hundred & Sixty and Paise Thirty One Only | 1956 | 119.27 | 134.9182 | 2212.6272 | 56.62 | 67.944 | 76.8583 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Removing loose scales, blisters etc. from old painted surface and thoroughly smoothening the surface to make the same suitable for receiving fresh coat of paint. | BI01010001010000000000000515BI0100001114 | 196.8 | Sqm | 28.5062 | 5610.028 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5610.028 | 5610.028 | INR Five Thousand Six Hundred & Ten and Paise Three Only | 2006 | 192.38 | 217.6203 | 2269.1872 | 21 | 25.2 | 28.5062 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Surface Dressing of the ground in any kind of soil including removing vegetation inequalities not exceeding 15 cm depth and disposal of the rubbish within a lead upto 75 m as directed. | BI01010001010000000000000515BI0100001115 | 90 | Sqm | 11.312 | 1018.08 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1018.08 | 1018.08 | INR One Thousand &Eighteen and Paise Eight Only | 2056 | 24 | 27.1488 | 2325.7472 | 10 | 10 | 11.312 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Uprooting and removing plants from the surface of walls parapet etc and making good damages. (Repairing of damages to be paid separately). (a) Small plant of girth of exposed stem upto 75 mm. lift upto 6 mtr. | BI01010001010000000000000515BI0100001116 | 5 | Each | 67.872 | 339.36 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 339.36 | 339.36 | INR Three Hundred & Thirty Nine and Paise Thirty Six Only | 3006 | 110 | 124.432 | 3400.3872 | 50 | 60 | 67.872 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Removing old paint from blistered painted surface of steel or other metal by chipping including scraping and cleaning and exposing the original surface | BI01010001010000000000000515BI0100001117 | 20 | sqm | 65.1571 | 1303.1424 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1303.1424 | 1303.1424 | INR One Thousand Three Hundred & Three and Paise Fourteen Only | 447 | 633.27 | 716.355 | 505.6464 | 48 | 57.6 | 65.1571 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Removal of rubbish,earth etc. from the working site and disposal of the same beyond the compound, in conformity with the Municipal / Corporation Rules for such disposal, loading into truck and cleaning the site in all respect as per direction of Engineer in charge | BI01010001010000000000000515BI0100001118 | 15 | cum | 187.7792 | 2816.688 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2816.688 | 2816.688 | INR Two Thousand Eight Hundred & Sixteen and Paise Sixty Nine Only | 497 | 324 | 366.5088 | 562.2064 |  | 166 | 187.7792 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Dismantling artificial stone flooring upto 50 mm. thick by carefully chiselling without damaging the base and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001119 | 75 | Sqm | 56.56 | 4242 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4242 | 4242 | INR Four Thousand Two Hundred & Forty Two Only | 547 | 4006 | 4531.5872 | 618.7664 |  | 50 | 56.56 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. upto 150 mm thick. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001120 | 2.42 | cum | 1062.1968 | 2570.5163 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2570.5163 | 2570.5163 | INR Two Thousand Five Hundred & Seventy and Paise Fifty Two Only | 597 | 5702 | 6450.1024 | 675.3264 |  | 939 | 1062.1968 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001121 | 2.25 | cum | 505.6464 | 1137.7044 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1137.7044 | 1137.7044 | INR One Thousand One Hundred & Thirty Seven and Paise Seventy Only | 328 | 5797 | 6557.5664 | 371.0336 |  | 447 | 505.6464 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Extra rate for careful dismantling and recovering at least 150 no of useable bricks per cum. | BI01010001010000000000000515BI0100001122 | 1.5 | cum | 64.4784 | 96.7176 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 96.7176 | 96.7176 | INR Ninety Six and Paise Seventy Two Only | 346 | 5892 | 6665.0304 | 391.3952 |  | 57 | 64.4784 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Taking out carefully G.C.I. or C.I. or asbestos sheets (including ridges etc.) from roof or wall after unscrewing bolts, nuts, screws etc.and stacking the material at site as directed | BI01010001010000000000000515BI0100001123 | 80 | Sqm | 46.3792 | 3710.336 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3710.336 | 3710.336 | INR Three Thousand Seven Hundred & Ten and Paise Thirty Four Only | 364 | 5987 | 6772.4944 | 411.7568 |  | 41 | 46.3792 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Dismantling carefully wood work in posts, postplates, rafters, partition etc., sorting and stacking serviciable materials at site and removing rubbish as directed. | BI01010001010000000000000515BI0100001124 | 4 | Cum | 314.4736 | 1257.8944 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1257.8944 | 1257.8944 | INR One Thousand Two Hundred & Fifty Seven and Paise Eighty Nine Only | 382 | 6082 | 6879.9584 | 432.1184 |  | 278 | 314.4736 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed | BI01010001010000000000000515BI0100001125 | 105 | Sqm | 21.4928 | 2256.744 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2256.744 | 2256.744 | INR Two Thousand Two Hundred & Fifty Six and Paise Seventy Four Only | 6665.34 | 363 | 410.6256 | 7539.8326 |  | 19 | 21.4928 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Applying 2 coats of bonding agent with synthetic multifunctional rubber emulsion having adhesive and water proofing properties by mixing with water in proportion (1 bonding agent : 4 water : 6 cement) as per Manufacturer's specification. For Water Proofing | BI01010001010000000000000515BI0100001126 | 21 | SqM | 122.1696 | 2565.5616 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2565.5616 | 2565.5616 | INR Two Thousand Five Hundred & Sixty Five and Paise Fifty Six Only | 6760.34 | 381 | 430.9872 | 7647.2966 | 90 | 108 | 122.1696 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Applying epoxy based reactive joining agent for joining the old concrete with fresh concrete to be applied within manufacturer's specified time as per manufacturers specification. (0.4 Kg / m² of concrete surface). | BI01010001010000000000000515BI0100001127 | 5 | Sqm | 424.8787 | 2124.3936 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2124.3936 | 2124.3936 | INR Two Thousand One Hundred & Twenty Four and Paise Thirty Nine Only | 6855.34 | 399 | 451.3488 | 7754.7606 | 313 | 375.6 | 424.8787
17 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. With 1:4 cement mortar 15mm thick plaster INSIDE (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001128 | 90 | SqM | 238.9094 | 21501.8496 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21501.8496 | 21501.8496 | INR Twenty One Thousand Five Hundred & One and Paise Eighty Five Only | 6950.34 | 417 | 471.7104 | 7862.2246 | 176 | 211.2 | 238.9094
18 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. With 1:6 cement mortar 20mm thick plaster OUTSIDE (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001129 | 40 | SqM | 252.4838 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10099.3536 | 10099.3536 | INR Ten Thousand &Ninety Nine and Paise Thirty Five Only | 73743 | 435 | 492.072 | 83418.0816 | 186 | 223.2 | 252.4838
19 | Neat cement punning about 1.5mm thick in wall,dado,window sill,floor etc. NOTE:Cement 0.152 cu.m per100 sq.m. | BI01010001010000000000000515BI0100001130 | 300 | SqM | 46.153 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13845.888 | 13845.888 | INR Thirteen Thousand Eight Hundred & Forty Five and Paise Eighty Nine Only | 74173 | 73743 | 83418.0816 | 83904.4976 | 34 | 40.8 | 46.153
20 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. ii) Solvent based interior grade Acrylic Primer,(b) One Coat (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001131 | 440 | SqM | 46.6959 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20546.2118 | 20546.2118 | INR Twenty Thousand Five Hundred & Forty Six and Paise Twenty One Only | 74603 | 74173 | 83904.4976 | 84390.9136 | 34.4 | 41.28 | 46.6959
21 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC.[This item to be done under specific instruction of the Superintending Engineer] (b) Two Coats (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001132 | 190 | SqM | 62.4422 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11864.0256 | 11864.0256 | INR Eleven Thousand Eight Hundred & Sixty Four and Paise Three Only | 75033 | 74603 | 84390.9136 | 84877.3296 | 46 | 55.2 | 62.4422
22 | Acrylic Distemper to interior wall, ceiling with a coat of solvent basedinterior grade acrylic primer (as per manufacturer's specification)including cleaning and smoothning of surface. Two Coats (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001133 | 440 | SqM | 96.3782 | 42406.4256 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42406.4256 | 42406.4256 | INR Forty Two Thousand Four Hundred & Six and Paise Forty Three Only | 19 | 75033 | 84877.3296 | 21.4928 | 71 | 85.2 | 96.3782
23 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. The items to be selected only with written permission of Superintending Engineer for very resticted and small areas of a building b) Premium 100% Acrylic Emulsion (A) AT GROUND FLOOR (Two Coats) | BI01010001010000000000000515BI0100001134 | 190 | SqM | 115.3824 | 21922.656 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21922.656 | 21922.656 | INR Twenty One Thousand Nine Hundred & Twenty Two and Paise Sixty Six Only | 739 | 75463 | 85363.7456 | 835.9568 | 85 | 102 | 115.3824
24 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001135 | 40.8 | SqM | 40.7232 | 20440 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1661.5066 | 1661.5066 | INR One Thousand Six Hundred & Sixty One and Paise Fifty One Only | 50 | 5172 | 5850.5664 | 56.56 | 30 | 36 | 40.7232
25 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary . On Steel and other Metal Surface .Two coat with any shade except white.With super gloss (hi-gloss) - (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001136 | 40.8 | SqM | 108.5952 | 18424 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4430.6842 | 4430.6842 | INR Four Thousand Four Hundred & Thirty and Paise Sixty Eight Only | 56 | 5395 | 6102.824 | 63.3472 | 80 | 96 | 108.5952
26 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001137 | 270 | SqM | 51.5827 | 60825.1 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13927.3344 | 13927.3344 | INR Thirteen Thousand Nine Hundred & Twenty Seven and Paise Thirty Three Only | 62 | 5506 | 6228.3872 | 70.1344 | 38 | 45.6 | 51.5827
27 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary :(a) On timber or plastered surface. With super gloss (hi-gloss) -(iv) Two coats (with any shade except white) (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001138 | 270 | SqM | 111.3101 | 57600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30053.7216 | 30053.7216 | INR Thirty Thousand &Fifty Three and Paise Seventy Two Only | 90 | 5617 | 6353.9504 | 101.808 | 82 | 98.4 | 111.3101
28 | Supplying and laying true to line and level vitrified tiles of approved brand (size not less than 600 mm X 600 mm X 10 mm thick) in floor, skirting etc. set in 20 mm sand cement mortar (1:4) and 2 mm thick cement slurry back side of tiles using cement @ 2.91Kg./sqM or using polymerised adhesive (6 mm thick layer applied directly over finished artificial stone floor/Mosaic etc without any backing course) laid after application slurry using 1.75 Kg of cement per sqM below mortar only, joints grouted with admixture of white cement and colouring pigment to match with colour of tiles / epoxy grout materials of approved make as directed and removal of wax coating of top surface of tiles with warm water and polishing the tiles using soft and dry cloth upto mirror finish complete including the cost of materials, labour and all other incidental charges complete true to the manufacturer's specification and direction of Engineer-in-Charge. (White cement, synthetic adhesive and grout material to be supplied by the contrr]e) I (I) With application slurry @1.75 kg/ Sq.m, 20 mm sand cement mortar (1:4) & 2 mm thick cement slurry at back side of tiles, 0.2 kg/ Sq.m white cement for joint filling with pigment. (B) Light Colour (A) AT GROUND FLOORx | BI01010001010000000000000515BI0100001139 | 25 | SqM | 1756.5274 | 364255.6 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43913.184 | 43913.184 | INR Forty Three Thousand Nine Hundred & Thirteen and Paise Eighteen Only | 782 | 5728 | 6479.5136 | 884.5984 | 1294 | 1552.8 | 1756.5274
29 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. (a) Area of each tile upto 0.09 Sq.m (ii) Other than Coloured decorative including white (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001140 | 10 | sqm | 1075.0925 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10750.9248 | 10750.9248 | INR Ten Thousand Seven Hundred & Fifty and Paise Ninety Two Only | 206 | 5839 | 6605.0768 | 233.0272 | 792 | 950.4 | 1075.0925
30 | (B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m (a) Area of each tile upto 0.09 Sq.m (ii) Other than Coloured decorative including white (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001141 | 20 | SqM | 1080.5222 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21610.4448 | 21610.4448 | INR Twenty One Thousand Six Hundred & Ten and Paise Forty Four Only | 586 | 674 | 762.4288 | 662.8832 | 796 | 955.2 | 1080.5222
31 | Supplying, fitting and fixing Black Stone slab used in Kitchen slab, alcove, wardrobe etc. laid and jointed with necessary adhesive Cement mortar (1:2) including grinding or polishing as per direction of Engineer-in -Charge in Ground Floor.(a) Slab Thickness 20 to 25 mm (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001142 | 5 | Sq.M | 889.1232 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4445.616 | 4445.616 | INR Four Thousand Four Hundred & Forty Five and Paise Sixty Two Only | 88 | 686 | 776.0032 | 99.5456 | 655 | 786 | 889.1232
32 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (c) Sal Siliguri (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001143 | 0.04 | CuM. | 111223.2038 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4448.9282 | 4448.9282 | INR Four Thousand Four Hundred & Forty Eight and Paise Ninety Three Only | 5653 | 698 | 789.5776 | 6394.6736 | 81936 | 98323.2 | 111223.2038
33 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in ground floor.(a) 32 mm thick shutters (single leaf) (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001144 | 3 | SqM | 4094.039 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12282.1171 | 12282.1171 | INR Twelve Thousand Two Hundred & Eighty Two and Paise Twelve Only | 264 | 710 | 803.152 | 298.6368 | 3016 | 3619.2 | 4094.039
34 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (ii) 25 mm thick (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001145 | 4 | SqM | 3666.4454 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14665.7818 | 14665.7818 | INR Fourteen Thousand Six Hundred & Sixty Five and Paise Seventy Eight Only | 267.96 | 196 | 221.7152 | 303.1164 | 2701 | 3241.2 | 3666.4454
35 | Supplying, fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to safisfy IS: 4020 door testing performance criteria. (ii) 66mm x 70mm (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001146 | 11 | Mtr. | 632.567 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6958.2374 | 6958.2374 | INR Six Thousand Nine Hundred & Fifty Eight and Paise Twenty Four Only | 271.98 | 1012 | 1144.7744 | 307.6638 | 466 | 559.2 | 632.567
36 | (A) Wood work in posts, post plates, rafters, battens, truss members, purlins etc.fitted and fixed complete (excluding the cost of bolts, paints, but including the costof nails, screws etc.)(The quantum should be corrected upto three decimals) (i) Sal : Siliguri. | BI01010001010000000000000515BI0100001147 | 0.1 | CUM | 111311.4374 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11131.1437 | 11131.1437 | INR Eleven Thousand One Hundred & Thirty One and Paise Fourteen Only | 745 | 1024 | 1158.3488 | 842.744 | 82001 | 98401.2 | 111311.4374
37 | Supplying,fitting & fixing in position suspended false ceiling with frame work of aluminium hollow section of size 50mm X 25mm (2.0mm thickness) combined with aluminium corners of size 38mm X 25mm, suspended by aluminium hollow tube section of size 38mm X 25mm having size of 600mm X 600mm ceiling with aluminium composit panels (ACP) - Interior grade of thickness 3.0mm comprising of proctective film, polyester coating, primer, aluminium coil, adhesive film, polyethylene core again with one layer adhesive film, aluminium bottom coating and finally service coating as per manufacturer's specification finished with aluminium screw and silicon sealent complete in all respect including all incidental charges etc. as per direction of Engineer-in-charge. | BI01010001010000000000000515BI0100001148 | 10 | SqM | 3946.0781 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39460.7808 | 39460.7808 | INR Thirty Nine Thousand Four Hundred & Sixty and Paise Seventy Eight Only | 750 | 1036 | 1171.9232 | 848.4 | 2907 | 3488.4 | 3946.0781
38 | M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S, W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor. (ii) Grill weighing above 10 Kg./sq.mtr and up to 16 Kg./sq. mtr (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001149 | 0.15 | Qntl | 13962.6278 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2094.3942 | 2094.3942 | INR Two Thousand &Ninety Four and Paise Thirty Nine Only | 755 | 1048 | 1185.4976 | 854.056 | 10286 | 12343.2 | 13962.6278
39 | Galvanised corrugated iron sheet work (excluding the supporting frame work) fitted and fixed with 10 mm. dia J orL hook-bolts, limpet and bitumen washers and puttycompletewith 150 mm. end lap and one corrugation minimum side lap.(Payment to be made on area of finished work)(GCI sheet tobe supplied by contractor) (i) In Roof:- a) With 0.60 mm thick sheet | BI01010001010000000000000515BI0100001150 | 60 | SQM | 889.1232 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53347.392 | 53347.392 | INR Fifty Three Thousand Three Hundred & Forty Seven and Paise Thirty Nine Only | 750 | 224 | 253.3888 | 848.4 | 655 | 786 | 889.1232
40 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod) (v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001151 | 2 | Each | 169.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 339.36 | 339.36 | INR Three Hundred & Thirty Nine and Paise Thirty Six Only | 755 | 1150 | 1300.88 | 854.056 | 125 | 150 | 169.68
41 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately). 40mm X 6mm, 250mm Length | BI01010001010000000000000515BI0100001152 | 6 | Each | 40.7232 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 244.3392 | 244.3392 | INR Two Hundred & Forty Four and Paise Thirty Four Only | 760 | 1162 | 1314.4544 | 859.712 | 30 | 36 | 40.7232
42 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001153 | 4 | Each | 58.3699 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 233.4797 | 233.4797 | INR Two Hundred & Thirty Three and Paise Forty Eight Only | 186 | 1174 | 1328.0288 | 210.4032 | 43 | 51.6 | 58.3699
43 | Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting. 250mm long. | BI01010001010000000000000515BI0100001154 | 2 | Each | 221.2627 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 442.5254 | 442.5254 | INR Four Hundred & Forty Two and Paise Fifty Three Only | 190 | 1186 | 1341.6032 | 214.928 | 163 | 195.6 | 221.2627
44 | Door stopper.(Brass) | BI01010001010000000000000515BI0100001155 | 2 | Each | 166.9651 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 333.9302 | 333.9302 | INR Three Hundred & Thirty Three and Paise Ninety Three Only | 194 | 698 | 789.5776 | 219.4528 | 123 | 147.6 | 166.9651
45 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. 200mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001156 | 5 | Each | 107.2378 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 536.1888 | 536.1888 | INR Five Hundred & Thirty Six and Paise Nineteen Only | 198 | 703 | 795.2336 | 223.9776 | 79 | 94.8 | 107.2378
46 | Taking out old iron higes and fitting, fixing the same with new steel screws e) 100mm. Long butt hinge. | BI01010001010000000000000515BI0100001157 | 12 | Each | 21.719 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 260.6285 | 260.6285 | INR Two Hundred & Sixty and Paise Sixty Three Only | 161 | 708 | 800.8896 | 182.1232 | 16 | 19.2 | 21.719
47 | Supplying bubble free float glass of approved make and brand conforming to IS: 2835-1987. ii) 4mm thick coloured / tinted / smoke glass. | BI01010001010000000000000515BI0100001158 | 1 | SqM. | 651.5712 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 651.5712 | 651.5712 | INR Six Hundred & Fifty One and Paise Fifty Seven Only | 165 | 713 | 806.5456 | 186.648 | 480 | 576 | 651.5712
48 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (20mm nominal size) excluding shuttering and reinforcement,if any, in gound floor as per relevant IS codes River bazree | BI01010001010000000000000515BI0100001159 | 0.1 | CuM. | 7206.649 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 720.6649 | 720.6649 | INR Seven Hundred & Twenty and Paise Sixty Six Only | 169 | 703 | 795.2336 | 191.1728 | 5309 | 6370.8 | 7206.649
49 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length b) 110 mm | BI01010001010000000000000515BI0100001160 | 3 | Mtr. | 396.3725 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1189.1174 | 1189.1174 | INR One Thousand One Hundred & Eighty Nine and Paise Twelve Only | 173 | 708 | 800.8896 | 195.6976 | 292 | 350.4 | 396.3725
50 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (ii) Door Tee (110 mm) | BI01010001010000000000000515BI0100001161 | 1 | Each | 264.7008 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 264.7008 | 264.7008 | INR Two Hundred & Sixty Four and Paise Seventy Only | 129 | 713 | 806.5456 | 145.9248 | 195 | 234 | 264.7008
51 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (iv) Door Bend T.S 110 mm | BI01010001010000000000000515BI0100001162 | 1 | Each | 199.5437 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 199.5437 | 199.5437 | INR One Hundred & Ninety Nine and Paise Fifty Four Only | 133 | 718 | 812.2016 | 150.4496 | 147 | 176.4 | 199.5437
52 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (v) Plain Tee 110 mm | BI01010001010000000000000515BI0100001163 | 1 | Each | 115.3824 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 115.3824 | 115.3824 | INR One Hundred & Fifteen and Paise Thirty Eight Only | 137 | 1269 | 1435.4928 | 154.9744 | 85 | 102 | 115.3824
53 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (vii) Pipe Clip 110 mm | BI01010001010000000000000515BI0100001164 | 10 | Each | 28.5062 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 285.0624 | 285.0624 | INR Two Hundred & Eighty Five and Paise Six Only | 141 | 1274 | 1441.1488 | 159.4992 | 21 | 25.2 | 28.5062
54 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (vii) Vent Cowl 110mm | BI01010001010000000000000515BI0100001165 | 1 | Each | 44.7955 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44.7955 | 44.7955 | INR Forty Four and Paise Eighty Only | 119 | 1279 | 1446.8048 | 134.6128 | 33 | 39.6 | 44.7955
55 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (A) Above ground (ii) 110 mm | BI01010001010000000000000515BI0100001166 | 3 | Mtr. | 77.3741 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 232.1222 | 232.1222 | INR Two Hundred & Thirty Two and Paise Twelve Only | 71907 | 1284 | 1452.4608 | 81341.1984 | 57 | 68.4 | 77.3741
56 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (B) Below Ground (i) 110 mm | BI01010001010000000000000515BI0100001167 | 2 | Mtr. | 114.025 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 228.0499 | 228.0499 | INR Two Hundred & Twenty Eight and Paise Five Only | 25 | 2313 | 2616.4656 | 28.28 | 84 | 100.8 | 114.025
57 | Chromium plated Bib Cock (angular shape with wall flange) (Equivalent to Code No. 5037 & Model - Florentine of Jaquar or similar brand). | BI01010001010000000000000515BI0100001168 | 4 | Each | 1168.7558 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4675.0234 | 4675.0234 | INR Four Thousand Six Hundred & Seventy Five and Paise Two Only | 2270 | 10021 | 11335.7552 | 2567.824 | 861 | 1033.2 | 1168.7558
58 | Chromium plated angular Stop Cock with wall flange (Equivalent to Code No. 5053 & Model - Florentine of Jaquar or similar brand). | BI01010001010000000000000515BI0100001169 | 4 | Each | 1106.3136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4425.2544 | 4425.2544 | INR Four Thousand Four Hundred & Twenty Five and Paise Twenty Five Only | 477 | 10121.21 | 11449.1128 | 539.5824 | 815 | 978 | 1106.3136
59 | Supplying, fitting and fixing stainless steel sink complete with waste fittings and two coats of painting of C.I. brackets. (ii) 630 mm X 550 mm X 180 mm | BI01010001010000000000000515BI0100001170 | 1 | Each | 5141.9827 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5141.9827 | 5141.9827 | INR Five Thousand One Hundred & Forty One and Paise Ninety Eight Only | 2968 | 10222.4221 | 11563.6039 | 3357.4016 | 3788 | 4545.6 | 5141.9827
60 | Reinforcement for reinforced concrete work in all sorts of structuresincluding distribution bars, stirrups, binders etc initial straightening andremoval of loose rust (if necessary), cutting to requisite length, hooking andbending to correct shape, placing in proper position and binding with 16 gauge black annealed wire at every intersection, complete as per drawingand direction. (a) For works in foundation and upto roof of ground floor/upto 4 m (i) Tor steel/Mild Steel I. SAIL/ TATA/RINL | BI01010001010000000000000515BI0100001171 | 0.001 | M.T | 100126.1318 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100.1261 | 100.1261 | INR One Hundred and Paise Thirteen Only | 47 | 10324.6463 | 11679.2399 | 53.1664 | 73761 | 88513.2 | 100126.1318
61 | Hire and labour charges for shuttering with centering and necessary stagingupto 4 m using approved stout props and thick hard wood planks of approvedthickness with required bracing for concrete slabs, beams and columns,lintels curved or straight including fitting, fixing and striking out aftercompletion of works (upto roof of ground floor) (a) 25 mm to 30 mm thick wooden shuttering as per decision & direction ofengineer in-charge | BI01010001010000000000000515BI0100001172 | 3 | sqm | 453.385 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1360.1549 | 1360.1549 | INR One Thousand Three Hundred & Sixty and Paise Fifteen Only | 40 | 4351 | 4921.8512 | 45.248 | 334 | 400.8 | 453.385
62 | Brick work with 1st class bricks in cement mortar (1:4) (a) In foundation and plinth | BI01010001010000000000000515BI0100001173 | 6.85 | cum | 9120.6394 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62476.3796 | 62476.3796 | INR Sixty Two Thousand Four Hundred & Seventy Six and Paise Thirty Eight Only | 17 | 81936 | 92686.0032 | 19.2304 | 6719 | 8062.8 | 9120.6394
63 | Labour for taking out door and window frame including shutter for repair orreplacement of different parts of the frame & refixing the same including mendinggood all damaes complete. (Concrete and brick work for mending damage will bepaid separately) (a) Upto area 2.5 Sq.m (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001174 | 3 | SqM | 161.5354 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 484.6061 | 484.6061 | INR Four Hundred & Eighty Four and Paise Sixty One Only | 10021 | 82136 | 92912.2432 | 11335.7552 | 119 | 142.8 | 161.5354
64 | Labour for Chipping of concrete surface before taking up Plastering work. | BI01010001010000000000000515BI0100001175 | 20 | SqM | 28.5062 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 570.1248 | 570.1248 | INR Five Hundred & Seventy and Paise Twelve Only | 10121.21 | 82336 | 93138.4832 | 11449.1128 | 21 | 25.2 | 28.5062
65 | Closing gap between door and window frame and jambs withcement mortar (1:3) including removing old mortar (throughoutentire surface of contact) and cleaning the joint. (Cement 0.012Cu.m/100 Mtr.) | BI01010001010000000000000515BI0100001176 | 25 | Rmt | 15.4069 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 385.1736 | 385.1736 | INR Three Hundred & Eighty Five and Paise Seventeen Only | 10222.4221 | 82536 | 93364.7232 | 11563.6039 | 11.35 | 13.62 | 15.4069
66 | Repairing cracks in floor with cement mortar (1:2) with necessary pigment to match with existing works, including prior cutting and cleaning the cracks as directed | BI01010001010000000000000515BI0100001177 | 30 | Rmt | 9.3935 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 281.8045 | 281.8045 | INR Two Hundred & Eighty One and Paise Eighty Only | 4351 | 2659 | 3007.8608 | 4921.8512 | 6.92 | 8.304 | 9.3935
67 | Controlled Cement concrete with well graded stone chips (20 mm gradednominal size) excluding shuttering and reinforcement with complete design ofconcrete as per IS : 456 and relevant special publications, submission of job mix formula after preliminary mix design after testing of concrete cubes asper direction of Engineer-in charge. Consumption of cement will not be lessthan 300 Kg of cement with Super plasticiser per cubic meter of controlled concrete but actual consumption will be determined on the basis ofpreliminary test and job mix foumula. In ground floor and foundation.[using concrete mixture] M 20 Grade ii ) N.B. Variety (Stone Metal) | BI01010001010000000000000515BI0100001178 | 0.15 | CUM | 8783.9942 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1317.5991 | 1317.5991 | INR One Thousand Three Hundred & Seventeen and Paise Sixty Only | 29 | 2673 | 3023.6976 | 32.8048 | 6471 | 7765.2 | 8783.9942
68 | Making one set of scaffolding only for replacing glass panels, painting,uprooting plant and another repairing works of building and S&P works forexternal works only with 10 cm. dia bamboo as main posts at the rate of 1metre centre to centre and 7.5 cm. dia bamboo ties @ 0.75 metre apart fittingand fixing with necessary coir, nails etc. as per direction of the Engineer-incharge For 11 m Height. | BI01010001010000000000000515BI0100001179 | 1 | Each | 1043.8714 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1043.8714 | 1043.8714 | INR One Thousand &Forty Three and Paise Eighty Seven Only | 38 | 2687 | 3039.5344 | 42.9856 | 769 | 922.8 | 1043.8714
69 | ELECTRICAL (SCHEDULE ITEM) S & F 415V 63A TPN Switch fuse Unit with SS enclosure on Angle frame (make L & T) on wall with nuts bolts etc. incl. S & F 3 nos DIN type HRC fuse. | BI01010001010000000000000515BI0100001180 | 1 | nos. | 5375.2362 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5375.2362 | 5375.2362 | INR Five Thousand Three Hundred & Seventy Five and Paise Twenty Four Only | 129 | 713 | 806.5456 | 145.9248 | 4132 | 4751.8 | 5375.2362
70 | Supply & fixing SPN MCB DB (2+12) WAY (Make legrand/ Seimens/ABB) with S.S. Enclosure concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 12 Nos. | BI01010001010000000000000515BI0100001181 | 1 | set | 5705.6597 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5705.6597 | 5705.6597 | INR Five Thousand Seven Hundred & Five and Paise Sixty Six Only | 133 | 718 | 812.2016 | 150.4496 | 4386 | 5043.9 | 5705.6597
71 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection a)( 2 x 6 + 1 x 4) sq mm (SPNDB) | BI01010001010000000000000515BI0100001182 | 15 | mtr | 180.8223 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2712.3348 | 2712.3348 | INR Two Thousand Seven Hundred & Twelve and Paise Thirty Three Only | 137 | 1269 | 1435.4928 | 154.9744 | 139 | 159.85 | 180.8223
72 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection b) 2 x 2.5 + 1x1.5 sq mm (P/P plug/Com Plug/ Out door light) | BI01010001010000000000000515BI0100001183 | 74 | mtr | 84.5572 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6257.2328 | 6257.2328 | INR Six Thousand Two Hundred & Fifty Seven and Paise Twenty Three Only | 141 | 1274 | 1441.1488 | 159.4992 | 65 | 74.75 | 84.5572
73 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection a) 3x1.5 sqmm | BI01010001010000000000000515BI0100001184 | 95 | mtr | 62.4422 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5932.0128 | 5932.0128 | INR Five Thousand Nine Hundred & Thirty Two and Paise One Only | 119 | 1279 | 1446.8048 | 134.6128 | 48 | 55.2 | 62.4422
74 | Cutting Channel of size (40 mm x 40 mm) on masonry wall byElectric operated cutting machine incl. supplying & fixingheavy gauge 19 mm, 3 mm thick Polythene pipe by means ofanchoring chemical (Hilti/Sika) and GI 'U' hooks of 8 SWGincl. supplying and drawing 18 SWG GI wire as Fish wire andmending good damages to original finish by using own toolsand tackles | BI01010001010000000000000515BI0100001185 | 123 | mtr | 84.5572 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10400.5356 | 10400.5356 | INR Ten Thousand Four Hundred and Paise Fifty Four Only | 71907 | 1284 | 1452.4608 | 81341.1984 | 65 | 74.75 | 84.5572
75 | Supply & laying medium gauge 40 mm dia G.I. Pipe (ISI -m) . | BI01010001010000000000000515BI0100001186 | 6 | mtr | 320.0165 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1920.0989 | 1920.0989 | INR One Thousand Nine Hundred & Twenty and Paise Ten Only | 25 | 2313 | 2616.4656 | 28.28 | 246 | 282.9 | 320.0165
76 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 20mm pvc rigid conduct only celling portion and reamining portion concealed in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to light/fan/call bell points with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board with top cover plate flushed in wall incl. mending good damages to original finish(Ave. run 8 mtr.) | BI01010001010000000000000515BI0100001187 | 28 | pts | 1397.1451 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39120.0634 | 39120.0634 | INR Thirty Nine Thousand One Hundred & Twenty and Paise Six Only | 2270 | 10021 | 11335.7552 | 2567.824 | 1074 | 1235.1 | 1397.1451
77 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish a) on board | BI01010001010000000000000515BI0100001188 | 6 | pts | 323.9191 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1943.5147 | 1943.5147 | INR One Thousand Nine Hundred & Forty Three and Paise Fifty One Only | 477 | 10121.21 | 11449.1128 | 539.5824 | 249 | 286.35 | 323.9191
78 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish b) Ave 4.5 mtr | BI01010001010000000000000515BI0100001189 | 5 | pts | 1220.2254 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6101.1272 | 6101.1272 | INR Six Thousand One Hundred & One and Paise Thirteen Only | 2968 | 10222.4221 | 11563.6039 | 3357.4016 | 938 | 1078.7 | 1220.2254
79 | Supply & Fixing 240V, Modular Socket (2 Module) type fan regulator (Step type) (Brand approved by EIC) on existing Modular GI switch board with top cover plate incl. making necy. connections etc. | BI01010001010000000000000515BI0100001190 | 5 | each | 503.4406 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2517.2028 | 2517.2028 | INR Two Thousand Five Hundred & Seventeen and Paise Twenty Only | 47 | 10324.6463 | 11679.2399 | 53.1664 | 387 | 445.05 | 503.4406
80 | Supply & fixing computer plug board modular type of 12 module GI box with cover plate recessed in wall comprising with the following (Legrand/Cabtree) ----- a) 6/16A socket & 16A switch --1 set b) 6A socket & 6A switch --2 sets | BI01010001010000000000000515BI0100001191 | 2 | set | 1571.463 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3142.9261 | 3142.9261 | INR Three Thousand One Hundred & Forty Two and Paise Ninety Three Only | 40 | 4351 | 4921.8512 | 45.248 | 1208 | 1389.2 | 1571.463
81 | Supply & Fixing 240 V, 16 A, 3 pin Modular type Power plug socket (Cabtree) with 16A Modular type socket (Cabtree) with 16A Modular type switch, without plug top on 4 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001192 | 3 | each | 593.2013 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1779.6038 | 1779.6038 | INR One Thousand Seven Hundred & Seventy Nine and Paise Sixty Only | 17 | 81936 | 92686.0032 | 19.2304 | 456 | 524.4 | 593.2013
82 | Fixing only exhaust fan after making hole in wall and making good damages and smooth cement finish etc. as practicable as possible and providing necy. length of PVC insulated wire and making connection for exhaust & louvre shutter after cutting hole on wall & mending good the damages of following diameter: 30 cm (12") | BI01010001010000000000000515BI0100001193 | 1 | each | 571.0863 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 571.0863 | 571.0863 | INR Five Hundred & Seventy One and Paise Nine Only | 10021 | 82136 | 92912.2432 | 11335.7552 | 439 | 504.85 | 571.0863
83 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001194 | 13 | each | 130.088 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1691.144 | 1691.144 | INR One Thousand Six Hundred & Ninety One and Paise Fourteen Only | 10121.21 | 82336 | 93138.4832 | 11449.1128 | 100 | 115 | 130.088
84 | Supplying & Fixing bulk head light fitting (Havells make) with diecast aluminium housing & frosted glass on wall/ceiling incl. S&F8watt CFL complete set. | BI01010001010000000000000515BI0100001195 | 2 | each | 753.2095 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1506.419 | 1506.419 | INR One Thousand Five Hundred & Six and Paise Forty Two Only | 10222.4221 | 82536 | 93364.7232 | 11563.6039 | 579 | 665.85 | 753.2095
85 | Earthing the installation by 50 mm dia. G.I. Pipe (ISI-M) of 3.64 mtr. Long driven to an depth of 3.65 mtr. Below the ground level including S/F 1X4 SWG. G.I. Earth wire (4 mtr. Long) with nuts bolts & washers. | BI01010001010000000000000515BI0100001196 | 2 | set | 1780.9047 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3561.8094 | 3561.8094 | INR Three Thousand Five Hundred & Sixty One and Paise Eighty One Only | 4351 | 2659 | 3007.8608 | 4921.8512 | 1369 | 1574.35 | 1780.9047
86 | Supplying & fixing earth busbar of galvanized (Hot Dip) MS flat 25 mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the busbar complete with GI bolts, nuts, washers, spacing insulators etc. as required | BI01010001010000000000000515BI0100001197 | 0.2 | mtr | 202.9373 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40.5875 | 40.5875 | INR Forty and Paise Fifty Nine Only | 29 | 2673 | 3023.6976 | 32.8048 | 156 | 179.4 | 202.9373
87 | Electrical (Non - Shedule Item) Dismantling the existing damaged wiring including switches, distribution bords etc. with all accessories from wall/ roof as directed by the EIC. | BI01010001010000000000000515BI0100001198 | 1 | item | 404 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 404 | 404 | INR Four Hundred & Four Only | 38 | 2687 | 3039.5344 | 42.9856 | 400 | 404 | 457.0048
88 | Supply 4' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton, cat no - DIJB12LT8-20, LLT8-20) | BI01010001010000000000000515BI0100001199 | 1 | set | 831.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 831.23 | 831.23 | INR Eight Hundred & Thirty One and Paise Twenty Three Only |  |  |  |  | 823 | 831.23 | 940.2874
89 | Supply & fixing of 1200mm sweep Ceiling Fan (Orient,New Bridge, White) or equivalent as approved by the EIC,complete with all acessaries Incl S/F necy copper flex wire. | BI01010001010000000000000515BI0100001200 | 2 | each | 2232.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4464.2 | 4464.2 | INR Four Thousand Four Hundred & Sixty Four and Paise Twenty Only |  |  |  |  | 2210 | 2232.1 | 2524.9515
90 | Supply of 425 mm (12") sweep heavy duty exhaust fan (EPC/ Crompton) | BI01010001010000000000000515BI0100001201 | 1 | each | 3120.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3120.9 | 3120.9 | INR Three Thousand One Hundred & Twenty and Paise Ninety Only |  |  |  |  | 3090 | 3120.9 | 3530.3621
91 | Supply & fixing 3W LED night Lamp (Crompton/Philps) for batten light points | BI01010001010000000000000515BI0100001202 | 2 | Set | 171.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 343.4 | 343.4 | INR Three Hundred & Forty Three and Paise Forty Only |  |  |  |  | 170 | 171.7 | 194.227
Total in Figures | [51 empty] | 647903.9628 | 538461.6378 | INR Five Lakh Thirty Eight Thousand Four Hundred & Sixty One and Paise Sixty Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information