## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Upgradation, repairing & renovation of House Guard, Security & Driver Barrack and Toilets Blocks under Inspector General of Police, North Bengal Region, Siliguri.
Contract No: WBPHIDCL/ACE/NIT- 115(e)/2018-2019 (2nd Call) For Sl. No. 3
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil work for Quarter | BI01010001010000000000000515BI0100001112 | [61 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Cleaning and removing conservancy garbage mixed with rubbish & other filthy materials from the road side flank, drain and compound including sutting, loading, unloading to and from truck or cart by Mathor labour & removing the same to any distance. | BI01010001010000000000000515BI0100001113 | 25 | Cum | 64.0485 | 1601.2136 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1601.2136 | 1601.2136 | INR One Thousand Six Hundred & One and Paise Twenty One Only | 1956 | 119.27 | 134.9182 | 2212.6272 | 56.62 | 67.944 | 76.8583 | 56.62 | 64.0485 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Surface Dressing of the ground in any kind of soil including removing vegetation inequalities not exceeding 15 cm depth and disposal of the rubbish within a lead upto 75 m as directed. | BI01010001010000000000000515BI0100001114 | 100 | Sqm | 11.312 | 1131.2 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1131.2 | 1131.2 | INR One Thousand One Hundred & Thirty One and Paise Twenty Only | 2006 | 192.38 | 217.6203 | 2269.1872 | 21 | 25.2 | 28.5062 | 10 | 11.312 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Uprooting and removing plants from the surface of walls parapet etc and making good damages. (Repairing of damages to be paid separately). (a) Small plant of girth of exposed stem upto 75 mm. lift upto 6 mtr. | BI01010001010000000000000515BI0100001115 | 10 | Each | 56.56 | 565.6 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 565.6 | 565.6 | INR Five Hundred & Sixty Five and Paise Sixty Only | 2056 | 24 | 27.1488 | 2325.7472 | 10 | 10 | 11.312 | 50 | 56.56 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Removing old paint from blistered painted surface of steel or other metalby chipping including scraping and cleaning and exposing the originalsurface | BI01010001010000000000000515BI0100001116 | 20 | sqm | 54.2976 | 1085.952 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1085.952 | 1085.952 | INR One Thousand &Eighty Five and Paise Ninety Five Only | 3006 | 110 | 124.432 | 3400.3872 | 50 | 60 | 67.872 | 48 | 54.2976 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Removal of rubbish,earth etc. from the working site and disposal of the same beyond the compound, in conformity with the Municipal / Corporation Rules for such disposal, loading into truck and cleaning the site in all respect as per direction of Engineer in charge | BI01010001010000000000000515BI0100001117 | 65 | cum | 187.7792 | 12205.648 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12205.648 | 12205.648 | INR Twelve Thousand Two Hundred & Five and Paise Sixty Five Only | 447 | 633.27 | 716.355 | 505.6464 | 48 | 57.6 | 65.1571 | 166 | 187.7792 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Dismantling artificial stone flooring upto 50 mm. thick by carefully chiselling without damaging the base and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001118 | 100 | Sqm | 56.56 | 5656 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5656 | 5656 | INR Five Thousand Six Hundred & Fifty Six Only | 497 | 324 | 366.5088 | 562.2064 |  | 166 | 187.7792 | 50 | 56.56 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed | BI01010001010000000000000515BI0100001119 | 500 | Sqm | 21.4928 | 10746.4 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10746.4 | 10746.4 | INR Ten Thousand Seven Hundred & Forty Six and Paise Forty Only | 547 | 4006 | 4531.5872 | 618.7664 |  | 50 | 56.56 | 19 | 21.4928 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Applying 2 coats of bonding agent with synthetic multifunctional rubber emulsion having adhesive and water proofing properties by mixing with water in proportion (1 bonding agent : 4 water : 6 cement) as per Manufacturer's specification. For Water Proofing | BI01010001010000000000000515BI0100001120 | 50 | SqM | 99.5456 | 4977.28 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4977.28 | 4977.28 | INR Four Thousand Nine Hundred & Seventy Seven and Paise Twenty Eight Only | 597 | 5702 | 6450.1024 | 675.3264 |  | 939 | 1062.1968 | 88 | 99.5456 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Applying epoxy based reactive joining agent for joining the old concrete with fresh concrete to be applied within manufacturer's specified time as per manufacturers specification. (0.4 Kg / m² of concrete surface). | BI01010001010000000000000515BI0100001121 | 10 | Sqm | 349.5408 | 3495.408 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3495.408 | 3495.408 | INR Three Thousand Four Hundred & Ninety Five and Paise Forty One Only | 328 | 5797 | 6557.5664 | 371.0336 |  | 447 | 505.6464 | 309 | 349.5408 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. (ii) c/ With 1:4 cement mortar 10 mm thick plaster. Ceiling Plaster (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001122 | 110 | SqM | 142.5312 | 15678.432 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15678.432 | 15678.432 | INR Fifteen Thousand Six Hundred & Seventy Eight and Paise Forty Three Only | 346 | 5892 | 6665.0304 | 391.3952 |  | 57 | 64.4784 | 126 | 142.5312 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. With 1:4 cement mortar 15mm thick plaster INSIDE (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001123 | 300 | SqM | 177.5984 | 53279.52 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53279.52 | 53279.52 | INR Fifty Three Thousand Two Hundred & Seventy Nine and Paise Fifty Two Only | 364 | 5987 | 6772.4944 | 411.7568 |  | 41 | 46.3792 | 157 | 177.5984 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. With 1:6 cement mortar 20mm thick plaster OUTSIDE (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001124 | 120 | SqM | 182.1232 | 21854.784 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21854.784 | 21854.784 | INR Twenty One Thousand Eight Hundred & Fifty Four and Paise Seventy Eight Only | 382 | 6082 | 6879.9584 | 432.1184 |  | 278 | 314.4736 | 161 | 182.1232 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Neat cement punning about 1.5mm thick in wall,dado,window sill,floor etc. NOTE:Cement 0.152 cu.m per100 sq.m. | BI01010001010000000000000515BI0100001125 | 140 | SqM | 38.4608 | 5384.512 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5384.512 | 5384.512 | INR Five Thousand Three Hundred & Eighty Four and Paise Fifty One Only | 6665.34 | 363 | 410.6256 | 7539.8326 |  | 19 | 21.4928 | 34 | 38.4608 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Colour washing with "ELLA" with a coat of white wash priming including cleaning and smoothening surface thoroughly : (i) Internal (all floors) (b) Two coats | BI01010001010000000000000515BI0100001126 | 280 | SqM | 24.3547 | 6819.3261 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6819.3261 | 6819.3261 | INR Six Thousand Eight Hundred & Nineteen and Paise Thirty Three Only | 6760.34 | 381 | 430.9872 | 7647.2966 | 90 | 108 | 122.1696 | 21.53 | 24.3547 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | White washing including cleaning and smoothening surface thoroughly All floors : (b) Two coats (to be done on specific instruction). | BI01010001010000000000000515BI0100001127 | 180 | SqM | 20.52 | 3693.5942 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3693.5942 | 3693.5942 | INR Three Thousand Six Hundred & Ninety Three and Paise Fifty Nine Only | 6855.34 | 399 | 451.3488 | 7754.7606 | 313 | 375.6 | 424.8787 | 18.14 | 20.52
17 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001128 | 25 | SqM | 32.8048 | 820.12 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 820.12 | 820.12 | INR Eight Hundred & Twenty and Paise Twelve Only | 6950.34 | 417 | 471.7104 | 7862.2246 | 176 | 211.2 | 238.9094 | 29 | 32.8048
18 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary . On Steel and other Metal Surface .Two coat with any shade except white.With super gloss (hi-gloss) - (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001129 | 30 | SqM | 89.3648 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2680.944 | 2680.944 | INR Two Thousand Six Hundred & Eighty and Paise Ninety Four Only | 73743 | 435 | 492.072 | 83418.0816 | 186 | 223.2 | 252.4838 | 79 | 89.3648
19 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001130 | 140 | SqM | 42.9856 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6017.984 | 6017.984 | INR Six Thousand &Seventeen and Paise Ninety Eight Only | 74173 | 73743 | 83418.0816 | 83904.4976 | 34 | 40.8 | 46.153 | 38 | 42.9856
20 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary :(a) On timber or plastered surface. With super gloss (hi-gloss) -(iv) Two coats (with any shade except white) (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001131 | 140 | SqM | 91.6272 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12827.808 | 12827.808 | INR Twelve Thousand Eight Hundred & Twenty Seven and Paise Eighty One Only | 74603 | 74173 | 83904.4976 | 84390.9136 | 34.4 | 41.28 | 46.6959 | 81 | 91.6272
21 | 18 mm. to 22 mm. thick, kota stone slab set in 20 mm thick (avg) cement mortar (1:4) in floor, stair & lobby including pointing in cement slurry with admixture of pigment matching the stone shade, including grinding & polishing as per direction of Engineer - in - charge to match with the existing work. [Slurry for bedding @ 4.4 kg/Sq.m and pointing @2.0 kg/Sq.m] (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001132 | 5 | SqM | 1144.7744 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5723.872 | 5723.872 | INR Five Thousand Seven Hundred & Twenty Three and Paise Eighty Seven Only | 75033 | 74603 | 84390.9136 | 84877.3296 | 46 | 55.2 | 62.4422 | 1012 | 1144.7744
22 | Labour for setting Kota / Dungri stone slabs in cement mortar (1:2) including necessary underlay of mortar (1:2). | BI01010001010000000000000515BI0100001133 | 5 | SqM | 234.1584 | 1170.792 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1170.792 | 1170.792 | INR One Thousand One Hundred & Seventy and Paise Seventy Nine Only | 19 | 75033 | 84877.3296 | 21.4928 | 71 | 85.2 | 96.3782 | 207 | 234.1584
23 | Extra cost of labour for grinding Kota Stone Floor in treads and riser of Steps. | BI01010001010000000000000515BI0100001134 | 5 | SqM | 236.4208 | 1182.104 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1182.104 | 1182.104 | INR One Thousand One Hundred & Eighty Two and Paise Ten Only | 739 | 75463 | 85363.7456 | 835.9568 | 85 | 102 | 115.3824 | 209 | 236.4208
24 | Extra cost of labour for pre finish and pre moulded nosing to treads of steps,railing,window sil etc of kota stone. | BI01010001010000000000000515BI0100001135 | 9 | Rm | 253.3888 | 20440 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2280.4992 | 2280.4992 | INR Two Thousand Two Hundred & Eighty and Paise Fifty Only | 50 | 5172 | 5850.5664 | 56.56 | 30 | 36 | 40.7232 | 224 | 253.3888
25 | Supplying, fitting and fixing Black Stone slab used in Kitchen slab, alcove, wardrobe etc. laid and jointed with necessary adhesive Cement mortar (1:2) including grinding or polishing as per direction of Engineer-in -Charge in Ground Floor.(a) Slab Thickness 20 to 25 mm (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001136 | 6 | Sq.M | 727.3616 | 18424 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4364.1696 | 4364.1696 | INR Four Thousand Three Hundred & Sixty Four and Paise Seventeen Only | 56 | 5395 | 6102.824 | 63.3472 | 80 | 96 | 108.5952 | 643 | 727.3616
26 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (ii) 25 mm thick (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001137 | 8 | SqM | 2919.6272 | 60825.1 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23357.0176 | 23357.0176 | INR Twenty Three Thousand Three Hundred & Fifty Seven and Paise Two Only | 62 | 5506 | 6228.3872 | 70.1344 | 38 | 45.6 | 51.5827 | 2581 | 2919.6272
27 | Supplying, fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to safisfy IS: 4020 door testing performance criteria. (ii) 66mm x 70mm (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001138 | 18 | Mtr. | 504.5152 | 57600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9081.2736 | 9081.2736 | INR Nine Thousand &Eighty One and Paise Twenty Seven Only | 90 | 5617 | 6353.9504 | 101.808 | 82 | 98.4 | 111.3101 | 446 | 504.5152
28 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (c) Sal Siliguri (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001139 | 0.153 | CuM. | 92686.0032 | 364255.6 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14180.9585 | 14180.9585 | INR Fourteen Thousand One Hundred & Eighty and Paise Ninety Six Only | 782 | 5728 | 6479.5136 | 884.5984 | 1294 | 1552.8 | 1756.5274 | 81936 | 92686.0032
29 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in ground floor.(a) 32 mm thick shutters (single leaf) (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001140 | 5 | SqM | 2668.5008 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13342.504 | 13342.504 | INR Thirteen Thousand Three Hundred & Forty Two and Paise Fifty Only | 206 | 5839 | 6605.0768 | 233.0272 | 792 | 950.4 | 1075.0925 | 2359 | 2668.5008
30 | M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S, W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor. (ii) Grill weighing above 10 Kg. /sq.mtr and up to 16 Kg. /sq. Mtr (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001141 | 1.15 | Qntl | 11335.7552 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13036.1185 | 13036.1185 | INR Thirteen Thousand &Thirty Six and Paise Twelve Only | 586 | 674 | 762.4288 | 662.8832 | 796 | 955.2 | 1080.5222 | 10021 | 11335.7552
31 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod) (v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001142 | 4 | Each | 116.5136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 466.0544 | 466.0544 | INR Four Hundred & Sixty Six and Paise Five Only | 88 | 686 | 776.0032 | 99.5456 | 655 | 786 | 889.1232 | 103 | 116.5136
32 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately). 40mm X 6mm, 250mm Length | BI01010001010000000000000515BI0100001143 | 28 | Each | 32.8048 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 918.5344 | 918.5344 | INR Nine Hundred & Eighteen and Paise Fifty Three Only | 5653 | 698 | 789.5776 | 6394.6736 | 81936 | 98323.2 | 111223.2038 | 29 | 32.8048
33 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001144 | 53 | Each | 48.6416 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2578.0048 | 2578.0048 | INR Two Thousand Five Hundred & Seventy Eight Only | 264 | 710 | 803.152 | 298.6368 | 3016 | 3619.2 | 4094.039 | 43 | 48.6416
34 | Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting. 250 mm long. | BI01010001010000000000000515BI0100001145 | 4 | Each | 179.8608 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 719.4432 | 719.4432 | INR Seven Hundred & Nineteen and Paise Forty Four Only | 267.96 | 196 | 221.7152 | 303.1164 | 2701 | 3241.2 | 3666.4454 | 159 | 179.8608
35 | Door stopper.(Brass) | BI01010001010000000000000515BI0100001146 | 4 | Each | 132.3504 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 529.4016 | 529.4016 | INR Five Hundred & Twenty Nine and Paise Forty Only | 271.98 | 1012 | 1144.7744 | 307.6638 | 466 | 559.2 | 632.567 | 117 | 132.3504
36 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. 200mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001147 | 25 | Each | 88.2336 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2205.84 | 2205.84 | INR Two Thousand Two Hundred & Five and Paise Eighty Four Only | 745 | 1024 | 1158.3488 | 842.744 | 82001 | 98401.2 | 111311.4374 | 78 | 88.2336
37 | Supplying bubble free float glass of approved make and brand conforming to IS: 2835-1987. ii) 4mm thick coloured / tinted / smoke glass. | BI01010001010000000000000515BI0100001148 | 8 | SqM. | 529.4016 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4235.2128 | 4235.2128 | INR Four Thousand Two Hundred & Thirty Five and Paise Twenty One Only | 750 | 1036 | 1171.9232 | 848.4 | 2907 | 3488.4 | 3946.0781 | 468 | 529.4016
38 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (20mm nominal size) excluding shuttering and reinforcement,if any, in gound floor as per relevant IS codes River bazree | BI01010001010000000000000515BI0100001149 | 5 | CuM. | 4531.5872 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22657.936 | 22657.936 | INR Twenty Two Thousand Six Hundred & Fifty Seven and Paise Ninety Four Only | 755 | 1048 | 1185.4976 | 854.056 | 10286 | 12343.2 | 13962.6278 | 4006 | 4531.5872
39 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 100 mm | BI01010001010000000000000515BI0100001150 | 30 | Mtr. | 1282.7808 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38483.424 | 38483.424 | INR Thirty Eight Thousand Four Hundred & Eighty Three and Paise Forty Two Only | 750 | 224 | 253.3888 | 848.4 | 655 | 786 | 889.1232 | 1134 | 1282.7808
40 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (b) For Concealed work 20 mm | BI01010001010000000000000515BI0100001151 | 35 | Mtr. | 178.7296 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6255.536 | 6255.536 | INR Six Thousand Two Hundred & Fifty Five and Paise Fifty Four Only | 755 | 1150 | 1300.88 | 854.056 | 125 | 150 | 169.68 | 158 | 178.7296
41 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (ii) Door Tee (110 mm) | BI01010001010000000000000515BI0100001152 | 4 | Each | 220.584 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 882.336 | 882.336 | INR Eight Hundred & Eighty Two and Paise Thirty Four Only | 760 | 1162 | 1314.4544 | 859.712 | 30 | 36 | 40.7232 | 195 | 220.584
42 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (iv) Door Bend T.S 110 mm | BI01010001010000000000000515BI0100001153 | 4 | Each | 166.2864 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 665.1456 | 665.1456 | INR Six Hundred & Sixty Five and Paise Fifteen Only | 186 | 1174 | 1328.0288 | 210.4032 | 43 | 51.6 | 58.3699 | 147 | 166.2864
43 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (v) Plain Tee 110 mm | BI01010001010000000000000515BI0100001154 | 4 | Each | 96.152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 384.608 | 384.608 | INR Three Hundred & Eighty Four and Paise Sixty One Only | 190 | 1186 | 1341.6032 | 214.928 | 163 | 195.6 | 221.2627 | 85 | 96.152
44 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (vii) Pipe Clip 110 mm | BI01010001010000000000000515BI0100001155 | 25 | Each | 23.7552 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 593.88 | 593.88 | INR Five Hundred & Ninety Three and Paise Eighty Eight Only | 194 | 698 | 789.5776 | 219.4528 | 123 | 147.6 | 166.9651 | 21 | 23.7552
45 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 (B) Fittings (vii) Vent Cowl 110mm | BI01010001010000000000000515BI0100001156 | 4 | Each | 37.3296 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149.3184 | 149.3184 | INR One Hundred & Forty Nine and Paise Thirty Two Only | 198 | 703 | 795.2336 | 223.9776 | 79 | 94.8 | 107.2378 | 33 | 37.3296
46 | Supplying, fitting and fixing white vitreous china best quality approved make wash basin with C.I. brackets on 75 mm X 75 mm wooden blocks, C.P. waste fittings of 32 mm dia., one approved quality brass C.P. pillar cock of 15 mm dia., C.P. chain with rubber plug of 32 mm dia., approved quality P.V.C. waste pipe with C.P. nut 32 mm dia., 900 mm long approved quality P.V.C. connection pipe with heavy brass C.P. nut including mending good all damages and painting the brackets with two coats of approved paint. i) 450 mm X 300 mm size | BI01010001010000000000000515BI0100001157 | 3 | Each | 2238.6448 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6715.9344 | 6715.9344 | INR Six Thousand Seven Hundred & Fifteen and Paise Ninety Three Only | 161 | 708 | 800.8896 | 182.1232 | 16 | 19.2 | 21.719 | 1979 | 2238.6448
47 | Supplying, fitting and fixing approved brand 32 mm dia. P.V.C. waste pipe, with coupling at one end fitted with necessary clamps. 1050 mm long | BI01010001010000000000000515BI0100001158 | 3 | Each | 102.9392 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 308.8176 | 308.8176 | INR Three Hundred & Eight and Paise Eighty Two Only | 165 | 713 | 806.5456 | 186.648 | 480 | 576 | 651.5712 | 91 | 102.9392
48 | Supplying,fitting and fixing approved brand P.V.C. CONNECTOR white flexible, with both ends coupling with heavy brass C.P. nut, 15 mm dia. (iii) 600 mm long | BI01010001010000000000000515BI0100001159 | 3 | Each | 121.0384 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 363.1152 | 363.1152 | INR Three Hundred & Sixty Three and Paise Twelve Only | 169 | 703 | 795.2336 | 191.1728 | 5309 | 6370.8 | 7206.649 | 107 | 121.0384
49 | Supplying, fitting and fixing pillar cock of approved make. a) (ii) CP Pillar Cock Super Deluxe with Aerator - 15 mm. (Equivalent to Code No. 508 & Model No. Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001160 | 3 | Each | 669.6704 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2009.0112 | 2009.0112 | INR Two Thousand &Nine and Paise One Only | 173 | 708 | 800.8896 | 195.6976 | 292 | 350.4 | 396.3725 | 592 | 669.6704
50 | Supplying, fitting and fixing towel rail with two brackets. (a) (ii)C.P. over brass (iii) 25 mm dia. and 750 mm long | BI01010001010000000000000515BI0100001161 | 5 | Each | 537.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2686.6 | 2686.6 | INR Two Thousand Six Hundred & Eighty Six and Paise Sixty Only | 129 | 713 | 806.5456 | 145.9248 | 195 | 234 | 264.7008 | 475 | 537.32
51 | Supplying, fitting and fixing liquid soap container.(c) Fibre glass. | BI01010001010000000000000515BI0100001162 | 7 | Each | 212.6656 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1488.6592 | 1488.6592 | INR One Thousand Four Hundred & Eighty Eight and Paise Sixty Six Only | 133 | 718 | 812.2016 | 150.4496 | 147 | 176.4 | 199.5437 | 188 | 212.6656
52 | Supplying, fitting and fixing best quality Indian make mirror 5.5 mm thick with silvering as per I.S.I. specifications supported on fibre glass frame of any colour, frame size 550 mm X 400 mm | BI01010001010000000000000515BI0100001163 | 3 | Each | 693.4256 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2080.2768 | 2080.2768 | INR Two Thousand &Eighty and Paise Twenty Eight Only | 137 | 1269 | 1435.4928 | 154.9744 | 85 | 102 | 115.3824 | 613 | 693.4256
53 | Chromium plated Bib Cock (angular shape with wall flange) (Equivalent to Code No. 5037 & Model - Florentine of Jaquar or similar brand). | BI01010001010000000000000515BI0100001164 | 5 | Each | 973.9632 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4869.816 | 4869.816 | INR Four Thousand Eight Hundred & Sixty Nine and Paise Eighty Two Only | 141 | 1274 | 1441.1488 | 159.4992 | 21 | 25.2 | 28.5062 | 861 | 973.9632
54 | Chromium plated angular Stop Cock with wall flange (Equivalent to Code No. 5053 & Model - Florentine of Jaquar or similar brand). | BI01010001010000000000000515BI0100001165 | 3 | Each | 921.928 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2765.784 | 2765.784 | INR Two Thousand Seven Hundred & Sixty Five and Paise Seventy Eight Only | 119 | 1279 | 1446.8048 | 134.6128 | 33 | 39.6 | 44.7955 | 815 | 921.928
55 | Supplying, fitting and fixing C.I. round grating. (ii) 150 mm | BI01010001010000000000000515BI0100001166 | 8 | Each | 96.152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 769.216 | 769.216 | INR Seven Hundred & Sixty Nine and Paise Twenty Two Only | 71907 | 1284 | 1452.4608 | 81341.1984 | 57 | 68.4 | 77.3741 | 85 | 96.152
56 | Chromium plated round shower with revolving joint 100 mm dia with rubid cleaning system (Equivalent to Code No. 542(N) & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001167 | 2 | Each | 511.3024 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1022.6048 | 1022.6048 | INR One Thousand &Twenty Two and Paise Sixty Only | 25 | 2313 | 2616.4656 | 28.28 | 84 | 100.8 | 114.025 | 452 | 511.3024
57 | Dismantling Orissa pattern W.C. including taking out of base concrete, if necessary, complete | BI01010001010000000000000515BI0100001168 | 2 | Each | 50.904 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 101.808 | 101.808 | INR One Hundred & One and Paise Eighty One Only | 2270 | 10021 | 11335.7552 | 2567.824 | 861 | 1033.2 | 1168.7558 | 45 | 50.904
58 | Supplying, fitting and fixing Orissa pattern water closet in white glazed vitreous chinaware of approved make in position complete excluding 'P' or 'S' trap (excluding cost of concrete for fixing). (i) 580 mm X 440 mm | BI01010001010000000000000515BI0100001169 | 2 | Each | 1824.6256 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3649.2512 | 3649.2512 | INR Three Thousand Six Hundred & Forty Nine and Paise Twenty Five Only | 477 | 10121.21 | 11449.1128 | 539.5824 | 815 | 978 | 1106.3136 | 1613 | 1824.6256
59 | Supplying P.V.C. water storage tank of approved quality with closed top with lid (Black) - Multilayer (f) 2000 litre capacity | BI01010001010000000000000515BI0100001170 | 1 | Each | 11802.9408 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11802.9408 | 11802.9408 | INR Eleven Thousand Eight Hundred & Two and Paise Ninety Four Only | 2968 | 10222.4221 | 11563.6039 | 3357.4016 | 3788 | 4545.6 | 5141.9827 | 10434 | 11802.9408
60 | Labour for hoisting plastic water storage tank. (f) 2000 litre capacity | BI01010001010000000000000515BI0100001171 | 1 | Each | 174.2048 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 174.2048 | 174.2048 | INR One Hundred & Seventy Four and Paise Twenty Only | 47 | 10324.6463 | 11679.2399 | 53.1664 | 73761 | 88513.2 | 100126.1318 | 154 | 174.2048
61 | Reinforcement for reinforced concrete work in all sorts of structuresincluding distribution bars, stirrups, binders etc initial straightening andremoval of loose rust (if necessary), cutting to requisite length, hooking bending to correct shape, placing in proper position andbinding with 16gauge black annealed wire at every intersection, complete as per drawingand direction. | BI01010001010000000000000515BI0100001172 | 0.3 | M.T | 83418.0816 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25025.4245 | 25025.4245 | INR Twenty Five Thousand &Twenty Five and Paise Forty Two Only | 40 | 4351 | 4921.8512 | 45.248 | 334 | 400.8 | 453.385 | 73743 | 83418.0816
62 | Hire and labour charges for shuttering with centering and necessary stagingupto 4 m using approved stout props and thick hard wood planks of approved thickness with required bracing for concrete slabs, beams and columns,lintels curved or straight including fitting, fixing and striking out aftercompletion of works (upto roof of ground floor) (a) 25 mm to 30 mm thick wooden shuttering as per decision & direction ofengineer in-charge | BI01010001010000000000000515BI0100001173 | 51 | sqm | 371.0336 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18922.7136 | 18922.7136 | INR Eighteen Thousand Nine Hundred & Twenty Two and Paise Seventy One Only | 17 | 81936 | 92686.0032 | 19.2304 | 6719 | 8062.8 | 9120.6394 | 328 | 371.0336
63 | Brick work with 1st class bricks in cement mortar (1:4) (a) In foundation and plinth | BI01010001010000000000000515BI0100001174 | 5 | cum | 5850.5664 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29252.832 | 29252.832 | INR Twenty Nine Thousand Two Hundred & Fifty Two and Paise Eighty Three Only | 10021 | 82136 | 92912.2432 | 11335.7552 | 119 | 142.8 | 161.5354 | 5172 | 5850.5664
64 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. upto 150 mm thick. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001175 | 8 | cum | 1062.1968 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8497.5744 | 8497.5744 | INR Eight Thousand Four Hundred & Ninety Seven and Paise Fifty Seven Only | 10121.21 | 82336 | 93138.4832 | 11449.1128 | 21 | 25.2 | 28.5062 | 939 | 1062.1968
65 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001176 | 11.26 | cum | 505.6464 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5693.5785 | 5693.5785 | INR Five Thousand Six Hundred & Ninety Three and Paise Fifty Eight Only | 10222.4221 | 82536 | 93364.7232 | 11563.6039 | 11.35 | 13.62 | 15.4069 | 447 | 505.6464
66 | Extra rate for careful dismantling and recovering at least 150 no of useable bricks per cum. | BI01010001010000000000000515BI0100001177 | 11.26 | cum | 64.4784 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 726.0268 | 726.0268 | INR Seven Hundred & Twenty Six and Paise Three Only | 4351 | 2659 | 3007.8608 | 4921.8512 | 6.92 | 8.304 | 9.3935 | 57 | 64.4784
67 | Taking out old iron higes and fitting, fixing the same with new steel screws e) 100mm. Long butt hinge. | BI01010001010000000000000515BI0100001178 | 45 | Each | 18.0992 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 814.464 | 814.464 | INR Eight Hundred & Fourteen and Paise Forty Six Only | 29 | 2673 | 3023.6976 | 32.8048 | 6471 | 7765.2 | 8783.9942 | 16 | 18.0992
68 | Labour for taking out door and window frame including shutter for repair orreplacement of different parts of the frame & refixing the same including mendinggood all damaes complete. (Concrete and brick work for mending damage will bepaid separately) (a) Upto area 2.5 Sq.m (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001179 | 45 | SqM | 134.6128 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6057.576 | 6057.576 | INR Six Thousand &Fifty Seven and Paise Fifty Eight Only | 38 | 2687 | 3039.5344 | 42.9856 | 769 | 922.8 | 1043.8714 | 119 | 134.6128
69 | Labour for Chipping of concrete surface before taking up Plastering work. | BI01010001010000000000000515BI0100001180 | 75 | SqM | 23.7552 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1781.64 | 1781.64 | INR One Thousand Seven Hundred & Eighty One and Paise Sixty Four Only | 129 | 713 | 806.5456 | 145.9248 | 4132 | 4751.8 | 5375.2362 | 21 | 23.7552
70 | Closing gap between door and window frame and jambs withcement mortar (1:3) including removing old mortar (throughoutentire surface of contact) and cleaning the joint. (Cement 0.012Cu.m/100 Mtr.) | BI01010001010000000000000515BI0100001181 | 160 | Rmt | 12.364 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1978.2426 | 1978.2426 | INR One Thousand Nine Hundred & Seventy Eight and Paise Twenty Four Only | 133 | 718 | 812.2016 | 150.4496 | 4386 | 5043.9 | 5705.6597 | 10.93 | 12.364
71 | Repairing cracks in floor with cement mortar (1:2) with necessary pigment to match with existing works, including prior cutting and cleaning the cracks as directed | BI01010001010000000000000515BI0100001182 | 270 | Rmt | 7.7374 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2089.1002 | 2089.1002 | INR Two Thousand &Eighty Nine and Paise Ten Only | 137 | 1269 | 1435.4928 | 154.9744 | 139 | 159.85 | 180.8223 | 6.84 | 7.7374
72 | Galvanised corrugated iron sheet work (excluding the supporting frame work) fitted and fixed with 10 mm. dia J or L hook-bolts, limpet and bitumen washers and putty complete with 150 mm. end lap and one corrugation minimum side lap. (Payment to be made on area of finished work)(GCI sheet to be supplied by contractor) (i) In Roof: c) With 0.80 mm thick sheet | BI01010001010000000000000515BI0100001183 | 30 | Sqm | 911.7472 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27352.416 | 27352.416 | INR Twenty Seven Thousand Three Hundred & Fifty Two and Paise Forty Two Only | 141 | 1274 | 1441.1488 | 159.4992 | 65 | 74.75 | 84.5572 | 806 | 911.7472
73 | Controlled Cement concrete with well graded stone chips (20 mm graded nominal size) excluding shuttering and reinforcement with complete design of concrete as per IS : 456 and relevant special publications, submission of job mix formula after preliminary mix design after testing of concrete cubes as per direction of Engineer-in charge. Consumption of cement will not be less than 300 Kg of cement with Super plasticiser per cubic meter of controlled concrete but actual consumption will be determined on the basis of preliminary test and job mix foumula. In ground floor and foundation. [using concrete mixture] M 20 Grade (ii ) N.B. Variety (Stone Metal) | BI01010001010000000000000515BI0100001184 | 5 | Cum | 6051.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30259.6 | 30259.6 | INR Thirty Thousand Two Hundred & Fifty Nine and Paise Sixty Only | 119 | 1279 | 1446.8048 | 134.6128 | 48 | 55.2 | 62.4422 | 5350 | 6051.92
74 | Application of priming coat for standard bituminous waterproofing treatment over flat roof with Bitumen primer of approved brand fufilling the provision of I.S. 1346 - 1991 & 3384 - 1986 applied @ 0.27 Liters /Sq.m. over clean and prepared roof surface complete as per satisfaction of the Engineer - in - Charge. All Floor - | BI01010001010000000000000515BI0100001185 | 140 | sqm | 27.1488 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3800.832 | 3800.832 | INR Three Thousand Eight Hundred and Paise Eighty Three Only | 71907 | 1284 | 1452.4608 | 81341.1984 | 65 | 74.75 | 84.5572 | 24 | 27.1488
75 | Artificial stone in floor, dado, staircase etc with cement concrete (1:2:4) with stone chips, laid in panels as directed with topping made with ordinary or white cement (as necessary) and marble dust in proportion (1:2) including smooth finishing and rounding off corners including raking out joints or roughening of concrete surface and application of cement slurry before flooring works using cement @ 1.75 kg/sq.m all complete including all materials and labour. In ground floor. 3 mm. thick topping (High polishing grinding on this item is not permitted with ordinary cement). Using grey cement (ii) 25 mm. Thick | BI01010001010000000000000515BI0100001186 | 150 | SQM | 305.424 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45813.6 | 45813.6 | INR Forty Five Thousand Eight Hundred & Thirteen and Paise Sixty Only | 25 | 2313 | 2616.4656 | 28.28 | 246 | 282.9 | 320.0165 | 270 | 305.424
76 | ELECTRICAL (SCHEDULE ITEM) S & F 240V, 32A DP main switch on flat iron frame (make Havells) on wall with nuts bolts etc. incl. S & F 2 nos DIN type HRC fuse. | BI01010001010000000000000515BI0100001187 | 1 | nos. | 1545.6604 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1545.6604 | 1545.6604 | INR One Thousand Five Hundred & Forty Five and Paise Sixty Six Only | 2270 | 10021 | 11335.7552 | 2567.824 | 1074 | 1235.1 | 1397.1451 | 1277 | 1545.6604
77 | Supply & fixing SPN MCB DB (2+8) WAY (Make legrand/ Seimens/ABB) with S.S. Enclosure concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 8 Nos. | BI01010001010000000000000515BI0100001188 | 1 | set | 4049.9449 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4049.9449 | 4049.9449 | INR Four Thousand &Forty Nine and Paise Ninety Four Only | 477 | 10121.21 | 11449.1128 | 539.5824 | 249 | 286.35 | 323.9191 | 3346 | 4049.9449
78 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection 3x1.5 sqmm | BI01010001010000000000000515BI0100001189 | 11 | mtr | 58.0984 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 639.0828 | 639.0828 | INR Six Hundred & Thirty Nine and Paise Eight Only | 2968 | 10222.4221 | 11563.6039 | 3357.4016 | 938 | 1078.7 | 1220.2254 | 48 | 58.0984
79 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection (2x2.5+1x1.5) sq mm | BI01010001010000000000000515BI0100001190 | 24 | mtr | 78.675 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1888.199 | 1888.199 | INR One Thousand Eight Hundred & Eighty Eight and Paise Twenty Only | 47 | 10324.6463 | 11679.2399 | 53.1664 | 387 | 445.05 | 503.4406 | 65 | 78.675
80 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection 2 X 4 + 1 X 2.5 Sqmm.(SPN ) | BI01010001010000000000000515BI0100001191 | 17 | mtr | 114.9865 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1954.7702 | 1954.7702 | INR One Thousand Nine Hundred & Fifty Four and Paise Seventy Seven Only | 40 | 4351 | 4921.8512 | 45.248 | 1208 | 1389.2 | 1571.463 | 95 | 114.9865
81 | Cutting Channel of size (40 mm x 40 mm) on masonry wall byElectric operated cutting machine incl. supplying & fixingheavy gauge 19 mm, 3 mm thick Polythene pipe by means ofanchoring chemical (Hilti/Sika) and GI 'U' hooks of 8 SWGincl. supplying and drawing 18 SWG GI wire as Fish wire andmending good damages to original finish by using own toolsand tackles | BI01010001010000000000000515BI0100001192 | 45 | mtr | 78.675 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3540.3732 | 3540.3732 | INR Three Thousand Five Hundred & Forty and Paise Thirty Seven Only | 17 | 81936 | 92686.0032 | 19.2304 | 456 | 524.4 | 593.2013 | 65 | 78.675
82 | Laying only cable up to 50 sqmm through open massenary trench | BI01010001010000000000000515BI0100001193 | 25 | mtr | 52.0465 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1301.1628 | 1301.1628 | INR One Thousand Three Hundred & One and Paise Sixteen Only | 10021 | 82136 | 92912.2432 | 11335.7552 | 439 | 504.85 | 571.0863 | 43 | 52.0465
83 | Suppply and laying no 10 swg GI wire | BI01010001010000000000000515BI0100001194 | 35 | mtr | 7.2623 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 254.1806 | 254.1806 | INR Two Hundred & Fifty Four and Paise Eighteen Only | 10121.21 | 82336 | 93138.4832 | 11449.1128 | 100 | 115 | 130.088 | 6 | 7.2623
84 | Laying of cable upto 2 core 25 sqmm on wall/surface incl. S & FMS saddles with earthing attachment in 10 SWG GI (Hot Dip)Wire, making holes etc. as necy. mending good damages and Panting (2core 6sq. Mm). | BI01010001010000000000000515BI0100001195 | 10 | mtr | 68.9919 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 689.9189 | 689.9189 | INR Six Hundred & Eighty Nine and Paise Ninety Two Only | 10222.4221 | 82536 | 93364.7232 | 11563.6039 | 579 | 665.85 | 753.2095 | 57 | 68.9919
85 | S & F compression type cable gland complete with brass gland, brass ring, rubber ring for dust & moisture proof entry of PVC armoured cable & finishing end of the same as per GS for the 2 core 10 sqmm cable | BI01010001010000000000000515BI0100001196 | 2 | nos. | 121.0384 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 242.0768 | 242.0768 | INR Two Hundred & Forty Two and Paise Eight Only | 4351 | 2659 | 3007.8608 | 4921.8512 | 1369 | 1574.35 | 1780.9047 | 100 | 121.0384
86 | Supply & fixing of 1 nos of 240V 32A DP MCB (Legrand) in 2-way DP SS enclosure (Legrand) incl earthing attachment. | BI01010001010000000000000515BI0100001197 | 1 | set | 987.6733 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 987.6733 | 987.6733 | INR Nine Hundred & Eighty Seven and Paise Sixty Seven Only | 29 | 2673 | 3023.6976 | 32.8048 | 156 | 179.4 | 202.9373 | 816 | 987.6733
87 | Supplying & Fixing bulk head light fitting (Havells make) with diecast aluminium housing & frosted glass on wall/ceiling incl. S&F8watt CFL complete set. | BI01010001010000000000000515BI0100001198 | 5 | each | 700.8123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3504.0617 | 3504.0617 | INR Three Thousand Five Hundred & Four and Paise Six Only | 38 | 2687 | 3039.5344 | 42.9856 | 400 | 404 | 457.0048 | 579 | 700.8123
88 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 20mm pvc rigid conduct only celling portion and reamining portion concealed in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to light/fan/call bell points with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board with top cover plate flushed in wall incl. mending good damages to original finish(Ave. run 8mtr.) | BI01010001010000000000000515BI0100001199 | 48 | pts | 1299.9524 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62397.716 | 62397.716 | INR Sixty Two Thousand Three Hundred & Ninety Seven and Paise Seventy Two Only |  |  |  |  | 823 | 831.23 | 940.2874 | 1074 | 1299.9524
89 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish a) on board | BI01010001010000000000000515BI0100001200 | 5 | pts | 301.3856 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1506.9281 | 1506.9281 | INR One Thousand Five Hundred & Six and Paise Ninety Three Only |  |  |  |  | 2210 | 2232.1 | 2524.9515 | 249 | 301.3856
90 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish b) Ave 4.5 mtr | BI01010001010000000000000515BI0100001201 | 5 | pts | 1135.3402 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5676.701 | 5676.701 | INR Five Thousand Six Hundred & Seventy Six and Paise Seventy Only |  |  |  |  | 3090 | 3120.9 | 3530.3621 | 938 | 1135.3402
91 | Supply & Fixing 240 V, 16 A, 3 pin Modular type Power plug socket (Cabtree) with 16A Modular type socket (Cabtree) with 16A Modular type switch, without plug top on 4 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001202 | 2 | each | 551.9351 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1103.8702 | 1103.8702 | INR One Thousand One Hundred & Three and Paise Eighty Seven Only |  |  |  |  | 170 | 171.7 | 194.227 | 456 | 551.9351
92 | Fixing only exhaust fan after making hole in wall and making good damages and smooth cement finish etc. as practicable as possible and providing necy. length of PVC insulated wire and making connection for exhaust & louvre shutter after cutting hole on wall & mending good the damages of following diameter: 30 cm (12") | BI01010001010000000000000515BI0100001203 | 1 | each | 531.3586 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 531.3586 | 531.3586 | INR Five Hundred & Thirty One and Paise Thirty Six Only | [7 empty] | 439 | 531.3586
93 | Supply & Fixing 240V, Modular Socket (2 Module) type fan regulator (Step type) (Brand approved by EIC) on existing Modular GI switch board with top cover plate incl. making necy. connections etc. | BI01010001010000000000000515BI0100001204 | 17 | each | 468.4186 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7963.1163 | 7963.1163 | INR Seven Thousand Nine Hundred & Sixty Three and Paise Twelve Only | [7 empty] | 387 | 468.4186
94 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001205 | 18 | each | 121.0384 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2178.6912 | 2178.6912 | INR Two Thousand One Hundred & Seventy Eight and Paise Sixty Nine Only | [7 empty] | 100 | 121.0384
95 | Earthing the installation by 50 mm dia. G.I. Pipe (ISI-M) of 3.64 mtr. Long driven to an depth of 3.65 mtr. Below the ground level including S/F 1X4 SWG. G.I. Earth wire (4 mtr. Long) with nuts bolts & washers. | BI01010001010000000000000515BI0100001206 | 1 | set | 1657.0157 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1657.0157 | 1657.0157 | INR One Thousand Six Hundred & Fifty Seven and Paise Two Only | [7 empty] | 1369 | 1657.0157
96 | ELECTRICAL (NON-SCHEDULE ITEM) Dismantling the existing damaged wiring including switches, distribution bords etc. with all accessories from wall/ roof as directed by the EIC. | BI01010001010000000000000515BI0100001207 | 1 | item | 386.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 386.83 | 386.83 | INR Three Hundred & Eighty Six and Paise Eighty Three Only | [7 empty] | 383 | 386.83
97 | Supply & delevery of 1.1 Kv grade XLPE Aluminium armoured cable(make Gloster/Nicco/Havells) 2 core 6 sq mm cable | BI01010001010000000000000515BI0100001208 | 35 | mtr | 102.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3570.35 | 3570.35 | INR Three Thousand Five Hundred & Seventy and Paise Thirty Five Only | [7 empty] | 101 | 102.01
98 | Supply 4' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton, cat no - DIJB12LT8-20, LLT8-20) | BI01010001010000000000000515BI0100001209 | 14 | set | 831.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11637.22 | 11637.22 | INR Eleven Thousand Six Hundred & Thirty Seven and Paise Twenty Two Only | [7 empty] | 823 | 831.23
99 | Supply & fixing of 1200mm sweep Ceiling Fan (Orient,New Bridge, White) or equivalent as approved by the EIC,complete with all acessaries Incl S/F necy copper flex wire. | BI01010001010000000000000515BI0100001210 | 1 | each | 2232.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2232.1 | 2232.1 | INR Two Thousand Two Hundred & Thirty Two and Paise Ten Only | [7 empty] | 2210 | 2232.1
100 | Supply of 425 mm (12") sweep heavy duty exhaust fan (EPC/ Crompton) | BI01010001010000000000000515BI0100001211 | 1 | each | 3120.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3120.9 | 3120.9 | INR Three Thousand One Hundred & Twenty and Paise Ninety Only | [7 empty] | 3090 | 3120.9
101 | Supply & fixing 3W LED night Lamp (Crompton/Philps) for batten light points | BI01010001010000000000000515BI0100001212 | 4 | Set | 171.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 686.8 | 686.8 | INR Six Hundred & Eighty Six and Paise Eighty Only | [7 empty] | 170 | 171.7
Total in Figures | [51 empty] | 714086.0721 | 475763.9398 | INR Four Lakh Seventy Five Thousand Seven Hundred & Sixty Three and Paise Ninety Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information