## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work:Renovation of G+1 storied P.S. Building along with renovation of Labpur P.S. Barrack Building at Labpur Under Birbhum District.
Contract No: WBPHIDCL/Addl.CE/NIT- 151(e)/2018-2019 For Sl.No.2 (1st Call)
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [55 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Regrading mouth of down pipe for easy out let of rain water including cement plaster (1:3) including cutting slope and mending damages. (Cement 57.0 Kg/100 Nos) | BI01010001010000000000000515BI0100001113 | 10.083 | Each | 19.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 193.9 | 193.9 | INR One Hundred & Ninety Three and Paise Ninety Only | 56.62 | 64.05 | 570.9 | [5 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Removing loose scales, blisters etc. from old painted surface and thoroughly smoothening the surface to make the same suitable for receiving fresh coat of paint | BI01010001010000000000000515BI0100001114 | 2250 | SqM | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53460 | 53460 | INR Fifty Three Thousand Four Hundred & Sixty Only | 21 | 23.76 | 47250 | [5 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (a) Upto area 2.5 Sq.m | BI01010001010000000000000515BI0100001115 | 53.925 | SqM | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7258.84 | 7258.84 | INR Seven Thousand Two Hundred & Fifty Eight and Paise Eighty Four Only | 10 | 11.31 | 539.25 | [5 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (b) Above area 2.5 Sq.m | BI01010001010000000000000515BI0100001116 | 8.25 | SqM | 165.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1362.57 | 1362.57 | INR One Thousand Three Hundred & Sixty Two and Paise Fifty Seven Only | 50 | 56.56 | 200 | [5 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Dismantling artificial stone flooring upto 50 mm. thick by carefully chiselling without damaging the base and removing rubbish as directed within a lead of 75 m. (a) In ground floor including roof. | BI01010001010000000000000515BI0100001117 | 145.405 | SqM | 56.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8224.11 | 8224.11 | INR Eight Thousand Two Hundred & Twenty Four and Paise Eleven Only | 48 | 54.3 | 6979.44 | [5 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Scraping and removing greasy soot from walls or ceiling of kitchen or similar smoke affected rooms and preparing the surface. | BI01010001010000000000000515BI0100001118 | 113.2 | SqM | 12.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1408.21 | 1408.21 | INR One Thousand Four Hundred & Eight and Paise Twenty One Only | 166 | 187.78 | 18791.2 | [5 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Cleaning the concrete surface by removing dirt and debris, marking defective locations and removing loose concrete by careful stripping untill hard surface is exposed, cutting the concrete to regular shape, wire brushing the exposed surface and removing debris from site complete as per direction of the Engineer - in - Charge. | BI01010001010000000000000515BI0100001119 | 53.23 | SqM | 101.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5419.35 | 5419.35 | INR Five Thousand Four Hundred & Nineteen and Paise Thirty Five Only | 50 | 56.56 | 2661.5 | [5 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Dismantling R.C. floor, roof, beams etc. including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. GROUND FLOOR | BI01010001010000000000000515BI0100001120 | 2.5 | CuM | 2212.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5531.58 | 5531.58 | INR Five Thousand Five Hundred & Thirty One and Paise Fifty Eight Only | 56 | 63.35 | 140
10 | Dismantling R.C. floor, roof, beams etc. including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. FIRST FLOOR | BI01010001010000000000000515BI0100001121 | 1.855 | CuM | 2269.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4209.35 | 4209.35 | INR Four Thousand Two Hundred & Nine and Paise Thirty Five Only | 62 | 70.13 | 115.01
11 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. (a) In ground floor including roof. GROUND FLOOR | BI01010001010000000000000515BI0100001122 | 2.3 | CuM | 505.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1163 | 1163 | INR One Thousand One Hundred & Sixty Three Only | 68 | 76.92 | 156.4
12 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. (a) In ground floor including roof. FIRST FLOOR | BI01010001010000000000000515BI0100001123 | 1.7 | CuM | 562.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 955.76 | 955.76 | INR Nine Hundred & Fifty Five and Paise Seventy Six Only | 939 | 1062.2 | 1596.3
13 | Cement concrete (1:1.5:3) with graded stone chips 5.6 mm size with hexagonal square mesh wire netting, I.R.C. fabric mesh or X.P. M. fitted and fixed after tying the existing reinforcement on concrete without distributing the same and with proper scarping and cleaning the reinforcement and disturbed concrete with wire brush etc. after applying a coat of cement including the cost of wire netting I.R.C or X. P. M. & cost of all handling and scaffolding complete as per direction of Engineer-in -charge.a) 20 mm thick | BI01010001010000000000000515BI0100001124 | 75 | SqM | 531.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39874.5 | 39874.5 | INR Thirty Nine Thousand Eight Hundred & Seventy Four and Paise Fifty Only | 989 | 1118.76 | 74175
14 | Hire and labour charges for shuttering with centreing and necessary staging up to 4m using approved stout props thick hard wood planks of approved thickness with required bracing for concrete slabs, beams, columns, linteles curved or straight including fitting, fixing and striking out after complition of works. a) 25mm to 30mm thick wooden shuttering as per decision and direction of E.I.C (a) 25 mm to 30 mm thick wooden shuttering as per decision & direction of Engineer-In-Charge. | BI01010001010000000000000515BI0100001125 | 50 | SqM | 371.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18551.5 | 18551.5 | INR Eighteen Thousand Five Hundred & Fifty One and Paise Fifty Only | 1039 | 1175.32 | 51950
15 | Ordinary Cement concrete (mix 1:1.5:3) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement if any, in ground floor as per relevant IS codes. | BI01010001010000000000000515BI0100001126 | 7.5 | CuM | 5958.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44692.35 | 44692.35 | INR Forty Four Thousand Six Hundred & Ninety Two and Paise Thirty Five Only | 1089 | 1231.88 | 8167.5
16 | Reinforcement for reinforced concrete work in all sorts of structures including distribution bars, stirrups, binders etc initial straightening and removal of loose rust (if necessary), cutting to requisite length, hooking and bending to correct shape, placing in proper position and binding with 16 gauge black annealed wire at everyintersection, complete as per drawing and direction.(a) For works in foundation and upto roof of ground floor/upto 4 m(i) Tor steel/Mild Steel I. SAIL/ TATA/RINL | BI01010001010000000000000515BI0100001127 | 1.75 | M.T. | 80619.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 141084.11 | 141084.11 | INR One Lakh Forty One Thousand &Eighty Four and Paise Eleven Only | 447 | 505.65 | 782.25
17 | Brick work with 1st class bricks in cement mortar (1:6) (b) In superstructure, ground floor | BI01010001010000000000000515BI0100001128 | 17 | CuM | 5051.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 85882.98 | 85882.98 | INR Eighty Five Thousand Eight Hundred & Eighty Two and Paise Ninety Eight Only | 497 | 562.21 | 8449
18 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4). | BI01010001010000000000000515BI0100001129 | 65 | SqM | 669.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43528.55 | 43528.55 | INR Forty Three Thousand Five Hundred & Twenty Eight and Paise Fifty Five Only | 547 | 618.77 | 35555
19 | Supplying and laying true to line and level Double Charge Vitrified Tiles of approved brand conforming to IS 15622:2006 (Group B I a) and tested as per IS 13630:2006 (relevant parts) [Non-modular sizes for tiles with Water Absorption(av.) ≤ 0.08 %] in floor, skirting etc. using polymerised adhesive of 6mm thick layer applied directly over finished artificial stone floor/Mosaic etc without any backing course and joints grouted with admixture of white epoxy grout materials of approved brand including spacer -2mm as directed and removal of wax coating of top surface of tiles with warm water and polishing the tiles using soft and dry cloth upto mirror finish complete including the cost of materials,Iabour and all other incidental charges complete as per direction of Engineerin- Charge. (Note: This work should not be executed without specific permission of Superintending Engineer) (a) ln Ground FIoor:(size not Iess than 600mmX 600 mm X 9.5mm thick) | BI01010001010000000000000515BI0100001130 | 30 | SqM | 1660.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49818 | 49818 | INR Forty Nine Thousand Eight Hundred & Eighteen Only | 597 | 675.33 | 17910
20 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (6mm nominal size) excluding shuttering and reinforcement,if any, in gound floor as per relevant IS codes.Pakur variety | BI01010001010000000000000515BI0100001131 | 6.75 | CuM. | 4953.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33436.26 | 33436.26 | INR Thirty Three Thousand Four Hundred & Thirty Six and Paise Twenty Six Only | 57 | 64.48 | 384.75
21 | (b) Applying 2 coats of Non-Toxic Acrylic Polymer modified Paint having adhesive & waterproofing properties by mixing in proportion (1 liquid: 4 cementitious material) or as per manufacturer's specification for water proofing layer in water tank etc. (No Departmental Cement is required) | BI01010001010000000000000515BI0100001132 | 60 | SqM | 290.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17443.2 | 17443.2 | INR Seventeen Thousand Four Hundred & Forty Three and Paise Twenty Only | 19 | 21.49 | 1140
22 | 25mm. thick damp proof course with cement concrete with stone chips (1:1.5:3) [with graded stone aggregate 10 mm nominal size] and admixture of water proofing compound as per manufacturer's specification followed by two coat of polymer based paint, (1st coat after 4 to 5 days of concrete laying and 2 nd coat just before brick masonry work) as directed (cost of water proofing compound & polymer based paint to be paid separately).( Chequering not required over concrete or painted surface). [Note: - Waterproofing as per item NO 60, polymer based paint as per item 59 (a) of Section (C). | BI01010001010000000000000515BI0100001133 | 12 | SqM | 197.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2375.52 | 2375.52 | INR Two Thousand Three Hundred & Seventy Five and Paise Fifty Two Only | 88 | 99.55 | 1056
23 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75m. In ground floor including roof. (a) upto 150 mm. Thick | BI01010001010000000000000515BI0100001134 | 12.5 | CuM | 1062.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13277.5 | 13277.5 | INR Thirteen Thousand Two Hundred & Seventy Seven and Paise Fifty Only | 309 | 349.54 | 3862.5
24 | 18 mm. to 22 mm. thick, kota stone slab set in 20 mm thick (avg) cement mortar (1:4) in floor, stair & lobby including pointing in cement slurry with admixture of pigment matching the stone shade, including grinding & polishing as per direction of Engineer - in - charge to match with the existing work. [Slurry for bedding @ 4.4 kg/Sq.m and pointing @2.0kg/Sq.m] GROUND FLOOR | BI01010001010000000000000515BI0100001135 | 150 | SqM | 1134.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 170188.5 | 170188.5 | INR One Lakh Seventy Thousand One Hundred & Eighty Eight and Paise Fifty Only | 126 | 142.53 | 18900
25 | 18 mm. to 22 mm. thick, kota stone slab set in 20 mm thick (avg) cement mortar (1:4) in floor, stair & lobby including pointing in cement slurry with admixture of pigment matching the stone shade, including grinding & polishing as per direction of Engineer - in - charge to match with the existing work. [Slurry for bedding @ 4.4 kg/Sq.m and pointing @2.0kg/Sq.m] FIRST FLOOR | BI01010001010000000000000515BI0100001136 | 175 | SqM | 1148.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 200929.75 | 200929.75 | INR Two Lakh Nine Hundred & Twenty Nine and Paise Seventy Five Only | 130 | 147.06 | 22750
26 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile &finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc.(A) Floor With Sand Cement Mortar (1:4) 20 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91Kg/Sq.m & joint filling using white cement slurry @0.20kg/Sq.m. (a) Area of each tile upto 0.09 Sq.m (i) Coloured decorative GROUND FLOOR | BI01010001010000000000000515BI0100001137 | 6.5 | SqM | 825.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5367.57 | 5367.57 | INR Five Thousand Three Hundred & Sixty Seven and Paise Fifty Seven Only | 134 | 151.58 | 871
27 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile &finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc.(A) Floor With Sand Cement Mortar (1:4) 20 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m. (a) Area of each tile upto 0.09 Sq.m (i) Coloured decorative FIRST FLOOR | BI01010001010000000000000515BI0100001138 | 12 | SqM | 831.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9977.16 | 9977.16 | INR Nine Thousand Nine Hundred & Seventy Seven and Paise Sixteen Only | 138 | 156.11 | 1656
28 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc (B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m.(a) Area of each tile upto 0.09 Sq.m (i) Coloured decorative GROUND FLOOR | BI01010001010000000000000515BI0100001139 | 26.46 | SqM | 833.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22059.44 | 22059.44 | INR Twenty Two Thousand &Fifty Nine and Paise Forty Four Only | 157 | 177.6 | 4154.22
29 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc (B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m.(a) Area of each tile upto 0.09 Sq.m (i) Coloured decorative FIRST FLOOR | BI01010001010000000000000515BI0100001140 | 63 | SqM | 839.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 52879.05 | 52879.05 | INR Fifty Two Thousand Eight Hundred & Seventy Nine and Paise Five Only | 161 | 182.12 | 10143
30 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (b) Above area 2.5 Sq.m | BI01010001010000000000000515BI0100001141 | 17.28 | SQM | 165.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2853.96 | 2853.96 | INR Two Thousand Eight Hundred & Fifty Three and Paise Ninety Six Only | 165 | 186.65 | 2851.2
31 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (e) Sal : Malayasian GROUND FLOOR | BI01010001010000000000000515BI0100001142 | 0.474 | CuM | 85487.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40520.86 | 40520.86 | INR Forty Thousand Five Hundred & Twenty and Paise Eighty Six Only | 169 | 191.17 | 80.11
32 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (e) Sal : Malayasian FIRST FLOOR | BI01010001010000000000000515BI0100001143 | 0.43 | CuM | 85713.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36856.71 | 36856.71 | INR Thirty Six Thousand Eight Hundred & Fifty Six and Paise Seventy One Only | 161 | 182.12 | 69.23
33 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers complete, including fitting, fixing shutters inposition but excluding the cost of hinges andother fittings in ground floor.(a) 35 mm thick shutters (single leaf) GROUND FLOOR | BI01010001010000000000000515BI0100001144 | 15.12 | SQM | 3007.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45478.84 | 45478.84 | INR Forty Five Thousand Four Hundred & Seventy Eight and Paise Eighty Four Only | 165 | 186.65 | 2494.8
34 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers complete, including fitting, fixing shutters inposition but excluding the cost of hinges andother fittings in ground floor.(a) 35 mm thick shutters (single leaf) FIRST FLOOR | BI01010001010000000000000515BI0100001145 | 12.6 | SQM | 3023.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38098.62 | 38098.62 | INR Thirty Eight Thousand &Ninety Eight and Paise Sixty Two Only | 169 | 191.17 | 2129.4
35 | Panel (made of single plank) of door and window shutters to design as directed: In Ground Floor (Payment to be made on area of exposed new work). (In case of non-supply of single plank penal rate of reduction to a maximum of 30% will be made).(ii) 19mm thick panel of 30cm to 45cm width (a) Ordinary Teak Wood. GROUND FLOOR | BI01010001010000000000000515BI0100001146 | 40.8 | SQM | 1555.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63460.32 | 63460.32 | INR Sixty Three Thousand Four Hundred & Sixty and Paise Thirty Two Only | 173 | 195.7 | 7058.4
36 | Panel (made of single plank) of door and window shutters to design as directed: In Ground Floor (Payment to be made on area of exposed new work). (In case of non-supply of single plank penal rate of reduction to a maximum of 30% will be made).(ii) 19mm thick panel of 30cm to 45cm width (a) Ordinary Teak Wood. FIRST FLOOR | BI01010001010000000000000515BI0100001147 | 41.25 | SQM | 1588.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65513.25 | 65513.25 | INR Sixty Five Thousand Five Hundred & Thirteen and Paise Twenty Five Only | 34 | 38.46 | 1402.5
37 | Supplying, fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to safisfy IS: 4020 door testing performance criteria. (i) 66mm x 90mm | BI01010001010000000000000515BI0100001148 | 28.7 | Mtr. | 562.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16135.43 | 16135.43 | INR Sixteen Thousand One Hundred & Thirty Five and Paise Forty Three Only | 48.5 | 54.86 | 1391.95
38 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (i) 32 mm thick GROUND FLOOR | BI01010001010000000000000515BI0100001149 | 4.2 | SQM | 3125.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13127.14 | 13127.14 | INR Thirteen Thousand One Hundred & Twenty Seven and Paise Fourteen Only | 48.5 | 54.86 | 203.7
39 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (i) 32 mm thick FIRST FLOOR | BI01010001010000000000000515BI0100001150 | 10.5 | SQM | 3141.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32984.07 | 32984.07 | INR Thirty Two Thousand Nine Hundred & Eighty Four and Paise Seven Only | 48.5 | 54.86 | 509.25
40 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001151 | 750 | SQM | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16117.5 | 16117.5 | INR Sixteen Thousand One Hundred & Seventeen and Paise Fifty Only | 48.5 | 54.86 | 36375
41 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] (ii) With 1:4 cement mortar , b) 10 mm thick plaster. Ceiling Plaster GROUND FLOOR | BI01010001010000000000000515BI0100001152 | 95.28 | SqM | 138.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13149.59 | 13149.59 | INR Thirteen Thousand One Hundred & Forty Nine and Paise Fifty Nine Only | 45.1 | 51.02 | 4297.13
42 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar a) 20mm thick plaster(Outside) GROUND FLOOR | BI01010001010000000000000515BI0100001153 | 350 | SqM | 173.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60574.5 | 60574.5 | INR Sixty Thousand Five Hundred & Seventy Four and Paise Fifty Only | 45.81 | 51.82 | 16033.5
43 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster(Inside )GROUND FLOOR | BI01010001010000000000000515BI0100001154 | 285 | SqM | 152.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43522.35 | 43522.35 | INR Forty Three Thousand Five Hundred & Twenty Two and Paise Thirty Five Only | 46.52 | 52.62 | 13258.2
44 | Net Cement Punning above 1.5mm thick in Wall dado,Window Sill Floor and Drain etc Note Cement 0.152 cum 100 Sqmts | BI01010001010000000000000515BI0100001155 | 33.796 | SqM | 38.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1299.79 | 1299.79 | INR One Thousand Two Hundred & Ninety Nine and Paise Seventy Nine Only | 47.23 | 53.43 | 1596.19
45 | Rendering the Surface of walls and ceiling with White Cement base WATER PROOF wall putty of approved make & brand.(1.5 mm thick) GROUND FLOOR | BI01010001010000000000000515BI0100001156 | 677.15 | SqM | 138.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93453.47 | 93453.47 | INR Ninety Three Thousand Four Hundred & Fifty Three and Paise Forty Seven Only | 70 | 79.18 | 47400.5
46 | Rendering the Surface of walls and ceiling with White Cement base WATER PROOF wall putty of approved make & brand.(1.5 mm thick) FIRST FLOOR | BI01010001010000000000000515BI0100001157 | 676.25 | SqM | 138.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93877.03 | 93877.03 | INR Ninety Three Thousand Eight Hundred & Seventy Seven and Paise Three Only | 70 | 79.18 | 47337.5
47 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. (In Ground Floor) (b) Two Coats ii) Solvent based interior grade Acrylic Primer | BI01010001010000000000000515BI0100001158 | 2500 | SqM | 54.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 137150 | 137150 | INR One Lakh Thirty Seven Thousand One Hundred & Fifty Only | 70 | 79.18 | 175000
48 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. (b) Two Coats GROUND FLOOR (External surface) | BI01010001010000000000000515BI0100001159 | 650 | SqM | 51.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33163 | 33163 | INR Thirty Three Thousand One Hundred & Sixty Three Only | 70 | 79.18 | 45500
49 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. (b) Two Coats FIRST FLOOR (External surface) | BI01010001010000000000000515BI0100001160 | 650 | SqM | 51.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33683 | 33683 | INR Thirty Three Thousand Six Hundred & Eighty Three Only | 84 | 95.02 | 54600
50 | Applying Acrylic Emulsion Paint of approved make and brand on walls and ceiling including sand papering in intermediate coats including putty (to be done under specific instruction of Superintending Engineer) : (Two coats) ii) Luxury Quality | BI01010001010000000000000515BI0100001161 | 2500 | SqM | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 197950 | 197950 | INR One Lakh Ninety Seven Thousand Nine Hundred & Fifty Only | 84.71 | 95.82 | 211775
51 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. (Two Coat) b) Premium 100% Acrylic Emulsion GROUND FLOOR(External surface) | BI01010001010000000000000515BI0100001162 | 510.544 | SqM | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48511.89 | 48511.89 | INR Forty Eight Thousand Five Hundred & Eleven and Paise Eighty Nine Only | 85.42 | 96.63 | 43610.67
52 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. (Two Coat) b) Premium 100% Acrylic Emulsion FIRST FLOOR (External surface) | BI01010001010000000000000515BI0100001163 | 475.24 | SqM | 95.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45537.5 | 45537.5 | INR Forty Five Thousand Five Hundred & Thirty Seven and Paise Fifty Only | 86.13 | 97.43 | 40932.42
53 | (a) Primming One coat on Timber or Plaster surface with Synthetic Oil bound Primer of approved Quality inclusing smooting surface by sand Papering etc | BI01010001010000000000000515BI0100001164 | 173.548 | SqM | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7460.83 | 7460.83 | INR Seven Thousand Four Hundred & Sixty and Paise Eighty Three Only | 29 | 32.8 | 5032.89
54 | (b) Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001165 | 168.018 | SqM | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5510.99 | 5510.99 | INR Five Thousand Five Hundred & Ten and Paise Ninety Nine Only | 29 | 32.8 | 4872.52
55 | (A) Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : (a) On timber or plastered surface :With super gloss (hi-gloss) -(iv) Two coats (with any shade except white) | BI01010001010000000000000515BI0100001166 | 178.548 | SqM | 91.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16360.35 | 16360.35 | INR Sixteen Thousand Three Hundred & Sixty and Paise Thirty Five Only | 29 | 32.8 | 5177.89
56 | (b) Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessaryb) iv) On Steel and other Metal Surface Two coat with any shade except white | BI01010001010000000000000515BI0100001167 | 168.02 | SqM | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15014.27 | 15014.27 | INR Fifteen Thousand &Fourteen and Paise Twenty Seven Only | 29 | 32.8 | 4872.58
57 | a) M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S,W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor.(i) Grill weighing above 10 Kg./sq.mtr and up to 16 Kg./sq. mtr. GROUND FLOOR | BI01010001010000000000000515BI0100001168 | 4.88 | QTL | 11185.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54584.31 | 54584.31 | INR Fifty Four Thousand Five Hundred & Eighty Four and Paise Thirty One Only | 79 | 89.36 | 385.52
58 | supplying,fitting and Fixing MS Clamps for Door and Window frame made of Flat bend Bar , end bifurcated with necessary screws etc by cement concrete (1:2:4) as per direction.(Cost of Concrete will be paid Seperately) (a)40mm x 6mm ,250 mm length | BI01010001010000000000000515BI0100001169 | 30 | Each | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 984 | 984 | INR Nine Hundred & Eighty Four Only | 79 | 89.36 | 2370
59 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001170 | 48 | Each | 48.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2334.72 | 2334.72 | INR Two Thousand Three Hundred & Thirty Four and Paise Seventy Two Only | 79 | 89.36 | 3792
60 | i) Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting.250mm long | BI01010001010000000000000515BI0100001171 | 10 | Each | 179.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1798.6 | 1798.6 | INR One Thousand Seven Hundred & Ninety Eight and Paise Sixty Only | 79 | 89.36 | 790
61 | (ii) Door stopper (Anodised aluminium) | BI01010001010000000000000515BI0100001172 | 10 | Each | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 791.8 | 791.8 | INR Seven Hundred & Ninety One and Paise Eighty Only | 38 | 42.99 | 380
62 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. 300 mm long X 10mm dia bolt. | BI01010001010000000000000515BI0100001173 | 22 | Each | 111.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2463.78 | 2463.78 | INR Two Thousand Four Hundred & Sixty Three and Paise Seventy Eight Only | 38 | 42.99 | 836
63 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod)(v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001174 | 16 | Each | 116.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1864.16 | 1864.16 | INR One Thousand Eight Hundred & Sixty Four and Paise Sixteen Only | 38 | 42.99 | 608
64 | (a) Supplying 'Godrej' mortice lock chromium plated with latch and keys 4 levers, including fitting and fixing complete | BI01010001010000000000000515BI0100001175 | 5 | Each | 1222.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6114.15 | 6114.15 | INR Six Thousand One Hundred & Fourteen and Paise Fifteen Only | 38 | 42.99 | 190
65 | Supplying, fitting and fixing vitreous china best quality approved make wash basin with C.I. brackets on 75 mm X 75 mm wooden blocks, C.P. waste fittings of 32 mm dia., one approved quality brass C.P. pillar cock of 15 mm dia., C.P. chain with rubber plug of 32 mm dia., approved quality P.V.C. waste pipe with C.P. nut 32 mm dia., 900 mm long approved quality P.V.C. connection pipe with heavy brass C.P. nut including mending good all damages and painting the brackets with two coats of approved paint.(ii) 550 mm X 400 mm size | BI01010001010000000000000515BI0100001176 | 4 | Each | 2497.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9990.76 | 9990.76 | INR Nine Thousand Nine Hundred & Ninety and Paise Seventy Six Only | 81 | 91.63 | 324
66 | Plumbing & Sanitary Supplying, fitting and fixing E.W.C. in white glazed vitreous chinaware of approved make complete in position with necessary bolts, nuts etc. (a) With 'P' trap | BI01010001010000000000000515BI0100001177 | 1 | Each | 1607.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1607.44 | 1607.44 | INR One Thousand Six Hundred & Seven and Paise Forty Four Only | 81 | 91.63 | 81
67 | Supplying, fitting and fixing Anglo-Indian W.C. in white glazed vitreouschina ware of approved make complete in position with necessary bolts,nuts etc. (a) With 'P' trap (with vent) | BI01010001010000000000000515BI0100001178 | 6 | Each | 3511.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21067.44 | 21067.44 | INR Twenty One Thousand &Sixty Seven and Paise Forty Four Only | 81 | 91.63 | 486
68 | Supplying, fitting and fixing 10 litre white glazed vitreous chinaware ofapprove low-down cistern of approved make with either side or bottom inlet, side overflow, brackets complete with all internal fittings. (Model Code No. S1060106 of CERA or equivalent.) White | BI01010001010000000000000515BI0100001179 | 7 | Each | 2721.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19051.69 | 19051.69 | INR Nineteen Thousand &Fifty One and Paise Sixty Nine Only | 81 | 91.63 | 567
69 | Supplying, fitting and fixing Closet seat of approved make with lid and C.P.hinges, rubber buffer and brass screws complete.(b) Anglo Indian (ii) Plastic (hallow type) white | BI01010001010000000000000515BI0100001180 | 7 | Each | 548.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3840.41 | 3840.41 | INR Three Thousand Eight Hundred & Forty and Paise Forty One Only | 1012 | 1144.77 | 7084
70 | Supplying, fitting and fixing towel rail with two brackets. (a) C.P. over brass 25 mm dia. and 600 mm long | BI01010001010000000000000515BI0100001181 | 6 | Each | 486.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2918.52 | 2918.52 | INR Two Thousand Nine Hundred & Eighteen and Paise Fifty Two Only | 1024 | 1158.35 | 6144
71 | Supplying, fitting and fixing best quality Indian make mirror 5.5 mm thick with silvering as per I.S.I. specifications supported on fibre glass frame of any colour, frame size 550 mm X 400 mm | BI01010001010000000000000515BI0100001182 | 8 | Each | 693.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5547.44 | 5547.44 | INR Five Thousand Five Hundred & Forty Seven and Paise Forty Four Only | 1036 | 1171.92 | 8288
72 | Supplying ,fitting and fixing bib cock or stop cock. (f) Hand Shower (Health Faucet) with 1mtr Fexible Tube with Wall Hook(Equivalent to Code No.573 & Model -ALLIED of Jaquar or similar). | BI01010001010000000000000515BI0100001183 | 8 | Each | 1415.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11321.04 | 11321.04 | INR Ninety Four Thousand Two Hundred & Thirty Only | 1048 | 1185.5 | 8384
73 | Supplying ,fitting and fixing bib cock or stop cock. Chromium plated Bib cock with wall flange (Equivalent to code no. 5047 & model - Florentine of Jaquar or similar brand | BI01010001010000000000000515BI0100001184 | 12 | Each | 973.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11687.52 | 11687.52 | INR Eleven Thousand Six Hundred & Eighty Seven and Paise Fifty Two Only | 207 | 234.16 | 2484
74 | Supplying ,fitting and fixing bib cock or stop cock. Chromium plated angular stop cock with wall flange (Equivalent to code no. 5083 & model - Florentine of Jaquar or similar brand | BI01010001010000000000000515BI0100001185 | 13 | Each | 921.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11985.09 | 11985.09 | INR Ninety Four Thousand Two Hundred & Thirty Only | 209 | 236.42 | 2717
75 | Supplying ,fitting and fixing bib cock or stop cock. Supplying , Fitting & Fixing pillar cock of approved make (a) CP Pillar cock -15 mm (code no. 5011 & model FLORENTINE of JAQUAR or equivalent | BI01010001010000000000000515BI0100001186 | 10 | Each | 969.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9694.4 | 9694.4 | INR Ninety Four Thousand Two Hundred & Thirty Only | 224 | 253.39 | 2240
76 | Supplying ,fitting and fixing bib cock or stop cock. Supplying, Fitting , Fixing approved brand P.V.C CONNECTOR white flexible , with both ends coupling with heavy brass C.P. Nut , 15 mm Dia 900 mm Long | BI01010001010000000000000515BI0100001187 | 10 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1662.9 | 1662.9 | INR One Thousand Six Hundred & Sixty Two and Paise Ninety Only | 698 | 789.58 | 6980
77 | Supplying, fitting and fixing shower of approved brand and make. (I) Chromium plated round shower with revolving joint 100 mm dia with rubid cleaning system (equivalent to code no. 542(N) & model - tropical / sumthing special of ESSCO or similar brand | BI01010001010000000000000515BI0100001188 | 6 | Each | 511.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3067.8 | 3067.8 | INR Three Thousand &Sixty Seven and Paise Eighty Only | 703 | 795.23 | 4218
78 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length c) 110 mm | BI01010001010000000000000515BI0100001189 | 100 | Mtr. | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33031 | 33031 | INR Thirty Three Thousand &Thirty One Only | 708 | 800.89 | 70800
79 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (i) Door Tee (110 mm) | BI01010001010000000000000515BI0100001190 | 10 | Each | 220.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2205.8 | 2205.8 | INR Two Thousand Two Hundred & Five and Paise Eighty Only | 713 | 806.55 | 7130
80 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (ii)Bend 87.5 dig.(110 MM) | BI01010001010000000000000515BI0100001191 | 10 | Each | 135.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1357.4 | 1357.4 | INR One Thousand Three Hundred & Fifty Seven and Paise Forty Only | 703 | 795.23 | 7030
81 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (iii) Door Bend(T.S.) 110 mm | BI01010001010000000000000515BI0100001192 | 10 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1662.9 | 1662.9 | INR One Thousand Six Hundred & Sixty Two and Paise Ninety Only | 56.62 | 64.05 | 566.2 | [5 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
82 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (iv) Vent Cowl 110 mm | BI01010001010000000000000515BI0100001193 | 6 | Each | 37.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 223.98 | 223.98 | INR Two Hundred & Twenty Three and Paise Ninety Eight Only | 21 | 23.76 | 126 | [5 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
83 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings Pipe Clip 110 mm | BI01010001010000000000000515BI0100001194 | 50 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1188 | 1188 | INR One Thousand One Hundred & Eighty Eight Only | 10 | 11.31 | 500 | [5 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
84 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (B) Under ground (i) 110 mm | BI01010001010000000000000515BI0100001195 | 20 | Mtr. | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1900.4 | 1900.4 | INR One Thousand Nine Hundred and Paise Forty Only | 50 | 56.56 | 200 | [5 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
85 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (A) Above Ground (i) 110 mm | BI01010001010000000000000515BI0100001196 | 60 | Mtr. | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3868.8 | 3868.8 | INR Three Thousand Eight Hundred & Sixty Eight and Paise Eighty Only | 48 | 54.3 | 2880 | [5 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
86 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (A) Above Ground (iii) 160 mm. Dia. | BI01010001010000000000000515BI0100001197 | 60 | Mtr. | 74.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4479.6 | 4479.6 | INR Four Thousand Four Hundred & Seventy Nine and Paise Sixty Only | 166 | 187.78 | 9960 | [5 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
87 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (B) Under ground (iii) 160 mm. Dia. | BI01010001010000000000000515BI0100001198 | 100 | Mtr. | 105.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10520 | 10520 | INR Ten Thousand Five Hundred & Twenty Only | 50 | 56.56 | 5000 | [5 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
88 | Supplying, fitting and fixing C.I. square jalli. (ii) 150 mm | BI01010001010000000000000515BI0100001199 | 6 | Each | 115.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 692.28 | 692.28 | INR Six Hundred & Ninety Two and Paise Twenty Eight Only | 56 | 63.35 | 336
89 | Suppling fitting fixing soap holder a)PTMT (Prayag or Equivelent) | BI01010001010000000000000515BI0100001200 | 6 | Each | 152.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 916.26 | 916.26 | INR Nine Hundred & Sixteen and Paise Twenty Six Only | 62 | 70.13 | 372
90 | Electrical Works. S & F 415V 63A TPN Switch fuse Unit with SS enclosure on Angle frame (make L & T/Seimens) on wall with nuts bolts etc. incl. S & F 3 nos DIN type HRC fuse. | BI01010001010000000000000515BI0100001201 | 1 | nos. | 4907.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4907.82 | 4907.82 | INR Four Thousand Nine Hundred & Seven and Paise Eighty Two Only | 68 | 76.92 | 68
91 | Supply & fixing 415 volt 32 A TPN switch in S.S. enclosure with HRC fuses onLS & NL to be fixed on angle frame on wall including earthing attachment.(LT/Seimens) | BI01010001010000000000000515BI0100001202 | 1 | set | 4748.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4748.66 | 4748.66 | INR Four Thousand Seven Hundred & Forty Eight and Paise Sixty Six Only | 939 | 1062.2 | 939
92 | S&F 32A , 240v DP with fuse on L &N Main switch on flat iron frame on wall (Havells) | BI01010001010000000000000515BI0100001203 | 2 | nos. | 1516.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3033.54 | 3033.54 | INR Three Thousand &Thirty Three and Paise Fifty Four Only | 989 | 1118.76 | 1978
93 | Supply & fixing 415V 200A capacity MS (16SWG) Busbar Chamber having dimension of (500x150mm) to be fixed on iron frame on wall consisting of 4 nos cupper bars of size (4x20x5mm). | BI01010001010000000000000515BI0100001204 | 0.8 | mtr | 4474.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3579.43 | 3579.43 | INR Three Thousand Five Hundred & Seventy Nine and Paise Forty Three Only | 1039 | 1175.32 | 831.2
94 | Supply & fixing 4 way double door horizontal TPN MCB DB with Ss enclosure (HavellscatnoDHDPTHODRW04)(Havells/L&T) concealed in wall after cutting the wall & mending good the damages to original finish with earthing attachment comprising with the following. a) 63A Four Pole MCB isolator -- -1 No. c)6 to 32 A range SP MCB. --- 9 Nos. | BI01010001010000000000000515BI0100001205 | 1 | set | 5485.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5485.08 | 5485.08 | INR Five Thousand Four Hundred & Eighty Five and Paise Eight Only | 1089 | 1231.88 | 1089
95 | Supply & fixing SPN MCB DB (2+8) WAY (Make Havells/ L&T/) with S.S. Enclosure concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 8 Nos. | BI01010001010000000000000515BI0100001206 | 2 | set | 3265.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6530.3 | 6530.3 | INR Six Thousand Five Hundred & Thirty and Paise Thirty Only | 447 | 505.65 | 894
96 | Supply & fixing SPN MCB DB (2+6) WAY (Make Havells/ Seimens/ABB) with S.S. Enclosure (DHDPSNODRW06) concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 6 Nos. | BI01010001010000000000000515BI0100001207 | 1 | set | 2718.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2718.78 | 2718.78 | INR Two Thousand Seven Hundred & Eighteen and Paise Seventy Eight Only | 497 | 562.21 | 497
97 | Supply & fixing SPN MCB DB (2+4) WAY (Make Havells/ Seimens/ABB) with S.S. Enclosure (DHDPSNODRW04) concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 32 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 4 Nos. | BI01010001010000000000000515BI0100001208 | 1 | set | 2155.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2155.78 | 2155.78 | INR Two Thousand One Hundred & Fifty Five and Paise Seventy Eight Only | 547 | 618.77 | 547
98 | Supply & Fixing FP encloser(Havells/L& T) concealed in wall & mending good the damages to original finish incl. earthing attachment comprising with the following: a) 32 DP MCB Isolator (Havells) - 1 nos b) 6-16 A SP MCB - 2 nos (Roof light & Stair light) | BI01010001010000000000000515BI0100001209 | 1 | set | 966.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 966.84 | 966.84 | INR Nine Hundred & Sixty Six and Paise Eighty Four Only | 597 | 675.33 | 597
99 | Cutting Channel of size (40 mm x 40 mm) on masonry wall byElectric operated cutting machine incl. supplying & fixingheavy gauge 19 mm, 3 mm thick Polythene pipe by means ofanchoring chemical (Hilti/Sika) and GI 'U' hooks of 8 SWGincl. supplying and drawing 18 SWG GI wire as Fish wire andmending good damages to original finish by using own toolsand tackles | BI01010001010000000000000515BI0100001210 | 270 | mtr | 77.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20844 | 20844 | INR Twenty Thousand Eight Hundred & Forty Four Only | 57 | 64.48 | 15390
100 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection a) 2 x 2.5 + 1x1.5 sq mm (P/P plug/computer ) | BI01010001010000000000000515BI0100001211 | 120 | mtr | 77.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9264 | 9264 | INR Nine Thousand Two Hundred & Sixty Four Only | 19 | 21.49 | 2280
101 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection b) 2 X 4 + 1 X 2.5 Sqmm.(AC &SPN) | BI01010001010000000000000515BI0100001212 | 70 | mtr | 112.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7898.8 | 7898.8 | INR Seven Thousand Eight Hundred & Ninety Eight and Paise Eighty Only | 88 | 99.55 | 6160
102 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection c)( 2 x 6 + 1 x 4) sq mm (SPNDB) | BI01010001010000000000000515BI0100001213 | 70 | mtr | 165.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11557 | 11557 | INR Eleven Thousand Five Hundred & Fifty Seven Only | 309 | 349.54 | 21630
103 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection d) 4 x 10+ 2x6 sq mm (TPN) | BI01010001010000000000000515BI0100001214 | 25 | mtr | 585.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14639.25 | 14639.25 | INR Fourteen Thousand Six Hundred & Thirty Nine and Paise Twenty Five Only | 126 | 142.53 | 3150
104 | Distribution wiring in 1.1 KV grade 2x22/0.3 (1.5 sqmm) singlecore stranded 'FR' PVC insulated & unsheathed copper wire(Brand approved by EIC) partly in 20mm size PVC rigidconduit 'FR' (Precision make) [for ceiling portion only] and in19mm bore, 3mm thick polythene pipe [for horizontal &vertical run embedded in wall], with 1x22/0.3 (1.5 sqmm)single core stranded 'FR' PVC insulated & unsheathedcopper wire for ECC, to light/fan/call bell points with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board complete with 2 no. suitable size “Ph & N” copper bar with top cover plate making earthing attachmentfixed on wall incl. mending good damages to original finish.[only PVC Rigid Conduit on ceiling and remaining portion concealed)AVE RUN 6 MTR | BI01010001010000000000000515BI0100001215 | 64 | nos. | 1038.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 66438.4 | 66438.4 | INR Sixty Six Thousand Four Hundred & Thirty Eight and Paise Forty Only | 130 | 147.06 | 8320
105 | Distribution wiring in 1.1 KV grade 2x22/0.3 (1.5 sqmm) singlecore stranded 'FR' PVC insulated & unsheathed copper wire(Brand approved by EIC) partly in 20mm size PVC rigidconduit 'FR' (Precision make) [for ceiling portion only] and in19mm bore, 3mm thick polythene pipe [for horizontal &vertical run embedded in wall], with 1x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire for ECC, to light/fan/call bell points with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board complete with 2 no. suitable size “Ph & N” copper bar with top cover plate making earthing attachmentfixed on wall incl. mending good damages to original finish.[only PVC Rigid Conduit on ceiling and remaining portion concealed)AVE RUN 8 MTR | BI01010001010000000000000515BI0100001216 | 20 | nos. | 1275.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25513 | 25513 | INR Twenty Five Thousand Five Hundred & Thirteen Only | 134 | 151.58 | 2680
106 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish a) on board | BI01010001010000000000000515BI0100001217 | 17 | pts | 295.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5027.75 | 5027.75 | INR Five Thousand &Twenty Seven and Paise Seventy Five Only | 138 | 156.11 | 2346
107 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish b) Ave 3 mtr | BI01010001010000000000000515BI0100001218 | 17 | pts | 935.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15911.15 | 15911.15 | INR Fifteen Thousand Nine Hundred & Eleven and Paise Fifteen Only | 157 | 177.6 | 2669
108 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish c) Ave 4.5 mtr | BI01010001010000000000000515BI0100001219 | 4 | pts | 1114.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4456.48 | 4456.48 | INR Four Thousand Four Hundred & Fifty Six and Paise Forty Eight Only | 161 | 182.12 | 644
109 | Supply & Fixing 240V, Modular Socket (2 Module) type fan regulator (Step type) (Brand approved by EIC) on existing Modular GI switch board with top cover plate incl. making necy. connections etc. | BI01010001010000000000000515BI0100001220 | 19 | each | 459.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8733.54 | 8733.54 | INR Eight Thousand Seven Hundred & Thirty Three and Paise Fifty Four Only | 165 | 186.65 | 3135
110 | Supply & Fixing 240 V, 16 A, 3 pin Modular type Power plug socket (Cabtree) with 16A Modular type socket (Cabtree) with 16A Modular type switch, without plug top on 4 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001221 | 1 | each | 541.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 541.62 | 541.62 | INR Five Hundred & Forty One and Paise Sixty Two Only | 169 | 191.17 | 169
111 | Supply & Fixing 240 V, 25 A, 3 pin Modular type plug socket (Brand approved by EIC), without plug top and switch with 2 Module GI Modular type switch board with top cover plate flushed in wall and making necy. connections with PVC Cu wire and earth continuity wire. | BI01010001010000000000000515BI0100001222 | 2 | each | 419.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 838.56 | 838.56 | INR Eight Hundred & Thirty Eight and Paise Fifty Six Only | 161 | 182.12 | 322
112 | Supplying & Fixing bulk head light fitting (Havells make) with diecast aluminium housing & frosted glass on wall/ceiling incl. S&F8watt CFL complete set. | BI01010001010000000000000515BI0100001223 | 8 | each | 687.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5501.68 | 5501.68 | INR Five Thousand Five Hundred & One and Paise Sixty Eight Only | 165 | 186.65 | 1320
113 | Supply & fixing computer plug board modular type of 12 module GI box with cover plate recessed in wall comprising with the following (Legrand/Cabtree) ----- a) 6/16A socket & 16A switch --1 set b) 6A socket & 6A switch --2 sets | BI01010001010000000000000515BI0100001224 | 6 | set | 1434.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8608.86 | 8608.86 | INR Eight Thousand Six Hundred & Eight and Paise Eighty Six Only | 169 | 191.17 | 1014
114 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001225 | 36 | each | 118.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4276.08 | 4276.08 | INR Four Thousand Two Hundred & Seventy Six and Paise Eight Only | 173 | 195.7 | 6228
115 | Fixing only fluorescent light fitting suspended 25 cm bellow the ceiling with 2 No. 20 mm dia EI conduit (14 SWG) supports incl.S&F EI conduit, ball socket/socket type ceiling plate and connecting the length of PVC insulated wire and painting etc. as required 2x24/0.20 mm(1.5sqmm) flexible copper wire of 1.10 mt. length. | BI01010001010000000000000515BI0100001226 | 10 | each | 254.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2541.8 | 2541.8 | INR Two Thousand Five Hundred & Forty One and Paise Eighty Only | 34 | 38.46 | 340
116 | Supplying & Fixing 240 V AC/DC superior type Multitune (min 10 nos. tune) Call Bell (Anchor) with selector switch forsingle/Multi Tunes mode, Battery operated on HW boardincl. S&F HW board | BI01010001010000000000000515BI0100001227 | 2 | each | 349.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 698.4 | 698.4 | INR Six Hundred & Ninety Eight and Paise Forty Only | 48.5 | 54.86 | 97
117 | Fixing only exhaust fan after making hole in wall and making good damages and smooth cement finish etc. as practicable as possible and providing necy. length of PVC insulated wire and making connection for exhaust & louvre shutter after cutting hole on wall & mending good the damages of following diameter: 30 cm (12") | BI01010001010000000000000515BI0100001228 | 2 | each | 390.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 781.54 | 781.54 | INR Seven Hundred & Eighty One and Paise Fifty Four Only | 48.5 | 54.86 | 97
118 | Fixing only exhaust fan after making hole in wall and making good damages and smooth cement finish etc. as practicable as possible and providing necy. length of PVC insulated wire and making connection for exhaust & louvre shutter after cutting hole on wall & mending good the damages of following diameter: 23 cm (9") | BI01010001010000000000000515BI0100001229 | 3 | each | 283.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 851.61 | 851.61 | INR Eight Hundred & Fifty One and Paise Sixty One Only | 48.5 | 54.86 | 145.5
119 | Laying of cable upto 2 core 6 sqmm on wall/surface incl. S & F MS saddles with earthing attachment in 1X10 SWG GI (Hot Dip) Wire, making holes etc. as necy. mending good damages and painting | BI01010001010000000000000515BI0100001230 | 195 | mtr | 67.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13201.5 | 13201.5 | INR Thirteen Thousand Two Hundred & One and Paise Fifty Only | 48.5 | 54.86 | 9457.5
120 | Laying of the 2 core 6 sqmm XLPE Al armoured cable incl. 1x 10 SWG G.I. Earth continuity conductor recessed in wall & mending good the damages to original finish | BI01010001010000000000000515BI0100001231 | 20 | mtr | 150.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3017 | 3017 | INR Three Thousand &Seventeen Only | 45.1 | 51.02 | 902
121 | Laying of 2 x 6 sq mmvXLPE /A Cable through U.G. trench with 8 nos brick per meter incl. & filling up the excavated pit & ramming | BI01010001010000000000000515BI0100001232 | 65 | mtr | 192.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12507.3 | 12507.3 | INR Twelve Thousand Five Hundred & Seven and Paise Thirty Only | 45.81 | 51.82 | 2977.65
122 | Supply & Fixing 240 V, 16 A,Modular type switch, on 2 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001233 | 2 | each | 345.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 691.28 | 691.28 | INR Six Hundred & Ninety One and Paise Twenty Eight Only | 46.52 | 52.62 | 93.04
123 | Supply & laying 40mm dia medium gauge G.I. Pipe(ISI-Medium) for cable protection | BI01010001010000000000000515BI0100001234 | 10 | mtr | 292.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2921.9 | 2921.9 | INR Two Thousand Nine Hundred & Twenty One and Paise Ninety Only | 47.23 | 53.43 | 472.3
124 | Supply & fixing compression type gland with brass gland brass ring incl. socketing the ends off by crimping method incl. S/F solderless socket (Dowels make) & jointing ,materials etc 2 x 6 sq mm XLPE/A cable | BI01010001010000000000000515BI0100001235 | 11 | set | 118.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1306.58 | 1306.58 | INR One Thousand Three Hundred & Six and Paise Fifty Eight Only | 70 | 79.18 | 770
125 | Erection of 9 m ST pole with sole plate in CC foundation (600x600x150mm) thick CC (4:2:1) base block below sole plate with hard jhama metal incl CC (6:3:1) muffing 0.30 m dia 03.0 m above ground level incl making drilled hole on pole for earth bolt & carriage upto 1.6 Km from store to work site in cluding filling up the the exacavated earth pit with shifted soil | BI01010001010000000000000515BI0100001236 | 1 | each | 3367.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3367.3 | 3367.3 | INR Three Thousand Three Hundred & Sixty Seven and Paise Thirty Only | 70 | 79.18 | 70
126 | Providing CC (6:3:1) base block (around the pole) dimension 0.60x.60x.76 mt. above GL neatly cemented finish 3mm thick at the base pole (incl. CC mufing) suitable for alkathene/polythene pipe entry as directed for street light wiring | BI01010001010000000000000515BI0100001237 | 1 | each | 1234.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1234.08 | 1234.08 | INR One Thousand Two Hundred & Thirty Four and Paise Eight Only | 70 | 79.18 | 70
127 | Painting the 9 m ST pole with two coats of aluminium paint of approved make over one coat of R.O primer incl preparation of surface by sand paper/emery incl cleaning etc. | BI01010001010000000000000515BI0100001238 | 1 | each | 390.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 390.77 | 390.77 | INR Three Hundred & Ninety and Paise Seventy Seven Only | 70 | 79.18 | 70
128 | Supply & fixing (40mmx40mmx6mm) G I Pole clamp with nuts, bolts & washer for holding vertical 40 mm dia G I cable protection pipe from service pole. | BI01010001010000000000000515BI0100001239 | 2 | set | 178.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356.32 | 356.32 | INR Three Hundred & Fifty Six and Paise Thirty Two Only | 84 | 95.02 | 168
129 | Fixing only Floodlight Fitting with suitable tie clamps and MS plate for mounting on Pole/Tower or similar structure. | BI01010001010000000000000515BI0100001240 | 1 | nos. | 644.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 644.95 | 644.95 | INR Six Hundred & Forty Four and Paise Ninety Five Only | 84.71 | 95.82 | 84.71
130 | Fixing only outdoor / street light type fluorescent light fitting or MV light fitting complete with all accessories to be fixed /projected from the wall of the building incl. making holes/providing clamping arrangement & necy. GI reducer as required. S&F 40 mm GI pipe (ISI-Medium) quality 1.5 mts. average length having suitable bend S&F necy. length of 1.5 sqmm PVC insulated single core stranded annealed copper wire and making connections as required and mending good damages to wall incl. painting etc. | BI01010001010000000000000515BI0100001241 | 8 | each | 958.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7668.16 | 7668.16 | INR Seven Thousand Six Hundred & Sixty Eight and Paise Sixteen Only | 85.42 | 96.63 | 683.36
131 | Supplying and Fixing 200x150x100mm GI water proof looping cable box having hinged GI Top Cover having 4 mm thick with rubber gasketlining, railway type mechanical locking arrangement,earthing terminal with lug etc. of the following sizes as indicated below,Comprising of one 250 V, 15 A Kit-Kat fuse unit, one NL on porcelain insulator etc. and housing the same in pole muffing incl. addition and alteration to the existing CC muffing (6:3:1) after dismantling the damaged looping cable box etc. where necy. incl. painting | BI01010001010000000000000515BI0100001242 | 10 | set | 591.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5915 | 5915 | INR Five Thousand Nine Hundred & Fifteen Only | 86.13 | 97.43 | 861.3
132 | Earthing the installation by 50 mm dia. G.I. Pipe (ISI-M) of 3.64 mtr. Long driven to an depth of 3.65 mtr. Below the ground level including S/F 1X4 SWG. G.I. Earth wire (4 mtr. Long) with nuts bolts & washers. | BI01010001010000000000000515BI0100001243 | 3 | set | 1626.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4878.12 | 4878.12 | INR Four Thousand Eight Hundred & Seventy Eight and Paise Twelve Only | 29 | 32.8 | 87
133 | Supplying & fixing earth busbar of galvanized (Hot Dip) MS flat 25 mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the busbar complete with GI bolts, nuts, washers, spacing insulators etc. as required | BI01010001010000000000000515BI0100001244 | 1 | mtr | 185.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 185.29 | 185.29 | INR One Hundred & Eighty Five and Paise Twenty Nine Only | 29 | 32.8 | 29
134 | ELECTRICAL WORKS NON SCHUDLE ITEM Dismantling the existing damaged wiring including switches, distribution bords etc. with all accessories from wall/ roof as directed by the EIC. | BI01010001010000000000000515BI0100001245 | 1 | item | 606 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 606 | 606 | INR Six Hundred & Six Only | 29 | 32.8 | 29
135 | Supply & delevery of 1.1 Kv grade XLPE Aluminium armoured cable(make Gloster/Mescab/Havells) 2 core 6 sq mm cable | BI01010001010000000000000515BI0100001246 | 280 | mtr | 102.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28562.8 | 28562.8 | INR Twenty Eight Thousand Five Hundred & Sixty Two and Paise Eighty Only | 29 | 32.8 | 8120
136 | Supply 4' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton, cat no - DIJB12LT8-20, LLT8-20/Havells) | BI01010001010000000000000515BI0100001247 | 34 | set | 831.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28261.82 | 28261.82 | INR Twenty Eight Thousand Two Hundred & Sixty One and Paise Eighty Two Only | 79 | 89.36 | 2686
137 | Supply 2' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton/Havells as approved by EIC) | BI01010001010000000000000515BI0100001248 | 2 | set | 413.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 826.18 | 826.18 | INR Eight Hundred & Twenty Six and Paise Eighteen Only | 79 | 89.36 | 158
138 | Supply 4' twin LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener(Crompton/Havells as approved by EIC) | BI01010001010000000000000515BI0100001249 | 2 | set | 1295.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2591.66 | 2591.66 | INR Two Thousand Five Hundred & Ninety One and Paise Sixty Six Only | 79 | 89.36 | 158
139 | Supply of 225 mm (9") sweep heavy duty exhaust fan (EPC/ Crompton) | BI01010001010000000000000515BI0100001250 | 3 | each | 1868.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5605.5 | 5605.5 | INR Five Thousand Six Hundred & Five and Paise Fifty Only | 79 | 89.36 | 237
140 | Supply of 425 mm (12") sweep heavy duty exhaust fan (EPC/ Crompton) | BI01010001010000000000000515BI0100001251 | 2 | each | 3120.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6241.8 | 6241.8 | INR Six Thousand Two Hundred & Forty One and Paise Eighty Only | 38 | 42.99 | 76
141 | Supply of 72 W LED light fitting (make Crompton, cat no - LSTP-72-CDL/Havells ) | BI01010001010000000000000515BI0100001252 | 5 | set | 6532.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32663.4 | 32663.4 | INR Thirty Two Thousand Six Hundred & Sixty Three and Paise Forty Only | 38 | 42.99 | 190
142 | Supply & delivery of 45W LED (crompton Cat. No. LSTP-45-CDL/Havells) | BI01010001010000000000000515BI0100001253 | 4 | set | 4790.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19161.72 | 19161.72 | INR Nineteen Thousand One Hundred & Sixty One and Paise Seventy Two Only | 38 | 42.99 | 152
143 | Supply & fixing 3W LED night Lamp (Crompton/Philps) for batten light points | BI01010001010000000000000515BI0100001254 | 2 | Set | 171.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 343.4 | 343.4 | INR Three Hundred & Forty Three and Paise Forty Only | 38 | 42.99 | 76
144 | Supply & FIXING of 36 W LED light fitting (make Crompton, cat no - LCTRH-36-CDL/Havells ) (ENTRANCE) | BI01010001010000000000000515BI0100001255 | 1 | set | 7578.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7578.03 | 7578.03 | INR Seven Thousand Five Hundred & Seventy Eight and Paise Three Only | 81 | 91.63 | 81
145 | Supply & fixing post top light of 40 W LED light fitting (make Crompton, cat no - LPTO-40-CDL/Havells ) | BI01010001010000000000000515BI0100001256 | 2 | set | 8711.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17422.5 | 17422.5 | INR Seventeen Thousand Four Hundred & Twenty Two and Paise Fifty Only | 81 | 91.63 | 162
146 | Reparing for existing tube light changing starter,choke,holder & tube light with painting the buttam as necessary | BI01010001010000000000000515BI0100001257 | 10 | set | 303 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3030 | 3030 | INR Three Thousand &Thirty Only | 81 | 91.63 | 810
147 | Taking down 1200/1400mm swep A C Celling FAN part by part opening changing the bush, bearing and greesing painting the fan as necessary & re fixing | BI01010001010000000000000515BI0100001258 | 6 | set | 323.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1939.2 | 1939.2 | INR One Thousand Nine Hundred & Thirty Nine and Paise Twenty Only | 81 | 91.63 | 486
148 | Supply & fixing of 1200mm sweep Ceiling Fan (Orient,New Bridge, White, Usha Stricker plus) or equivalent as approved by the EIC,complete with all acessaries Incl S/F necy copper flex wire. | BI01010001010000000000000515BI0100001259 | 10 | each | 2232.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22321 | 22321 | INR Twenty Two Thousand Three Hundred & Twenty One Only | 1012 | 1144.77 | 10120
149 | Supply & delivery at site of swaged type steel tubular swan neck type bend pole of over all length 9 mtr. of section (Bottom - 5m, Middle - 2m, Top - 2m) & outside dia & thickness (Bottom- 139.7x4.50, Middle -114.3x3.65, Top - 88.9x3.25) having approx weight of the pole including sole plate 113 Kg. the top end of the pole should be reduced to enable fixing of LED fitting . | BI01010001010000000000000515BI0100001260 | 1 | each | 9358.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9358.66 | 9358.66 | INR Nine Thousand Three Hundred & Fifty Eight and Paise Sixty Six Only | 1024 | 1158.35 | 1024
150 | Supply & Fixing 240 V, 25 A, Modular type AC m/c starter (Eletron OLP - 3) 4 Module GI Modular type switch board with 4 Module top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections with PVC Cu wire and earth continuity wire .(For AC m/c) | BI01010001010000000000000515BI0100001261 | 2 | each | 2272.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4545 | 4545 | INR Four Thousand Five Hundred & Forty Five Only | 1036 | 1171.92 | 2072
Total in Figures | [51 empty] | 3002736.23 | 3002736.23 | INR Thirty Lakh Two Thousand Seven Hundred & Thirty Six and Paise Twenty Three Only |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information