## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair, renovation & upgradation of single storied Domjur Police Station and 07 nos. Single storied Barrack at Domjur Police Station undre Howrah (Rural) District.
Contract No: WBPHIDCL/Addl.CE/NIT- 151(e)/2018-2019 (1st Call) SL. NO. 3
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [58 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001113 | 3164.432 | Sqm. | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 68003.64 | 68003.64 | INR Sixty Eight Thousand &Three and Paise Sixty Four Only | 10 | 11.31 | 31644.32 | 19 | 21.49 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Taking out carefully G.C.I. or C.I. or asbestos sheets (including ridges etc.) from roof or wall after unscrewing bolts, nuts, screws etc.and stacking the material at site as directed. (Payment to be made on measurement of portion of roof or wall removed.) | BI01010001010000000000000515BI0100001114 | 789.546 | Sqm. | 46.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36619.14 | 36619.14 | INR Thirty Six Thousand Six Hundred & Nineteen and Paise Fourteen Only | 166 | 187.78 | 131064.64 | 41 | 46.38 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Fitting and fixing old pieces of asbestos, G.C.I. or C.I. sheets or plain sheets including closing old holes with washers and sheet-bolts and nuts, etc. and including fixing the same to supporting frame with necessary hook-bolts, washers, putty etc. (excluding cost of sheets). (Payment to be made on area of finished work.) (i) With about half old and half new fittings, including the cost of new fittings. (a) In roof | BI01010001010000000000000515BI0100001115 | 717.767 | Sqm. | 78.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56021.71 | 56021.71 | INR Fifty Six Thousand &Twenty One and Paise Seventy One Only | 119.27 | 134.92 | 85608.07 | 69 | 78.05 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. In ground floor including roof. (a) upto 150 mm. thick | BI01010001010000000000000515BI0100001116 | 6 | Cum. | 1062.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6373.2 | 6373.2 | INR Six Thousand Three Hundred & Seventy Three and Paise Twenty Only | 192.38 | 217.62 | 1154.28 | 939 | 1062.2 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (6mm nominal size) excluding shuttering and reinforcement,if any, in gound floor as per relevant IS codes. (i) Pakur Variety | BI01010001010000000000000515BI0100001117 | 6 | Cum. | 6047.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36284.58 | 36284.58 | INR Thirty Six Thousand Two Hundred & Eighty Four and Paise Fifty Eight Only | 77.54 | 87.71 | 465.24 | 5346.03 | 6047.43 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. | BI01010001010000000000000515BI0100001118 | 3.402 | Cum. | 505.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1720.22 | 1720.22 | INR One Thousand Seven Hundred & Twenty and Paise Twenty Two Only | 355.41 | 402.04 | 1209.1 | 447 | 505.65 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Removalof rubbish,earth etc.from the working site and disposal of thesame beyond the compound ,inconformity with the Municipal/Corporation Rules for such disposal,loading in to truckand cleaning the site in all respect as per direction of Engineer in charge | BI01010001010000000000000515BI0100001119 | 55.376 | Cum. | 187.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10398.51 | 10398.51 | INR Ten Thousand Three Hundred & Ninety Eight and Paise Fifty One Only | 487.41 | 551.36 | 26990.82 | 166 | 187.78 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Brick work with 1st class bricks in cement mortar (1:6) in (b) Ground Floor Superstructure | BI01010001010000000000000515BI0100001120 | 6 | Cum. | 6237.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37424.64 | 37424.64 | INR Thirty Seven Thousand Four Hundred & Twenty Four and Paise Sixty Four Only | 110 | 124.43 | 660 | 5514 | 6237.44
10 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4)in Ground Floor | BI01010001010000000000000515BI0100001121 | 2.4 | Sqm. | 816.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1960.15 | 1960.15 | INR One Thousand Nine Hundred & Sixty and Paise Fifteen Only | 266 | 300.9 | 638.4 | 722 | 816.73
11 | Wood work in beams and burgahs fitted and fixed in position complete. (Cost for repairing of Damage to be paid separately) (ii) Sal : Malayasian | BI01010001010000000000000515BI0100001122 | 9 | Cum. | 83137.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 748237.86 | 748237.86 | INR Seven Lakh Forty Eight Thousand Two Hundred & Thirty Seven and Paise Eighty Six Only | 40 | 45.25 | 360 | 73495 | 83137.54
12 | Replacing wooden beam or R.S. joist by R.S. joist or by another wooden beam joist and fixed complete, including hire and labour charges for necessary sal bullah props, necessary packing between beams and burgahs but excluding the cost of joist or wooden beam and concrete/ Brick works etc needed for mending damages. (i) Height not exceeding 5m (b) Clear span exceeding 3.7m but not exceeding 5m. | BI01010001010000000000000515BI0100001123 | 4 | Each | 3320.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13280.28 | 13280.28 | INR Thirteen Thousand Two Hundred & Eighty and Paise Twenty Eight Only | 24 | 27.15 | 96 | 2935 | 3320.07
13 | Labour for changing burgahs excluding mending damages. Payment for the wooden burgahs (replacing the old ones) will be made against Item C (2) of carpenter's work ] | BI01010001010000000000000515BI0100001124 | 4 | Each | 30.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 122.16 | 122.16 | INR One Hundred & Twenty Two and Paise Sixteen Only | 4818.66 | 5450.87 | 19274.64 | 27 | 30.54
14 | Asbestos corrugated (Trafford or similar approved quality) sheet (6 mm thick) work (excluding the supporting framework) fitted and fixed with 9.5mm. dia. J or L hook-bolt and nuts, limpet and bitumen washers and putty with 150 mm end lap & one corrugation minimum side lap complete. (Payment should be made on area of finished work) (a) In Roof | BI01010001010000000000000515BI0100001125 | 789.543 | Sqm | 532.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 420668.51 | 420668.51 | INR Four Lakh Twenty Thousand Six Hundred & Sixty Eight and Paise Fifty One Only | 5920.24 | 6696.98 | 4674284.05 | 471 | 532.8
15 | Asbestos ridging (with standard lap) fitted and fixed with necessary hook, bolts, nuts, washers, etc. complete. (a) Close fitting adjustable type | BI01010001010000000000000515BI0100001126 | 158.25 | Mtr. | 305.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48332.72 | 48332.72 | INR Forty Eight Thousand Three Hundred & Thirty Two and Paise Seventy Two Only | 5940.24 | 6719.6 | 940042.98 | 270 | 305.42
16 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar a) 20mm thick plaster OUTSIDE GROUND FLOOR | BI01010001010000000000000515BI0100001127 | 1403.25 | SqM | 187.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 263502.29 | 263502.29 | INR Two Lakh Sixty Three Thousand Five Hundred & Two and Paise Twenty Nine Only | 5960.24 | 6742.22 | 8363706.78 | 166 | 187.78
17 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster INSIDE GROUND FLOOR | BI01010001010000000000000515BI0100001128 | 1502.881 | Sqm | 162.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 244804.29 | 244804.29 | INR Two Lakh Forty Four Thousand Eight Hundred & Four and Paise Twenty Nine Only | 359 | 406.1 | 539534.28 | 144 | 162.89
18 | Artificial stone in floor, dado, staircase etc with cement concrete (1:2:4) with stone chips, laid in panels as directed with topping made with ordinary or white cement (as necessary) and marble dust in proportion (1:2) including smooth finishing and rounding off corners including raking out joints or roughening of concrete surface and application of cement slurry before flooring works using cement @ 1.75 kg/sq.m all complete including all materials and labour. 3 mm. thick topping (High polishing grinding on this item is not permitted with ordinary cement). Using grey cement 25 mm. thick In Ground Floor | BI01010001010000000000000515BI0100001129 | 1261 | Sqm | 295.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 372297.64 | 372297.64 | INR Three Lakh Seventy Two Thousand Two Hundred & Ninety Seven and Paise Sixty Four Only | 377 | 426.46 | 475397 | 261 | 295.24
19 | Net Cement Punning above 1.5mm thick in Wall dado,Window Sill Floor and Drain etc Note Cement 0.152 cum 100 Sqmts GROUND FLOOR | BI01010001010000000000000515BI0100001130 | 1513.2 | Sqm | 38.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58197.67 | 58197.67 | INR Fifty Eight Thousand One Hundred & Ninety Seven and Paise Sixty Seven Only | 395 | 446.82 | 597714 | 34 | 38.46
20 | a) M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S,W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor.(i) Grill weighing above 10 Kg./sq. Mtr upto 16kg/sq.mtr.GROUND FLOOR | BI01010001010000000000000515BI0100001131 | 2.915 | Qntl | 11185.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32605.18 | 32605.18 | INR Thirty Two Thousand Six Hundred & Five and Paise Eighteen Only | 71269 | 80619.49 | 207749.14 | 9888 | 11185.31
21 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (e) Sal : Malayasian | BI01010001010000000000000515BI0100001132 | 1.404 | cum. | 94136.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132167.22 | 132167.22 | INR One Lakh Thirty Two Thousand One Hundred & Sixty Seven and Paise Twenty Two Only | 71699 | 81105.91 | 100665.4 | 83218 | 94136.2
22 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in ground floor. (b) 32 mm thick shutters (single leaf) | BI01010001010000000000000515BI0100001133 | 20.16 | Sqm | 2668.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53796.96 | 53796.96 | INR Fifty Three Thousand Seven Hundred & Ninety Six and Paise Ninety Six Only | 72129 | 81592.32 | 1454120.64 | 2359 | 2668.5
23 | Panel shutters of door and window, as per design (each panel consisting of single plank without joint), including fitting and fixing the same in position but excluding the cost of hinge and other fittings. In ground floor. (In case of non-supply of single plank, penal rate of reduction of 20% will be made) (i) 50mm thick shutters with 25mm thick panel of size 30 to 45 cm (a) 1st class best Indian teak. | BI01010001010000000000000515BI0100001134 | 34.56 | Sqm | 8191.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 283081.65 | 283081.65 | INR Two Lakh Eighty Three Thousand &Eighty One and Paise Sixty Five Only | 4243 | 4799.68 | 146638.08 | 7241 | 8191.02
24 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod) (v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001135 | 8 | Each | 116.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 932.08 | 932.08 | INR Nine Hundred & Thirty Two and Paise Eight Only | 4354 | 4925.24 | 34832 | 103 | 116.51
25 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately). (a) 40mm X 6mm, 250mm Length | BI01010001010000000000000515BI0100001136 | 176 | Each | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5772.8 | 5772.8 | INR Five Thousand Seven Hundred & Seventy Two and Paise Eighty Only | 4465 | 5050.81 | 785840 | 29 | 32.8
26 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001137 | 176 | Each | 48.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8560.64 | 8560.64 | INR Eight Thousand Five Hundred & Sixty and Paise Sixty Four Only | 4576 | 5176.37 | 805376 | 43 | 48.64
27 | i) Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting.250mm long | BI01010001010000000000000515BI0100001138 | 8 | Each | 179.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1438.88 | 1438.88 | INR One Thousand Four Hundred & Thirty Eight and Paise Eighty Eight Only | 592 | 669.67 | 4736 | 159 | 179.86
28 | (ii) Anodised aluminium floor door stopper | BI01010001010000000000000515BI0100001139 | 8 | Each | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 633.44 | 633.44 | INR Six Hundred & Thirty Three and Paise Forty Four Only | 604 | 683.24 | 4832 | 70 | 79.18
29 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. 300 mm long X 10mm dia bolt. | BI01010001010000000000000515BI0100001140 | 72 | Each | 111.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8063.28 | 8063.28 | INR Eight Thousand &Sixty Three and Paise Twenty Eight Only | 616 | 696.82 | 44352 | 99 | 111.99
30 | Removing old paint from blistered painted surface of steel or other metal by chipping including scraping and cleaning and exposing the original surface | BI01010001010000000000000515BI0100001141 | 18.22 | SqM | 54.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 989.35 | 989.35 | INR One Lakh Ninety Four Thousand &Forty Only | 186 | 210.4 | 3388.92 | 48 | 54.3
31 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc | BI01010001010000000000000515BI0100001142 | 18.22 | SqM | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 597.62 | 597.62 | INR Five Hundred & Ninety Seven and Paise Sixty Two Only | 21 | 23.76 | 382.62 | 29 | 32.8
32 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001143 | 178.414 | Sqm. | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7670.02 | 7670.02 | INR Seven Thousand Six Hundred & Seventy and Paise Two Only | 75572 | 85487.05 | 13483102.81 | 38 | 42.99
33 | Acrylic Distemper to interior wall, ceiling with a coat of solvent based interior grade acrylic primer (as per manufacturer's specification) including cleaning and smoothning of surface. Two Coats | BI01010001010000000000000515BI0100001144 | 1547.083 | Sqm. | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 122498.03 | 122498.03 | INR One Lakh Twenty Two Thousand Four Hundred & Ninety Eight and Paise Three Only | 75772 | 85713.29 | 117225573.08 | 70 | 79.18
34 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. (All Floor) One Coat ii) Solvent based interior grade Acrylic Primer | BI01010001010000000000000515BI0100001145 | 1547.08 | sqm | 38.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58974.69 | 58974.69 | INR Fifty Eight Thousand Nine Hundred & Seventy Four and Paise Sixty Nine Only | 75972 | 85939.53 | 117534761.76 | 33.7 | 38.12
35 | Applying decorative cement based paint of approved quality after preparing the surface including scraping the same thoroughly (plastered or concrete surface) as per manufacturer's specification. (iii) Two coats. In Ground Floor | BI01010001010000000000000515BI0100001146 | 1473.842 | sqm | 55.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 81695.06 | 81695.06 | INR Eighty One Thousand Six Hundred & Ninety Five and Paise Six Only | 3955 | 4473.9 | 5829045.11 | 49 | 55.43 | 72218.258
36 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : On steel or other metal surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001147 | 18.221 | Sqm. | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1628.23 | 1628.23 | INR One Thousand Six Hundred & Twenty Eight and Paise Twenty Three Only | 3969 | 4489.73 | 72319.15 | 79 | 89.36
37 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damages complete. (Concrete and brick work for mending damage will be paid separately) upto 2.5 sqm. | BI01010001010000000000000515BI0100001148 | 20.956 | SqM | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2820.89 | 2820.89 | INR Two Thousand Eight Hundred & Twenty and Paise Eighty Nine Only | 3983 | 4505.57 | 83467.75 | 119 | 134.61
38 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length c) 110 mm | BI01010001010000000000000515BI0100001149 | 12 | Mtr. | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3963.72 | 3963.72 | INR Three Thousand Nine Hundred & Sixty Three and Paise Seventy Two Only | 446 | 504.52 | 5352 | 292 | 330.31
39 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (i) Coupler c) 110 mm | BI01010001010000000000000515BI0100001150 | 4 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 384.6 | 384.6 | INR Three Hundred & Eighty Four and Paise Sixty Only | 446 | 504.52 | 1784 | 85 | 96.15
40 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (ii) Plain Tee c) 110 mm | BI01010001010000000000000515BI0100001151 | 4 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 384.6 | 384.6 | INR Three Hundred & Eighty Four and Paise Sixty Only | 446 | 504.52 | 1784 | 85 | 96.15
41 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (iii) Door Tee c) 110 mm | BI01010001010000000000000515BI0100001152 | 4 | Each | 220.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 882.32 | 882.32 | INR Eight Hundred & Eighty Two and Paise Thirty Two Only | 2581 | 2919.63 | 10324 | 195 | 220.58
42 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings iv) Door Tee(LH) & (RH) c) 110 mm | BI01010001010000000000000515BI0100001153 | 4 | Each | 352.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1411.72 | 1411.72 | INR One Thousand Four Hundred & Eleven and Paise Seventy Two Only | 2595 | 2935.46 | 10380 | 312 | 352.93
43 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings v) Plain Y c) 110 mm | BI01010001010000000000000515BI0100001154 | 4 | Each | 233.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 932.12 | 932.12 | INR Nine Hundred & Thirty Two and Paise Twelve Only | 2609 | 2951.3 | 10436 | 206 | 233.03
44 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (ii)Bend 87.5 dig. c) 110 mm | BI01010001010000000000000515BI0100001155 | 4 | Each | 135.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 542.96 | 542.96 | INR Five Hundred & Forty Two and Paise Ninety Six Only | 122 | 138.01 | 488 | 120 | 135.74
45 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xi) Door Bend (T.S.) c) 110 mm | BI01010001010000000000000515BI0100001156 | 4 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 665.16 | 665.16 | INR Six Hundred & Sixty Five and Paise Sixteen Only | 126 | 142.53 | 504 | 147 | 166.29
46 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xiv) Cross Tee with Door c) 110 mm | BI01010001010000000000000515BI0100001157 | 2 | Each | 270.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 540.72 | 540.72 | INR Five Hundred & Forty and Paise Seventy Two Only | 130 | 147.06 | 260 | 239 | 270.36
47 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xv) Vent Cowl c) 110 mm | BI01010001010000000000000515BI0100001158 | 8 | Each | 37.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298.64 | 298.64 | INR Two Hundred & Ninety Eight and Paise Sixty Four Only | 153 | 173.07 | 1224 | 33 | 37.33
48 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings Pipe Clip c) 110 mm | BI01010001010000000000000515BI0100001159 | 10 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 237.6 | 237.6 | INR Two Hundred & Thirty Seven and Paise Sixty Only | 157 | 177.6 | 1570 | 21 | 23.76
49 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xxxi) Plain Floor Trap with Top tile & Strainer 75 mm | BI01010001010000000000000515BI0100001160 | 2 | Each | 162.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 325.78 | 325.78 | INR Three Hundred & Twenty Five and Paise Seventy Eight Only | 161 | 182.12 | 322 | 144 | 162.89
50 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xxiii) 110/110 S Trap 75 mm | BI01010001010000000000000515BI0100001161 | 2 | Each | 490.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 981.88 | 981.88 | INR Nine Hundred & Eighty One and Paise Eighty Eight Only | 135 | 152.71 | 270 | 434 | 490.94
51 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xxvi) Reducer 110 X 75 mm 75 mm | BI01010001010000000000000515BI0100001162 | 3 | Each | 90.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 271.5 | 271.5 | INR Two Hundred & Seventy One and Paise Fifty Only | 139 | 157.24 | 417 | 80 | 90.5
52 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xxvii) Reducing Tee (110 X 75 mm) 75 mm | BI01010001010000000000000515BI0100001163 | 3 | Each | 160.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 481.89 | 481.89 | INR Four Hundred & Eighty One and Paise Eighty Nine Only | 143 | 161.76 | 429 | 142 | 160.63
53 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xxi) 110 X 110 P Trap 75 mm | BI01010001010000000000000515BI0100001164 | 4 | Each | 317.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1271.48 | 1271.48 | INR One Thousand Two Hundred & Seventy One and Paise Forty Eight Only | 34 | 38.46 | 136 | 281 | 317.87
54 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xIv) Round Jali 75 mm | BI01010001010000000000000515BI0100001165 | 4 | Each | 27.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 108.6 | 108.6 | INR One Hundred & Eight and Paise Sixty Only | 122 | 138.01 | 488 | 24 | 27.15
55 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings xIvi) Door Cap b) 110 mm | BI01010001010000000000000515BI0100001166 | 4 | Each | 57.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 230.76 | 230.76 | INR Two Hundred & Thirty and Paise Seventy Six Only | 122.72 | 138.82 | 490.88 | 51 | 57.69
56 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (A) Above ground ii) 110 mm | BI01010001010000000000000515BI0100001167 | 15 | Mtr. | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 967.2 | 967.2 | INR Nine Hundred & Sixty Seven and Paise Twenty Only | 123.44 | 139.64 | 1851.6 | 57 | 64.48
57 | Labour for fitting and fixing U.P.V.C. pipes for above ground work including cost of jointing materials etc. fitting and fixing all necessary specials, cutting pipes, cutting holes in walls or R.C. floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary, but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 metre and refilling the same complete as per direction of the Engineerin- charge. (Payment will be made on centre line measurement of the total pipeline including specials. (B) Under ground ii) 110 mm | BI01010001010000000000000515BI0100001168 | 5 | Mtr. | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 475.1 | 475.1 | INR Four Hundred & Seventy Five and Paise Ten Only | 48.5 | 54.86 | 242.5 | 84 | 95.02
58 | Dismantling H.C.I. pipe with fittings including melting lead caulked joints. i) 50 mm | BI01010001010000000000000515BI0100001169 | 15 | Rm | 56.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 848.4 | 848.4 | INR Eight Hundred & Forty Eight and Paise Forty Only | 48.5 | 54.86 | 727.5 | 50 | 56.56
59 | Dismantling H.C.I. pipe with fittings including melting lead caulked joints. (iii) 100 mm | BI01010001010000000000000515BI0100001170 | 15 | Rm | 72.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1086 | 1086 | INR One Thousand &Eighty Six Only | 48.5 | 54.86 | 727.5 | 64 | 72.4
60 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 40mm | BI01010001010000000000000515BI0100001171 | 10 | Mtr. | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3303.1 | 3303.1 | INR Three Thousand Three Hundred & Three and Paise Ten Only | 70 | 79.18 | 700 | 292 | 330.31
61 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 32mm | BI01010001010000000000000515BI0100001172 | 10 | Mtr. | 266.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2669.6 | 2669.6 | INR Two Thousand Six Hundred & Sixty Nine and Paise Sixty Only | 70 | 79.18 | 700 | 236 | 266.96
62 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 25mm | BI01010001010000000000000515BI0100001173 | 10 | Mtr. | 200.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2002.2 | 2002.2 | INR Two Thousand &Two and Paise Twenty Only | 70 | 79.18 | 700 | 177 | 200.22
63 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 20mm | BI01010001010000000000000515BI0100001174 | 10 | Mtr. | 145.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1459.2 | 1459.2 | INR One Thousand Four Hundred & Fifty Nine and Paise Twenty Only | 45.1 | 51.02 | 451 | 129 | 145.92
64 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 15mm | BI01010001010000000000000515BI0100001175 | 10 | Mtr. | 114.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1142.5 | 1142.5 | INR One Thousand One Hundred & Forty Two and Paise Fifty Only | 45.81 | 51.82 | 458.1 | 101 | 114.25
65 | Removing chokage of H.C.I. or S.W. pipe with split bamboo (a) Underground | BI01010001010000000000000515BI0100001176 | 15 | Mtr. | 12.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 186.6 | 186.6 | INR One Hundred & Eighty Six and Paise Sixty Only | 46.52 | 52.62 | 697.8 | 11 | 12.44
66 | Removing chokage of H.C.I. or S.W. pipe with split bamboo. (b) Over ground | BI01010001010000000000000515BI0100001177 | 15 | Mtr. | 10.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 152.7 | 152.7 | INR One Hundred & Fifty Two and Paise Seventy Only | 97 | 109.73 | 1455 | 9 | 10.18
67 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 40mm | BI01010001010000000000000515BI0100001178 | 2 | Each | 1861.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3723.92 | 3723.92 | INR Three Thousand Seven Hundred & Twenty Three and Paise Ninety Two Only | 97.71 | 110.53 | 195.42 | 1646 | 1861.96
68 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 40mm | BI01010001010000000000000515BI0100001179 | 2 | Each | 1423.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2846.1 | 2846.1 | INR Two Thousand Eight Hundred & Forty Six and Paise Ten Only | 98.42 | 111.33 | 196.84 | 1258 | 1423.05
69 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 40mm | BI01010001010000000000000515BI0100001180 | 2 | Each | 1031.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2063.3 | 2063.3 | INR Two Thousand &Sixty Three and Paise Thirty Only | 29 | 32.8 | 58 | 912 | 1031.65
70 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 40mm | BI01010001010000000000000515BI0100001181 | 2 | Each | 743.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1486.4 | 1486.4 | INR One Thousand Four Hundred & Eighty Six and Paise Forty Only | 29 | 32.8 | 58 | 657 | 743.2
71 | Supplying, fitting and fixing stainless steel sink complete with waste fittings and two coats of painting of C.I. brackets. (a) Sink only (i) 530 mm X 430 mm x 180 mm | BI01010001010000000000000515BI0100001182 | 8 | Each | 3715.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29727.92 | 29727.92 | INR Twenty Nine Thousand Seven Hundred & Twenty Seven and Paise Ninety Two Only | 29 | 32.8 | 232 | 3285 | 3715.99
72 | Cleaning wash basin/ sink with acid. | BI01010001010000000000000515BI0100001183 | 8 | each | 18.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 144.8 | 144.8 | INR One Hundred & Forty Four and Paise Eighty Only | 38 | 42.99 | 304 | 16 | 18.1
73 | Supplying, fitting and fixing Anglo-Indian W.C. in white glazed vitreous china ware of approved make complete in position with necessary bolts, nuts etc. With 'P' trap (without vent) | BI01010001010000000000000515BI0100001184 | 2 | Each | 3482.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6965.92 | 6965.92 | INR Six Thousand Nine Hundred & Sixty Five and Paise Ninety Two Only | 38 | 42.99 | 76 | 3079 | 3482.96
74 | Cleaning E.P. or Anglo-Indian W.C. with acid. | BI01010001010000000000000515BI0100001185 | 8 | each | 30.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 244.32 | 244.32 | INR Two Hundred & Forty Four and Paise Thirty Two Only | 38 | 42.99 | 304 | 27 | 30.54
75 | Removing chokage of water closet. | BI01010001010000000000000515BI0100001186 | 8 | each | 29.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 235.28 | 235.28 | INR Two Hundred & Thirty Five and Paise Twenty Eight Only | 81 | 91.63 | 648 | 26 | 29.41
76 | Removing chokage of urinal and waste trap. | BI01010001010000000000000515BI0100001187 | 8 | each | 29.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 235.28 | 235.28 | INR Two Hundred & Thirty Five and Paise Twenty Eight Only | 81 | 91.63 | 648 | 26 | 29.41
77 | Supplying,fitting and fixing 32 mm dia. Flush Pipe of approved make with necessary fixing materials and clamps complete. Polythene Flush Pipe | BI01010001010000000000000515BI0100001188 | 2 | Each | 175.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 350.68 | 350.68 | INR Three Hundred & Fifty and Paise Sixty Eight Only | 81 | 91.63 | 162 | 155 | 175.34
78 | Supplying,fitting and fixing approved brand P.V.C. CONNECTOR white flexible, with both ends coupling with heavy brass C.P. nut, 15 mm dia. 900 mm long | BI01010001010000000000000515BI0100001189 | 4 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 665.16 | 665.16 | INR Six Hundred & Sixty Five and Paise Sixteen Only | 79 | 89.36 | 316 | 147 | 166.29
79 | Supplying,fitting and fixing approved brand 32 mm dia.P.V.C. waste pipe, with PVC coupling at one end fitted with necessary clamps. 1050mm long | BI01010001010000000000000515BI0100001190 | 8 | Each | 102.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 823.52 | 823.52 | INR Eight Hundred & Twenty Three and Paise Fifty Two Only | 79 | 89.36 | 632 | 91 | 102.94
80 | Supplying, fitting and fixing 10 litre P.V.C. low-down cistern conforming to I.S. specification with P.V.C. fittings complete,C.I. brackets including two coats of painting to bracket etc. | BI01010001010000000000000515BI0100001191 | 2 | Each | 1148.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2296.34 | 2296.34 | INR Two Thousand Two Hundred & Ninety Six and Paise Thirty Four Only | 79 | 89.36 | 158 | 1015 | 1148.17
81 | Supplying, fitting and fixing bib cock or stop cock. Chromium plated Bib Cock short body (Equivalent to Code No. 511 & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001192 | 8 | Each | 609.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4877.76 | 4877.76 | INR Four Thousand Eight Hundred & Seventy Seven and Paise Seventy Six Only | 894 | 1011.29 | 7152 | 539 | 609.72
82 | Supplying, fitting and fixing bib cock or stop cock. PTMT (Polytetra Bib Cock / Stop Cock ( Prayag or equivalent) 15 mm | BI01010001010000000000000515BI0100001193 | 8 | Each | 174.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1393.6 | 1393.6 | INR One Thousand Three Hundred & Ninety Three and Paise Sixty Only | 899 | 1016.95 | 7192 | 154 | 174.2
83 | Supplying, fitting and fixing soap holder. PTMT (Prayag or equivalent) | BI01010001010000000000000515BI0100001194 | 8 | Each | 152.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1221.68 | 1221.68 | INR One Thousand Two Hundred & Twenty One and Paise Sixty Eight Only | 904 | 1022.6 | 7232 | 135 | 152.71
84 | Supplying, fitting and fixing PTMT Smart Shelf of approved make of size 300 mm. | BI01010001010000000000000515BI0100001195 | 8 | Each | 252.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2018.08 | 2018.08 | INR Two Thousand &Eighteen and Paise Eight Only | 1091 | 1234.14 | 8728 | 223 | 252.26
85 | Supplying, fitting and fixing towel rail with two brackets. C.P. over brass 25 mm dia. and 600 mm long | BI01010001010000000000000515BI0100001196 | 8 | Each | 486.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3891.36 | 3891.36 | INR Three Thousand Eight Hundred & Ninety One and Paise Thirty Six Only | 1096 | 1239.8 | 8768 | 430 | 486.42
86 | Supplying, fitting and fixing best quality Indian make mirror 5.5 mm thick with silvering as per I.S.I. specifications supported on fibre glass frame of any colour, frame size 550 mm X 400 mm | BI01010001010000000000000515BI0100001197 | 8 | Each | 693.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5547.44 | 5547.44 | INR Five Thousand Five Hundred & Forty Seven and Paise Forty Four Only | 1101 | 1245.45 | 8808 | 613 | 693.43
87 | Chromium plated round shower with revolving joint 100 mm dia with rubid cleaning system (Equivalent to Code No. 542(N) & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001198 | 8 | Each | 511.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4090.4 | 4090.4 | INR Four Thousand &Ninety and Paise Forty Only | 1679 | 1899.28 | 13432 | 452 | 511.3
88 | (iii) Chromium plated shower arm 240 mm long (Equivalent to Code No. 536(A) & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001199 | 8 | Each | 349.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2796.32 | 2796.32 | INR Two Thousand Seven Hundred & Ninety Six and Paise Thirty Two Only | 1684 | 1904.94 | 13472 | 309 | 349.54
89 | Labour for punching hole in plastic water storage tank upto 50 mm dia. | BI01010001010000000000000515BI0100001200 | 1 | Each | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21.49 | 21.49 | INR Twenty One and Paise Forty Nine Only | 1003 | 1134.59 | 1003 | 19 | 21.49
90 | Cleaning silt of inspection pit. | BI01010001010000000000000515BI0100001201 | 5 | Each | 174.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 871 | 871 | INR Eight Hundred & Seventy One Only | 1015 | 1148.17 | 5075 | 154 | 174.2
91 | Cleaning soak pit by removing the top slab and replacing inner filling with jhama bats and repairing the pit as necessary including fitting the slab. | BI01010001010000000000000515BI0100001202 | 3 | each | 1523.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4571.19 | 4571.19 | INR Four Thousand Five Hundred & Seventy One and Paise Nineteen Only | 1027 | 1161.74 | 3081 | 1347 | 1523.73
92 | Cleaning silt of master trap pit. | BI01010001010000000000000515BI0100001203 | 5 | each | 1303.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6515.7 | 6515.7 | INR Six Thousand Five Hundred & Fifteen and Paise Seventy Only | 1142 | 1291.83 | 5710 | 1152 | 1303.14
93 | Electrical Works (SCHEDULE ITEM) Supply & fixing 240 volt 32A DP switch in S.S. enclosure with fuses onLS & NL to be fixed on angle frame on wall including earthing attachment.(Make Havells/HPL) | BI01010001010000000000000515BI0100001204 | 14 | No | 1444.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20223.56 | 20223.56 | INR Twenty Thousand Two Hundred & Twenty Three and Paise Fifty Six Only | 1154 | 1305.4 | 16156 | 1277 | 1444.54
94 | Supply & fixing SPN MCB DB (2+8) WAY (Make Legrand/Seimens/ ABB) with S.S. Enclosure concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following. a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 8 Nos. | BI01010001010000000000000515BI0100001205 | 1 | Set | 3785 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3785 | 3785 | INR Three Thousand Seven Hundred & Eighty Five Only | 1166 | 1318.98 | 1166 | 3346 | 3785
95 | Supply & fixing SPN MCB DB (2+6) 8 way (Make legrand/ Seimens/ABB) with S.S. Enclosure concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 6 Nos. | BI01010001010000000000000515BI0100001206 | 7 | Set | 3194.51 | 53536 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22361.57 | 22361.57 | INR Twenty Two Thousand Three Hundred & Sixty One and Paise Fifty Seven Only | 224 | 253.39 | 1568 | 2824 | 3194.51
96 | Laying of 2 x 6 sq sqmm XLPE/A cable in underground trench 460 mm wide x 760 mm average depth, with brick protection on the top of the cable with 8 (eight) Nos. bricks per metre, including filling the space between the brick & cable and also the trench with shifted soil, leveling up and restoring surface duly rammed | BI01010001010000000000000515BI0100001207 | 400 | Mtr | 183.25 | 48070 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73300 | 73300 | INR Seventy Three Thousand Three Hundred Only | 209 | 236.42 | 83600 | 162 | 183.25
97 | Laying of cable upto 2 core 6 sqmm on wall/surface incl. S & F MS saddles with earthing attachment in 10 SWG GI (Hot Dip) Wire, making holes etc. as necy. mending good damages and painting | BI01010001010000000000000515BI0100001208 | 100 | Mtr | 64.48 | 10288 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6448 | 6448 | INR Six Thousand Four Hundred & Forty Eight Only | 643 | 727.36 | 64300 | 57 | 64.48
98 | Supply & laying medium gauge 40 mm dia G.I. Pipe (ISI -m) for cable protection. | BI01010001010000000000000515BI0100001209 | 24 | Mtr | 278.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6678.72 | 6678.72 | INR Six Thousand Six Hundred & Seventy Eight and Paise Seventy Two Only | 3321 | 3756.72 | 79704 | 246 | 278.28
99 | Supply & fixing compression type cable gland suitable for cable with brass gland, brass ring incl.socketing the ends off by crimping method including S/F solderless socket (Dowels value) & jointing materials etc. a) 2 x 6 sq mm XLPE/A | BI01010001010000000000000515BI0100001210 | 14 | Set | 76.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1076.88 | 1076.88 | INR One Thousand &Seventy Six and Paise Eighty Eight Only | 536 | 606.32 | 7504 | 68 | 76.92
100 | Supplying and fixing MCB SS enclosure with IP-20/30 protection, powder coated provision for two/four pole MCB, concealed in wall after cutting the wall & mending good the damages to original finish incl. painting, connection & provision for earthing attachment 2 Way a) 6 to 16 A range SPMCB - 2 Nos. | BI01010001010000000000000515BI0100001211 | 6 | Set | 735.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4411.68 | 4411.68 | INR Four Thousand Four Hundred & Eleven and Paise Sixty Eight Only | 536 | 606.32 | 3216 | 650 | 735.28
101 | S & F 'Anchor' make 16 A piano type switch in concealed MS Box by S & F the same and making connection as the control switch of the outdoor luminires. | BI01010001010000000000000515BI0100001212 | 10 | Set | 223.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2239.8 | 2239.8 | INR Two Thousand Two Hundred & Thirty Nine and Paise Eighty Only | 536 | 606.32 | 5360 | 198 | 223.98
102 | Supplying and Drawing 1.1 KV single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) of the following sizes in 19mm bore,3mm thick polythene pipe and by the prelaid GI fish wire and making necy. connection as required a)2x56/0.3 (4 sqmm) + 1x36/0.3 (2.5 sqmm) as ECC | BI01010001010000000000000515BI0100001213 | 150 | Rm | 123.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18495 | 18495 | INR Eighteen Thousand Four Hundred & Ninety Five Only | 67 | 75.79 | 10050 | 109 | 123.3
103 | Supplying & Erection of 75x88 mm porcelain shackle insulator complete with 190x30x5 mm Galv. (Hot Dip) strips with 15.88 mm dia Galv. bolts, nuts, etc. for conductor upto 7/3.10 mm, 32 sqmm of AAC/equivalent size of ACSR | BI01010001010000000000000515BI0100001214 | 12 | Each | 80.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 963.84 | 963.84 | INR Nine Hundred & Sixty Three and Paise Eighty Four Only | 218 | 246.6 | 2616 | 71 | 80.32
104 | Supplying & Erection of No. 6 SWG GI (Hot Dip) continuous earth wire with Galv. (Hot Dip) earth clamp | BI01010001010000000000000515BI0100001215 | 150 | Rm | 18.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2715 | 2715 | INR Two Thousand Seven Hundred & Fifteen Only | 195 | 220.58 | 29250 | 16 | 18.1
105 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. a) 2 X 4 + 1 X 2.5 Sqmm.(SPN) | BI01010001010000000000000515BI0100001216 | 30 | Mtr | 205.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6176.4 | 6176.4 | INR Six Thousand One Hundred & Seventy Six and Paise Forty Only | 311 | 351.8 | 9330 | 182 | 205.88
106 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. b) 2 x 2.5 sq mm + 1 x 1.5 sq mm (PP) | BI01010001010000000000000515BI0100001217 | 75 | Mtr | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12471.75 | 12471.75 | INR Twelve Thousand Four Hundred & Seventy One and Paise Seventy Five Only | 270 | 305.42 | 20250 | 147 | 166.29
107 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. b) 3 x 1.5 sq mm (Out door Ltg) | BI01010001010000000000000515BI0100001218 | 120 | Mtr | 142.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17103.6 | 17103.6 | INR Seventeen Thousand One Hundred & Three and Paise Sixty Only | 117 | 132.35 | 14040 | 126 | 142.53
108 | Distribution wiring in 1.1 KV grade 3X1.5 Sqmm. Single core standard "FR" PVC insulated copper wire (Finolex/Havells/ Mescab) in 19 mm bore , 3 mm thick Polythene Pipe complete with all accessories embeded in wall to light/fan point with piano .key type switch (Anchor) on M.S. switch board with bakelite top cover recessed in wall. (Ave. run 8 mtr.) | BI01010001010000000000000515BI0100001219 | 150 | pts | 1010.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 151524 | 151524 | INR One Lakh Fifty One Thousand Five Hundred & Twenty Four Only | 119 | 134.61 | 17850 | 893 | 1010.16
109 | Distribution wiring in 1.1 KV grade 3X1.5 Sqmm. Single core standed "FR" PVC insulated copper wire (approved value) in 19 mm bore , 3 mm thick Polythene Pipe complete with all accessories embeded in wall to 240V 6A 5 pin plug point including S/F 240 V 6A 3 pin flush type plug socket & piano key type switch (Anchor) including S/F earth continuty wire fixed on sheet metal (16 SWG) switch board with bakelite top cover (3 mm thick) flushed in wall including mending good damages do original finish a) on board | BI01010001010000000000000515BI0100001220 | 45 | pts | 281.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12675.15 | 12675.15 | INR Twelve Thousand Six Hundred & Seventy Five and Paise Fifteen Only | 148 | 167.42 | 6660 | 249 | 281.67
110 | Distribution wiring in 1.1 KV grade 3 x 1.5 sq mm single core stranded 'FR' PVC insulated & unsheathed copper wire (brand approved by EIC) in 19mm bore, 3mm thickpolythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240V 6A 3 pin modular type plug socket & modular type switch(Brand appr. by EIC) incl. S&F earth continuity wire fixed on 4 module GI switch board with 3/4 module top cover plate flushed in wall incl mending good damage to original finish. (Ave run 4.5 mtr) | BI01010001010000000000000515BI0100001221 | 55 | pts | 1061.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58358.85 | 58358.85 | INR Fifty Eight Thousand Three Hundred & Fifty Eight and Paise Eighty Five Only | 810 | 916.27 | 44550 | 938 | 1061.07
111 | S & F 240 V AC Call bel on HW board on wall as GS (Make-Anchor) | BI01010001010000000000000515BI0100001222 | 1 | Each | 195.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 195.7 | 195.7 | INR One Hundred & Ninety Five and Paise Seventy Only | 696 | 787.32 | 696 | 173 | 195.7
112 | Removing existing electrical Item(Excluding Ceiling Fan) from its present position and fix up the same to current position shown by ECI & mending good damages to original finish | BI01010001010000000000000515BI0100001223 | 1 | LS | 565.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 565.6 | 565.6 | INR Five Hundred & Sixty Five and Paise Sixty Only | 941 | 1064.46 | 941 | 500 | 565.6
113 | Fixing the above Tube light fitting suspended 25 cm. Below the cutting with 2 Nos. 20 mm dia E.I. conduit (14 SWG) support fixed with "L" type clamp fixed on ceiling with fastener & S/F connecting copper wire. | BI01010001010000000000000515BI0100001224 | 20 | Set | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3325.8 | 3325.8 | INR Three Thousand Three Hundred & Twenty Five and Paise Eighty Only | 1501 | 1697.93 | 30020 | 147 | 166.29
114 | Takendown, washing, cleaning including Repairing of A.C. Ceiling Fan, after dismantling part by part cleaning and greasing ball bearing and changing split pin/Jum nut/incl. S&F Ball bearing/condenser etc. as and when require & incl. Refing the same in position | BI01010001010000000000000515BI0100001225 | 30 | Each | 169.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5090.4 | 5090.4 | INR Five Thousand &Ninety and Paise Forty Only | 14 | 15.84 | 420 | 150 | 169.68
115 | Fixing only fan clamp for RC ceiling as per specification after cutting the ceiling & binding with reinforcement and mending good the damages. | BI01010001010000000000000515BI0100001226 | 37 | each | 273.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10128.75 | 10128.75 | INR Ten Thousand One Hundred & Twenty Eight and Paise Seventy Five Only | 46 | 52.04 | 1702 | 242 | 273.75
116 | Supply & Fixing Socket & Step type fan regulator (Anchor/Rider) on existing sheet metal switch board with bakelite/perspex top cover by screw after making housing for regulator knob by cutting bakelite/ perspex top cover incl. making necy. connections etc. | BI01010001010000000000000515BI0100001227 | 37 | each | 266.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9877.52 | 9877.52 | INR Nine Thousand Eight Hundred & Seventy Seven and Paise Fifty Two Only | 13 | 14.71 | 481 | 236 | 266.96
117 | Earthing the the Installation by 50 mm dia G.I. Pipe (ISI -M) 3.64 mtr long & 1x4 SWG G.I.(Hot dip) wire (4 mtr long) with suitable nuts, bolts & washer etc. Incl S/F 15 mm dia GI protection pipe (1 mtr long) to be filled with bitumen partly under ground level & partly under ground level driven to an depth of 3.65 mtr below the ground level. | BI01010001010000000000000515BI0100001228 | 12 | Set | 1723.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20687.4 | 20687.4 | INR Twenty Thousand Six Hundred & Eighty Seven and Paise Forty Only | 15 | 16.97 | 180 | 1524 | 1723.95
118 | Electrical Works (NON-SCHEDULE ITEM) Supply & delivery of 1.1 KV grade 2 X 6 sqmm X LPE AL. Armoured Cable (make Gloster/Nicco/Havells) | BI01010001010000000000000515BI0100001229 | 500 | Mtr | 88.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44440 | 44440 | INR Forty Four Thousand Four Hundred & Forty Only | 468 | 529.4 | 234000 | 88 | 88.88
119 | Supply at site the ‘EPC’ make and undermentioned capacity (by sweep) AC-230v, heavy duty Exhaust Fan with GI ventilating Louvre 9 inch (225 mm) | BI01010001010000000000000515BI0100001230 | 9 | Set | 2326.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20934.27 | 20934.27 | INR Twenty Thousand Nine Hundred & Thirty Four and Paise Twenty Seven Only | 1508 | 1705.85 | 13572 | 2303 | 2326.03
120 | Supply & fixing of 1200mm sweep Ceiling Fan (Orient,New Bridge/Usha, striker Plus) complete with all acessaries Incl S/F necy copper flex wire. | BI01010001010000000000000515BI0100001231 | 10 | each | 2240.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22401.8 | 22401.8 | INR Twenty Two Thousand Four Hundred & One and Paise Eighty Only | 1526.09 | 1726.31 | 15260.9 | 2218 | 2240.18
121 | Supply & fixing 25w colour less night Lamp (Philips) on batten point | BI01010001010000000000000515BI0100001232 | 10 | Set | 15.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 151.5 | 151.5 | INR One Hundred & Fifty One and Paise Fifty Only | 2199 | 2487.51 | 21990 | 15 | 15.15
122 | S&F 9W LED bulb(with complete fittings ) (Havells/Phylips/Crompton) | BI01010001010000000000000515BI0100001233 | 30 | Set | 176.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5302.5 | 5302.5 | INR Five Thousand Three Hundred & Two and Paise Fifty Only | 2225.39 | 2517.36 | 66761.7 | 175 | 176.75
123 | Supply & Fixing 4' 20w single LED Box type tube light fitting (Make Crompton/Nordusk ) complete with 1 X 20W Polycar-bonate LED Tube (at no-LT8-20-865-2) | BI01010001010000000000000515BI0100001234 | 30 | Set | 792.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23785.5 | 23785.5 | INR Twenty Three Thousand Seven Hundred & Eighty Five and Paise Fifty Only | 2252.09 | 2547.56 | 67562.7 | 785 | 792.85
Total in Figures | [51 empty] | 3933904.38 | 3933904.38 | INR Thirty Nine Lakh Thirty Three Thousand Nine Hundred & Four and Paise Thirty Eight Only | 37426574.91 | 33492670.53 |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information