## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Executive Engineer (HQ-I), W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair , renovation and up-gradation of ahmedpur Op At Ahmedpur under Birbhum dist.
Contract No: WBPHIDCL/EE(HQ-I)/NIT- 230(e)/2019-2020 for Sl.No.5 (2nd Call)
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [68 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Net Cement Punning above 1.5mm thick in Wall dado,Window Sill Floor and Drain etc Note Cement 0.152 cum 100 Sqmts | BI01010001010000000000000515BI0100001113 | 150 | SqM | 38.46 | 60 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5769 | 5769 | INR Five Thousand Seven Hundred & Sixty Nine Only | 10 | 11.31 | 1500 |  |  |  | 43.51 |  | 43.51 | 43.51 | 50 | 56.56 | 10 | 11.31 | 34 | 38.46 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Regrading mouth of down pipe for easy out let of rain water including cement plaster (1:3) including cutting slope and mending damages. (Cement 57.0 Kg/100 Nos) | BI01010001010000000000000515BI0100001114 | 5.368 | Each | 19.23 | 160.15 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 103.23 | 103.23 | INR One Hundred & Three and Paise Twenty Three Only | 119.27 | 134.92 | 640.24 | 13.31 | 7.268 |  | 21.75 | 43.51 | 21.75 | 21.75 | 56 | 63.35 | 60 | 67.87 | 17 | 19.23 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001115 | 756.8 | SQM | 21.49 | 119.27 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16263.63 | 16263.63 | INR Sixteen Thousand Two Hundred & Sixty Three and Paise Sixty Three Only | 192.38 | 217.62 | 145593.18 |  |  | 30874.1 | 24.31 | 21.75 | 24.31 | 24.31 | 62 | 70.13 | 1956 | 2212.63 | 19 | 21.49 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface](ii) With 1:4 cement mortar , b) 10 mm thick plaster. Ceiling Plaster Ground Floor | BI01010001010000000000000515BI0100001116 | 200 | SQM | 138.01 | 77.54 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27602 | 27602 | INR Twenty Seven Thousand Six Hundred & Two Only | 148 | 167.42 | 29600 |  |  |  | 156.12 | 24.31 | 156.12 | 156.12 | 839 | 949.08 | 50 | 56.56 | 122 | 138.01 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar a) 20mm thick plaster(Outside) | BI01010001010000000000000515BI0100001117 | 400 | SQM | 173.07 | 327 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 69228 | 69228 | INR Sixty Nine Thousand Two Hundred & Twenty Eight Only | 228 | 257.91 | 91200 |  |  |  | 195.78 | 156.12 | 195.78 | 195.78 | 447 | 505.65 | 939 | 1062.2 | 153 | 173.07 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster(Inside) | BI01010001010000000000000515BI0100001118 | 500 | SQM | 152.71 | 10 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76355 | 76355 | INR Seventy Six Thousand Three Hundred & Fifty Five Only | 148 | 167.42 | 74000 |  |  |  | 172.75 | 195.78 | 172.75 | 172.75 | 19 | 21.49 | 447 | 505.65 | 135 | 152.71 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC.Ground Floor (External surface) Two coat | BI01010001010000000000000515BI0100001119 | 500 | SQM | 51.02 | 11 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25510 | 25510 | INR Twenty Five Thousand Five Hundred & Ten Only | 93 | 105.2 | 46500 |  |  |  | 57.71 | 172.75 | 57.71 | 57.71 | 10.13 | 11.46 | 19 | 21.49 | 45.1 | 51.02 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (b) Above area 2.5 Sq.m | BI01010001010000000000000515BI0100001120 | 30 | SQM | 165.16 | 447 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4954.8 | 4954.8 | INR Four Thousand Nine Hundred & Fifty Four and Paise Eighty Only | 77.54 | 87.71 | 2326.2 |  |  |  | 186.83 | 57.71 | 186.83 | 186.83 | 7 | 7.92 | 18 | 20.36 | 146 | 165.16 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (a) Upto area 2.5 Sq.m | BI01010001010000000000000515BI0100001121 | 30 | Sqm | 134.61 | 497 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4038.3 | 4038.3 | INR Four Thousand &Thirty Eight and Paise Thirty Only | 172.18 | 194.77 | 5165.4 |  |  |  | 152.27 | 186.83 | 152.27 | 152.27 | 119 | 134.61 | 10.1 | 11.43 | 119 | 134.61 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wideeach and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneerscomplete, including fitting, fixing shutters inposition but excluding the cost of hinges andother fittings in ground floor.(a) 35 mm thick shutters (single leaf) | BI01010001010000000000000515BI0100001122 | 7 | Sqm | 3007.86 | 1956 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21055.02 | 21055.02 | INR Twenty One Thousand &Fifty Five and Paise Two Only | 266 | 300.9 | 1862 |  |  |  | 3402.49 | 152.27 | 3402.49 | 3402.49 | 126 | 142.53 | 309 | 349.54 | 2659 | 3007.86 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wideeach and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneerscomplete, including fitting, fixing shutters inposition but excluding the cost of hinges andother fittings in ground floor.(a) 35 mm thick shutters (Double leaf) | BI01010001010000000000000515BI0100001123 | 2.52 | Sqm | 3041.8 | 2006 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7665.34 | 7665.34 | INR Seven Thousand Six Hundred & Sixty Five and Paise Thirty Four Only | 4737.22 | 5358.74 | 11937.79 |  |  |  | 3440.88 | 3402.49 | 3440.88 | 3440.88 | 497 | 562.21 | 90 | 101.81 | 2689 | 3041.8 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (e) Sal : Malayasian GROUND FLOOR | BI01010001010000000000000515BI0100001124 | 0.5 | Cum | 85487.05 | 889 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42743.53 | 42743.53 | INR Forty Two Thousand Seven Hundred & Forty Three and Paise Fifty Three Only | 5857 | 6625.44 | 2928.5 |  |  |  | 96702.95 | 3440.88 | 96702.95 | 96702.95 | 2581 | 2919.63 | 21 | 23.76 | 75572 | 85487.05
14 | (a) Primming One coat on Timber or Plaster surface with Synthetic Oil bound Primer of approved Quality inclusing smooting surface by sand Papering etc | BI01010001010000000000000515BI0100001125 | 100 | SqM. | 42.99 | 19 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4299 | 4299 | INR Four Thousand Two Hundred & Ninety Nine Only | 5952 | 6732.9 | 595200 |  |  |  | 48.63 | 96702.95 | 48.63 | 48.63 | 2359 | 2668.5 | 55 | 62.22 | 38 | 42.99
15 | (A) Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : (a) On timber or plastered surface :With super gloss (hi-gloss) -(iv) Two coats (with any shade except white) | BI01010001010000000000000515BI0100001126 | 100 | Sq.M | 91.63 | 50 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9163 | 9163 | INR Nine Thousand One Hundred & Sixty Three Only | 6047 | 6840.37 | 604700 |  |  |  | 103.65 | 48.63 | 103.65 | 103.65 | 21 | 23.76 | 119 | 134.61 | 81 | 91.63
16 | Supplying,fitting and Fixing MS Clamps for Door and Window frame made of Flat bend Bar , end bifurcated with necessary screws etc by cement concrete (1:2:4) as per direction.(Cost of Concrete will be paid Seperately) 40mm x 6mm ,250 mm length | BI01010001010000000000000515BI0100001127 | 30 | Each | 32.8 | 56 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 984 | 984 | INR Nine Hundred & Eighty Four Only | 6142 | 6947.83 | 184260 |  |  |  | 37.1 | 103.65 | 37.1 | 37.1 | 129 | 145.92 | 126 | 142.53 | 29 | 32.8
17 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001128 | 12 | Each | 48.64 | 166 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 583.68 | 583.68 | INR Five Hundred & Eighty Three and Paise Sixty Eight Only | 399 | 451.35 | 4788 |  |  |  | 55.02 | 37.1 | 55.02 | 55.02 | 133 | 150.45 | 7 | 7.92 | 43 | 48.64
18 | i) Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting.250mm long | BI01010001010000000000000515BI0100001129 | 2 | Each | 179.86 | 128 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 359.72 | 359.72 | INR Three Hundred & Fifty Nine and Paise Seventy Two Only | 417 | 471.71 | 834 |  |  |  | 203.46 | 55.02 | 203.46 | 203.46 | 137 | 154.97 | 711.8 | 805.19 | 159 | 179.86
19 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark (i) 50mm. X 37mm. X 1.50mm | BI01010001010000000000000515BI0100001130 | 9 | Each | 19.23 | 132 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 173.07 | 173.07 | INR One Hundred & Seventy Three and Paise Seven Only | 435 | 492.07 | 3915 |  |  |  | 21.75 | 203.46 | 21.75 | 21.75 | 141 | 159.5 | 357 | 403.84 | 17 | 19.23
20 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete (b) With round base: (i) 75 mm grip x 10 mm dia rod. | BI01010001010000000000000515BI0100001131 | 3 | Each | 56.56 | 163 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 169.68 | 169.68 | INR One Hundred & Sixty Nine and Paise Sixty Eight Only | 71699 | 81105.91 | 215097 |  |  |  | 63.98 | 21.75 | 63.98 | 63.98 | 166 | 187.78 | 722 | 816.73 | 50 | 56.56
21 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod)(i) 75 mm grip x 10 mm dia rod. | BI01010001010000000000000515BI0100001132 | 20 | Each | 69 | 167 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1380 | 1380 | INR One Thousand Three Hundred & Eighty Only | 72129 | 81592.32 | 1442580 |  |  |  | 78.05 | 63.98 | 78.05 | 78.05 | 170 | 192.3 | 21 | 23.76 | 61 | 69
22 | (ii) Anodised aluminium floor door stopper | BI01010001010000000000000515BI0100001133 | 6 | Each | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 475.08 | 475.08 | INR Four Hundred & Seventy Five and Paise Eight Only | 4243 | 4799.68 | 25458 |  |  |  | 89.57 | 78.05 | 89.57 | 89.57 | 144 | 162.89 | 129 | 145.92 | 70 | 79.18
23 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. (ii) 75mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001134 | 6 | Each | 54.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 325.8 | 325.8 | INR Three Hundred & Twenty Five and Paise Eighty Only | 4466 | 5051.94 | 26796 |  |  |  | 61.42 | 89.57 | 61.42 | 61.42 | 148 | 167.42 | 166 | 187.78 | 48 | 54.3
24 | Supplying concealed type heavy duty PVC headed aluminium tower bolt for double leaf doors as per approved make and brand as per direction of Engineer-in-Charge (a) 200 mm long | BI01010001010000000000000515BI0100001135 | 3 | Each | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 207 | 207 | INR Two Hundred & Seven Only | 4799 | 5428.63 | 14397 |  |  |  | 78.05 | 61.42 | 78.05 | 78.05 | 152 | 171.94 | 144 | 162.89 | 61 | 69
25 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (i) 32 mm thick | BI01010001010000000000000515BI0100001136 | 5.67 | Sq.M | 3125.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17721.64 | 17721.64 | INR Seventeen Thousand Seven Hundred & Twenty One and Paise Sixty Four Only | 4910 | 5554.19 | 27839.7 |  |  |  | 3535.58 | 78.05 | 3535.58 | 3535.58 | 156 | 176.47 | 34 | 38.46 | 2763 | 3125.51
26 | Supplying, fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to safisfy IS: 4020 door testing performance criteria. (i) 66mm x 90mm | BI01010001010000000000000515BI0100001137 | 15.3 | Mtr | 562.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8601.81 | 8601.81 | INR Eight Thousand Six Hundred & One and Paise Eighty One Only | 592 | 669.67 | 9057.6 |  |  |  | 635.97 | 3535.58 | 635.97 | 635.97 | 34 | 38.46 | 1015 | 1148.17 | 497 | 562.21
27 | Glazed shutters of doors, windows, fan light, clerestory windows etc. as per design (with ordinary glass of 7.4kg./sq.m. 3mm. Thick) fitted with putty bed and teak wood bead and nails including fitting and fixing shutter in position but excluding the cost of hinges and other fittings. cost of glass, putty, wooded beads etc.will be paid separately. In ground floor (iii) 25mm thick shutters (a) Ordinary Teak Wood | BI01010001010000000000000515BI0100001138 | 50 | Sq.M | 3057.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 152881.5 | 152881.5 | INR One Lakh Fifty Two Thousand Eight Hundred & Eighty One and Paise Fifty Only | 604 | 683.24 | 30200 |  |  |  | 3458.79 | 635.97 | 3458.79 | 3458.79 | 1015 | 1148.17 | 1153 | 1304.27 | 2703 | 3057.63
28 | Supplying bubble free float glass of approved make and brand conforming to IS: 2835-1987. vi) 6mm thick coloured / tinted / smoke glass | BI01010001010000000000000515BI0100001139 | 100 | SqM | 747.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 74772 | 74772 | INR Seventy Four Thousand Seven Hundred & Seventy Two Only | 616 | 696.82 | 61600 |  |  |  | 845.82 | 3458.79 | 845.82 | 845.82 | 1027 | 1161.74 | 224 | 253.39 | 661 | 747.72
29 | Removing loose scales, blisters etc. from old painted surface and thoroughly smoothening the surface to make the same suitable for receiving fresh coat of paint | BI01010001010000000000000515BI0100001140 | 224 | SqM | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5322.24 | 5322.24 | INR Five Thousand Three Hundred & Twenty Two and Paise Twenty Four Only | 628 | 710.39 | 140672 |  |  |  | 26.88 | 845.82 | 26.88 | 26.88 | 1039 | 1175.32 | 209 | 236.42 | 21 | 23.76
30 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. (In Ground Floor) (a) One Coat i) Water based interior grade Acrylic Primer | BI01010001010000000000000515BI0100001141 | 681.67 | SqM | 34.84 | 104 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23749.38 | 23749.38 | INR Twenty Three Thousand Seven Hundred & Forty Nine and Paise Thirty Eight Only | 640 | 723.97 | 436268.8 |  |  |  | 39.41 | 26.88 | 39.41 | 39.41 | 1276 | 1443.41 | 643 | 727.36 | 30.8 | 34.84
31 | Applying Acrylic Emulsion Paint of approved make and brand on walls and ceiling including sand papering in intermediate coats including putty (to be done under specific instruction of Superintending Engineer) : i) Standard Quality | BI01010001010000000000000515BI0100001142 | 681.67 | SqM | 70.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47805.52 | 47805.52 | INR Forty Seven Thousand Eight Hundred & Five and Paise Fifty Two Only | 175 | 197.96 | 119292.25 |  |  |  | 79.33 | 39.41 | 79.33 | 79.33 | 1286 | 1454.72 | 1508 | 1705.85 | 62 | 70.13
32 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. (Two Coat) b) Premium 100% Acrylic Emulsion Ground Floor (External surface) | BI01010001010000000000000515BI0100001143 | 500 | SqM | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47510 | 47510 | INR Forty Seven Thousand Five Hundred & Ten Only | 75572 | 85487.05 | 37786000 |  |  |  | 107.49 | 79.33 | 107.49 | 107.49 | 915 | 1035.05 | 103 | 116.51 | 84 | 95.02
33 | (b) Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001144 | 100 | SqM | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3280 | 3280 | INR Three Thousand Two Hundred & Eighty Only | 75772 | 85713.29 | 7577200 |  |  |  | 37.1 | 107.49 | 37.1 | 37.1 | 920 | 1040.7 | 66 | 74.66 | 29 | 32.8
34 | (b) Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessaryb) iv) On Steel and other Metal Surface Two coat with any shade except white | BI01010001010000000000000515BI0100001145 | 100 | SqM | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8936 | 8936 | INR Eight Thousand Nine Hundred & Thirty Six Only | 75972 | 85939.53 | 7597200 |  |  |  | 101.08 | 37.1 | 101.08 | 101.08 | 754 | 852.92 | 166 | 187.78 | 79 | 89.36
35 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. In ground floor including roof. (a) upto 150 mm. Thick | BI01010001010000000000000515BI0100001146 | 2.245 | SqM | 1062.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2384.64 | 2384.64 | INR Two Thousand Three Hundred & Eighty Four and Paise Sixty Four Only | 76372 | 86392.01 | 171455.14 |  |  |  | 1201.56 | #REF! | 1201.56 | 1201.56 | 759 | 858.58 | 70 | 79.18 | 939 | 1062.2
36 | 18 mm. to 22 mm. thick, kota stone slab set in 20 mm thick (avg) cement mortar (1:4) in floor, stair & lobby including pointing in cement slurry with admixture of pigment matching the stone shade, including grinding & polishing as per direction of Engineer - in - charge to match with the existing work. [Slurry for bedding @ 4.4 kg/Sq.m and pointing @2.0 kg/Sq.m] | BI01010001010000000000000515BI0100001147 | 130 | SqM | 1134.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 147496.7 | 147496.7 | INR One Lakh Forty Seven Thousand Four Hundred & Ninety Six and Paise Seventy Only | 2659 | 3007.86 | 345670 |  |  |  | 1283.45 | 1201.56 | 1283.45 | 1283.45 | 1153 | 1304.27 | 151 | 170.81 | 1003 | 1134.59
37 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m. (a) Area of each tile upto 0.09 Sq.m (i) (ii) Other than Coloured decorative including white Ground Floor | BI01010001010000000000000515BI0100001148 | 50 | SqM | 786.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39309 | 39309 | INR Thirty Nine Thousand Three Hundred & Nine Only | 2673 | 3023.7 | 133650 |  |  |  | 889.33 | 1283.45 | 889.33 | 889.33 | 1165 | 1317.85 | 31.4 | 35.52 | 695 | 786.18
38 | Supplying and laying true to line and level Anti-Skid, Full Body, Homogeneous & Granular finish Vitrified Tiles conforming to IS:15622-2006 & IS 4457-2007 and testing shall be made in accordance with IS:13630 [Non- modular sizes for tiles with Skid resistance > 0.5, Mohr's hardness > 5.0, Staining resistance: Class-1, Water Absorption: E < 0.5%], MOR > 35 N/sq.mm in Internal area of building e.g. Toilet Block, Passage, Corridor, Accessible Open Terrace etc. set in 20 mm sand cement mortar (1:4) and 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg./Sqm or using Polymerised Adhesive (6 mm thick layer applied directly over finished artificial stone floor/ Mosaic etc without any backing course) laid after application slurry using 1.75 Kg of cement per Sqm below mortar only, joints grouted with admixture of white cement and colouring pigment to match with colour of tiles/ epoxy grout materials of approved make as directed and removal of wax coating of top surface of tiles with warm water and polishing the tiles using soft and dry cloth upto mirror finish complete including the cost of materials, labour and all other incidental charges complete true to the manufacturer's specification and direction of Engineer-in-Charge. (White cement, synthetic adhesive and grout material to be supplied by the contractor). a) In Ground Floor: Sizes-300 mm x300mm x10 mm with breaking strength > 1200 N Ground Floor | BI01010001010000000000000515BI0100001149 | 20.943 | SqM | 1024.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21463.85 | 21463.85 | INR Twenty One Thousand Four Hundred & Sixty Three and Paise Eighty Five Only | 2687 | 3039.53 | 56273.84 |  |  |  | 1159.33 | 889.33 | 1159.33 | 1159.33 | 1177 | 1331.42 | 67 | 75.79 | 906 | 1024.87
39 | Supplying and laying true to line and level vitrified tiles of approved brand (size not less than 600 mm X 600 mm X 10 mm thick) in floor, skirting etc. set in 20 mm sand cement mortar (1:4) and 2 mm thick cement slurry back side of tiles using cement @ 2.91Kg./sqM or using polymerised adhesive (6 mm thick layer applied directly over finished artificial stone floor/Mosaic etc without any backing course) laid after application slurry using 1.75 Kg of cement per sqM below mortar only, joints grouted with admixture of white cement and colouring pigment to match with colour of tiles / epoxy grout materials of approved make as directed and removal of wax coating of top surface of tiles with warm water and polishing the tiles using soft and dry cloth upto mirror finish complete including the cost of materials, labour and all other incidental charges complete true to the manufacturer's specification and direction of Engineer-in-Charge. (Whitecement, synthetic adhesive and grout material to be suppliedby the contrr]e (II) With Polymerised Adhesive [6 mm thick] & epoxy grouting materials for filling joints including spacer-2 mm [Applied directly over finished artificial stone floor/ mosaic etc.] (B) Light Colour Ground Floor | BI01010001010000000000000515BI0100001150 | 19.61 | SqM | 1548.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30368.24 | 30368.24 | INR Thirty Thousand Three Hundred & Sixty Eight and Paise Twenty Four Only | 2701 | 3055.37 | 52966.61 |  |  |  | 1751.79 | 1159.33 | 1751.79 | 1751.79 | 224 | 253.39 | 110 | 124.43 | 1369 | 1548.61
40 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 40mm | BI01010001010000000000000515BI0100001151 | 50 | Mtr | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16515.5 | 16515.5 | INR Sixteen Thousand Five Hundred & Fifteen and Paise Fifty Only | 497 | 562.21 | 24850 |  |  |  | 373.65 | 1751.79 | 373.65 | 373.65 | 209 | 236.42 | 30.8 | 34.84 | 292 | 330.31
41 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 32mm | BI01010001010000000000000515BI0100001152 | 50 | Mtr | 266.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13348 | 13348 | INR Thirteen Thousand Three Hundred & Forty Eight Only | 2763 | 3125.51 | 138150 |  |  |  | 301.99 | 373.65 | 301.99 | 301.99 | 29 | 32.8 | 62 | 70.13 | 236 | 266.96
42 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 25mm | BI01010001010000000000000515BI0100001153 | 50 | Mtr | 200.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10011 | 10011 | INR Ten Thousand &Eleven Only | 2777 | 3141.34 | 138850 |  |  |  | 226.49 | 301.99 | 226.49 | 226.49 | 43 | 48.64 | 38 | 42.99 | 177 | 200.22
43 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Concealed work 25mm | BI01010001010000000000000515BI0100001154 | 25 | Mtr | 231.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5797.5 | 5797.5 | INR Five Thousand Seven Hundred & Ninety Seven and Paise Fifty Only | 2791 | 3157.18 | 69775 |  |  |  | 262.33 | 226.49 | 262.33 | 262.33 | 159 | 179.86 | 29 | 32.8 | 205 | 231.9
44 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Concealed work 20mm | BI01010001010000000000000515BI0100001155 | 25 | Mtr | 178.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4468.25 | 4468.25 | INR Four Thousand Four Hundred & Sixty Eight and Paise Twenty Five Only | 2805 | 3173.02 | 70125 |  |  |  | 202.18 | 262.33 | 202.18 | 202.18 | 70 | 79.18 | 81 | 91.63 | 158 | 178.73
45 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 32mm | BI01010001010000000000000515BI0100001156 | 3 | Each | 1423.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4269.15 | 4269.15 | INR Four Thousand Two Hundred & Sixty Nine and Paise Fifteen Only | 75453 | 85352.43 | 226359 |  |  |  | 1609.75 | 202.18 | 1609.75 | 1609.75 | 99 | 111.99 | 79 | 89.36 | 1258 | 1423.05
46 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 25mm | BI01010001010000000000000515BI0100001157 | 3 | Each | 1031.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3094.95 | 3094.95 | INR Three Thousand &Ninety Four and Paise Ninety Five Only | 766 | 866.5 | 2298 |  |  |  | 1167 | 1609.75 | 1167 | 1167 | 31.4 | 35.52 | 88 | 99.55 | 912 | 1031.65
47 | Supply of UPVC pipes (B Type) & fittings conforming to IS-13592-1992 xxvi) Reducer 110 X 75 mm 75 mm | BI01010001010000000000000515BI0100001158 | 15 | Each | 90.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1357.5 | 1357.5 | INR One Thousand Three Hundred & Fifty Seven and Paise Fifty Only | 394 | 445.69 | 5910 |  |  |  | 102.37 | 1167 | 102.37 | 102.37 | 32.11 | 36.32 | 5015 | 5672.97 | 80 | 90.5
48 | Supply of Chlorinated Polyvinyl Chloride (CPVC) pipes & fittings conforming to IS-15778: 2007 (P) Ball Valve 25 mm | BI01010001010000000000000515BI0100001159 | 10 | Each | 270.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2703.6 | 2703.6 | INR Two Thousand Seven Hundred & Three and Paise Sixty Only | 342 | 386.87 | 3420 |  |  |  | 305.83 | 102.37 | 305.83 | 305.83 | 32.82 | 37.13 | 1276 | 1443.41 | 239 | 270.36
49 | Supplying, fitting and fixing Anglo-Indian W.C. in white glazed vitreous china ware of approved make complete in position with necessary bolts, nuts etc. Hindware/Parryware/Cera, made (a) With 'P' trap | BI01010001010000000000000515BI0100001160 | 3 | Each | 3511.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10533.72 | 10533.72 | INR Ten Thousand Five Hundred & Thirty Three and Paise Seventy Two Only | 3614 | 4088.16 | 10842 |  |  |  | 3971.91 | 305.83 | 3971.91 | 3971.91 | 33.53 | 37.93 | 910 | 1029.39 | 3104 | 3511.24
50 | Supplying, fitting and fixing Closet seat of approved make with lid and C.P.hinges, rubber buffer and brass screws complete. (b) Anglo Indian (ii) Plastic (hallow type) white | BI01010001010000000000000515BI0100001161 | 3 | Each | 419.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1259.04 | 1259.04 | INR One Thousand Two Hundred & Fifty Nine and Paise Four Only | 122 | 138.01 | 366 |  |  |  | 474.74 | 3971.91 | 474.74 | 474.74 | 67 | 75.79 | 1103 | 1247.71 | 371 | 419.68
51 | Supplying, fitting and fixing 10 litre P.V.C. low-down cistern conforming to I.S. specification with P.V.C. fittings complete,C.I. brackets including two coats of painting to bracket etc.White | BI01010001010000000000000515BI0100001162 | 3 | Each | 1148.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3444.51 | 3444.51 | INR Three Thousand Four Hundred & Forty Four and Paise Fifty One Only | 126 | 142.53 | 378 |  |  |  | 1298.81 | 474.74 | 1298.81 | 1298.81 | 67.71 | 76.59 | 468 | 529.4 | 1015 | 1148.17
52 | Supplying,fitting and fixing approved brand 32 mm dia.P.V.C. waste pipe, with PVC coupling at one end fitted with necessary clamps. (iv) 1050 mm long | BI01010001010000000000000515BI0100001163 | 3 | Each | 102.94 | 6268 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 308.82 | 308.82 | INR Three Hundred & Eight and Paise Eighty Two Only | 130 | 147.06 | 390 |  |  |  | 116.45 | 1298.81 | 116.45 | 116.45 | 68.42 | 77.4 | 72316 | 81803.86 | 91 | 102.94
53 | Supplying, fitting and fixing vitreous china best quality approved make wash basin with C.I. brackets on 75 mm X 75 mm wooden blocks, C.P. waste fittings of 32 mm dia., one approved quality brass C.P. pillar cock of 15 mm dia., C.P. chain with rubber plug of 32 mm dia., approved quality P.V.C. waste pipe with C.P. nut 32 mm dia., 900 mm long approved quality P.V.C. connection pipe with heavy brass C.P. nut including mending good all damages and painting the brackets with two coats of approved paint.(ii) 550 mm X 400 mm size | BI01010001010000000000000515BI0100001164 | 3 | Each | 2497.69 | 6363 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7493.07 | 7493.07 | INR Seven Thousand Four Hundred & Ninety Three and Paise Seven Only | 134 | 151.58 | 402 |  |  |  | 2825.39 | 116.45 | 2825.39 | 2825.39 | 69.13 | 78.2 | 896 | 1013.56 | 2208 | 2497.69
54 | Supplying, fitting and fixing towel rail with two brackets. (a) C.P. over brass 25 mm dia. and 600 mm long | BI01010001010000000000000515BI0100001165 | 5 | Each | 486.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2432.1 | 2432.1 | INR Two Thousand Four Hundred & Thirty Two and Paise Ten Only | 161 | 182.12 | 805 |  |  |  | 550.24 | 2825.39 | 550.24 | 550.24 | 110 | 124.43 | 279 | 315.6 | 430 | 486.42
55 | Supplying, fitting and fixing best quality Indian make mirror 5.5 mm thick with silvering as per I.S.I. specifications supported on fibre glass frame of any colour, frame size 550 mm X 400 mm | BI01010001010000000000000515BI0100001166 | 2 | Each | 693.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1386.86 | 1386.86 | INR One Thousand Three Hundred & Eighty Six and Paise Eighty Six Only | 165 | 186.65 | 330 |  |  |  | 784.41 | 550.24 | 784.41 | 784.41 | 30.8 | 34.84 | 470 | 531.66 | 613 | 693.43
56 | Supplying ,fitting and fixing bib cock or stop cock. Chromium plated Bib cock with wall flange (Equivalent to code no. 5047 & model - Florentine of Jaquar or similar brand | BI01010001010000000000000515BI0100001167 | 3 | Each | 973.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2921.88 | 2921.88 | INR Two Thousand Nine Hundred & Twenty One and Paise Eighty Eight Only | 139 | 157.24 | 417 |  |  |  | 1101.74 | 784.41 | 1101.74 | 1101.74 | 30.8 | 34.84 | 45 | 50.9 | 861 | 973.96
57 | Supplying ,fitting and fixing bib cock or stop cock. Chromium plated angular stop cock with wall flange (Equivalent to code no. 5053 & model - Florentine of Jaquar or similar brand | BI01010001010000000000000515BI0100001168 | 3 | Each | 921.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2765.79 | 2765.79 | INR Two Thousand Seven Hundred & Sixty Five and Paise Seventy Nine Only | 143 | 161.76 | 429 |  |  |  | 1042.89 | 1101.74 | 1042.89 | 1042.89 | 30.8 | 34.84 | 17 | 19.23 | 815 | 921.93
58 | Supplying , Fitting & Fixing pillar cock of approved make (a) CP Pillar cock -15 mm (code no. 5053 & model FLORENTINE of JAQUAR or equivalent | BI01010001010000000000000515BI0100001169 | 2 | Each | 969.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1938.88 | 1938.88 | INR One Thousand Nine Hundred & Thirty Eight and Paise Eighty Eight Only | 147 | 166.29 | 294 |  |  |  | 1096.63 | 1042.89 | 1096.63 | 1096.63 | 30.8 | 34.84 | 6 | 6.79 | 857 | 969.44
59 | Supplying, Fitting , Fixing approved brand P.V.C CONNECTOR white flexible , with both ends coupling with heavy brass C.P. Nut , 15 mm Dia 900 mm Long | BI01010001010000000000000515BI0100001170 | 2 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 332.58 | 332.58 | INR Three Hundred & Thirty Two and Paise Fifty Eight Only | 1415 | 1600.65 | 2830 |  |  |  | 188.11 | 1096.63 | 188.11 | 188.11 | 62 | 70.13 | 6 | 6.79 | 147 | 166.29
60 | Supplying, fitting and fixing shower of approved brand and make (I) Chromium plated round showr with revolving joint 100 mm dia with rubid cleaning system (equivalent to code no. 542(N) & model - tropical / sumthing special of ESSCO or similar brand . | BI01010001010000000000000515BI0100001171 | 2 | Each | 511.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1022.6 | 1022.6 | INR One Thousand &Twenty Two and Paise Sixty Only | 983 | 1111.97 | 1966 |  |  |  | 578.38 | 188.11 | 578.38 | 578.38 | 62 | 70.13 | 292 | 330.31 | 452 | 511.3
61 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length c) 110 mm | BI01010001010000000000000515BI0100001172 | 40 | Mtr | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13212.4 | 13212.4 | INR Thirteen Thousand Two Hundred & Twelve and Paise Forty Only | 659 | 745.46 | 26360 |  |  |  | 373.65 | 578.38 | 373.65 | 373.65 | 62 | 70.13 | 546 | 617.64 | 292 | 330.31
62 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992(B) Fittings (i) Door Tee (110 mm) | BI01010001010000000000000515BI0100001173 | 10 | Each | 220.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2205.8 | 2205.8 | INR Two Thousand Two Hundred & Five and Paise Eighty Only | 14.95 | 16.91 | 149.5 |  |  |  | 249.52 | 373.65 | 249.52 | 249.52 | 62 | 70.13 | 85 | 96.15 | 195 | 220.58
63 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992(B) Fittings (ii)Bend 87.5 dig.(110 MM) | BI01010001010000000000000515BI0100001174 | 5 | Each | 135.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 678.7 | 678.7 | INR Six Hundred & Seventy Eight and Paise Seventy Only | 15.66 | 17.71 | 78.3 |  |  |  | 153.55 | 249.52 | 153.55 | 153.55 | 38 | 42.99 | 262 | 296.37 | 120 | 135.74
64 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992(B) Fittings(iii) Door Bend 110 mm | BI01010001010000000000000515BI0100001175 | 10 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1662.9 | 1662.9 | INR One Thousand Six Hundred & Sixty Two and Paise Ninety Only | 30.8 | 34.84 | 308 |  |  |  | 188.11 | 153.55 | 188.11 | 188.11 | 29 | 32.8 | 195 | 220.58 | 147 | 166.29
65 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992(B) Fittings Pipe Clip 110 mm | BI01010001010000000000000515BI0100001176 | 50 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1188 | 1188 | INR One Thousand One Hundred & Eighty Eight Only | 30.8 | 34.84 | 1540 |  |  |  | 26.88 | 188.11 | 26.88 | 26.88 | 81 | 91.63 | 514 | 581.44 | 21 | 23.76
66 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (i) 110 mm (B) Under ground | BI01010001010000000000000515BI0100001177 | 20 | mtr | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1900.4 | 1900.4 | INR One Thousand Nine Hundred and Paise Forty Only | 48.5 | 54.86 | 970 |  |  |  | 107.49 | 26.88 | 107.49 | 107.49 | 79 | 89.36 | 147 | 166.29 | 84 | 95.02
67 | (Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (i) 110 mm A) Above Ground | BI01010001010000000000000515BI0100001178 | 20 | mtr | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1289.6 | 1289.6 | INR One Thousand Two Hundred & Eighty Nine and Paise Sixty Only | 62 | 70.13 | 1240 |  |  |  | 72.94 | 107.49 | 72.94 | 72.94 | 88 | 99.55 | 369 | 417.41 | 57 | 64.48
68 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (i) 160 mm (A) Above ground | BI01010001010000000000000515BI0100001179 | 20 | mtr | 74.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1493.2 | 1493.2 | INR One Thousand Four Hundred & Ninety Three and Paise Twenty Only | 62 | 70.13 | 1240 |  |  |  | 84.46 | 72.94 | 84.46 | 84.46 | 5759.83 | 6515.52 | 33 | 37.33 | 66 | 74.66
69 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (i) 160 mm (B) Under ground | BI01010001010000000000000515BI0100001180 | 20 | mtr | 105.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2104 | 2104 | INR Two Thousand One Hundred & Four Only | 62 | 70.13 | 1240 |  |  |  | 119 | 84.46 | 119 | 119 | 5015 | 5672.97 | 57 | 64.48 | 93 | 105.2
70 | Supplying, fitting and fixing C.I. square jalli. 150mm | BI01010001010000000000000515BI0100001181 | 5 | Each | 115.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 576.9 | 576.9 | INR Five Hundred & Seventy Six and Paise Ninety Only | 62 | 70.13 | 310 |  |  |  | 130.52 | 119 | 130.52 | 130.52 | 18 | 20.36 | 21 | 23.76 | 102 | 115.38
71 | Suppling fitting fixing soap holder a)PTMT (Prayag or Equivelent) | BI01010001010000000000000515BI0100001182 | 4 | Each | 152.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 610.84 | 610.84 | INR Six Hundred & Ten and Paise Eighty Four Only | 62 | 70.13 | 248 |  |  |  | 172.75 | 130.52 | 172.75 | 172.75 | 18 | 20.36 | 21 | 23.76 | 135 | 152.71
72 | Electrical Schedule Items Supplying and fixing Sheet steel 32A ,240V DPMain Switches (Havells /Hpl /LT) on flat iron frame on wall | BI01010001010000000000000515BI0100001183 | 1 | Set | 1516.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1516.77 | 1516.77 | INR One Thousand Five Hundred & Sixteen and Paise Seventy Seven Only | 70 | 79.18 | 70 |  |  |  | 1715.77 | 130.52 | 1715.77 | 1715.77 | 468 | 529.4 | 43 | 48.64 | 1277 | 1516.77
73 | Supplying and fixing 32 A DPMCB(Havells/ABB/Legrand) with SS enclosure with IP-20/30 protection, powder coated provision for two pole MCB, concealed in wall after cutting the wall & mending good the damages to original finish incl. painting, | BI01010001010000000000000515BI0100001184 | 2 | Set | 969.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1938.42 | 1938.42 | INR One Thousand Nine Hundred & Thirty Eight and Paise Forty Two Only | 70 | 79.18 | 140 |  |  |  | 1096.37 | 1715.77 | 1096.37 | 1096.37 | 292 | 330.31 | 57 | 64.48 | 816 | 969.21
74 | Supplying & fixing 240V, DP, 63 A AL sheet metal (16 SWG) Iron Clad Busbar chambers on angle iron frame on wall, incl. earthing attachment and painting as required – ( As per Drawing no. 470 of PWD Specification Book – May 1991) | BI01010001010000000000000515BI0100001185 | 0.8 | Mtr | 1997.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1598.25 | 1598.25 | INR One Thousand Five Hundred & Ninety Eight and Paise Twenty Five Only | 32.11 | 36.32 | 25.69 |  |  |  | 2259.92 | 1096.37 | 2259.92 | 2259.92 | 85 | 96.15 | 66 | 74.66 | 1682 | 1997.81
75 | Supply & Fixing (2+8) way SPN MCBDB with IP-42/43 protection Concealed in wall & mending good the damages to original finish incl. Interconnection with suitable copper wire & nuetral link incl. earthing attachment comprising with the following (All Legrand/havells/crabtree): a) 40A DP MCB isolator & necy. connection --- 1 no b) 6 to 16A SP MCB as required breaking capacity 10KA & C characteristic ---- 8 nos | BI01010001010000000000000515BI0100001186 | 2 | Set | 3974.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7948.48 | 7948.48 | INR Seven Thousand Nine Hundred & Forty Eight and Paise Forty Eight Only | 32.82 | 37.13 | 65.64 |  |  |  | 4495.66 | 2259.92 | 4495.66 | 4495.66 | 147 | 166.29 | 93 | 105.2 | 3346 | 3974.24
76 | Supply & laying medium gauge G.I.Pipe(ISI-Medium) for cable protection a) 40 mm dia | BI01010001010000000000000515BI0100001187 | 2 | Mtr | 292.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 584.38 | 584.38 | INR Five Hundred & Eighty Four and Paise Thirty Eight Only | 33.53 | 37.93 | 67.06 |  |  |  | 330.53 | 4495.66 | 330.53 | 330.53 | 33 | 37.33 | 177 | 200.22 | 246 | 292.19
77 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. a)2x6+1x4 sq mm through 25mm Alka.Pipe (SPNDB) | BI01010001010000000000000515BI0100001188 | 40 | Mtr | 256.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10262.4 | 10262.4 | INR Ten Thousand Two Hundred & Sixty Two and Paise Forty Only | 34.24 | 38.73 | 1369.6 |  |  |  | 290.22 | 330.53 | 290.22 | 290.22 | 21 | 23.76 | 129 | 145.92 | 216 | 256.56
78 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' Pvc insulated & unsheathed copper wire (brand appr by EIC) of the following sizes through alkathene pipe recessed in wall. b) 2x2.5+1x1.5 sq mm through 19mm Alka.pipe (P/P /Com/roof light) | BI01010001010000000000000515BI0100001189 | 60 | Mtr | 152.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9121.8 | 9121.8 | INR Nine Thousand One Hundred & Twenty One and Paise Eighty Only | 67 | 75.79 | 4020 |  |  |  | 171.98 | 290.22 | 171.98 | 171.98 | 57 | 64.48 | 101 | 114.25 | 128 | 152.03
79 | Distribution wiring in 1.1 KV grade 2x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire (Brand approved by EIC) partly in 20mm size PVC rigid conduit 'FR' (Precision make) [for ceiling portion only] and in 19mm bore, 3mm thick polythene pipe [for horizontal & vertical run embedded in wall], with 1x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathedcopper wire for ECC, to light/fan/call bell points with Piano Key type switch fixed on MS CRC sheet metal (16 SWG) switch board on wall complete with 2 no. “Ph & N” copper bar incl. bakelite/ Perspex top cover 3 mm thick and incl. 175x100x65mm inspection box, making earthing attachment, painting the MS box and mending good the damages to original finish [only PVC Rigid Conduit on ceiling and remaining portion concealed] Ave run 6 mtr | BI01010001010000000000000515BI0100001190 | 40 | Pts | 941.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37675.6 | 37675.6 | INR Thirty Seven Thousand Six Hundred & Seventy Five and Paise Sixty Only | 67.71 | 76.59 | 2708.4 |  |  |  | 1065.47 | 171.98 | 1065.47 | 1065.47 | 1646 | 1861.96 | 1646 | 1861.96 | 793 | 941.89
80 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 5A 3 pin plug point incl. S&F 240 V 5A 3 pin flush type plug socket & piano key type switch (Anchor make) incl. S&F earth continuity wire, fixed on sheet metal (16 SWG) switch board with bakelite/perspex (wall matching colour) top cover (3 mm thick) flushed in wall incl. mending good damages to original finish a (on board) | BI01010001010000000000000515BI0100001191 | 8 | Pts | 90.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 722.16 | 722.16 | INR Seven Hundred & Twenty Two and Paise Sixteen Only | 69.84 | 79 | 558.72 |  |  |  | 102.11 | 1065.47 | 102.11 | 102.11 | 912 | 1031.65 | 912 | 1031.65 | 76 | 90.27
81 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 5A 3 pin plug point incl. S&F 240 V 5A 3 pin flush type plug socket & piano key type switch (Anchor make) incl. S&F earth continuity wire, fixed on sheet metal (16 SWG) switch board with bakelite/perspex (wall matching colour) top cover (3 mm thick) flushed in wall incl. mending good damages to original finish b) (Ave run 4.5 mtr) separate 6A socket | BI01010001010000000000000515BI0100001192 | 8 | pts | 812.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6499.44 | 6499.44 | INR Six Thousand Four Hundred & Ninety Nine and Paise Forty Four Only | 49 | 55.43 | 392 |  |  |  | 919.02 | 102.11 | 919.02 | 919.02 | 2208 | 2497.69 | 485 | 548.63 | 684 | 812.43
82 | Supply & Fixing 240 V, 16 A, 3 pin Modular type Power plug socket (Cabtree) with 16A Modular type socket (Cabtree) with 16A Modular type switch, without plug top on 4 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001193 | 1 | Each | 541.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 541.62 | 541.62 | INR Five Hundred & Forty One and Paise Sixty Two Only | 29 | 32.8 | 29 |  |  |  | 612.68 | 919.02 | 612.68 | 612.68 | 1497 | 1693.41 | 3104 | 3511.24 | 456 | 541.62
83 | Supply & fixing of Modular type computer plug board of 12 module GI box with cover plate recessed in wall comprising of the following(All cabtree): a) 6/16A socket & 16A switch ---1 set b) 6A socket & 6A switch --- 2 sets | BI01010001010000000000000515BI0100001194 | 2 | Set | 1434.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2869.62 | 2869.62 | INR Two Thousand Eight Hundred & Sixty Nine and Paise Sixty Two Only | 79 | 89.36 | 158 |  |  |  | 1623.06 | 612.68 | 1623.06 | 1623.06 | 613 | 693.43 | 1015 | 1148.17 | 1208 | 1434.81
84 | Supply & fixing of Modular type 16A control switch of 2 module GI box with cover plate recessed in wall comprising of the following (All cabtree): a) 16A switch ---1 set | BI01010001010000000000000515BI0100001195 | 1 | Each | 345.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 345.64 | 345.64 | INR Three Hundred & Forty Five and Paise Sixty Four Only | 360 | 407.23 | 360 |  |  |  | 390.99 | 1623.06 | 390.99 | 390.99 | 674 | 762.43 | 91 | 102.94 | 291 | 345.64
85 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001196 | 18 | Each | 118.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2138.04 | 2138.04 | INR Two Thousand One Hundred & Thirty Eight and Paise Four Only | 1672 | 1891.37 | 30096 |  |  |  | 134.36 | 390.99 | 134.36 | 134.36 | 815 | 921.93 | 2208 | 2497.69 | 100 | 118.78
86 | Fixing only single/twin fluorescent light fitting suspended 25 cm bellow the ceiling with 2 No. 20 mm dia EI conduit (14 SWG) supports fixed with “L” type MS clamp whose one side fixed on ceiling with sutable size 4 nos. fastener and other side connected with the conduit with suitable size of bolts and nuts incl. S&F EI conduit, “L” type (125mmx125mm) 6mm thick and 25mm with MS clamps and connecting the length of PVC insulated wire and mending good damages to original finish and painting etc. by 2x24/0.20 mm (1.5sqmm.) flexible copper wire of 1.10 mt. length | BI01010001010000000000000515BI0100001197 | 5 | Set | 236.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1181.8 | 1181.8 | INR One Thousand One Hundred & Eighty One and Paise Eighty Only | 302.47 | 342.15 | 1512.35 |  |  |  | 267.37 | 134.36 | 267.37 | 267.37 | 452 | 511.3 | 1497 | 1693.41 | 199 | 236.36
87 | Supply & Fixing Socket type fan regulator (Step type)n(Brand approved by EIC) on existing sheet metal switch board with bakelite/ perspex top cover by screw incl. making necy. connections etc. | BI01010001010000000000000515BI0100001198 | 18 | Set | 258.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4660.74 | 4660.74 | INR Four Thousand Six Hundred & Sixty and Paise Seventy Four Only | 307.01 | 347.29 | 5526.18 |  |  |  | 292.9 | 267.37 | 292.9 | 292.9 | 309 | 349.54 | 3285 | 3715.99 | 218 | 258.93
88 | Supplying & Fixing MS fan clam of two piece type for RC ceiling as per approved specification, fabricated from 40 mm x 9 mm MS flat including making good damages to building roof with satisfactory finishing and painting – (As per Drawing no. 475 of PWD Specification Book – May 1991) | BI01010001010000000000000515BI0100001199 | 2 | Each | 287.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 574.88 | 574.88 | INR Five Hundred & Seventy Four and Paise Eighty Eight Only | 1015 | 1148.17 | 2030 |  |  |  | 325.15 | 292.9 | 325.15 | 325.15 | 2869 | 3245.41 | 430 | 486.42 | 242 | 287.44
89 | Fixing only ceiling fan complete with blades, canopy, fork, rubber bush etc. incl. S&F connecting wire for down rod upto 30 cm incl. painting the rod with approved paint and making necessary connection as required by 2x1.5 sqmm flexible copper wire | BI01010001010000000000000515BI0100001200 | 2 | Each | 78.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 156.78 | 156.78 | INR One Hundred & Fifty Six and Paise Seventy Eight Only | 1027 | 1161.74 | 2054 |  |  |  | 88.67 | 325.15 | 88.67 | 88.67 | 85 | 96.15 | 613 | 693.43 | 66 | 78.39
90 | Lowering and refixing only ceiling fan complete with blades, canopy, fork, rubber bush etc. incl. making necessary disconnection and connection as required. | BI01010001010000000000000515BI0100001201 | 6 | Each | 41.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 249.42 | 249.42 | INR Two Hundred & Forty Nine and Paise Forty Two Only | 1027 | 1161.74 | 6162 |  |  |  | 47.02 | 88.67 | 47.02 | 47.02 | 85 | 96.15 | 613 | 693.43 | 35 | 41.57
91 | Fixing only exhaust fan after making hole in wall and making good damages and smooth cement finish etc. as practicable as possible and providing necy. length of PVC insulated wire and making connection for exhaust & louvre shutter after cutting hole on wall & mending good the damages of following diameter: 23 cm Exhaust fan (9") | BI01010001010000000000000515BI0100001202 | 2 | Each | 293.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 586.76 | 586.76 | INR Five Hundred & Eighty Six and Paise Seventy Six Only | 209 | 236.42 | 418 |  |  |  | 331.87 | 88.67 | 331.87 | 331.87 | 102 | 115.38 | 674 | 762.43 | 247 | 293.38
92 | Supply & Fixing louver shutter on wall with necy. bolts & nuts 23 cm Exhaust fan (9") | BI01010001010000000000000515BI0100001203 | 2 | Each | 180.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 361.08 | 361.08 | INR Three Hundred & Sixty One and Paise Eight Only | 1142 | 1291.83 | 2284 |  |  |  | 204.23 | 331.87 | 204.23 | 204.23 | 135 | 152.71 | 815 | 921.93 | 152 | 180.54
93 | Fixing only outdoor / street light type LED light fitting complete with all accessories to be fixed/projected from the wall of the building incl. making holes to building, S&F 40 mm dia GI pipe (ISI-Medium) 1.50 mts. average length, with GI socket at one end and thread at the other end & suitable bend to house the fitting & making necy. connections with S&F necy. length of 1.5 sqmm PVC insulated single core stranded annealed copper wire and making connections as required and mending good damages to wall and painting | BI01010001010000000000000515BI0100001204 | 2 | Set | 857.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1715.12 | 1715.12 | INR One Thousand Seven Hundred & Fifteen and Paise Twelve Only | 1178 | 1332.55 | 2356 |  |  |  | 970.07 | 204.23 | 970.07 | 970.07 | 539 | 609.72 | 452 | 511.3 | 722 | 857.56
94 | Supplying & Fixing GI waterproof type looping cable box size 200x150x100 mm deep having 4 mm thick comprising of one 250 V 15 A kit-kat fuse unit, one NL on porcelain insulator, one compression type brass cable gland for upto 2- core 16 sqmm PVC/A cable and having lined with rubber gasketted GI top cover with brass machine screws etc., earthing terminal with lug, on steel tubular pole near base, including S&F 40x6 mm thick, MS clamps with bolts, nuts etc. including painting with anticorrosive paint | BI01010001010000000000000515BI0100001205 | 2 | Each | 543.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1087.98 | 1087.98 | INR One Thousand &Eighty Seven and Paise Ninety Eight Only | 906 | 1024.87 | 1812 |  |  |  | 615.36 | 970.07 | 615.36 | 615.36 | 147 | 166.29 | 309 | 349.54 | 458 | 543.99
95 | Earthing with 50 mm dia GI pipe 3.64 mm thick x 3.04 Mts. (ISI-M) long and 1 x 4 SWG GI (Hot Dip) wire (4 Mts. long), 13 mm dia x 80 mm long GI bolts, double nuts, double washers incl. S & F 15 mm dia GI pipe protection (1 Mts. long) to be filled with bitumen partly under the ground level and partly above ground level driven to an average depth of 3.65 Mts. below the ground level as below: | BI01010001010000000000000515BI0100001206 | 1 | Set | 1626.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1626.04 | 1626.04 | INR One Thousand Six Hundred & Twenty Six and Paise Four Only | 942 | 1065.59 | 942 |  |  |  | 1839.38 | 615.36 | 1839.38 | 1839.38 | 3923 | 4437.7 | 2869 | 3245.41 | 1369 | 1626.04
96 | Connecting the equipments to earth busbar including S & F GI (Hot Dip) wire of size as below on wall/floor with staples buried inside wall/floor as required and making connection to equipments with bolts, nuts, washers, cable lugs etc. as required and mending good damages a) 8 SWG | BI01010001010000000000000515BI0100001207 | 8 | mtr | 10.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 85.52 | 85.52 | INR Eighty Five and Paise Fifty Two Only | 713 | 806.55 | 5704 |  |  |  | 12.09 | 1839.38 | 12.09 | 12.09 | 1347 | 1523.73 | 85 | 96.15 | 9 | 10.69
97 | Supply & fixing earth busbar of galvanised (Hot dip) MS flat 25mm x 6mm on wall having clearance of 6mm from wall Incl providing drilled holes onthe busbar complete with nuts, bolts & washers spacing insulator etc. as required | BI01010001010000000000000515BI0100001208 | 1 | mtr | 185.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 185.29 | 185.29 | INR One Hundred & Eighty Five and Paise Twenty Nine Only | 749 | 847.27 | 749 |  |  |  | 209.6 | 12.09 | 209.6 | 209.6 | 7415 | 8387.85 | 102 | 115.38 | 156 | 185.29
98 | Fixing only bulk head ceiling fitting on wall /ceiling by screws etc. | BI01010001010000000000000515BI0100001209 | 1 | Each | 66.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 66.51 | 66.51 | INR Sixty Six and Paise Fifty One Only | 2306 | 2608.55 | 2306 |  |  |  | 75.24 | 209.6 | 75.24 | 75.24 | 18998 | 21490.54 | 135 | 152.71 | 56 | 66.51
99 | Supplying & Fixing 240 V AC/DC superior type Ding-Dong Call Bell (Anchor) on HW board incl. S&F HW board | BI01010001010000000000000515BI0100001210 | 1 | Each | 205.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 205.48 | 205.48 | INR Two Hundred & Five and Paise Forty Eight Only | 2318 | 2622.12 | 2318 |  |  |  | 232.44 | 75.24 | 232.44 | 232.44 | 4763 | 5387.91 | 414 | 468.32 | 173 | 205.48
100 | Electrical Non Schedule Items Supply of 4' , 20 W single LED tube light fitting complete with all acessaries (Philips cat no -TMC 501 P 1XT-LED 22 W P3241,Essential LED tube 1200mm 20W865 T8 IND I - 2100lm /equivalent of Havells/ Crompton) | BI01010001010000000000000515BI0100001211 | 9 | Set | 750.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6753.87 | 6753.87 | INR Six Thousand Seven Hundred & Fifty Three and Paise Eighty Seven Only | 812 | 918.53 | 7308 |  |  |  | 848.89 | 232.44 | 848.89 | 848.89 | 5976 | 6760.05 | 555 | 627.82 | 743 | 750.43
101 | Supply of 1200mm sweep Ceiling Fan (Orient-New Bridge/Usha Striker) complete with all acessaries. | BI01010001010000000000000515BI0100001212 | 2 | Set | 2086.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4173.32 | 4173.32 | INR Four Thousand One Hundred & Seventy Three and Paise Thirty Two Only | 1144 | 1294.09 | 2288 |  |  |  | 2360.43 | 848.89 | 2360.43 | 2360.43 | 4386 | 4961.44 | 5128 | 5800.79 | 2066 | 2086.66
102 | Supply of 225 mm (9”) Air Flow exhaust fan Exhaust Fan (make-EPC/Crompton/Orient) | BI01010001010000000000000515BI0100001213 | 1 | Set | 1530.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1530.15 | 1530.15 | INR One Thousand Five Hundred & Thirty and Paise Fifteen Only | 1153 | 1304.27 | 1153 |  |  |  | 1730.91 | 2360.43 | 1730.91 | 1730.91 | 3346 | 3785 | 96 | 108.6 | 1515 | 1530.15
103 | Supply of Bulk Head light fitting with 10 W LED lamp(Philips, crompton-LBHE-10-CDL/havells ) | BI01010001010000000000000515BI0100001214 | 1 | Set | 1333.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1333.2 | 1333.2 | INR One Thousand Three Hundred & Thirty Three and Paise Twenty Only | 1162 | 1314.45 | 1162 |  |  |  | 1508.12 | 1730.91 | 1508.12 | 1508.12 | 111 | 125.56 | 539 | 609.72 | 1320 | 1333.2
104 | Supply & fixing 4 W LED night Lamp (Crompton/Philps/HAVELLS) for batten light points | BI01010001010000000000000515BI0100001215 | 4 | Set | 134.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 537.32 | 537.32 | INR Five Hundred & Thirty Seven and Paise Thirty Two Only | 1171 | 1324.64 | 4684 |  |  |  | 151.95 | 1508.12 | 151.95 | 151.95 | 202 | 228.5 | 147 | 166.29 | 133 | 134.33
105 | Supply of 80 W LED street light fitting (Make philips, cat no - BRPO62 LED 84 CW SLC S1 PSU/equivalent of Crompton/havells) | BI01010001010000000000000515BI0100001216 | 2 | Set | 6666 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13332 | 13332 | INR Thirteen Thousand Three Hundred & Thirty Two Only | 2252.09 | 2547.56 | 4504.18 |  |  |  | 7540.58 | 151.95 | 7540.58 | 7540.58 | 128 | 144.79 | 7255 | 8206.86 | 6600 | 6666
106 | Takendowen, washing, cleaning including repairing of A.C ceiling Fan/exhaust fan after dismantling part by part cleaning and greasing ball bearing and changing split pin / jum nut/incl.S&F ball bearing / condenser etc. as and when require & incl.Refixing the same in position. | BI01010001010000000000000515BI0100001217 | 4 | Set | 323.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1292.8 | 1292.8 | INR One Thousand Two Hundred & Ninety Two and Paise Eighty Only | 2279.12 | 2578.14 | 9116.48 |  |  |  | 365.6 | 7540.58 | 365.6 | 365.6 | 158 | 178.73 | 36078 | 40811.43 | 320 | 323.2
107 | Reparing for existing tube light changing starter,choke,holder & tube light with painting the buttam as necessary | BI01010001010000000000000515BI0100001218 | 7 | Set | 303 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2121 | 2121 | INR Two Thousand One Hundred & Twenty One Only | 1508 | 1705.85 | 10556 |  |  |  | 342.75 | 365.6 | 342.75 | 342.75 | 570 | 644.78 | 16547 | 18717.97 | 300 | 303
108 | Dismenting the existing installation and depositing the dismenting materials to the authority and mending good the damages. | BI01010001010000000000000515BI0100001219 | 1 | Set | 453.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 453.49 | 453.49 | INR Four Hundred & Fifty Three and Paise Forty Nine Only | 1508 | 1705.85 | 1508 |  |  |  | 512.99 | 342.75 | 512.99 | 512.99 | 570 | 644.78 | 16547 | 18717.97 | 449 | 453.49
Total in Figures | [51 empty] | 1203371.61 | 1202918.12 | INR Twelve Lakh Two Thousand Nine Hundred & Eighteen and Paise Twelve Only | 384803128.98 | [5 empty] | 1564329.8455 | 8208107.6793 | 7004736.07 | 36513428.5714 | -1484879.81 |  | 123486.28 |  | -0.01 |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | -383599757.37 | [5 empty] | -360958.24
Quoted Rate in Words |  | INR Zero Only | [61 empty] | -35310057.13
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information