## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Assistant Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Construction of Gate No.3 alongwith Approach Road at 2nd I.R. Bn. Dabgram Under Jalpaiguri District.
Contract No: WBPHIDCL/ACE/NIT- 90(e)/2018-2019 (1st Call)
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | GATE WITH SECURITY ROOM Dismantling all types of masonry excepting cementconcrete plain or reinforced, stacking serviceable materials at site and removing. Extra rate for careful dismantling and recovering at least 150 no of useable bricks per cum. In ground floor including roof. | BI01010001010000000000000515BI0100001113 | 16.5 | cum | 570.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9406.98 | 9406.98 | INR Nine Thousand Four Hundred & Six and Paise Ninety Eight Only |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Earth work in excavation of foundation trenches or drains, in all sorts of soil (including mixed soil but excluding laterite or sandstone) including removing, spreading or stacking the spoils within a lead of 75 m. as directed. The item includes necessary trimming the sides of trenches, levelling, dressing and ramming the bottom, bailing out water as required complete. (a) Depth of excavation not exceeding 1,500 mm. | BI01010001010000000000000515BI0100001114 | 23.17 | cum | 134.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3126.1 | 3126.1 | INR Three Thousand One Hundred & Twenty Six and Paise Ten Only |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Filling in foundation or plinth by silver sand in layers not exceeding 150 mm as directed and consoliding the same by through saturation with water ramming complete including the cost of supply of sand (payment to be made on measurment of finished quantity) Flooring Base | BI01010001010000000000000515BI0100001115 | 6.18 | cum | 589.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3642.68 | 3642.68 | INR Three Thousand Six Hundred & Forty Two and Paise Sixty Eight Only |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Single brick flat soling of picked jhama bricks including ramming and dressing bed to proper level, and filling joints with powered or local sand. | BI01010001010000000000000515BI0100001116 | 15.44 | SqM. | 366.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5658.91 | 5658.91 | INR Five Thousand Six Hundred & Fifty Eight and Paise Ninety One Only |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6 | Brick work with 1st class bricks in cement mortar (1:4) a)In foundation and plinth | BI01010001010000000000000515BI0100001117 | 2.23 | cum | 5850.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13046.77 | 13046.77 | INR Thirteen Thousand &Forty Six and Paise Seventy Seven Only |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Brick work with 1st class bricks in cement mortar (1:4) (b) In superstructure, ground floor | BI01010001010000000000000515BI0100001118 | 15.19 | cum | 6102.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 92701.84 | 92701.84 | INR Ninety Two Thousand Seven Hundred & One and Paise Eighty Four Only |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Controlled Cement concrete with well graded stone chips (20 mm nominal size) excluding shuttering and reinforcement with complete design of concrete as per IS : 456 and relevant special publications, submission of job mix formula after preliminary mix design after testing of concrete cubes as per direction of Engineer-in charge. Consumption of cement will not be less than 300 Kg of cement with Super plasticiser per cubic meter of controlled concrete but actual consumption will be determined on the basis of preliminary test and job mix foumula. In ground floor and foundation. [using concrete mixture] (b) M 25 Grade (i) N.B Variety | BI01010001010000000000000515BI0100001119 | 30.3 | cum | 6450.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 195438.03 | 195438.03 | INR One Lakh Ninety Five Thousand Four Hundred & Thirty Eight and Paise Three Only |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement if any, in ground floor as per relevant IS codes. (i) River Bazree (i) In foundation etc. where necessary River Bazree | BI01010001010000000000000515BI0100001120 | 1.48 | cum | 4531.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6706.75 | 6706.75 | INR Six Thousand Seven Hundred & Six and Paise Seventy Five Only |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Hire and labour charges for shuttering with centering and necessary staging upto 4 m using approved stout props and thick hard wood planks of approved thickness with required bracing for concrete slabs, beams and columns, lintels curved or straight including fitting, fixing and striking out after completion of works (upto roof of ground floor) (a) 25 mm to 30 mm thick wooden shuttering as per decision & direction of Engineer-In-Charge. | BI01010001010000000000000515BI0100001121 | 170.66 | sqm | 371.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63319.98 | 63319.98 | INR Sixty Three Thousand Three Hundred & Nineteen and Paise Ninety Eight Only |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Reinforcement for reinforced concrete work in all sorts of structures including distribution bars, stirrups, binders etc initial straightening and removal of loose rust (if necessary), cutting to requisite length, hooking and bending to correct shape, placing in proper position and binding with 16 gauge black annealed wire at every intersection, complete as per drawing and direction. (a) For works in foundation, basement and upto roof of ground floor/upto 4 m (i) Tor steel/Mild Steel I. SAIL/TATA/RINL | BI01010001010000000000000515BI0100001122 | 3.57 | M.T | 83418.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 297802.55 | 297802.55 | INR Two Lakh Ninety Seven Thousand Eight Hundred & Two and Paise Fifty Five Only |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12 | Labour for Chipping of concrete surface before taking up Plastering work | BI01010001010000000000000515BI0100001123 | 170.66 | sqm | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4054.88 | 4054.88 | INR Four Thousand &Fifty Four and Paise Eighty Eight Only
13 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] (i) With 1:3 cement mortar (b) 20 mm thick plaster outside (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001124 | 75.65 | sqm | 227.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17200.54 | 17200.54 | INR Seventeen Thousand Two Hundred and Paise Fifty Four Only
14 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] (ii) With 1:4 cement mortar , b) 10 mm thick plaster. Ceiling Plaster (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001125 | 67.06 | sqm | 142.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9558.06 | 9558.06 | INR Nine Thousand Five Hundred & Fifty Eight and Paise Six Only
15 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 1:4 cement mortar b) 15mm thick plaster INSIDE (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001126 | 33.26 | sqm | 177.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5906.98 | 5906.98 | INR Five Thousand Nine Hundred & Six and Paise Ninety Eight Only
16 | Rendering the Surface of walls and ceiling with White Cement base WATER PROOF wall putty of approved make & brand.(1.5 mm thick) | BI01010001010000000000000515BI0100001127 | 193.57 | sqm | 124.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24085.92 | 24085.92 | INR Twenty Four Thousand &Eighty Five and Paise Ninety Two Only
17 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. i) Water based interior grade Acrylic Primer,(b) Two Coats (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001128 | 110.35 | sqm | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5517.5 | 5517.5 | INR Five Thousand Five Hundred & Seventeen and Paise Fifty Only
18 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC.[This item to be done under specific instruction of the Superintending Engineer] (b) Two Coats (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001129 | 83.22 | sqm | 51.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4245.88 | 4245.88 | INR Four Thousand Two Hundred & Forty Five and Paise Eighty Eight Only
19 | Applying Acrylic Emulsion Paint of approved make and brand on walls and ceiling including sand papering in intermediate coats including putty (to be done under specific instruction of Superintending Engineer) : (Two coats) ii) Standard Quality (Two coats) (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001130 | 110.35 | sqm | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8737.51 | 8737.51 | INR Eight Thousand Seven Hundred & Thirty Seven and Paise Fifty One Only
20 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. The items to be selected only with written permission of Superintending Engineer for very resticted and small areas of a building b) Premium 100% Acrylic Emulsion (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001131 | 83.22 | sqm | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7907.56 | 7907.56 | INR Seven Thousand Nine Hundred & Seven and Paise Fifty Six Only
21 | M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S, W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor (ii) Grill weighing above 16 Kg./sq.mtr and above | BI01010001010000000000000515BI0100001132 | 3.64 | Qntl | 11116.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40463.33 | 40463.33 | INR Forty Thousand Four Hundred & Sixty Three and Paise Thirty Three Only
22 | (b) Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001133 | 7.29 | sqm | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 239.11 | 239.11 | INR Two Hundred & Thirty Nine and Paise Eleven Only
23 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : (b) On steel or other metal surface : With super gloss (hi-gloss) - (iv) Two coats (with any shade except white) | BI01010001010000000000000515BI0100001134 | 7.29 | sqm | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 651.43 | 651.43 | INR Six Hundred & Fifty One and Paise Forty Three Only
24 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (c) Sal : Siliguri. | BI01010001010000000000000515BI0100001135 | 0.08 | Cu.M | 92686 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7414.88 | 7414.88 | INR Seven Thousand Four Hundred & Fourteen and Paise Eighty Eight Only
25 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in ground floor. (a) 35 mm thick shutters (single leaf) In Ground floor | BI01010001010000000000000515BI0100001136 | 2.77 | sqm | 3007.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8331.77 | 8331.77 | INR Eight Thousand Three Hundred & Thirty One and Paise Seventy Seven Only
26 | Supplying, fitting and fixing windows and ventilators with or without integrated grills conforming to IS 1038-1975 and manufactured from rolled steel sections conforming to IS 7452-1974 with non-friction projecting type, box type hinges, glazing clips, lugs locking bracket, handle plate etc, including hoisting in position, straightening if required, fixing lugs in cement concrete ( 1:2:4) with stone chips 20 mm down cutting holes and mending good damages to match with existing surface complete in all respect excluding glazing. Flash butt welded windows and ventilators(No shop priming will be allowed to facilitate inspection ofworkmanship) Without integrated grills. (a) Fixed type steel windows as per IS sizes with horizontal glazing bars. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001137 | 0.33 | Sq.M. | 1705.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 562.93 | 562.93 | INR Five Hundred & Sixty Two and Paise Ninety Three Only
27 | Supplying, fitting and fixing windows and ventilators with or without integrated grills conforming to IS 1038-1975 and manufactured from rolled steel sections conforming to IS 7452-1974 with non-friction projecting type, box type hinges, glazing clips, lugs locking bracket, handle plate etc, including hoisting in position, straightening if required, fixing lugs in cement concrete ( 1:2:4) with stone chips 20 mm down cutting holes and mending good damages to match with existing surface complete in all respect excluding glazing. Flash butt welded windows and ventilators(No shop priming will be allowed to facilitate inspection ofworkmanship) Without integrated grills. (b) Openable steel windows as per IS sizes with side hung shutters and horizotal glazing bars. [The extra rate admissible for the openable portion only] (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001138 | 0.77 | Sq.M. | 2487.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1915.38 | 1915.38 | INR One Thousand Nine Hundred & Fifteen and Paise Thirty Eight Only
28 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod) (v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001139 | 2 | each | 116.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 233.02 | 233.02 | INR Two Hundred & Thirty Three and Paise Two Only
29 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately). 40mm X 6mm, 250mm Length | BI01010001010000000000000515BI0100001140 | 10 | each | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 328 | 328 | INR Three Hundred & Twenty Eight Only
30 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001141 | 10 | each | 48.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 486.4 | 486.4 | INR Four Hundred & Eighty Six and Paise Forty Only
31 | Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting. 300mm long. | BI01010001010000000000000515BI0100001142 | 1 | each | 119.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 119.91 | 119.91 | INR One Hundred & Nineteen and Paise Ninety One Only
32 | Door stopper.(Brass) | BI01010001010000000000000515BI0100001143 | 1 | each | 132.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132.35 | 132.35 | INR One Hundred & Thirty Two and Paise Thirty Five Only
33 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. 200mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001144 | 1 | each | 88.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88.23 | 88.23 | INR Eighty Eight and Paise Twenty Three Only
34 | BITUMEN ROAD Box cutting or filling in Road embankment in all sorts of soil including spreading the spoils properly over the flank as necessary or on berm to approximate grade & camber and rolling the sub-grade with power roller to proper camber and grade as per direction and satisfaction of Engineer-in-charge including uprooting and removing plants and jungles when and where necessary. (a) Depth up to 150 mm. | BI01010001010000000000000515BI0100001145 | 1432.2 | Sqm | 16.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23330.54 | 23330.54 | INR Twenty Three Thousand Three Hundred & Thirty and Paise Fifty Four Only
35 | Box cutting or filling in Road embankment in all sorts of soil including spreading the spoils properly over the flank as necessary or on berm to approximate grade & camber and rolling the sub-grade with power roller to proper camber and grade as per direction and satisfaction of Engineer-in-charge including uprooting and removing plants and jungles when and where necessary. (b) For each additional Depth of 150mm and part thereof. | BI01010001010000000000000515BI0100001146 | 1432.2 | Sqm | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30777.98 | 30777.98 | INR Thirty Thousand Seven Hundred & Seventy Seven and Paise Ninety Eight Only
36 | Granular Sub-base with Graded Material (Table:- 400-1) Construction of granular sub-base by providing graded material, mixing by mix in place method with Rotavator at OMC, spreading in uniform layers with Motor grader on prepared surface in proper grade and camber, compacting with vibratory roller to achieve the desired density, including lighting, guarding, barricading, including cost of all materials, machinery, tools and plants including cost of quality control complete as per Clause 401 of Specifications for Road & Bridge Works of MoRT&H (5th Revision). (v) Grading – V Add cost at site of 1.28 m³ of the materials as per specified Grading vide Table 3.3‐1 of Section 3 to arrive at the complete rate. | BI01010001010000000000000515BI0100001147 | 358.05 | CuM. | 2264.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 810958.19 | 810958.19 | INR Eight Lakh Ten Thousand Nine Hundred & Fifty Eight and Paise Nineteen Only
37 | Water Bound Macadam Base Course Providing, laying, spreading and compacting stone aggregates of specific sizes to water bound macadam specification including spreading in uniform thickness, hand packing, rolling with vibratory roller 8-10 tonnes in stages to proper grade and camber, applying and brooming requisite type of screening / binding materials to fill up the interstices of coarse aggregate, watering including lighting, guarding, barricading and making necessary earthen bundh of one metre width on each side and preparing the bed by necessary cutting or filling, including cost of all materials and hire and labour charges of all men and machinery and compacting to the required density, as per Clause 404 of Specifications for Road & Bridge Works of MoRT&H (5th Revision). (iii) Grading-II Aggregate (53 mm to 22.4 mm) Using Stone Screening Type B (11.2 mm) B. Manual Means Note-Add cost at site of 1.21 m³ of Grading-2 Aggregates & 0.24 m³ Stone Screening Type-B to arrive at the complete rate | BI01010001010000000000000515BI0100001148 | 102.3 | Cum | 3039.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 310934.71 | 310934.71 | INR Three Lakh Ten Thousand Nine Hundred & Thirty Four and Paise Seventy One Only | #REF!
38 | Bituminous Macadam using Mobile Hot Mix Plant (Light Duty) Providing and laying bituminous macadam with Mobile Hot Mix Plant (Light Duty) using approved crushed aggregates of specified grading as per Table 500.7 premixed with bituminous binder, transported to site laid over a previously prepared surface at specified laying temperature by means of approved and suitable arrangements to the required grade, level and alignment and rolled with suitable power roller for break down, inter-mediate and finished rolling as per specification to achieve the desired compaction including cost and carriage of stone materials and bitumen, hire charges of machinery and equipment, cost of fuel and lubricants and wages of operational staff, quality control complete as per Specifications for Road & Bridge Works of MoRT&H (5th Revision). B. For Grading 2 (19 mm nominal size, 50-75 mm thick.) Note-Add cost & carriages of materials as per requirement vide Table 3.3-1 of Section 3 to get the final consolidated rate. | BI01010001010000000000000515BI0100001149 | 102.3 | Cum | 6437.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 658509.19 | 658509.19 | INR Six Lakh Fifty Eight Thousand Five Hundred & Nine and Paise Nineteen Only
39 | Open-Graded Premix Surfacing using Bituminous (Viscosity grade Paving Bitumen / Modified bitumen) Binder and Mobile Hot Mix Plant (Light Duty) Providing, laying and rolling of Open - graded premix surfacing of 20 mm thickness composed of 13.2 mm (@ 0.018 m³ per m²) and 11.2 mm (@ 0.009 m³ per m²) size stone aggregates, including thoroughly cleaning of the surface, screening, cleaning and pre-heating stone chips and fully pre-coating the same either using viscosity grade paving bitumen or cut-back or emulsion, carrying the mixture by any suitable arrangements, laying the mixture uniformly over the surface, including line, grade and level to serve as wearing course on a previously prepared base, including mixing in Mobile Hot Mix Plant (Light Duty) and thoroughly rolling with a smooth wheeled roller 8-10 tonne capacity, finished to required level and grades including the cost and carriage of stone chips and matrix, heating the matrix, preheating the aggregates to required temperature and including the hire charges of Mobile Hot Mix Plant (Light Duty) and other machinery, pay of operators, cost of fuel and lubricants etc. complete to be followed by seal coat of either Type A or Type B as per Technical Specification Clause 508 for Rural Roads of MORD. Add cost & carriages of materials as per requirement vide Table 3.3-1 of Section 3 to get the final consolidated rate. | BI01010001010000000000000515BI0100001150 | 1023 | Sqm | 122.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 125624.4 | 125624.4 | INR One Lakh Twenty Five Thousand Six Hundred & Twenty Four and Paise Forty Only
40 | Seal Coat Providing and laying Premixed Seal Coat (Type B) with approved quality sand/grit @ 0.6 m3/ 100 m2 and bitumen binder on thoroughly cleaned black top surface coated with tack coat, including heating and mixing cleaned sand/grit (100 % passing through 2.36 mm sieve and retained on 180 micron sieve) uniformly with bitumen binder, laying and spreading the mix at an uniform rate using suitable means, brushing the surface, if necessary, to ensure uniformity, followed by rolling with power roller including the cost and carriage of binder and aggregates, cost of heating the binder and aggregates and all other incidental charges, cost of fuel and lubricants, including hire charges of machineries, tools & plants required for construction and quality control complete as per Clause 511 of Specifications for Road & Bridge Works of MoRT&H (5th Revision). By Manual Means Hot Bitumen Binder (@ 6.80 kg / 10 sqm.) Add cost & carriages of materials as per requirement vide Table 3.3-1 of Section 3 to get the final consolidated rate. | BI01010001010000000000000515BI0100001151 | 1023 | Sqm | 42.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43753.71 | 43753.71 | INR Forty Three Thousand Seven Hundred & Fifty Three and Paise Seventy One Only
41 | Tack Coat Providing and applying tack coat with Cationic Bitumen Emulsion of approved grade conforming to IS: 8887-1978 on the prepared surface cleaned with Hydraulic broom, moistening the surface including cost and carriage of emulsion, hire charges of machinery and labour, cost of fuel and lubricants all complete as per Clause 503 of Specifications for Road & Bridge Works of MoRT&H (5th Revision). (i) On Bituminous Surface (Using Bitumen Emulsion at the rate of 0.20 to 0.30 kg per sqm.) Add cost & carriages of materials as per requirement vide Table 3.3-1 of Section 3 to get the final consolidated rate. | BI01010001010000000000000515BI0100001152 | 1023.88 | Sqm | 8.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8989.67 | 8989.67 | INR Eight Thousand Nine Hundred & Eighty Nine and Paise Sixty Seven Only
42 | Tack Coat Providing and applying tack coat with Cationic Bitumen Emulsion of approved grade conforming to IS: 8887-1978 on the prepared surface cleaned with Hydraulic broom, moistening the surface including cost and carriage of emulsion, hire charges of machinery and labour, cost of fuel and lubricants all complete as per Clause 503 of Specifications for Road & Bridge Works of MoRT&H (5th Revision). (ii) On Granular surfaces treated with primer (Using Bitumen emulsion at the rate of 0.25 to 0.30 kg per sqm.) Add cost & carriages of materials as per requirement vide Table 3.3-1 of Section 3 to get the final consolidated rate. | BI01010001010000000000000515BI0100001153 | 1023 | Sqm | 190.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 194421.15 | 194421.15 | INR One Lakh Ninety Four Thousand Four Hundred & Twenty One and Paise Fifteen Only
43 | Prime Coat Providing and applying primer coat with Cationic Bitumen Emulsion of approved grade conforming to IS: 8887-1978 and requisite quantity on prepared surface of granular base including cleaning of road surface and spraying primer using Mechanical means including cost and carriage of bitumen emulsion and all other incidental costs of work complete as per Clause 502 of Specifications for Road & Bridge Works of MoRT&H (5th Revision). (i) For WBM / WMM Surface: (with primer @ 0.70-1.0 kg/sqm) Add cost & carriages of materials as per requirement vide Table 3.3-1 of Section 3 to get the final consolidated rate. | BI01010001010000000000000515BI0100001154 | 1023 | Sqm | 26.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27140.19 | 27140.19 | INR Twenty Seven Thousand One Hundred & Forty and Paise Nineteen Only
44 | PAVER BLOCK Ordinary Cement concrete (mix 1:1.5:3) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement if any, in ground floor as per relevant IS codes. (b ) River bazree | BI01010001010000000000000515BI0100001155 | 39.6 | cum | 5367.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 212554.58 | 212554.58 | INR Two Lakh Twelve Thousand Five Hundred & Fifty Four and Paise Fifty Eight Only
45 | 80 mm thick interlocking designer concrete paver block M-40 grade for medium-traffic zone & utility cuts on arterial roads etc. as per IS: 15658-2006 (over 20-40 mm medium sand bed on 250mm thk WBM/ WMM base course & 250 mm thk bound gnaular/ granular sub-base course & filling the interstices of blocks with fine sand by brooming & subsequent watering including cost of sand for sand bed but excluding cost of base, sub-base course & subgrade preparation.) complete as per direction of Engineer-in-Charge. [Note: Subgrade CBR should not be less than 5] watering including cost of sand for sand bed but excluding cost of base, sub-base course & subgrade preparation.) complete as per direction of Engineer-in-Charge. [Note: Subgrade CBR shouldnot be less than 5] Coloured Decorative | BI01010001010000000000000515BI0100001156 | 396 | Sqm | 1865.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 738678.6 | 738678.6 | INR Seven Lakh Thirty Eight Thousand Six Hundred & Seventy Eight and Paise Sixty Only
46 | FILLING & LAND DEVELOPMENT WORK Earth work in filling in foundation trenches or plinth with good earth, in layer not exceeding 150mm including watering and ramming etc. layer by layer complete (ii)With earth obtained from excavation of foundation. | BI01010001010000000000000515BI0100001157 | 180 | CuM. | 87.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15787.8 | 15787.8 | INR Fifteen Thousand Seven Hundred & Eighty Seven and Paise Eighty Only
47 | Earth work in filling in compound, tank, low land, ditches etc. with good earth, in layers not exceeding 150 mm. including breaking clods and consolidating the same by ramming and dressing complete. (Payment will be made on profile measurement before and after the work) (a) With earth obtained by fresh excavation upto 1800 mm. depth (including the cost of excavation from land arranged by the Deptt. within a lead of 100 m.) | BI01010001010000000000000515BI0100001158 | 180 | CuM. | 194.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35058.6 | 35058.6 | INR Thirty Five Thousand &Fifty Eight and Paise Sixty Only
48 | Electrical works | BI01010001010000000000000515BI0100001159
49 | Supply & fixing 6 way double door horizontal TPNMCB DB with SS enclosure (Legrand cat no -607716) concealed in wall after cutting the wall & mending good the damages to original finish with earthing attachment comprising with the follwing:- a) 63A Four pole isolator ---1 no b) 16 to 32A range SP MCB ---10 nos c) Spare ------8nos | BI01010001010000000000000515BI0100001160 | 1 | each | 7068.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7068.87 | 7068.87 | INR Seven Thousand &Sixty Eight and Paise Eighty Seven Only
50 | S&F sheet metal (16 SWG) Iron clad Busbar on angle iron frame on wall, incl. earthing attachment and painting as required 4 bars 415 V 63 A Al Bars 4x20x5mm (dedicate to street light control) | BI01010001010000000000000515BI0100001161 | 1 | each | 2713.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2713.75 | 2713.75 | INR Two Thousand Seven Hundred & Thirteen and Paise Seventy Five Only
51 | supply & fixing DP SS enclosure (Legra. Cat no.- 607882) to be fixed on flat iron frame on wall with earthing attachment comprising with the following: 10A DP MCB (D-curve)(Legrand cat no-604961)---1 no (for light control) | BI01010001010000000000000515BI0100001162 | 10 | each | 923.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9230.6 | 9230.6 | INR Nine Thousand Two Hundred & Thirty and Paise Sixty Only
52 | Laying of the 2x6 sq mm Al armoured cable through under ground trench 460mm wide x 760mm average depth with necy brick protechtion 8 nos brick per metre, incl filling up the excaveted trenchwith shifted soil, levelling up & restoring the surface duly rammed | BI01010001010000000000000515BI0100001163 | 200 | mtr | 183.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36650 | 36650 | INR Thirty Six Thousand Six Hundred & Fifty Only
53 | Laying of the 2x6sqmm XLPE Al armoured cable incl. 2 x 10 SWG G.I. Earth continuity conductor recessed in wall & mending good the damages to original finish | BI01010001010000000000000515BI0100001164 | 70 | mtr | 143.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10056.2 | 10056.2 | INR Ten Thousand &Fifty Six and Paise Twenty Only
54 | Supply & fixing compression type gland with brass gland brass ring incl. socketing the ends off by crimping method incl. S/F solderless socket (Dowels make) & jointing ,materials etc. Of the 2x6sqmm XLPE/A cable | BI01010001010000000000000515BI0100001165 | 60 | set | 113.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6787.2 | 6787.2 | INR Six Thousand Seven Hundred & Eighty Seven and Paise Twenty Only
55 | Supply & drawing of 1.1 Kv grade single core stranded 'FR' PVC 3x1.5 sq mm insulated & unsheathed copper wire (brand appr by EIC)through pole | BI01010001010000000000000515BI0100001166 | 120 | mtr. | 54.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6516 | 6516 | INR Six Thousand Five Hundred & Sixteen Only
56 | finishing of 3x1.5 sq mm the PVC insulated wire ends by socketting with pin/ring type copper sockets and insulated tapes etc. including supplying sockets, tapes. | BI01010001010000000000000515BI0100001167 | 60 | set | 6.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 407.4 | 407.4 | INR Four Hundred & Seven and Paise Forty Only
57 | Supply & delivery at site of swaged type steel tubular swan neck type bend pole of over all length 9 mtr. of section (Bottom - 5m, Middle - 2.00m, Top - 2.00m) & outside dia & thickness (Bottom- 114.7x4.5, Middle -88.9x4.05, Top - 76.1x3.25) having approx weight of the pole including sole plate 92 Kg. the top end of the pole should be reduced to enable fixing of LED fitting . | BI01010001010000000000000515BI0100001168 | 20 | each | 8325.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 166512.6 | 166512.6 | INR One Lakh Sixty Six Thousand Five Hundred & Twelve and Paise Sixty Only
58 | Erection upto 9 m ST pole with sole plate in CC foundation (600x600x150mm) thick CC (4:2:1) base block below sole plate with hard jhama metal incl CC (6:3:1) muffing 0.30 m dia 03.0 m above ground level incl making drilled hole on pole for earth bolt & carriage upto 1.6 Km from store to work site in cluding filling up the the exacavated earth pit with shifted soil, with earthing the pole G.I. wire no. 8 SWG | BI01010001010000000000000515BI0100001169 | 20 | set | 3206.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64139 | 64139 | INR Sixty Four Thousand One Hundred & Thirty Nine Only
59 | Painting the 9m ST pole with two coats of aluminium paint of approved make over one coat of R.O primer incl. preparation of surface by sand paper/emery incl cleaning etc. | BI01010001010000000000000515BI0100001170 | 20 | item | 372.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7443.2 | 7443.2 | INR Seven Thousand Four Hundred & Forty Three and Paise Twenty Only
60 | Supply & laying 40mm dia medium gauge G.I. Pipe(ISI-Medium) for cable protection | BI01010001010000000000000515BI0100001171 | 20 | mtr | 278.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5565.6 | 5565.6 | INR Five Thousand Five Hundred & Sixty Five and Paise Sixty Only
61 | Supply & Fixing GI waterproof type looping cable box size 200X150X100 mm deep having 4 mm thick comprising of one 250 V 15 A kit-kat fuse unit, one NL on porcelain insulator, one compression type brass cable gland for upto 2-core 16 sqmm PVC/A cable and having lined with rubber gasketted GI top cover with brass machine screws etc., earthing terminal with lug, on steel tubular pole near base, including S&F 40X6 mm thick, MS clamps with bolts, nuts etc. including paimtimg with anticorrosive paint | BI01010001010000000000000515BI0100001172 | 20 | set | 518.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10361.8 | 10361.8 | INR Ten Thousand Three Hundred & Sixty One and Paise Eighty Only
62 | Earthing the installation by 50 mm dia. G.I. Pipe (ISI-M) of 3.64 mtr. Long driven to an depth of 3.65 mtr. Below the ground level including S/F 1X4 SWG. G.I. Earth wire (4 mtr. Long) with nuts bolts & washers. | BI01010001010000000000000515BI0100001173 | 12 | set | 1548.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18583.32 | 18583.32 | INR Eighteen Thousand Five Hundred & Eighty Three and Paise Thirty Two Only
63 | Connecting the Poles to earth busbar including S & F GI (Hot Dip) wire of size of 8 SWG on wall/floor with staples buried inside wall/floor as required and making connection to equipments with bolts, nuts, washers, cable lugs etc. as required and mending good damages | BI01010001010000000000000515BI0100001174 | 50 | mtr | 10.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 509 | 509 | INR Five Hundred & Nine Only
64 | Supplying & fixing earth busbar of galvanized (Hot Dip) MS flat 25 mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the busbar complete with GI bolts, nuts, washers, spacing insulators etc. as required | BI01010001010000000000000515BI0100001175 | 5 | mtr | 176.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 882.35 | 882.35 | INR Eight Hundred & Eighty Two and Paise Thirty Five Only
65 | Fixing only single round LED light fitting complete with all accessories directly on ceiling suitable size of MS fastener | BI01010001010000000000000515BI0100001176 | 10 | each | 113.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1131.2 | 1131.2 | INR One Thousand One Hundred & Thirty One and Paise Twenty Only
66 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001177 | 1 | each | 113.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 113.12 | 113.12 | INR One Hundred & Thirteen and Paise Twelve Only
67 | Supplying & Fixing of Box type fan clamp of 150mm dia & 80mm depth made of 16 SWG CRCA sheet with one end duly sealed by cover, properly welded, incl. S&F 12mm dia 600mm long MS rod duly bent by heat treatment at the centre position of rod to grip FAN bobbin properly, incl. binding the rod and fan box with reinforcement by 22 SWG steel binding wire, incl. supplying & covering the box with alkathene sheet, placed in order to prevent concrete from entering the box. | BI01010001010000000000000515BI0100001178 | 1 | each | 196.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 196.83 | 196.83 | INR One Hundred & Ninety Six and Paise Eighty Three Only
68 | Distribution wiring in 1.1 kv grade 3x22/0.3 (1.5 Sqmm) single core standed "FR" PVC insulated & unsheathed copper wire (approved by EIC) in 19 mm bore , 3 mm thick Polythene Pipe complete with all accessories embeded in wall to light/fan/call bell points with Modular type switch (Brand appoved by EIC)fixed on Modular GI switch board with top cover plate flushed in wall incl. mending flushed in wall incl. mending good damages to original finish.(Avg. 6mtr run) | BI01010001010000000000000515BI0100001179 | 2 | pts | 1010.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2020.32 | 2020.32 | INR Two Thousand &Twenty and Paise Thirty Two Only
69 | Distribution wiring in 22/0.3 (1.5 Sqmm) single core standed "FR" PVC insulated & unsheathed copper wire (approved by EIC) in 19 mm bore , 3 mm thick Polythene Pipe complete with all accessories embeded in wall to 240V 6A 5 pin plug point including S/F 240 V 6A 3 pin modular type plug socket & Modular type switch (Brand appoved by EIC) including S/F earth continuty wire fixed on 4 Module GI switch board with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish a) on board | BI01010001010000000000000515BI0100001180 | 1 | pts | 281.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 281.67 | 281.67 | INR Two Hundred & Eighty One and Paise Sixty Seven Only
70 | Supply & Fixing 240V, Modular Socket (2 Module) type fan regulator (step type) (cabtree) on existing Moduler GI switch board with top cover plate incl. making necy. Connections etc. | BI01010001010000000000000515BI0100001181 | 1 | each | 437.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 437.77 | 437.77 | INR Four Hundred & Thirty Seven and Paise Seventy Seven Only
71 | Fixing only Floodlight fittings on top of masonary structure by 3 Nos. 10 mm dia x 87 mm long rag bolts, nuts & double washers complete either 37 mm x 10 mm MS flat support/or by other means as required | BI01010001010000000000000515BI0100001182 | 4 | each | 242.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 968.32 | 968.32 | INR Nine Hundred & Sixty Eight and Paise Thirty Two Only
72 | NON SCHEDULE ITEM (Supply & delevery of 1.1 Kv grade XLPE Aluminium armoured cable(make Gloster/Nicco/Havells) 2 x 6 sq mm | BI01010001010000000000000515BI0100001183 | 250 | mtr | 102.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25502.5 | 25502.5 | INR Twenty Five Thousand Five Hundred & Two and Paise Fifty Only
73 | Supply & fixing of 90W LED street light fitting (Make Crompton, cat no - LSTS-90-CDL) | BI01010001010000000000000515BI0100001184 | 20 | set | 9145.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 182911 | 182911 | INR One Lakh Eighty Two Thousand Nine Hundred & Eleven Only
74 | Supply & fixing of 18W LED surface mounted light fitting (Make Crompton, cat no - LCDSPLN-R-18-CDL) | BI01010001010000000000000515BI0100001185 | 10 | set | 1375.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13756.2 | 13756.2 | INR Thirteen Thousand Seven Hundred & Fifty Six and Paise Twenty Only
75 | supply & fixing CIRCULAR 140 W LED FLOOD LIGHT with robust design and efficient light on necy. Muffing and necy. Connection. (Make Crompton, cat no.- LFLN11-140-CDL/60) | BI01010001010000000000000515BI0100001186 | 4 | each | 10364.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41458.48 | 41458.48 | INR Forty One Thousand Four Hundred & Fifty Eight and Paise Forty Eight Only
76 | S&F 24'' celling fan (Make Orient white) | BI01010001010000000000000515BI0100001187 | 1 | each | 2036.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2036.16 | 2036.16 | INR Two Thousand &Thirty Six and Paise Sixteen Only
77 | S&F 20w LED SINGLE TUBE LIGHT (crompton) | BI01010001010000000000000515BI0100001188 | 1 | each | 831.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 831.23 | 831.23 | INR Eight Hundred & Thirty One and Paise Twenty Three Only
Total in Figures | [51 empty] | 4700623.16 | 4700623.16 | INR Forty Seven Lakh Six Hundred & Twenty Three and Paise Sixteen Only |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information