## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair, Renovation and upgradation of 01 no single storied staff quarter having 1 No.of flats and 1no.two storied lower subordinate Quarters having 8 nos.flat at Mallaguri Police lines under Siliguri Police Commissionerate.
Contract No: WBPHIDCL/Addl.CE/NIT- 137(e)/2018-2019 For Sl. No. 5 (1st Call)
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [57 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Cleaning and removing conservancy garbage mixed with rubbish & other filthy materials from the road side flank, drain and compound including sutting, loading, unloading to and from truck or cart by Mathor labour & removing the same to any distance. | BI01010001010000000000000515BI0100001113 | 72 | Cum | 64.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4611.6 | 4611.6 | INR Four Thousand Six Hundred & Eleven and Paise Sixty Only |  | 72.4534 | 10 | 11.31 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Removing loose scales, blisters etc. from old painted surface and thoroughly smoothening the surface to make the same suitable for receiving fresh coat of paint. | BI01010001010000000000000515BI0100001114 | 1942 | Sqm | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46141.92 | 46141.92 | INR Forty Six Thousand One Hundred & Forty One and Paise Ninety Two Only | 0.058964 | 26.8773 | 119.27 | 134.92 | 10.059 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Surface Dressing of the ground in any kind of soil including removing vegetation inequalities not exceeding 15 cm depth and disposal of the rubbish within a lead upto 75 m as directed. | BI01010001010000000000000515BI0100001115 | 223 | Sqm | 11.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2522.13 | 2522.13 | INR Two Thousand Five Hundred & Twenty Two and Paise Thirteen Only |  | 12.7939 | 192.38 | 217.62 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Uprooting and removing plants from the surface of walls parapet etc and making good damages. (Repairing of damages to be paid separately). (a) Small plant of girth of exposed stem upto 75 mm. lift upto 6 mtr. | BI01010001010000000000000515BI0100001116 | 10 | Each | 56.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 565.6 | 565.6 | INR Five Hundred & Sixty Five and Paise Sixty Only |  | 63.9807 | 77.54 | 87.71 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Removing old paint from blistered painted surface of steel or other metal by chipping including scraping and cleaning and exposing the original surface | BI01010001010000000000000515BI0100001117 | 216.4 | sqm | 54.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11750.52 | 11750.52 | INR Eleven Thousand Seven Hundred & Fifty and Paise Fifty Two Only |  | 61.4242 | 711.81 | 805.2 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Removal of rubbish,earth etc. from the working site and disposal of the same beyond the compound, in conformity with the Municipal / Corporation Rules for such disposal, loading intotruck and cleaning the site in all respect as perdirection of Engineer in charge | BI01010001010000000000000515BI0100001118 | 24.047 | sqm | 187.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4515.55 | 4515.55 | INR Four Thousand Five Hundred & Fifteen and Paise Fifty Five Only |  | 212.4167 | 348 | 393.66 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Dismantling artificial stone flooring upto 50 mm. thick by carefully chiselling without damaging the base and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. a) In ground floor | BI01010001010000000000000515BI0100001119 | 230 | Sqm | 56.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13008.8 | 13008.8 | INR Thirteen Thousand &Eight and Paise Eighty Only |  | 63.9807 | 5679.14 | 6424.24 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Dismantling artificial stone flooring upto 50 mm. thick by carefully chiselling without damaging the base and removing rubbish as directed within a lead of 75 m. (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001120 | 120 | Sqm | 63.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7602 | 7602 | INR Seven Thousand Six Hundred & Two Only |  | 71.6615 | 6734.64 | 7618.22
10 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75m. upto 150 mm thick. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001121 | 8.211 | cum | 1062.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8721.72 | 8721.72 | INR Eight Thousand Seven Hundred & Twenty One and Paise Seventy Two Only |  | 1201.5606 | 6829.64 | 7725.69
11 | Dismantling all types of plain cement concrete works, stacking serviceable aterials at site and removing rubbish as directed within a lead of 75m. upto 150 mm thick. (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001122 | 5.796 | cum | 1118.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6484.33 | 6484.33 | INR Six Thousand Four Hundred & Eighty Four and Paise Thirty Three Only |  | 1265.5413 | 6924.64 | 7833.15
12 | Dismantling all types of masonry excepting cementconcrete plain or reinforced, stacking serviceablematerials at site and removing rubbish as directedwithin a lead of 75 m. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001123 | 8.25 | cum | 505.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4171.61 | 4171.61 | INR Four Thousand One Hundred & Seventy One and Paise Sixty One Only |  | 571.9913 | 359 | 406.1
13 | Dismantling all types of masonry excepting cementconcrete plain or reinforced, stacking serviceablematerials at site and removing rubbish as directedwithin a lead of 75 m. (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001124 | 6.757 | cum | 562.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3798.85 | 3798.85 | INR Three Thousand Seven Hundred & Ninety Eight and Paise Eighty Five Only |  | 635.972 | 377 | 426.46
14 | Extra rate for careful dismantling and recovering at least 150 no of useable bricks per cum. | BI01010001010000000000000515BI0100001125 | 36.75 | cum | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2369.64 | 2369.64 | INR Two Thousand Three Hundred & Sixty Nine and Paise Sixty Four Only |  | 72.9398 | 395 | 446.82
15 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed | BI01010001010000000000000515BI0100001126 | 1243 | Sqm | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26712.07 | 26712.07 | INR Twenty Six Thousand Seven Hundred & Twelve and Paise Seven Only |  | 24.3095 | 71269 | 80619.49
16 | Applying 2 coats of bonding agent with synthetic multifunctional rubber emulsion having adhesive and water proofing properties by mixing with water in proportion (1 bonding agent : 4 water : 6 cement) as per Manufacturer's specification. For Water Proofing | BI01010001010000000000000515BI0100001127 | 508 | SqM | 99.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50571.4 | 50571.4 | INR Fifty Thousand Five Hundred & Seventy One and Paise Forty Only |  | 112.611 | 71699 | 81105.91
17 | Applying epoxy based reactive joining agent for joining the old concrete with fresh concrete to be applied within manufacturer's specified time as per manufacturers specification. (0.4 Kg / m² of concrete surface). | BI01010001010000000000000515BI0100001128 | 40 | Sqm | 349.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13981.6 | 13981.6 | INR Thirteen Thousand Nine Hundred & Eighty One and Paise Sixty Only |  | 395.3996 | 72129 | 81592.32
18 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. (ii) c/ With 1:4 cement mortar 10 mm thick plaster. Ceiling Plaster (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001129 | 107 | SqM | 142.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15250.71 | 15250.71 | INR Fifteen Thousand Two Hundred & Fifty and Paise Seventy One Only |  | 161.2299 | 5198 | 5879.98
19 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. (ii) c/ With 1:4 cement mortar 10 mm thick plaster. Ceiling Plaster (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001130 | 50 | SqM | 147.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7353 | 7353 | INR Seven Thousand Three Hundred & Fifty Three Only |  | 166.3543 | 5420 | 6131.1
20 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. With 1:4 cement mortar 15mm thick plaster INSIDE (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001131 | 325 | SqM | 177.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57720 | 57720 | INR Fifty Seven Thousand Seven Hundred & Twenty Only |  | 200.9011 | 5531 | 6256.67
21 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. With 1:4 cement mortar 15mm thick plaster INSIDE (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001132 | 305 | SqM | 182.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55546.6 | 55546.6 | INR Fifty Five Thousand Five Hundred & Forty Six and Paise Sixty Only |  | 206.0141 | 5642 | 6382.23
22 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface.With 1:6 cement mortar 20mm thick plaster OUTSIDE (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001133 | 239 | SqM | 182.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43526.68 | 43526.68 | INR Forty Three Thousand Five Hundred & Twenty Six and Paise Sixty Eight Only |  | 206.0141 | 712 | 805.41
23 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface. With 1:6 cement mortar 20mm thick plaster OUTSIDE (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001134 | 219 | SqM | 186.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40876.35 | 40876.35 | INR Forty Thousand Eight Hundred & Seventy Six and Paise Thirty Five Only |  | 211.1385 | 724 | 818.99
24 | Neat cement punning about 1.5mm thick in wall,dado,window sill,floor etc. NOTE:Cement 0.152 cu.m per100 sq.m. | BI01010001010000000000000515BI0100001135 | 150 | SqM | 38.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5769 | 5769 | INR Five Thousand Seven Hundred & Sixty Nine Only |  | 43.506 | 736 | 832.56
25 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. ii) Solvent based interior grade Acrylic Primer,(b) Two Coats (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001136 | 1100 | SqM | 54.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60346 | 60346 | INR Sixty Thousand Three Hundred & Forty Six Only |  | 62.0576 | 186 | 210.4
26 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. ii) Solvent based interior grade Acrylic Primer,(b) Two Coats (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001137 | 1100 | SqM | 54.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60346 | 60346 | INR Sixty Thousand Three Hundred & Forty Six Only |  | 62.0576 | 21 | 23.76
27 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC.[This item to be done under specific instruction of the Superintending Engineer] (b) Two Coats (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001138 | 596.5 | SqM | 51.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30433.43 | 30433.43 | INR Thirty Thousand Four Hundred & Thirty Three and Paise Forty Three Only |  | 57.7138 | 75572 | 85487.05
28 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC.[This item to be done under specific instruction of the Superintending Engineer] (b) Two Coats (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001139 | 596.5 | SqM | 51.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30910.63 | 30910.63 | INR Thirty Thousand Nine Hundred & Ten and Paise Sixty Three Only |  | 58.6188 | 75772 | 85713.29
29 | Acrylic Distemper to interior wall, ceiling with a coat of solvent based interior grade acrylic primer (as per manufacturer's specification) including cleaning and smoothning of surface. Two Coats (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001140 | 1100 | SqM | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 87098 | 87098 | INR Eighty Seven Thousand &Ninety Eight Only |  | 89.5684 | 75972 | 85939.53
30 | Acrylic Distemper to interior wall, ceiling with a coat of solvent based interior grade acrylic primer (as per manufacturer's specification) including cleaning and smoothning of surface. Two Coats (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001141 | 1100 | SqM | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 87098 | 87098 | INR Eighty Seven Thousand &Ninety Eight Only |  | 89.5684 | 2659 | 3007.86
31 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. The items to be selected only with written permission of Superintending Engineer for very resticted and small areas of a building b) Premium 100% Acrylic Emulsion (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001142 | 596.5 | SqM | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56679.43 | 56679.43 | INR Fifty Six Thousand Six Hundred & Seventy Nine and Paise Forty Three Only |  | 107.4866 | 2673 | 3023.7
32 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. The items to be selected only with written permission of Superintending Engineer for very resticted and small areas of a building b) Premium 100% Acrylic Emulsion (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001143 | 596.5 | SqM | 95.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57156.63 | 57156.63 | INR Fifty Seven Thousand One Hundred & Fifty Six and Paise Sixty Three Only |  | 108.3916 | 2687 | 3039.53
33 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001144 | 74 | SqM | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2427.2 | 2427.2 | INR Two Thousand Four Hundred & Twenty Seven and Paise Twenty Only |  | 37.1034 | 125 | 141.4
34 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001145 | 144 | SqM | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4723.2 | 4723.2 | INR Four Thousand Seven Hundred & Twenty Three and Paise Twenty Only |  | 37.1034 | 129 | 145.92
35 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary . On Steel and other Metal Surface .Two coat with any shade except white.With super gloss (hi-gloss) - (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001146 | 74 | SqM | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6612.64 | 6612.64 | INR Six Thousand Six Hundred & Twelve and Paise Sixty Four Only |  | 101.084 | 133 | 150.45
36 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary . On Steel and other Metal Surface .Two coat with any shade except white.With super gloss (hi-gloss) - (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001147 | 144 | SqM | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12867.84 | 12867.84 | INR Twelve Thousand Eight Hundred & Sixty Seven and Paise Eighty Four Only |  | 101.084 | 159 | 179.86
37 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001148 | 462 | SqM | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19861.38 | 19861.38 | INR Nineteen Thousand Eight Hundred & Sixty One and Paise Thirty Eight Only |  | 48.6303 | 163 | 184.39
38 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001149 | 346 | SqM | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14874.54 | 14874.54 | INR Fourteen Thousand Eight Hundred & Seventy Four and Paise Fifty Four Only |  | 48.6303 | 167 | 188.91
39 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary :(a) On timber or plastered surface. With super gloss (hi-gloss) -(iv) Two coats (with any shade except white) (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001150 | 462 | SqM | 91.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42333.06 | 42333.06 | INR Forty Two Thousand Three Hundred & Thirty Three and Paise Six Only |  | 103.6519 | 139 | 157.24
40 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary :(a) On timber or plastered surface. With super gloss (hi-gloss) -(iv) Two coats (with any shade except white) (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001151 | 346 | SqM | 91.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31703.98 | 31703.98 | INR Thirty One Thousand Seven Hundred & Three and Paise Ninety Eight Only |  | 103.6519 | 143 | 161.76
41 | 18 mm. to 22 mm. thick, kota stone slab set in 20 mm thick (avg) cement mortar (1:4) in floor, stair & lobby including pointing in cement slurry with admixture of pigment matching the stone shade, including grinding & polishing as per direction of Engineer - in - charge to match with the existing work. [Slurry for bedding @ 4.4 kg/Sq.m and pointing @2.0 kg/Sq.m] (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001152 | 90 | SqM | 1144.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 103029.3 | 103029.3 | INR One Lakh Three Thousand &Twenty Nine and Paise Thirty Only |  | 1294.9638 | 147 | 166.29
42 | 18 mm. to 22 mm. thick, kota stone slab set in 20 mm thick (avg) cement mortar (1:4) in floor, stair & lobby including pointing in cement slurry with admixture of pigment matching the stone shade, including grinding & polishing as per direction of Engineer - in - charge to match with the existing work. [Slurry for bedding @ 4.4 kg/Sq.m and pointing @2.0 kg/Sq.m] (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001153 | 50 | SqM | 1158.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57917.5 | 57917.5 | INR Fifty Seven Thousand Nine Hundred & Seventeen and Paise Fifty Only |  | 1310.3255 | 34 | 38.46
43 | Labour for setting Kota / Dungri stone slabs in cement mortar (1:2) including necessary underlay of mortar (1:2). | BI01010001010000000000000515BI0100001154 | 210 | SqM | 234.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49173.6 | 49173.6 | INR Forty Nine Thousand One Hundred & Seventy Three and Paise Sixty Only |  | 264.8818 | 122 | 138.01
44 | Extra cost of labour for grinding Kota Stone Floor in treads and riser of Steps. | BI01010001010000000000000515BI0100001155 | 115 | SqM | 236.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27188.3 | 27188.3 | INR Twenty Seven Thousand One Hundred & Eighty Eight and Paise Thirty Only |  | 267.4383 | 122 | 138.01
45 | Extra cost of labour for pre finish and pre moulded nosing to treads of steps,railing,window sil etc of kota stone. | BI01010001010000000000000515BI0100001156 | 97.5 | Rm | 253.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24705.53 | 24705.53 | INR Twenty Four Thousand Seven Hundred & Five and Paise Fifty Three Only |  | 286.6348 | 122 | 138.01
46 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. (A) Floor With Sand Cement Mortar (1:4) 20 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m (a) Area of each tile upto 0.09 Sq.m (ii) Other than Coloured decorative including white (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001157 | 185 | SqM | 789.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 146072.3 | 146072.3 | INR One Lakh Forty Six Thousand &Seventy Two and Paise Thirty Only |  | 893.1729 | 44.2 | 50
47 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. (A) Floor With Sand Cement Mortar (1:4) 20 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m (a) Area of each tile upto 0.09 Sq.m (ii) Other than Coloured decorative including white (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001158 | 115 | SqM | 795.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91451.45 | 91451.45 | INR Ninety One Thousand Four Hundred & Fifty One and Paise Forty Five Only |  | 899.5642 | 70 | 79.18
48 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. .(B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m (a) Area of each tile upto 0.09 Sq.m (ii) Other than Coloured decorative including white (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001159 | 93 | SqM | 795.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 73956.39 | 73956.39 | INR Seventy Three Thousand Nine Hundred & Fifty Six and Paise Thirty Nine Only |  | 899.5642 | 45.1 | 51.02
49 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. .(B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m (a) Area of each tile upto 0.09 Sq.m (ii) Other than Coloured decorative including white (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001160 | 67 | SqM | 800.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53659.63 | 53659.63 | INR Fifty Three Thousand Six Hundred & Fifty Nine and Paise Sixty Three Only |  | 905.9668 | 45.81 | 51.82
50 | Supplying, fitting and fixing Black Stone slab used in Kitchen slab, alcove, wardrobe etc. laid and jointed with necessary adhesive Cement mortar (1:2) including grinding or polishing as per direction of Engineer-in -Charge in Ground Floor.(a) Slab Thickness 20 to 25 mm (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001161 | 13.85 | Sq.M | 727.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10073.94 | 10073.94 | INR Ten Thousand &Seventy Three and Paise Ninety Four Only |  | 822.7896 | 46.52 | 52.62
51 | Supplying, fitting and fixing Black Stone slab used in Kitchen slab, alcove, wardrobe etc. laid and jointed with necessary adhesive Cement mortar (1:2) including grinding or polishing as per direction of Engineer-in -Charge in Ground Floor.(a) Slab Thickness 20 to 25 mm (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001162 | 11 | Sq.M | 740.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8150.34 | 8150.34 | INR Eight Thousand One Hundred & Fifty and Paise Thirty Four Only |  | 838.1513 | 84 | 95.02
52 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (c) Sal Siliguri (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001163 | 0.12 | CuM. | 92686 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11122.32 | 11122.32 | INR Eleven Thousand One Hundred & Twenty Two and Paise Thirty Two Only |  | 104846.4032 | 84.71 | 95.82
53 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (c) Sal Siliguri (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001164 | 0.12 | CuM. | 92912.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11149.47 | 11149.47 | INR Eleven Thousand One Hundred & Forty Nine and Paise Forty Seven Only |  | 105102.3259 | 85.42 | 96.63
54 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in ground floor.(a) 32 mm thick shutters (single leaf) (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001165 | 9 | SqM | 2668.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24016.5 | 24016.5 | INR Twenty Four Thousand &Sixteen and Paise Fifty Only |  | 3018.6072 | 14.24 | 16.11
55 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in ground floor.(a) 32 mm thick shutters (single leaf) (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001166 | 9 | SqM | 2684.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24159.06 | 24159.06 | INR Twenty Four Thousand One Hundred & Fifty Nine and Paise Six Only |  | 3036.5254 | 49 | 55.43
56 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (ii) 25 mm thick (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001167 | 12 | SqM | 2919.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35035.56 | 35035.56 | INR Thirty Five Thousand &Thirty Five and Paise Fifty Six Only |  | 3302.6855 | 38 | 42.99
57 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (ii) 25 mm thick (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001168 | 8 | SqM | 2935.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23483.68 | 23483.68 | INR Twenty Three Thousand Four Hundred & Eighty Three and Paise Sixty Eight Only |  | 3320.5924 | 81 | 91.63
58 | Supplying, fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to safisfy IS: 4020 door testing performance criteria. (ii) 66mm x 70mm (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001169 | 32 | Mtr. | 504.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16144.64 | 16144.64 | INR Sixteen Thousand One Hundred & Forty Four and Paise Sixty Four Only |  | 570.713 | 29 | 32.8
59 | Supplying, fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to safisfy IS: 4020 door testing performance criteria. (ii) 66mm x 70mm (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001170 | 21 | Mtr. | 504.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10594.92 | 10594.92 | INR Ten Thousand Five Hundred & Ninety Four and Paise Ninety Two Only |  | 570.713 | 79 | 89.36
60 | M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S, W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor. (ii) Grill weighing above 10 Kg./sq.mtr and up to 16 Kg./sq. mtr (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001171 | 0.35 | Qntl | 11335.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3967.52 | 3967.52 | INR Three Thousand Nine Hundred & Sixty Seven and Paise Fifty Two Only |  | 12823.0117 | 1267 | 1433.23
61 | M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S, W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor. (ii) Grill weighing above 10 Kg./sq.mtr and up to 16 Kg./sq. mtr (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001172 | 0.25 | Qntl | 11449.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2862.28 | 2862.28 | INR Two Thousand Eight Hundred & Sixty Two and Paise Twenty Eight Only |  | 12951.2332 | 1008 | 1140.25
62 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod) (v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001173 | 48 | Each | 116.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5592.48 | 5592.48 | INR Five Thousand Five Hundred & Ninety Two and Paise Forty Eight Only |  | 131.7961 | 1020 | 1153.82
63 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately). 40mm X 6mm, 250mm Length | BI01010001010000000000000515BI0100001174 | 360 | Each | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11808 | 11808 | INR Eleven Thousand Eight Hundred & Eight Only |  | 37.1034 | 1032 | 1167.4
64 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001175 | 400 | Each | 48.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19456 | 19456 | INR Nineteen Thousand Four Hundred & Fifty Six Only |  | 55.0216 | 1147 | 1297.49
65 | Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting. 250mm long. | BI01010001010000000000000515BI0100001176 | 48 | Each | 179.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8633.28 | 8633.28 | INR Eight Thousand Six Hundred & Thirty Three and Paise Twenty Eight Only |  | 203.4576 | 1008 | 1140.25
66 | Door stopper.(Brass) | BI01010001010000000000000515BI0100001177 | 48 | Each | 132.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6352.8 | 6352.8 | INR Six Thousand Three Hundred & Fifty Two and Paise Eighty Only |  | 149.7143 | 1020 | 1153.82
67 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. 200mm long x 10mm dia. bolt. | BI01010001010000000000000515BI0100001178 | 250 | Each | 88.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22057.5 | 22057.5 | INR Twenty Two Thousand &Fifty Seven and Paise Fifty Only |  | 99.8058 | 1032 | 1167.4
68 | Taking out old iron higes and fitting, fixing the same with new steel screws e) 100mm. Long butt hinge. | BI01010001010000000000000515BI0100001179 | 250 | Each | 18.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4525 | 4525 | INR Four Thousand Five Hundred & Twenty Five Only |  | 20.4747 | 1147 | 1297.49
69 | Supplying bubble free float glass of approved make and brand conforming to IS: 2835-1987. ii) 4mm thick coloured / tinted / smoke glass. | BI01010001010000000000000515BI0100001180 | 12 | SqM. | 529.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6352.8 | 6352.8 | INR Six Thousand Three Hundred & Fifty Two and Paise Eighty Only |  | 598.8573 | 918 | 1038.44
70 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (20mm nominal size) excluding shuttering and reinforcement,if any, in gound floor as per relevant IS codes River bazree | BI01010001010000000000000515BI0100001181 | 7 | CuM. | 4531.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31721.13 | 31721.13 | INR Thirty One Thousand Seven Hundred & Twenty One and Paise Thirteen Only |  | 5126.1346 | 930 | 1052.02
71 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 100 mm | BI01010001010000000000000515BI0100001182 | 50 | Mtr. | 1282.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64139 | 64139 | INR Sixty Four Thousand One Hundred & Thirty Nine Only |  | 1451.0807 | 906 | 1024.87
72 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 32 mm | BI01010001010000000000000515BI0100001183 | 22 | Mtr. | 266.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5873.12 | 5873.12 | INR Ninety Four Thousand Two Hundred & Thirty Only |  | 789.5776 | 918 | 1038.44
73 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Concealed work 25 mm | BI01010001010000000000000515BI0100001184 | 70 | Mtr. | 231.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16233 | 16233 | INR Sixteen Thousand Two Hundred & Thirty Three Only |  | 262.3253 | 906 | 1024.87
74 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Concealed work 20 mm | BI01010001010000000000000515BI0100001185 | 52 | Mtr. | 178.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9293.96 | 9293.96 | INR Ninety Four Thousand Two Hundred & Thirty Only |  | 789.5776 | 918 | 1038.44
75 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 20mm mm dia | BI01010001010000000000000515BI0100001186 | 3 | Each | 743.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2229.6 | 2229.6 | INR Ninety Four Thousand Two Hundred & Thirty Only |  | 789.5776 | 918 | 1038.44
76 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 32 mm mm dia | BI01010001010000000000000515BI0100001187 | 3 | Each | 1423.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4269.15 | 4269.15 | INR Four Thousand Two Hundred & Sixty Nine and Paise Fifteen Only |  | 1609.7542 | 930 | 1052.02
77 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 25 mm mm dia | BI01010001010000000000000515BI0100001188 | 3 | Each | 1031.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3094.95 | 3094.95 | INR Three Thousand &Ninety Four and Paise Ninety Five Only |  | 1167.0025 | 930 | 1052.02
78 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length b) 110 mm | BI01010001010000000000000515BI0100001189 | 50 | Mtr. | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16515.5 | 16515.5 | INR Sixteen Thousand Five Hundred & Fifteen and Paise Fifty Only |  | 373.6467 | 446 | 504.52
79 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (ii) Door Tee (110 mm) | BI01010001010000000000000515BI0100001190 | 10 | Each | 220.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2205.8 | 2205.8 | INR Two Thousand Two Hundred & Five and Paise Eighty Only |  | 249.5201 | 446 | 504.52
80 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (iv) Door Bend T.S 110 mm | BI01010001010000000000000515BI0100001191 | 10 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1662.9 | 1662.9 | INR One Thousand Six Hundred & Sixty Two and Paise Ninety Only |  | 188.1072 | 2225.39 | 2517.36
81 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (v) Plain Tee 110 mm | BI01010001010000000000000515BI0100001192 | 10 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 961.5 | 961.5 | INR Nine Hundred & Sixty One and Paise Fifty Only |  | 108.7649 | 2225.39 | 2517.36
82 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (vii) Pipe Clip 110 mm | BI01010001010000000000000515BI0100001193 | 55 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1306.8 | 1306.8 | INR One Thousand Three Hundred & Six and Paise Eighty Only |  | 26.8773 | 1508 | 1705.85
83 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (vii) Vent Cowl 110mm | BI01010001010000000000000515BI0100001194 | 10 | Each | 37.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 373.3 | 373.3 | INR Three Hundred & Seventy Three and Paise Thirty Only |  | 42.2277 | 1526.1 | 1726.32
84 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials) (A) Above ground (ii) 110 mm | BI01010001010000000000000515BI0100001195 | 50 | Mtr. | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3224 | 3224 | INR Three Thousand Two Hundred & Twenty Four Only |  | 72.9398 | 536 | 606.32
85 | Supplying, fitting and fixing white vitreous china best quality approved make wash basin with C.I. brackets on 75 mm X 75 mm wooden blocks, C.P. waste fittings of 32 mm dia., one approved quality brass C.P. pillar cock of 15 mm dia., C.P. chain with rubber plug of 32 mm dia., approved quality P.V.C. waste pipe with C.P. nut 32 mm dia., 900 mm long approved quality P.V.C. connection pipe with heavy brass C.P. nut including mending good all damages and painting the brackets with two coats of approved paint. (iii) 630 mm X 450 mm size | BI01010001010000000000000515BI0100001196 | 10 | Each | 3687.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36877.1 | 36877.1 | INR Thirty Six Thousand Eight Hundred & Seventy Seven and Paise Ten Only |  | 4171.5376 | 67 | 75.79
86 | Supplying, fitting and fixing approved brand 32 mm dia. P.V.C. waste pipe, with coupling at one end fitted with necessary clamps. 1050 mm long | BI01010001010000000000000515BI0100001197 | 10 | Each | 102.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1029.4 | 1029.4 | INR One Thousand &Twenty Nine and Paise Forty Only |  | 116.4457 | 67 | 75.79
87 | Supplying, fitting and fixing approved brand 32 mm dia. P.V.C. waste pipe, with coupling at one end fitted with necessary clamps. 1050 mm long (iii) 600 mm long | BI01010001010000000000000515BI0100001198 | 10 | Each | 121.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1210.4 | 1210.4 | INR One Thousand Two Hundred & Ten and Paise Forty Only |  | 136.9204 | 448 | 506.78
88 | Supplying, fitting and fixing pillar cock of approved make. a) (ii) CP Pillar Cock Super Deluxe with Aerator - 15 mm. (Equivalent to Code No. 508 & Model No. Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001199 | 10 | Each | 669.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6696.7 | 6696.7 | INR Six Thousand Six Hundred & Ninety Six and Paise Seventy Only |  | 757.5307 | 468 | 529.4
89 | Supplying, fitting and fixing towel rail with two brackets. (a) (ii)C.P. over brass (iii) 25 mm dia. and 750 mm long | BI01010001010000000000000515BI0100001200 | 10 | Each | 537.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5373.2 | 5373.2 | INR Five Thousand Three Hundred & Seventy Three and Paise Twenty Only |  | 607.8164 | 50 | 56.56
90 | Supplying, fitting and fixing liquid soap container.(c) Fibre glass. | BI01010001010000000000000515BI0100001201 | 10 | Each | 212.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2126.7 | 2126.7 | INR Two Thousand One Hundred & Twenty Six and Paise Seventy Only |  | 240.5723 | 35 | 39.59
91 | Supplying, fitting and fixing best quality Indian make mirror 5.5 mm thick with silvering as per I.S.I. specifications supported on fibre glass frame of any colour, frame size 550 mm X 400 mm | BI01010001010000000000000515BI0100001202 | 9 | Each | 693.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6240.87 | 6240.87 | INR Six Thousand Two Hundred & Forty and Paise Eighty Seven Only |  | 784.408 | 9696 | 10968.12
92 | Chromium plated Bib Cock (angular shape with wall flange) (Equivalent to Code No. 5037 & Model - Florentine of Jaquar or similar brand). | BI01010001010000000000000515BI0100001203 | 18 | Each | 973.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17531.28 | 17531.28 | INR Seventeen Thousand Five Hundred & Thirty One and Paise Twenty Eight Only |  | 1101.7436 | 9792.96 | 11077.8
93 | Chromium plated angular Stop Cock with wall flange (Equivalent to Code No. 5053 & Model - Florentine of Jaquar or similar brand). | BI01010001010000000000000515BI0100001204 | 10 | Each | 921.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9219.3 | 9219.3 | INR Nine Thousand Two Hundred & Nineteen and Paise Thirty Only |  | 1042.8872 | 9890.89 | 11188.57
94 | Chromium plated Hand shower with Flexible Tube & fittings(Equivalent to Code No. Hsh-1937 & (Equivalent to Code No. 5037 & Model - Florentine of Jaquar or similar).). | BI01010001010000000000000515BI0100001205 | 9 | Each | 1389.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12501.99 | 12501.99 | INR Twelve Thousand Five Hundred & One and Paise Ninety Nine Only |  | 1571.3612 | 10090 | 11413.81
95 | Chromium plated round shower with revolving joint 100 mm dia with rubid cleaning system (Equivalent to Code No. 542(N) & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001206 | 9 | Each | 511.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4601.7 | 4601.7 | INR Four Thousand Six Hundred & One and Paise Seventy Only |  | 578.3826 | 409 | 462.66
96 | Supplying, fitting and fixing C.I. round grating. (ii) 150 mm | BI01010001010000000000000515BI0100001207 | 26 | Each | 96.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2499.9 | 2499.9 | INR Two Thousand Four Hundred & Ninety Nine and Paise Ninety Only |  | 108.7649 | 9077 | 10267.9
97 | Supplying, fitting and fixing C.I. square jalli. (ii) 150 mm | BI01010001010000000000000515BI0100001208 | 18 | Each | 115.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2076.84 | 2076.84 | INR Two Thousand &Seventy Six and Paise Eighty Four Only |  | 130.5179 | 9890.89 | 11188.57
98 | Dismantling Orissa pattern W.C. including taking out of base concrete, if necessary, complete | BI01010001010000000000000515BI0100001209 | 9 | Each | 50.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 458.1 | 458.1 | INR Four Hundred & Fifty Eight and Paise Ten Only |  | 57.5781 | 10090 | 11413.81
99 | Supplying, fitting and fixing Orissa pattern water closet in white glazed vitreous chinaware of approved make in position complete excluding 'P' or 'S' trap (excluding cost of concrete for fixing). (i) 580 mm X 440 mm | BI01010001010000000000000515BI0100001210 | 9 | Each | 1824.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16421.67 | 16421.67 | INR Sixteen Thousand Four Hundred & Twenty One and Paise Sixty Seven Only |  | 2064.0215 | 409 | 462.66
100 | Supplying P.V.C. water storage tank of approved quality with closed top with lid (Black) - Multilayer (f) 2000 litre capacity | BI01010001010000000000000515BI0100001211 | 1 | Each | 11802.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11802.94 | 11802.94 | INR Eleven Thousand Eight Hundred & Two and Paise Ninety Four Only |  | 13351.4857 | 9077 | 10267.9
101 | Supplying P.V.C. water storage tank of approved quality with closed top with lid (Black) - Multilayer (a) 500 litre capacity | BI01010001010000000000000515BI0100001212 | 1 | Each | 2923.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2923.02 | 2923.02 | INR Two Thousand Nine Hundred & Twenty Three and Paise Two Only |  | 3306.5202 | 4330 | 4898.1
102 | Labour for hoisting plastic water storage tank. (f) 2000 litre capacity | BI01010001010000000000000515BI0100001213 | 1 | Each | 255.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 255.65 | 255.65 | INR Two Hundred & Fifty Five and Paise Sixty Five Only |  | 289.1913 | 29 | 32.8
103 | Labour for hoisting plastic water storage tank. (a) 500 litre capacity | BI01010001010000000000000515BI0100001214 | 1 | Each | 157.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 157.24 | 157.24 | INR One Hundred & Fifty Seven and Paise Twenty Four Only |  | 177.8699 | 43 | 48.64
104 | Reinforcement for reinforced concrete work in all sorts of structuresincluding distribution bars, stirrups, binders etc initial straightening and removal of loose rust (if necessary), cutting to requisite length, hooking andbending to correct shape, placing in proper position and binding with 16gauge black annealed wire at every intersection, complete as per drawingand direction. | BI01010001010000000000000515BI0100001215 | 0.25 | M.T | 83418.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20854.52 | 20854.52 | INR Twenty Thousand Eight Hundred & Fifty Four and Paise Fifty Two Only |  | 94362.5321 | 4330 | 4898.1
105 | Hire and labour charges for shuttering with centering and necessary stagingupto 4 m using approved stout props and thick hard wood planks of approvedthickness with required bracing for concrete slabs, beams and columns,lintels curved or straight including fitting, fixing and striking out aftercompletion of works (upto roof of ground floor) (a) 25 mm to 30 mm thick wooden shuttering as per decision & direction ofengineer in-charge | BI01010001010000000000000515BI0100001216 | 54 | sqm | 371.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20035.62 | 20035.62 | INR Twenty Thousand &Thirty Five and Paise Sixty Two Only |  | 419.7091 | 159 | 179.86
106 | Brick work with 1st class bricks in cement mortar (1:4) (a) In foundation and plinth | BI01010001010000000000000515BI0100001217 | 6.118 | cum | 5850.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35793.79 | 35793.79 | INR Thirty Five Thousand Seven Hundred & Ninety Three and Paise Seventy Nine Only |  | 6618.1648 | 70 | 79.18
107 | Labour for taking out door and window frame including shutter for repair orreplacement of different parts of the frame & refixing the same including mendinggood all damaes complete. (Concrete and brick work for mending damage will bepaid separately) (a) Upto area 2.5 Sq.m (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001218 | 80 | SqM | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10768.8 | 10768.8 | INR Ten Thousand Seven Hundred & Sixty Eight and Paise Eighty Only |  | 152.2708 | 1665 | 1883.45
108 | Labour for taking out door and window frame including shutter for repair orreplacement of different parts of the frame & refixing the same including mendinggood all damaes complete. (Concrete and brick work for mending damage will bepaid separately) (a) Upto area 2.5 Sq.m (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001219 | 52 | SqM | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6999.72 | 6999.72 | INR Six Thousand Nine Hundred & Ninety Nine and Paise Seventy Two Only |  | 152.2708 | 99 | 111.99
109 | Labour for Chipping of concrete surface before taking up Plastering work. | BI01010001010000000000000515BI0100001220 | 200 | SqM | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4752 | 4752 | INR Four Thousand Seven Hundred & Fifty Two Only |  | 26.8773 | 103 | 116.51
110 | Closing gap between door and window frame and jambs withcement mortar (1:3) including removing old mortar (throughoutentire surface of contact) and cleaning the joint. (Cement 0.012Cu.m/100 Mtr.) | BI01010001010000000000000515BI0100001221 | 600 | Rmt | 12.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7416 | 7416 | INR Seven Thousand Four Hundred & Sixteen Only |  | 13.9816 | 257 | 290.72
111 | Washing and cleaning with oxalic acid powder using 33 gms./sq.m. (b) Floor/ dado other than marble (A) AT GROUND FLOOR | BI01010001010000000000000515BI0100001222 | 364 | SqM | 6.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2278.64 | 2278.64 | INR Two Thousand Two Hundred & Seventy Eight and Paise Sixty Four Only |  | 7.0813 | 4851 | 5487.45
112 | Washing and cleaning with oxalic acid powder using 33 gms./sq.m. (b) Floor/ dado other than marble (B) AT FRIST FLOOR | BI01010001010000000000000515BI0100001223 | 364 | SqM | 6.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2278.64 | 2278.64 | INR Two Thousand Two Hundred & Seventy Eight and Paise Sixty Four Only |  | 7.0813 | 713 | 806.55
113 | Repairing cracks in floor with cement mortar (1:2) withnecessary pigment to match with existing works, includingprior cutting and cleaning the cracks as directed | BI01010001010000000000000515BI0100001224 | 350 | Rmt | 7.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2712.5 | 2712.5 | INR Two Thousand Seven Hundred & Twelve and Paise Fifty Only |  | 8.7668 | 408 | 461.53
114 | Controlled Cement concrete with well graded stone chips (20 mm gradednominal size) excluding shuttering and reinforcement with complete design of concrete as per IS : 456 and relevant special publications, submission of jobmix formula after preliminary mix design after testing of concrete cubes asper direction of Engineer-in charge. Consumption of cement will not be lessthan 300 Kg of cement with Super plasticiser per cubic meter of controlled concrete but actual consumption will be determined on the basis ofpreliminary test and job mix foumula. In ground floor and foundation. [using concrete mixture] M 25 Grade (ii ) N.B. Variety (Stone Metal) | BI01010001010000000000000515BI0100001225 | 6.938 | CUM | 6450.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44750.79 | 44750.79 | INR Forty Four Thousand Seven Hundred & Fifty and Paise Seventy Nine Only |  | 7296.3531 | 3.08 | 3.48
115 | Making one set of scaffolding only for replacing glass panels, painting,uprooting plant and another repairing works of building and S&P works for external works only with 10 cm. dia bamboo as main posts at the rate of 1metre centre to centre and 7.5 cm. dia bamboo ties @ 0.75 metre apart fittingand fixing with necessary coir, nails etc. as per direction of the Engineer-incharge For 7.2 m Height. | BI01010001010000000000000515BI0100001226 | 23 | Each | 592.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13633.25 | 13633.25 | INR Thirteen Thousand Six Hundred & Thirty Three and Paise Twenty Five Only |  | 670.5188 |  | 0
116 | Electrical work S&F 32A , 240v DP with fuse on L &N Main switch on flat iron frame on wall (Havells) | BI01010001010000000000000515BI0100001227 | 10 | nos. | 1545.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15456.6 | 15456.6 | INR Fifteen Thousand Four Hundred & Fifty Six and Paise Sixty Only |  | 1748.4506 |  | 0
117 | Supply & fixing 415V 100A capacity MS (16SWG) Busbar Chamber having dimension of (500x150mm) to be fixed on iron frame on wall consisting of 4 nos aluminium bars of size (4x25x5mm). | BI01010001010000000000000515BI0100001228 | 1 | mtr | 3004.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3004.17 | 3004.17 | INR Three Thousand &Four and Paise Seventeen Only |  | 3398.3171 | 72603 | 82128.51
118 | Connecting & dressing Meter looping system with 2 x 6 + 1 x 4 sq mm PVC insulated copper wire duly layed on the 20mm dia PVC rigid conduict (precession make) from Bus Bar to Meters & Meters to DP MCBs, MAIN SWITCH | BI01010001010000000000000515BI0100001229 | 25 | mtr | 229.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5749.25 | 5749.25 | INR Five Thousand Seven Hundred & Forty Nine and Paise Twenty Five Only |  | 260.1421 | 512.36 | 579.58
119 | Supply & fixing SPN MCB DB (2+8) WAY (Make Havells/L&T) with S.S. Enclosure (DHDPSNODRW08) concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP MCB isolator - 1 No. b) 6 to 16 A range SPMCB - 8 Nos. | BI01010001010000000000000515BI0100001230 | 9 | set | 3327.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29946.15 | 29946.15 | INR Twenty Nine Thousand Nine Hundred & Forty Six and Paise Fifteen Only |  | 3763.8983 | 543.51 | 614.82
120 | Supply & Fixing FP encloser(Havells/L& T) concealed in wall & mending good the damages to original finish incl. earthing attachment comprising with the following: a) 32 DP MCB Isolator (Havells) - 1 nos b) 6-16 A SP MCB - 2 nos (Roof light & Stair light) | BI01010001010000000000000515BI0100001231 | 1 | set | 985.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 985.25 | 985.25 | INR Nine Hundred & Eighty Five and Paise Twenty Five Only |  | 1114.5148 | 1382 | 1563.32
121 | Cutting Channel of size (40 mm x 40 mm) on masonry wall byElectric operated cutting machine incl. supplying & fixingheavy gauge 19 mm, 3 mm thick Polythene pipe by means ofanchoring chemical (Hilti/Sika) and GI 'U' hooks of 8 SWG incl. supplying and drawing 18 SWG GI wire as Fish wire andmending good damages to original finish by using own toolsand tackles | BI01010001010000000000000515BI0100001232 | 281 | mtr | 78.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22106.27 | 22106.27 | INR Twenty Two Thousand One Hundred & Six and Paise Twenty Seven Only |  | 88.9915 | 108 | 122.17
122 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection a) 2 x 2.5 + 1x1.5 sq mm (P/P plug/Com Plug ) | BI01010001010000000000000515BI0100001233 | 180 | mtr | 78.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14160.6 | 14160.6 | INR Fourteen Thousand One Hundred & Sixty and Paise Sixty Only |  | 88.9915 | 896 | 1013.56
123 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection b) 2 x 6 + 1x4 sq mm (SPNDB ) | BI01010001010000000000000515BI0100001234 | 117 | mtr | 168.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19684.08 | 19684.08 | INR Nineteen Thousand Six Hundred & Eighty Four and Paise Eight Only |  | 190.3131 | 72.19 | 81.66
124 | Distribution wiring in 1.1 KV grade 2x22/0.3 (1.5 sqmm) singlecore stranded 'FR' PVC insulated & unsheathed copper wire(Brand approved by EIC) partly in 20mm size PVC rigidconduit 'FR' (Precision make) [for ceiling portion only] and in19mm bore, 3mm thick polythene pipe [for horizontal &vertical run embedded in wall], with 1x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire for ECC, to light/fan/call bell points with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board complete with 2 no. suitable size “Ph & N” copper bar with top cover plate making earthing attachmentfixed on wall incl. mending good damages to original finish.[only PVC Rigid Conduit on ceiling and remaining portion concealed)AVE RUN 8MTR | BI01010001010000000000000515BI0100001235 | 6 | nos. | 1299.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7799.7 | 7799.7 | INR Seven Thousand Seven Hundred & Ninety Nine and Paise Seventy Only |  | 1470.5034 | 292 | 330.31
125 | Distribution wiring in 1.1 KV grade 2x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire with 1x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire (Brand approved by EIC) for ECC in 19 mm bore, 3 mm thick polythene pipe complete with all accessories embedded in wall for horizontal & vertical runs and in suitable size PVC casing capping (Precision make) for ceiling portion only, incl. necy. fittings etc. tolight/fan/call bell point with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board with top cover plate and 2 no. suitable size “Ph & N” copper bar & earthing attachment flushed in wall incl. mending good damages to original finish [only PVC casing-capping on ceiling and remaining portion concealed)AVE RUN 6 MTR | BI01010001010000000000000515BI0100001236 | 184 | nos. | 1097.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 201998.88 | 201998.88 | INR Two Lakh One Thousand Nine Hundred & Ninety Eight and Paise Eighty Eight Only |  | 1241.854 | 236 | 266.96
126 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish a) on board | BI01010001010000000000000515BI0100001237 | 38 | pts | 301.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11452.82 | 11452.82 | INR Eleven Thousand Four Hundred & Fifty Two and Paise Eighty Two Only |  | 340.9324 | 177 | 200.22
127 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish b) Ave 4.5 mtr | BI01010001010000000000000515BI0100001238 | 10 | pts | 1135.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11353.4 | 11353.4 | INR Eleven Thousand Three Hundred & Fifty Three and Paise Forty Only |  | 1284.2966 | 129 | 145.92
128 | Supply & Fixing 240V, Modular Socket (2 Module) type fan regulator (Step type) (Brand approved by EIC) on existing Modular GI switch board with top cover plate incl. making necy. connections etc. | BI01010001010000000000000515BI0100001239 | 28 | each | 468.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13115.76 | 13115.76 | INR Thirteen Thousand One Hundred & Fifteen and Paise Seventy Six Only |  | 529.8767 | 205 | 231.9
129 | Supply & fixing computer plug board modular type of 12 module GI box with cover plate recessed in wall comprising with the following (Legrand/Cabtree) ----- a) 6/16A socket & 16A switch --1 set b) 6A socket & 6A switch --2 sets | BI01010001010000000000000515BI0100001240 | 9 | set | 1462.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13159.26 | 13159.26 | INR Thirteen Thousand One Hundred & Fifty Nine and Paise Twenty Six Only |  | 1653.9728 | 158 | 178.73
130 | Supply & Fixing 240 V, 16 A, 3 pin Modular type Power plug socket (Cabtree) with 16A Modular type socket (Cabtree) with 16A Modular type switch, without plug top on 4 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001241 | 18 | each | 551.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9934.92 | 9934.92 | INR Nine Thousand Nine Hundred & Thirty Four and Paise Ninety Two Only |  | 624.3545 | 137 | 154.97
131 | Supplying & Fixing 240 V AC/DC superior type Multitune (min 10 nos. tune) Call Bell (Anchor) with selector switch forsingle/Multi Tunes mode, Battery operated on HW boardincl. S&F HW board | BI01010001010000000000000515BI0100001242 | 9 | each | 355.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3202.65 | 3202.65 | INR Three Thousand Two Hundred & Two and Paise Sixty Five Only |  | 402.5375 | 1646 | 1861.96
132 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001243 | 3 | each | 121.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 363.12 | 363.12 | INR Three Hundred & Sixty Three and Paise Twelve Only |  | 136.9204 | 1258 | 1423.05
133 | Supplying & Fixing bulk head light fitting (Havells make) with diecast aluminium housing & frosted glass on wall/ceiling incl. S&F8watt CFL complete set. | BI01010001010000000000000515BI0100001244 | 4 | each | 700.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2803.24 | 2803.24 | INR Two Thousand Eight Hundred & Three and Paise Twenty Four Only |  | 792.7563 | 912 | 1031.65
134 | Laying of cable upto 2 core 6 sqmm on wall/surface incl. S & F MS saddles with earthing attachment in 1X10 SWG GI (Hot Dip) Wire, making holes etc. as necy. mending good damages and painting | BI01010001010000000000000515BI0100001245 | 10 | mtr | 68.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 689.9 | 689.9 | INR Six Hundred & Eighty Nine and Paise Ninety Only |  | 78.0415 | 657 | 743.2
135 | Laying of the 2 core 6 sqmm XLPE Al armoured cable incl. 1 x 10 SWG G.I. Earth continuity conductor recessed in wall & mending good the damages to original finish | BI01010001010000000000000515BI0100001246 | 117 | mtr | 153.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17985.24 | 17985.24 | INR Seventeen Thousand Nine Hundred & Eighty Five and Paise Twenty Four Only |  | 173.8881 | 521 | 589.36
136 | S & F compression type cable gland complete with brass gland, brass ring, rubber ring for dust & moisture proof entry of PVC armoured cable & finishing end of the same as per GS for the 2 core 6 sqmm cable | BI01010001010000000000000515BI0100001247 | 6 | nos. | 121.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 726.24 | 726.24 | INR Seven Hundred & Twenty Six and Paise Twenty Four Only |  | 136.9204 | 1522 | 1721.69
137 | Supplying & Fixing GI waterproof type looping cable box size 200x150x100 mm deep having 4 mm thick comprising of one 250 V 15 A kit-kat fuse unit, one NL on porcelain insulator, one compression type brass cable gland for upto 2- core 16 sqmm PVC/A cable and having lined with rubber gasketted GI top cover with brass machine screws etc., earthing terminal with lug, on steel tubular pole near base, including S&F 40x6 mm thick, MS clamps with bolts, nuts etc. including painting with anticorrosive paint | BI01010001010000000000000515BI0100001248 | 6 | set | 554.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3326.16 | 3326.16 | INR Three Thousand Three Hundred & Twenty Six and Paise Sixteen Only |  | 627.092 | 3104 | 3511.24
138 | Fixing only outdoor / street light type fluorescent light fitting or MV light fitting complete with all accessories to be fixed /projected from the wall of the building incl. making holes/providing clamping arrangement & necy. GI reducer as required. S&F 40 mm GI pipe (ISI-Medium) quality 1.5 mts. average length having suitable bend S&F necy. length of 1.5 sqmm PVC insulated single core stranded annealed copper wire and making connections as required and mending good damages to wall incl. painting etc. | BI01010001010000000000000515BI0100001249 | 6 | each | 976.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5860.68 | 5860.68 | INR Five Thousand Eight Hundred & Sixty and Paise Sixty Eight Only |  | 1104.9335 | 485 | 548.63
139 | Supply & Fixing 240 V, 16 A,Modular type switch, on 2 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001250 | 3 | each | 352.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1056.66 | 1056.66 | INR One Thousand &Fifty Six and Paise Sixty Six Only |  | 398.4313 | 1015 | 1148.17
140 | Supplying & fixing earth busbar of galvanized (Hot Dip) MS flat 25 mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the busbar complete with GI bolts, nuts, washers, spacing insulators etc. as required | BI01010001010000000000000515BI0100001251 | 1 | mtr | 188.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 188.82 | 188.82 | INR One Hundred & Eighty Eight and Paise Eighty Two Only |  | 213.5932 | 82 | 92.76
141 | Earthing the installation by 50 mm dia. G.I. Pipe (ISI-M) of 3.64 mtr. Long driven to an depth of 3.65 mtr. Below the ground level including S/F 1X4 SWG. G.I. Earth wire (4 mtr. Long) with nuts bolts & washers. | BI01010001010000000000000515BI0100001252 | 3 | set | 1657.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4971.06 | 4971.06 | INR Four Thousand Nine Hundred & Seventy One and Paise Six Only |  | 1874.421 | 2869 | 3245.41
142 | Electrical Work (NON SCHEDULE ITEM) Dismantling the existing damaged wiring including switches, distribution bords etc. with all accessories from wall/ roof as directed by the EIC. | BI01010001010000000000000515BI0100001253 | 1 | item | 505 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 505 | 505 | INR Five Hundred & Five Only |  | 571.256 | 85 | 96.15
143 | Supply & fixing Meter guard of dimention (6' x 4' x 12" depth) fabricated by angle/flat box type structural frame welded & covered with 12 SWG wire mess all over except the back side. The front side should be provided with two (2) pair of hinged doors with mechanical locking arrangement including painting with Aluminium paint. The wire mess guard should have sufficient bifurcated legs for rigidly grouting it on wall incl. earthing attachment as per direction of E.I.C. | BI01010001010000000000000515BI0100001254 | 30 | sq ft | 161.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4848 | 4848 | INR Four Thousand Eight Hundred & Forty Eight Only |  | 182.8019 | 102 | 115.38
144 | Supply & delevery of 1.1 Kv grade XLPE Aluminium armoured cable(make Gloster/Nicco/Havells) 2 core 6 sq mm cable | BI01010001010000000000000515BI0100001255 | 127 | mtr | 102.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12955.27 | 12955.27 | INR Twelve Thousand Nine Hundred & Fifty Five and Paise Twenty Seven Only |  | 115.3937 | 2208 | 2497.69
145 | Supply of 72 W LED light fitting (make Crompton, cat no - LSTP-72-CDL ) | BI01010001010000000000000515BI0100001256 | 6 | set | 6532.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39196.08 | 39196.08 | INR Thirty Nine Thousand One Hundred & Ninety Six and Paise Eight Only |  | 7389.7676 | 1497 | 1693.41
146 | Supply 4' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton/Havells as approved by EIC) | BI01010001010000000000000515BI0100001257 | 3 | set | 831.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2493.69 | 2493.69 | INR Two Thousand Four Hundred & Ninety Three and Paise Sixty Nine Only |  | 940.2874 | 91 | 102.94
Total in Figures | [51 empty] | 2888196.63 | 2888196.63 | INR Twenty Eight Lakh Eighty Eight Thousand One Hundred & Ninety Six and Paise Sixty Three Only | 3977059.59 |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K153: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K140: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information