## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair, renovation and upgradation of G+1 storied Police Station along with single storied barrack building at Nanoor P.S. in Birbhum.
Contract No: WBPHIDCL/Addl.CE/NIT- 151(e)/2018-2019 (1st Call) SL. NO. 5
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil works | BI01010001010000000000000515BI0100001112 | [58 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Earth work in excavation of foundation trenches of drains, in all sorts of soil (including mixed soil but excluding laterite or sandstone) including removing spreading or stacking the spoils with in a lead of 75m. As directed. The item includes necessary trim-ming the sides of trenches, levelling, dressing and ramming the bottom, bailing out water etc. as required complete. Depth of excavation not execeeding 1,500 mm | BI01010001010000000000000515BI0100001113 | 50.76 | Cum | 134.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6848.54 | 6848.54 | INR Six Thousand Eight Hundred & Forty Eight and Paise Fifty Four Only | 10 | 11.31 | 507.6 | 119.27 | 134.92 | 6054.1452 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Single Brick Flat Soling of picked jhama bricks including ramming and dressing bed to proper level and filling joints with local sand. | BI01010001010000000000000515BI0100001114 | 104 | SqM | 300.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31293.6 | 31293.6 | INR Thirty One Thousand Two Hundred & Ninety Three and Paise Sixty Only | 166 | 187.78 | 17264 | 266 | 300.9 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | (I) Cement concrete with graded stone ballast (40 mm size excluding shuttering) In ground floor (B)With [Pakur Variety] 1:3:6 proportion | BI01010001010000000000000515BI0100001115 | 10.4 | Cum | 4788.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49799.05 | 49799.05 | INR Forty Nine Thousand Seven Hundred & Ninety Nine and Paise Five Only | 119.27 | 134.92 | 1240.41 | 4233 | 4788.37 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Brick work with 1st class bricks in cement mortar (1:6) (a) In foundation and plinth | BI01010001010000000000000515BI0100001116 | 18.65 | Cum | 4799.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89514.03 | 89514.03 | INR Eighty Nine Thousand Five Hundred & Fourteen and Paise Three Only | 192.38 | 217.62 | 3587.89 | 4243 | 4799.68 |  | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | 25mm. thick damp proof course with cement concrete with stone chips (1:1.5:3) [with graded stone aggregate 10 mm nominal size] and admixture of water proofing compound as per manufacturer's specification followed by two coat of polymer based paint, (1st coat after 4 to 5 days of concrete laying and 2 nd coat just before brick masonry work) as directed (cost of water proofing compound & polymer based paint to be paid separately).( Chequering not required over concrete or painted surface). [Note: - Waterproofing as per item NO 60, polymer based paint as per item 59 (a) of Section (C) | BI01010001010000000000000515BI0100001117 | 17.28 | SQM | 197.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3420.75 | 3420.75 | INR Three Thousand Four Hundred & Twenty and Paise Seventy Five Only | 77.54 | 87.71 | 1339.89 | 175 | 197.96 |  | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Reinforcement for reinforced concrete work in all sorts of structures including distribution bars, stirrups, binders etc initial straightening and removal of loose rust (if necessary), cutting to requisite length, hooking and bending to correct shape, placing in proper position and binding with 16 gauge black annealed wire at every intersection, complete as per drawing and direction. (a) For works in foundation and upto roof of ground floor/upto 4 m (i) Tor steel/Mild Steel (i) Tor steel/Mild Steel I. SAIL/ TATA/RINL | BI01010001010000000000000515BI0100001118 | 0.3 | M.T | 80619.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24185.85 | 24185.85 | INR Twenty Four Thousand One Hundred & Eighty Five and Paise Eighty Five Only | 355.41 | 402.04 | 106.62 | 71269 | 80619.49 |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Hire and labour charges for shuttering with centreing and necessary staging up to 4m using approved stout props thick hard wood planks of approved thickness with required bracing for concrete slabs, beams, columns, linteles curved or straight including fitting, fixing and striking out after complition of works upto roof og GF a) 25mm to 30mm thick wooden shuttering as per decision and direction of E.I.C Ground Floor | BI01010001010000000000000515BI0100001119 | 20.8 | SqM | 371.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7717.42 | 7717.42 | INR Seven Thousand Seven Hundred & Seventeen and Paise Forty Two Only | 487.41 | 551.36 | 10138.13 | 328 | 371.03 |  | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. In ground floor including roof. (a) upto 150 mm. Thick | BI01010001010000000000000515BI0100001120 | 10.405 | CuM | 1062.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11052.19 | 11052.19 | INR Eleven Thousand &Fifty Two and Paise Nineteen Only | 110 | 124.43 | 1144.55 | 939 | 1062.2
10 | 18 mm. to 22 mm. thick, kota stone slab set in 20 mm thick (avg) cement mortar (1:4) in floor, stair & lobby including pointing in cement slurry with admixture of pigment matching the stone shade, including grinding & polishing as per direction of Engineer - in - charge to match with the existing work. [Slurry for bedding @ 4.4 kg/Sq.m and pointing @2.0 kg/Sq.m] | BI01010001010000000000000515BI0100001121 | 102.01 | SQM | 1134.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 115739.53 | 115739.53 | INR One Lakh Fifteen Thousand Seven Hundred & Thirty Nine and Paise Fifty Three Only | 266 | 300.9 | 27134.66 | 1003 | 1134.59
11 | Supplying and laying true to line and level Double Charge Vitrified Tiles of approved brand conforming to IS 15622: 2006 (Group B I a) and tested as per IS 13630:2006 (relevant parts) [Non-modular sizes for tiles with Water Absorption (av.) ≤ 0.08 %] in floor, skirting etc. using polymerised adhesive of 6mm thick layer applied directly over finished artificial stone floor/Mosaic etc without any backing course and joints grouted with admixture of white epoxy grout materials of approved brand including spacer -2mm as directed and removal of wax coating of top surface of tiles with warm water and polishing the tiles using soft and dry cloth upto mirror finish complete including the cost of materials,Iabour and all other incidental charges complete as per direction of Engineerin- Charge. (Note: This work should not be executed without specific permission of Superintending Engineer) (a) ln Ground FIoor:(size not Iess than 600mmX 600 mm X 9.5 mm thick) | BI01010001010000000000000515BI0100001122 | 18.72 | SQM | 1660.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31086.43 | 31086.43 | INR Thirty One Thousand &Eighty Six and Paise Forty Three Only | 40 | 45.25 | 748.8 | 1468 | 1660.6
12 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001123 | 1159.381 | SQM | 21.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24915.1 | 24915.1 | INR Twenty Four Thousand Nine Hundred & Fifteen and Paise Ten Only | 24 | 27.15 | 27825.14 | 19 | 21.49 | 22028.24
13 | Removing loose scales, blisters etc. from old painted surface and thoroughly smoothening the surface to make the same suitable for receiving fresh coat of paint. | BI01010001010000000000000515BI0100001124 | 220 | SQM | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5227.2 | 5227.2 | INR Five Thousand Two Hundred & Twenty Seven and Paise Twenty Only | 4818.66 | 5450.87 | 1060105.2 | 21 | 23.76
14 | Ordinary Cement concrete (mix 1:1.5:3) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement if any, in ground floor as per relevant IS codes. | BI01010001010000000000000515BI0100001125 | 20.09 | Cum. | 6120.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 122965.06 | 122965.06 | INR One Lakh Twenty Two Thousand Nine Hundred & Sixty Five and Paise Six Only | 5920.24 | 6696.98 | 118937.62 | 5410.81 | 6120.71
15 | (b) Applying 2 coats of Non-Toxic Acrylic Polymer modified Paint having adhesive & waterproofing properties by mixing in proportion (1 liquid: 4 cementitious material) or as per manufacturer's specification for water proofing layer in water tank etc. (No Departmental Cement is required) | BI01010001010000000000000515BI0100001126 | 264.248 | SQM | 290.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 76822.18 | 76822.18 | INR Seventy Six Thousand Eight Hundred & Twenty Two and Paise Eighteen Only | 5940.24 | 6719.6 | 1569696.54 | 257 | 290.72
16 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damaes complete. (Concrete and brick work for mending damage will be paid separately) (A) Upto area 2.5 Sq.m | BI01010001010000000000000515BI0100001127 | 37.584 | SQM | 134.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5059.18 | 5059.18 | INR Five Thousand &Fifty Nine and Paise Eighteen Only | 5960.24 | 6742.22 | 224009.66 | 119 | 134.61
17 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wideeach and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneerscomplete, including fitting, fixing shutters inposition but excluding the cost of hinges andother fittings in ground floor.(a) 35 mm thick shutters (single leaf) | BI01010001010000000000000515BI0100001128 | 23.1 | SQM | 3007.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 69481.57 | 69481.57 | INR Sixty Nine Thousand Four Hundred & Eighty One and Paise Fifty Seven Only | 359 | 406.1 | 8292.9 | 2659 | 3007.86
18 | Supplying, fitting and fixing windows and ventilators with or without integrated grills conforming to IS 1038-1975 and manufactured from rolled steel sections conforming to IS 7452-1974 with non-friction projecting type, box type hinges, glazing clips, lugs locking bracket, handle plate etc, including hoisting in position, straightening if required, fixing lugs in cement concrete ( 1:2:4) with stone chips 20 mm down cutting holes and mending good damages to match withexisting surface complete in all respect excluding glazing. (b) Openable steel windows as per IS sizes with side hung shutters and horizotal glazing bars. [The extra rate admissible for the openable portion only] | BI01010001010000000000000515BI0100001129 | 16.38 | SQM | 2487.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40745.41 | 40745.41 | INR Forty Thousand Seven Hundred & Forty Five and Paise Forty One Only | 377 | 426.46 | 6175.26 | 2199 | 2487.51
19 | Panel (made of single plank) of door and window shutters to design as directed: In Ground Floor (Payment to be made on area of exposed new work). (In case of non-supply of single plank penal rate of reduction to a maximum of 30% will be made). (ii) 19mm thick panel of 30cm to 45cm width (a) Ordinary Teak Wood. GROUND FLOOR | BI01010001010000000000000515BI0100001130 | 20.64 | SQM | 1555.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32103.46 | 32103.46 | INR Thirty Two Thousand One Hundred & Three and Paise Forty Six Only | 395 | 446.82 | 8152.8 | 1375 | 1555.4
20 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface](ii) With 1:4 cement mortar , b) 10 mm thick plaster. Ceiling Plaster 1:4 cement mortar , b) 10 mm thick plaster. Ceiling Plaster Ground Floor | BI01010001010000000000000515BI0100001131 | 182.432 | SqM | 138.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25177.44 | 25177.44 | INR Twenty Five Thousand One Hundred & Seventy Seven and Paise Forty Four Only | 71269 | 80619.49 | 13001746.21 | 122 | 138.01
21 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface](ii) With 1:4 cement mortar , b) 10 mm thick plaster. Ceiling Plaster With 6:1 cement mortar a) 20mm thick plaster(Outside) Ground Floor | BI01010001010000000000000515BI0100001132 | 628.898 | SqM | 173.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 108843.38 | 108843.38 | INR One Lakh Eight Thousand Eight Hundred & Forty Three and Paise Thirty Eight Only | 71699 | 81105.91 | 45091357.7 | 153 | 173.07
22 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface](ii) With 1:4 cement mortar , b) 10 mm thick plaster. Ceiling Plaster With 6:1 cement mortar b) 15mm thick plaster(Inside) Ground Floor | BI01010001010000000000000515BI0100001133 | 504.416 | SqM | 152.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77029.37 | 77029.37 | INR Seventy Seven Thousand &Twenty Nine and Paise Thirty Seven Only | 72129 | 81592.32 | 36383021.66 | 135 | 152.71
23 | Net Cement Punning above 1.5mm thick in Wall dado,Window Sill Floor and Drain etc Note Cement 0.152 cum 100 Sqmts | BI01010001010000000000000515BI0100001134 | 408.066 | SqM | 38.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15694.22 | 15694.22 | INR Fifteen Thousand Six Hundred & Ninety Four and Paise Twenty Two Only | 4243 | 4799.68 | 1731424.04 | 34 | 38.46
24 | Acrylic Distemper to interior wall, ceiling with a coat of solvent based interior grade acrylic primer (as per manufacturer's specification) including cleaning and smoothning of surface. Two Coats | BI01010001010000000000000515BI0100001135 | 776.818 | SqM | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61508.45 | 61508.45 | INR Sixty One Thousand Five Hundred & Eight and Paise Forty Five Only | 4354 | 4925.24 | 3382265.57 | 70 | 79.18
25 | Applying Exterior grade Acrylic primer of approved quality and brand on plastered or cencrete surface old or new surface to receive decorative textured(matt finish) or smooth finish acrylic exterior emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. Ground Floor (External surface) (b) Two Coats | BI01010001010000000000000515BI0100001136 | 383.688 | SqM | 51.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19575.76 | 19575.76 | INR Nineteen Thousand Five Hundred & Seventy Five and Paise Seventy Six Only | 4465 | 5050.81 | 1713166.92 | 45.1 | 51.02
26 | Protective and Decorative Acrylic exterior emulsion paint of approved quality, as per manufacturer's specification and as per direction of EIC to be applied over acrylic primer as required. The rate includes cost of material, labour, scaffolding and all incidental charges but excluding the cost of primer. (Two Coat) b) Premium 100% Acrylic Emulsion Ground Floor (External surface) | BI01010001010000000000000515BI0100001137 | 383.688 | SqM | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36458.03 | 36458.03 | INR Thirty Six Thousand Four Hundred & Fifty Eight and Paise Three Only | 4576 | 5176.37 | 1755756.29 | 84 | 95.02
27 | (a) Primming One coat on Timber or Plaster surface with Synthetic Oil bound Primer of approved Quality inclusing smooting surface by sand Papering etc | BI01010001010000000000000515BI0100001138 | 88.178 | SqM | 42.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3790.77 | 3790.77 | INR Three Thousand Seven Hundred & Ninety and Paise Seventy Seven Only | 592 | 669.67 | 52201.38 | 38 | 42.99
28 | (b) Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001139 | 88.178 | SqM | 32.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2892.24 | 2892.24 | INR Two Thousand Eight Hundred & Ninety Two and Paise Twenty Four Only | 604 | 683.24 | 53259.51 | 29 | 32.8
29 | (A) Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary : (a) On timber or plastered surface :With super gloss (hi-gloss) -(iv) Two coats (with any shade except white) | BI01010001010000000000000515BI0100001140 | 88.178 | SqM | 91.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8079.75 | 8079.75 | INR Eight Thousand &Seventy Nine and Paise Seventy Five Only | 616 | 696.82 | 54317.65 | 81 | 91.63
30 | (b) Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessaryb) iv) On Steel and other Metal Surface Two coat with any shade except white | BI01010001010000000000000515BI0100001141 | 101.74 | SqM | 89.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9091.49 | 9091.49 | INR One Lakh Ninety Four Thousand &Forty Only | 186 | 210.4 | 18923.64 | 79 | 89.36
31 | a) M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S,W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor. (i) Grill weighing above 10 Kg./sq.mtr and up to 16 Kg./sq. mtr. GROUND FLOOR | BI01010001010000000000000515BI0100001142 | 4.88 | QTL | 11185.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54584.31 | 54584.31 | INR Fifty Four Thousand Five Hundred & Eighty Four and Paise Thirty One Only | 21 | 23.76 | 102.48 | 9888 | 11185.31
32 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001143 | 48 | Each | 48.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2334.72 | 2334.72 | INR Two Thousand Three Hundred & Thirty Four and Paise Seventy Two Only | 75572 | 85487.05 | 3627456 | 43 | 48.64
33 | i) Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting.250mm long | BI01010001010000000000000515BI0100001144 | 16 | Each | 179.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2877.76 | 2877.76 | INR Two Thousand Eight Hundred & Seventy Seven and Paise Seventy Six Only | 75772 | 85713.29 | 1212352 | 159 | 179.86
34 | (ii) Door stopper (Anodised aluminium) | BI01010001010000000000000515BI0100001145 | 4 | Each | 79.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 316.72 | 316.72 | INR Three Hundred & Sixteen and Paise Seventy Two Only | 75972 | 85939.53 | 303888 | 70 | 79.18
35 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. 300 mm long X 10mm dia bolt. | BI01010001010000000000000515BI0100001146 | 36 | Each | 111.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4031.64 | 4031.64 | INR Four Thousand &Thirty One and Paise Sixty Four Only | 3955 | 4473.9 | 142380 | 99 | 111.99
36 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod)(v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001147 | 24 | Each | 116.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2796.24 | 2796.24 | INR Two Thousand Seven Hundred & Ninety Six and Paise Twenty Four Only | 3969 | 4489.73 | 95256 | 103 | 116.51
37 | (a) Supplying 'Godrej' mortice lock chromium plated with latch and keys 4 levers, including fitting and fixing complete | BI01010001010000000000000515BI0100001148 | 4 | Each | 1222.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4891.32 | 4891.32 | INR Four Thousand Eight Hundred & Ninety One and Paise Thirty Two Only | 3983 | 4505.57 | 15932 | 1081 | 1222.83
38 | Supplying, fitting and fixing Anglo-Indian W.C. in white glazed vitreous china ware of approved make complete in position with necessary bolts, nuts etc. (a) With 'P' trap (with vent) | BI01010001010000000000000515BI0100001149 | 8 | Each | 3511.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28089.92 | 28089.92 | INR Twenty Eight Thousand &Eighty Nine and Paise Ninety Two Only | 446 | 504.52 | 3568 | 3104 | 3511.24
39 | Supplying, fitting and fixing Closet seat of approved make with lid and C.P.hinges, rubber buffer and brass screws complete. (b) Anglo Indian (ii) Plastic (hallow type) white | BI01010001010000000000000515BI0100001150 | 8 | Each | 548.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4389.04 | 4389.04 | INR Four Thousand Three Hundred & Eighty Nine and Paise Four Only | 446 | 504.52 | 3568 | 485 | 548.63
40 | Supplying, fitting and fixing 10 litre P.V.C. low-down cistern conforming to I.S. specification with P.V.C. fittings complete,C.I. brackets including two coats of painting to bracket etc.White | BI01010001010000000000000515BI0100001151 | 8 | Each | 1148.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9185.36 | 9185.36 | INR Nine Thousand One Hundred & Eighty Five and Paise Thirty Six Only | 446 | 504.52 | 3568 | 1015 | 1148.17
41 | Supplying,fitting and fixing approved brand 32 mm dia.P.V.C. waste pipe, with PVC coupling at one end fitted with necessary clamps. (iv) 1050 mm long | BI01010001010000000000000515BI0100001152 | 8 | Each | 102.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 823.52 | 823.52 | INR Eight Hundred & Twenty Three and Paise Fifty Two Only | 2581 | 2919.63 | 20648 | 91 | 102.94
42 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length c) 110 mm | BI01010001010000000000000515BI0100001153 | 40 | Mtr. | 330.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13212.4 | 13212.4 | INR Thirteen Thousand Two Hundred & Twelve and Paise Forty Only | 2595 | 2935.46 | 103800 | 292 | 330.31
43 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (i) Door Tee c) 110 mm | BI01010001010000000000000515BI0100001154 | 8 | Each | 220.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1764.64 | 1764.64 | INR One Thousand Seven Hundred & Sixty Four and Paise Sixty Four Only | 2609 | 2951.3 | 20872 | 195 | 220.58
44 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (ii)Bend 87.5 dig. c) 110 mm | BI01010001010000000000000515BI0100001155 | 8 | Each | 135.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1085.92 | 1085.92 | INR One Thousand &Eighty Five and Paise Ninety Two Only | 122 | 138.01 | 976 | 120 | 135.74
45 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (iii) Door Bend(T.S.) c) 110 mm | BI01010001010000000000000515BI0100001156 | 20 | Each | 166.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3325.8 | 3325.8 | INR Three Thousand Three Hundred & Twenty Five and Paise Eighty Only | 126 | 142.53 | 2520 | 147 | 166.29
46 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (iv) Vent Cowl c) 110 mm | BI01010001010000000000000515BI0100001157 | 10 | Each | 37.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 373.3 | 373.3 | INR Three Hundred & Seventy Three and Paise Thirty Only | 130 | 147.06 | 1300 | 33 | 37.33
47 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings Pipe Clip c) 110 mm | BI01010001010000000000000515BI0100001158 | 30 | Each | 23.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 712.8 | 712.8 | INR Seven Hundred & Twelve and Paise Eighty Only | 153 | 173.07 | 4590 | 21 | 23.76
48 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials (B) Under ground (ii) 110 mm dia. | BI01010001010000000000000515BI0100001159 | 22 | Mtr. | 95.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2090.44 | 2090.44 | INR Two Thousand &Ninety and Paise Forty Four Only | 157 | 177.6 | 3454 | 84 | 95.02
49 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials (B) Under ground (iii) 160 mm dia. | BI01010001010000000000000515BI0100001160 | 40 | Mtr. | 105.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4208 | 4208 | INR Four Thousand Two Hundred & Eight Only | 161 | 182.12 | 6440 | 93 | 105.2
50 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials (A) Above ground (ii) 110 mm dia. | BI01010001010000000000000515BI0100001161 | 40 | Mtr. | 64.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2579.2 | 2579.2 | INR Two Thousand Five Hundred & Seventy Nine and Paise Twenty Only | 135 | 152.71 | 5400 | 57 | 64.48
51 | Labour for fitting and fixing U.P.V.C pipes for above ground work including cost of joining materials etc. fitting and fixing all necessary specials, cutting pipes,cutting holes in walls or R.C floor where necessary and mending good all damages excluding the cost of masonry or concrete work, if necessary but including the cost and fitting and fixing holder bat clamps (any floor) or for underground work including cutting trenches upto 1.5 mtr. and refilling the same complete as per direction of the Engineer - in - Charge.(payment will be made on centre line measurment of the total pipe line including specials (A) Above ground (iii) 160 mm. Dia. | BI01010001010000000000000515BI0100001162 | 40 | Mtr. | 74.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2986.4 | 2986.4 | INR Two Thousand Nine Hundred & Eighty Six and Paise Forty Only | 139 | 157.24 | 5560 | 66 | 74.66
52 | Constructing Inspection pit of inside measurement 600mm X 600mm X upto 600mm (depth) with 250 mm thick 1st. class brick work in cement mortar (1:4) on all sides, bottom of the pit consisting of 100 mm thick cement concrete (1:3:6) with stone chips over a layer of jhama brick flat soling,15 mm thick (1:4) cement plaster to inside walls and out-side walls upto G.L. and 20 mm.thick (1:4) plaster to bottom of the pit, providing necessary invert with cement concrete (1:3:6) with stone chips as per direction, neat cement finishing to entire internal surfaces, top of the pit covered with 100 mm thick R.C.C. slab (1:1.5:3) with stone chips and necessary reinforcements upto 1% and shuttering including 6 mm thick cement plaster (1:4) in all external surfaces of the slab and one 560 mm dia. R.C.C. manhole cover of approved make supplied, fitted and fixed in the slab with necessary fittings, necessary earthwork in excavation in all sorts of soil, filling sides of the pit with earth and removing spoils after work complete in all respect with all costs of labour and materials. i) With Pakur variety. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001163 | 4 | Each | 7150.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28601.28 | 28601.28 | INR Twenty Eight Thousand Six Hundred & One and Paise Twenty Eight Only | 143 | 161.76 | 572 | 6321 | 7150.32
53 | Construction of circular soak well 2.5 metre deep in all types of sandy soils with dry brick work upto 1.6 metre from the bottom having 150 mm intermediate cement brick work (1:4) band all round and cement brick work (1:4) upto 0.90 metre from top with 20mm thick cement plastering (1:4) to inside face upto the depth of cement brick work, 15mm thick cement plaster (1:4) on outer face from top of the well upto G.L. and 6 mm thick cement plaster (1:4) on top of the R.C.C. cover slab including filling bottom 1.00 metre of inside of the well with brick metal (50 mm to 63 mm size) including R.C.C. cover slab of 100 mm thick with cement conc (1:1.5:3) with stone chips with necessary reinforcement and shuttering including one 560 mm dia. R.C.C. manhole cover (heavy type)of approved make supplied, fitted and fixed in the cover slab with necessary fittings, making nacessary arrangements for pipe connections, excavation of well including shoring, dewatering and removing the exess earth from the premises as per direction complete in all respect with all costs of labour and materials. With 250 mm thick dry brick work and 250 mm thick cement brick work (6:1) and 1.00m inside dia. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001164 | 2 | Each | 15781.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31562.74 | 31562.74 | INR Thirty One Thousand Five Hundred & Sixty Two and Paise Seventy Four Only | 34 | 38.46 | 68 | 13951 | 15781.37
54 | Construction of septic tank of different capacities as per approved drawing with 1st class brick work in cement mortar (1:4) including two 560 mm dia. R.C.C. manhole cover(heavy type)of approved make supplied, fitted and fixed in the 100mm thick R.C.C (1:1.5:3) top slab with necessary fittings, 20mm thick cement plaster (4 : 1) with neat cement finish to the internal surfaces and 15 mm thick cement plaster (4 : 1) to outside wall upto 200 mm below G.L floor finished with 25 mm thick grey artificial stone over 100 mm thick R.C.C(1:1.5:3) bottom slab including supplying, fitting and fixing all necessry specials, fittings, S.W. tees, C.I. foot rest etc. including excavation earth in all sorts of soil, shoring, bailing out and pumping out water as necessary, ramming, dressing the bed and fefilling the sides of the tanks with earth, removing spoils, filling up the chamber with clear water, removing foreign materials from the chamber and including constructing attached inspection pit as per approved drawing and connecting all necessary pipes, joints etc. with internal plaster work and artificial stone flooring is to be done with admixture of water proofing compound @ 0.5% by weight of cement with all costs of labour and materials. For 50 users A) With Pakur variety. (SAIL/TATA/RINL) | BI01010001010000000000000515BI0100001165 | 1 | Each | 91531.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91531.05 | 91531.05 | INR Ninety One Thousand Five Hundred & Thirty One and Paise Five Only | 122 | 138.01 | 122 | 80915 | 91531.05
55 | Electrical Works (SCHEDULE ITEM) S & F 415V 63A TPN Switch fuse Unit with SS enclosure on Angle frame (make L & T/Seimens) on wall with nuts bolts etc. incl. S & F 3 nos DIN type HRC fuse. | BI01010001010000000000000515BI0100001166 | 1 | nos. | 4907.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4907.82 | 4907.82 | INR Four Thousand Nine Hundred & Seven and Paise Eighty Two Only | 122.72 | 138.82 | 122.72 | 4132 | 4907.82
56 | S&F 32A , 240v DP with fuse on L &N Main switch on flat iron frame on wall (Havells) | BI01010001010000000000000515BI0100001167 | 2 | nos. | 1516.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3033.54 | 3033.54 | INR Three Thousand &Thirty Three and Paise Fifty Four Only | 123.44 | 139.64 | 246.88 | 1277 | 1516.77
57 | Supply & fixing 415V 200A capacity MS (16SWG) Busbar Chamber having dimension of (500x150mm) to be fixed on iron frame on wall consisting of 4 nos cupper bars of size (4x20x5mm). | BI01010001010000000000000515BI0100001168 | 0.8 | mtr | 4474.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3579.43 | 3579.43 | INR Three Thousand Five Hundred & Seventy Nine and Paise Forty Three Only | 48.5 | 54.86 | 38.8 | 3767 | 4474.29
58 | Supply & fixing 4 way double door horizontal TPN MCB DB with SS enclosure(HavellscatnoDHDPTHODRW04)(Havells/L&T) concealed in wall after cutting the wall & mending good the damages to original finish with earthing attachment comprising with the following. a) 63A Four Pole MCB isolator -- -1 No. c)6 to 32 A range SP MCB. --- 12 Nos. | BI01010001010000000000000515BI0100001169 | 1 | set | 6083.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6083.71 | 6083.71 | INR Six Thousand &Eighty Three and Paise Seventy One Only | 48.5 | 54.86 | 48.5 | 5122 | 6083.71
59 | Supply & fixing SPN MCB DB (2+8) WAY (Make Havells/ L&T/) with S.S. Enclosure concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 8 Nos. | BI01010001010000000000000515BI0100001170 | 1 | set | 3265.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3265.15 | 3265.15 | INR Three Thousand Two Hundred & Sixty Five and Paise Fifteen Only | 48.5 | 54.86 | 48.5 | 2749 | 3265.15
60 | Supply & fixing SPN MCB DB (2+6) WAY (Make Havells/ Seimens/ABB) with S.S. Enclosure (DHDPSNODRW06) concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 6 Nos. | BI01010001010000000000000515BI0100001171 | 2 | set | 2718.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5437.56 | 5437.56 | INR Five Thousand Four Hundred & Thirty Seven and Paise Fifty Six Only | 70 | 79.18 | 140 | 2289 | 2718.78
61 | Supply & fixing SPN MCB DB (2+4) WAY (Make Havells/ Seimens/ABB) with S.S. Enclosure (DHDPSNODRW04) concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 32 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 4 Nos. | BI01010001010000000000000515BI0100001172 | 1 | set | 2155.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2155.78 | 2155.78 | INR Two Thousand One Hundred & Fifty Five and Paise Seventy Eight Only | 70 | 79.18 | 70 | 1815 | 2155.78
62 | Cutting Channel of size (40 mm x 40 mm) on masonry wall byElectric operated cutting machine incl. supplying & fixingheavy gauge 19 mm, 3 mm thick Polythene pipe by means ofanchoring chemical (Hilti/Sika) and GI 'U' hooks of 8 SWGincl. supplying and drawing 18 SWG GI wire as Fish wire andmending good damages to original finish by using own toolsand tackles | BI01010001010000000000000515BI0100001173 | 121 | mtr | 77.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9341.2 | 9341.2 | INR Nine Thousand Three Hundred & Forty One and Paise Twenty Only | 70 | 79.18 | 8470 | 65 | 77.2
63 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection a) 2 x 2.5 + 1x1.5 sq mm (P/P plug/computer ) | BI01010001010000000000000515BI0100001174 | 55 | mtr | 77.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4246 | 4246 | INR Four Thousand Two Hundred & Forty Six Only | 45.1 | 51.02 | 2480.5 | 65 | 77.2
64 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection b) 2 X 4 + 1 X 2.5 Sqmm.(AC &SPN) | BI01010001010000000000000515BI0100001175 | 40 | mtr | 112.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4513.6 | 4513.6 | INR Four Thousand Five Hundred & Thirteen and Paise Sixty Only | 45.81 | 51.82 | 1832.4 | 95 | 112.84
65 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection c)( 2 x 6 + 1 x 4) sq mm (SPNDB) | BI01010001010000000000000515BI0100001176 | 21 | mtr | 165.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3467.1 | 3467.1 | INR Three Thousand Four Hundred & Sixty Seven and Paise Ten Only | 46.52 | 52.62 | 976.92 | 139 | 165.1
66 | Supply and fixing 1.1 KV grade single core stranded FR PVC insulated &unsheted single core stranded copper wire in the prelaid polythene pipe and by the prelaid GI fish wire and making nece connection d) 4 x 10+ 2x6 sq mm (TPN) | BI01010001010000000000000515BI0100001177 | 10 | mtr | 585.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5855.7 | 5855.7 | INR Five Thousand Eight Hundred & Fifty Five and Paise Seventy Only | 97 | 109.73 | 970 | 493 | 585.57
67 | Distribution wiring in 1.1 KV grade 2x22/0.3 (1.5 sqmm) singlecore stranded 'FR' PVC insulated & unsheathed copper wire(Brand approved by EIC) partly in 20mm size PVC rigidconduit 'FR' (Precision make) [for ceiling portion only] and in19mm bore, 3mm thick polythene pipe [for horizontal &vertical run embedded in wall], with 1x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire for ECC, to light/fan/call bell points with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board complete with 2 no. suitable size “Ph & N” copper bar with top cover plate making earthing attachmentfixed on wall incl. mending good damages to original finish.[only PVC Rigid Conduit on ceiling and remaining portion concealed)AVE RUN 6 MTR | BI01010001010000000000000515BI0100001178 | 48 | nos. | 1038.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49828.8 | 49828.8 | INR Forty Nine Thousand Eight Hundred & Twenty Eight and Paise Eighty Only | 97.71 | 110.53 | 4690.08 | 874 | 1038.1
68 | Distribution wiring in 1.1 KV grade 2x22/0.3 (1.5 sqmm) singlecore stranded 'FR' PVC insulated & unsheathed copper wire(Brand approved by EIC) partly in 20mm size PVC rigidconduit 'FR' (Precision make) [for ceiling portion only] and in19mm bore, 3mm thick polythene pipe [for horizontal &vertical run embedded in wall], with 1x22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed copper wire for ECC, to light/fan/call bell points with Modular type switch (Brand approved by EIC) fixed on Modular GI switch board complete with 2 no. suitable size “Ph & N” copper bar with top cover plate making earthing attachmentfixed on wall incl. mending good damages to original finish.[only PVC Rigid Conduit on ceiling and remaining portion concealed)AVE RUN 8 MTR | BI01010001010000000000000515BI0100001179 | 24 | nos. | 1275.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30615.6 | 30615.6 | INR Thirty Thousand Six Hundred & Fifteen and Paise Sixty Only | 98.42 | 111.33 | 2362.08 | 1074 | 1275.65
69 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish a) on board | BI01010001010000000000000515BI0100001180 | 13 | pts | 295.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3844.75 | 3844.75 | INR Three Thousand Eight Hundred & Forty Four and Paise Seventy Five Only | 29 | 32.8 | 377 | 249 | 295.75
70 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish b) Ave 3 mtr | BI01010001010000000000000515BI0100001181 | 7 | pts | 935.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6551.65 | 6551.65 | INR Six Thousand Five Hundred & Fifty One and Paise Sixty Five Only | 29 | 32.8 | 203 | 788 | 935.95
71 | Distn. wiring in 22/0.3 (1.5 sqmm) single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) in 19 mm bore, 3 mm thick polythen pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Brand approved by EIC) incl. S&F earth continuity wire, fixed on 4 Module GI switchboard with 3/4 Module top cover plate flushed in wall incl. mending good damages to original finish c) Ave 4.5 mtr | BI01010001010000000000000515BI0100001182 | 2 | pts | 1114.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2228.24 | 2228.24 | INR Two Thousand Two Hundred & Twenty Eight and Paise Twenty Four Only | 29 | 32.8 | 58 | 938 | 1114.12
72 | Supply & Fixing 240V, Modular Socket (2 Module) type fan regulator (Step type) (Brand approved by EIC) on existing Modular GI switch board with top cover plate incl. making necy. connections etc. | BI01010001010000000000000515BI0100001183 | 20 | each | 459.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9193.2 | 9193.2 | INR Nine Thousand One Hundred & Ninety Three and Paise Twenty Only | 38 | 42.99 | 760 | 387 | 459.66
73 | Supply & Fixing 240 V, 16 A, 3 pin Modular type Power plug socket (Cabtree) with 16A Modular type socket (Cabtree) with 16A Modular type switch, without plug top on 4 Module GI Modular type switch board with top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections | BI01010001010000000000000515BI0100001184 | 1 | each | 541.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 541.62 | 541.62 | INR Five Hundred & Forty One and Paise Sixty Two Only | 38 | 42.99 | 38 | 456 | 541.62
74 | Supply & Fixing 240 V, 25 A, 3 pin Modular type plug socket (Brand approved by EIC), without plug top and switch with 2 Module GI Modular type switch board with top cover plate flushed in wall and making necy. connections with PVC Cu wire and earth continuity wire. | BI01010001010000000000000515BI0100001185 | 2 | each | 419.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 838.56 | 838.56 | INR Eight Hundred & Thirty Eight and Paise Fifty Six Only | 38 | 42.99 | 76 | 353 | 419.28
75 | Supplying & Fixing bulk head light fitting (Havells make) with diecast aluminium housing & frosted glass on wall/ceiling incl. S&F8watt CFL complete set. | BI01010001010000000000000515BI0100001186 | 4 | each | 687.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2750.84 | 2750.84 | INR Two Thousand Seven Hundred & Fifty and Paise Eighty Four Only | 81 | 91.63 | 324 | 579 | 687.71
76 | Supply & fixing computer plug board modular type of 12 module GI box with cover plate recessed in wall comprising with the following (Legrand/Cabtree) ----- a) 6/16A socket & 16A switch --1 set b) 6A socket & 6A switch --2 sets | BI01010001010000000000000515BI0100001187 | 6 | set | 1434.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8608.86 | 8608.86 | INR Eight Thousand Six Hundred & Eight and Paise Eighty Six Only | 81 | 91.63 | 486 | 1208 | 1434.81
77 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener | BI01010001010000000000000515BI0100001188 | 14 | each | 118.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1662.92 | 1662.92 | INR One Thousand Six Hundred & Sixty Two and Paise Ninety Two Only | 81 | 91.63 | 1134 | 100 | 118.78
78 | Fixing only fluorescent light fitting suspended 25 cm bellow the ceiling with 2 No. 20 mm dia EI conduit (14 SWG) supports incl.S&F EI conduit, ball socket/socket type ceiling plate and connecting the length of PVC insulated wire and painting etc. as required 2x24/0.20 mm (1.5sqmm) flexible copper wire of 1.10 mt. length. | BI01010001010000000000000515BI0100001189 | 24 | each | 254.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6100.32 | 6100.32 | INR Six Thousand One Hundred and Paise Thirty Two Only | 79 | 89.36 | 1896 | 214 | 254.18
79 | Supplying & Fixing 240 V AC/DC superior type Multitune (min 10 nos. tune) Call Bell (Anchor) with selector switch forsingle/Multi Tunes mode, Battery operated on HW boardincl. S&F HW board | BI01010001010000000000000515BI0100001190 | 1 | each | 349.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 349.2 | 349.2 | INR Three Hundred & Forty Nine and Paise Twenty Only | 79 | 89.36 | 79 | 294 | 349.2
80 | Fixing only exhaust fan after making hole in wall and making good damages and smooth cement finish etc. as practicable as possible and providing necy. length of PVC insulated wire and making connection for exhaust & louvre shutter after cutting hole on wall & mending good the damages of following diameter: 23 cm (9") | BI01010001010000000000000515BI0100001191 | 1 | each | 283.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 283.87 | 283.87 | INR Two Hundred & Eighty Three and Paise Eighty Seven Only | 79 | 89.36 | 79 | 239 | 283.87
81 | Supply & fixing (40mmx40mmx6mm) G I Pole clamp with nuts, bolts & washer for holding vertical 40 mm dia G I cable protection pipe from service pole. | BI01010001010000000000000515BI0100001192 | 2 | set | 178.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356.32 | 356.32 | INR Three Hundred & Fifty Six and Paise Thirty Two Only | 894 | 1011.29 | 1788 | 150 | 178.16
82 | Fixing only outdoor / street light type fluorescent light fitting or MV light fitting complete with all accessories to be fixed /projected from the wall of the building incl. making holes/providing clamping arrangement & necy. GI reducer as required. S&F 40 mm GI pipe (ISI-Medium) quality 1.5 mts. average length having suitable bend S&F necy. length of 1.5 sqmm PVC insulated single core stranded annealed copper wire and making connections as required and mending good damages to wall incl. painting etc. | BI01010001010000000000000515BI0100001193 | 1 | each | 958.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 958.52 | 958.52 | INR Nine Hundred & Fifty Eight and Paise Fifty Two Only | 899 | 1016.95 | 899 | 807 | 958.52
83 | Earthing the installation by 50 mm dia. G.I. Pipe (ISI-M) of 3.64 mtr. Long driven to an depth of 3.65 mtr. Below the ground level including S/F 1X4 SWG. G.I. Earth wire (4 mtr. Long) with nuts bolts & washers. | BI01010001010000000000000515BI0100001194 | 3 | set | 1626.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4878.12 | 4878.12 | INR Four Thousand Eight Hundred & Seventy Eight and Paise Twelve Only | 904 | 1022.6 | 2712 | 1369 | 1626.04
84 | Supplying & fixing earth busbar of galvanized (Hot Dip) MS flat 25 mm x 6 mm on wall having clearance of 6 mm from wall including providing drilled holes on the busbar complete with GI bolts, nuts, washers, spacing insulators etc. as required | BI01010001010000000000000515BI0100001195 | 1 | mtr | 185.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 185.29 | 185.29 | INR One Hundred & Eighty Five and Paise Twenty Nine Only | 1091 | 1234.14 | 1091 | 156 | 185.29
85 | Electrical Works (NON SCHUDLE ITEM) Dismantling the existing damaged wiring including switches, distribution bords etc. with all accessories from wall/ roof as directed by the EIC. | BI01010001010000000000000515BI0100001196 | 1 | item | 367.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 367.64 | 367.64 | INR Three Hundred & Sixty Seven and Paise Sixty Four Only | 1096 | 1239.8 | 1096 | 364 | 367.64
86 | Supply 4' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton, cat no - DIJB12LT8-20, LLT8-20/Havells) | BI01010001010000000000000515BI0100001197 | 6 | set | 831.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4987.38 | 4987.38 | INR Four Thousand Nine Hundred & Eighty Seven and Paise Thirty Eight Only | 1101 | 1245.45 | 6606 | 823 | 831.23
87 | Supply 2' single LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener (Crompton/Havells as approved by EIC) | BI01010001010000000000000515BI0100001198 | 1 | set | 413.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 413.09 | 413.09 | INR Four Hundred & Thirteen and Paise Nine Only | 1679 | 1899.28 | 1679 | 409 | 413.09
88 | Supply 4' twin LED type tube light fitting complete with all acessaries directly on ceiling with HW round block & suitable size of MS fastener(Crompton/Havells as approved by EIC) | BI01010001010000000000000515BI0100001199 | 2 | set | 1295.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2591.66 | 2591.66 | INR Two Thousand Five Hundred & Ninety One and Paise Sixty Six Only | 1684 | 1904.94 | 3368 | 1283 | 1295.83
89 | Supply of 225 mm (9") sweep heavy duty exhaust fan (EPC/ Crompton) | BI01010001010000000000000515BI0100001200 | 1 | each | 1868.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1868.5 | 1868.5 | INR One Thousand Eight Hundred & Sixty Eight and Paise Fifty Only | 1003 | 1134.59 | 1003 | 1850 | 1868.5
90 | Supply & delivery of 45W LED (crompton Cat. No. LSTP-45-CDL/Havells) | BI01010001010000000000000515BI0100001201 | 1 | set | 4790.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4790.43 | 4790.43 | INR Four Thousand Seven Hundred & Ninety and Paise Forty Three Only | 1015 | 1148.17 | 1015 | 4743 | 4790.43
91 | Supply & fixing 3W LED night Lamp (Crompton/Philps) for batten light points | BI01010001010000000000000515BI0100001202 | 2 | Set | 171.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 343.4 | 343.4 | INR Three Hundred & Forty Three and Paise Forty Only | 1027 | 1161.74 | 2054 | 170 | 171.7
92 | Reparing for existing tube light changing starter,choke,holder & tube light with painting the buttam as necessary | BI01010001010000000000000515BI0100001203 | 6 | set | 303 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1818 | 1818 | INR One Thousand Eight Hundred & Eighteen Only | 1142 | 1291.83 | 6852 | 300 | 303
93 | Taking down 1200/1400mm swep A C Celling FAN part by part opening changing the bush, bearing and greesing painting the fan as necessary & re fixing | BI01010001010000000000000515BI0100001204 | 5 | set | 323.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1616 | 1616 | INR One Thousand Six Hundred & Sixteen Only | 1154 | 1305.4 | 5770 | 320 | 323.2
94 | Supply & fixing of 1200mm sweep Ceiling Fan (Orient,New Bridge, White, Usha Stricker plus) or equivalent as approved by the EIC,complete with all acessaries Incl S/F necy copper flex wire. | BI01010001010000000000000515BI0100001205 | 2 | each | 2232.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4464.2 | 4464.2 | INR Four Thousand Four Hundred & Sixty Four and Paise Twenty Only | 1166 | 1318.98 | 2332 | 2210 | 2232.1
95 | Supply & Fixing 240 V, 25 A, Modular type AC m/c starter (Eletron OLP - 3) 4 Module GI Modular type switch board with 4 Module top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections with PVC Cu wire and earth continuity wire .(For AC m/c) | BI01010001010000000000000515BI0100001206 | 2 | each | 2272.5 | 53536 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4545 | 4545 | INR Four Thousand Five Hundred & Forty Five Only | 224 | 253.39 | 448 | 2250 | 2272.5
Total in Figures | [51 empty] | 1627940.54 | 1627940.54 | INR Sixteen Lakh Twenty Seven Thousand Nine Hundred & Forty and Paise Fifty Four Only | 37426574.91 | 35798634.37 |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information