## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: The Additional Chief Engineer, W.B.P.H&.I.D.Corpn. Ltd.
Name of Work: Repair, renovation and Up-gradation of single storied Police Station building along with OC's quarter and barrack at Shyampur Police Station, Howrah Rural Police District.
Contract No: WBPHIDCL/Addl.CE/NIT- 151(e)/2018-2019 (1st Call) SL. NO. 4
Bidder Name :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil work | BI01010001010000000000000515BI0100001112 | [63 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Stripping off worn out plaster and raking out joints of walls, celings etc. upto any height and in any floor including removing rubbish within a lead of 75m as directed. | BI01010001010000000000000515BI0100001113 | 2923.597 | Sqm. | 21.4928 | 62836.2856 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62836.2856 | 62836.2856 | INR Sixty Two Thousand Eight Hundred & Thirty Six and Paise Twenty Nine Only | 1956 | 119.27 | 134.9182 | 2212.6272 | 56.62 | 67.944 | 76.8583 | 56.62 | 64.0485 | 19 | 21.4928 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Dismantling R.C. floor, roof, beams etc. including cutting rods and removing rubbish as directed within a lead of 75 m. including stacking of steel bars. (a) In ground floor including roof. | BI01010001010000000000000515BI0100001114 | 0.93 | Cum. | 2212.6272 | 2057.7433 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2057.7433 | 2057.7433 | INR Two Thousand &Fifty Seven and Paise Seventy Four Only | 2006 | 192.38 | 217.6203 | 2269.1872 | 21 | 25.2 | 28.5062 | 21 | 23.7552 | 1956 | 2212.6272 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Dismantling all types of plain cement concrete works, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. In ground floor including roof. (a) upto 150 mm. thick | BI01010001010000000000000515BI0100001115 | 0.897 | Cum. | 1062.1968 | 952.7905 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 952.7905 | 952.7905 | INR Nine Hundred & Fifty Two and Paise Seventy Nine Only | 2056 | 24 | 27.1488 | 2325.7472 | 10 | 10 | 11.312 | 10 | 11.312 | 939 | 1062.1968 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Dismantling all types of masonry excepting cement concrete plain or reinforced, stacking serviceable materials at site and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. | BI01010001010000000000000515BI0100001116 | 15.9087 | Cum. | 505.6464 | 8044.2022 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8044.2022 | 8044.2022 | INR Eight Thousand &Forty Four and Paise Twenty Only | 3006 | 110 | 124.432 | 3400.3872 | 50 | 60 | 67.872 | 50 | 56.56 | 447 | 505.6464 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Removalof rubbish,earth etc.from the working site and disposal of thesame beyond the compound ,inconformity with the Municipal/Corporation Rules for such disposal,loading in to truckand cleaning the site in all respect as per direction of Engineer in charge | BI01010001010000000000000515BI0100001117 | 68.7825 | Cum. | 187.7792 | 12915.9224 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12915.9224 | 12915.9224 | INR Twelve Thousand Nine Hundred & Fifteen and Paise Ninety Two Only | 447 | 633.27 | 716.355 | 505.6464 | 48 | 57.6 | 65.1571 | 48 | 54.2976 | 166 | 187.7792 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Ordinary Cement concrete (mix 1:1.5:3) with graded stone chips (20 mm nominal size) excluding shuttering and reinforcement if any, in ground floor as per relevant IS codes. (i) Pakur Variety | BI01010001010000000000000515BI0100001118 | 1.8577 | Cum. | 7152.6149 | 13287.4128 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13287.4128 | 13287.4128 | INR Thirteen Thousand Two Hundred & Eighty Seven and Paise Forty One Only | 497 | 324 | 366.5088 | 562.2064 |  | 166 | 187.7792 | 166 | 187.7792 | 6323.033 | 7152.6149 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Reinforcement for reinforced concrete work in all sorts structure including distribution bars, stirrups, binders etc. including of rods initial straightening and removal of loose rust (if necessary), cutting to requisite length , hooking and bending with 16 gauge black annealed wire at every inter section, complete as per drawing and direction. (a) For works in foundation, basement and upto roof of ground floor / upto 4 m (i) Tor Steel / Mild Steel ( I ) SAIL / TATA / RINL GROUND FLOOR | BI01010001010000000000000515BI0100001119 | 0.125 | MT. | 80619.4928 | 10077.4366 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10077.4366 | 10077.4366 | INR Ten Thousand &Seventy Seven and Paise Forty Four Only | 547 | 4006 | 4531.5872 | 618.7664 |  | 50 | 56.56 | 50 | 56.56 | 71269 | 80619.4928 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Hire and labour charges for shuttering with centreing and necessary staging up to 4m using approved stout props thick hard wood planks of approved thickness with required bracing for concrete slabs, beams, columns, linteles curved or straight including fitting, fixing and striking out after complition of works upto roof og GF a) 25mm to 30mm thick wooden shuttering as per decision and direction of E.I.C Ground Floor | BI01010001010000000000000515BI0100001120 | 12.9522 | Sqm. | 377.8208 | 4893.5992 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4893.5992 | 4893.5992 | INR Four Thousand Eight Hundred & Ninety Three and Paise Sixty Only | 597 | 5702 | 6450.1024 | 675.3264 |  | 939 | 1062.1968 | 56 | 63.3472 | 334 | 377.8208 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Brick work with 1st class bricks in cement mortar (1:6) in (b) Ground Floor Superstructure | BI01010001010000000000000515BI0100001121 | 15.8896 | Cum. | 6237.4368 | 99110.5317 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 99110.5317 | 99110.5317 | INR Ninety Nine Thousand One Hundred & Ten and Paise Fifty Three Only | 328 | 5797 | 6557.5664 | 371.0336 |  | 447 | 505.6464 | 62 | 70.1344 | 5514 | 6237.4368 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | 125 mm. thick brick work with 1st class bricks in cement mortar (1:4)in Ground Floor | BI01010001010000000000000515BI0100001122 | 9 | Sqm. | 816.7264 | 7350.5376 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7350.5376 | 7350.5376 | INR Seven Thousand Three Hundred & Fifty and Paise Fifty Four Only | 346 | 5892 | 6665.0304 | 391.3952 |  | 57 | 64.4784 | 939 | 1062.1968 | 722 | 816.7264 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Scraping of moss, blisters etc.thoroughly from exterior surface of walls necessitating the use of scraper, wire brush etc.(Payment gainst this item will be made only when this has been done on the specific direction of the Engineer-in-charge) | BI01010001010000000000000515BI0100001123 | 186.8 | SqM | 7.9184 | 1479.1571 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1479.1571 | 1479.1571 | INR One Thousand Four Hundred & Seventy Nine and Paise Sixteen Only | 364 | 5987 | 6772.4944 | 411.7568 |  | 41 | 46.3792 | 989 | 1118.7568 | 7 | 7.9184 | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Labour for Chipping of concrete surface before taking up Plastering work. | BI01010001010000000000000515BI0100001124 | 12.46 | Sqm | 23.7552 | 295.9898 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 295.9898 | 295.9898 | INR Two Hundred & Ninety Five and Paise Ninety Nine Only | 382 | 6082 | 6879.9584 | 432.1184 |  | 278 | 314.4736 | 1039 | 1175.3168 | 21 | 23.7552 | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Dismantling artificial stone flooring upto 50 mm. thick by carefully chiselling without damaging the base and removing rubbish as directed within a lead of 75 m. a) In ground floor including roof. | BI01010001010000000000000515BI0100001125 | 238.35 | Sqm | 56.56 | 13481.076 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13481.076 | 13481.076 | INR Thirteen Thousand Four Hundred & Eighty One and Paise Eight Only | 6665.34 | 363 | 410.6256 | 7539.8326 |  | 19 | 21.4928 | 447 | 505.6464 | 50 | 56.56 | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Artificial stone in floor, dado, staircase etc with cement concrete (1:2:4) with stone chips, laid in panels as directed with topping made with ordinary or white cement (as necessary) and marble dust in proportion (1:2) including smooth finishing and rounding off corners including raking out joints or roughening of concrete surface and application of cement slurry before flooring works using cement @ 1.75 kg/sq.m all complete including all materials and labour. 3 mm. thick topping (High polishing grinding on this item is not permitted with ordinary cement). Using grey cement 25 mm. Thick In Ground Floor | BI01010001010000000000000515BI0100001126 | 238.35 | Sqm | 295.2432 | 70371.2167 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70371.2167 | 70371.2167 | INR Seventy Thousand Three Hundred & Seventy One and Paise Twenty Two Only | 6760.34 | 381 | 430.9872 | 7647.2966 | 90 | 108 | 122.1696 | 497 | 562.2064 | 261 | 295.2432 | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Repairing cracks in floor with cement mortar (1:2) with necessary pigment to match with existing works, including prior cutting and cleaning the cracks as directed. | BI01010001010000000000000515BI0100001127 | 40.175 | Sqm | 7.7487 | 311.3048 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 311.3048 | 311.3048 | INR Three Hundred & Eleven and Paise Thirty Only | 6855.34 | 399 | 451.3488 | 7754.7606 | 313 | 375.6 | 424.8787 | 547 | 618.7664 | 6.85 | 7.7487
17 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. (A) Floor With Sand Cement Mortar (1:4) 20 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m. (i) Coloured decorative (b) Area of each tile above 0.09 Sq.m In ground floor | BI01010001010000000000000515BI0100001128 | 35.1 | Sqm. | 1029.392 | 36131.6592 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36131.6592 | 36131.6592 | INR Thirty Six Thousand One Hundred & Thirty One and Paise Sixty Six Only | 6950.34 | 417 | 471.7104 | 7862.2246 | 176 | 211.2 | 238.9094 | 57 | 64.4784 | 910 | 1029.392
18 | Supplying, fitting & fixing 1st quality Ceramic tiles in walls and floors to match with the existing work & 4 nos. of key stones (10mm) fixed with araldite at the back of each tile & finishing the joints with white cement mixed with colouring oxide if required to match the colour of tiles including roughening of concrete surface, if necessary or by synthetic adhesive & grout materials etc. (B) Wall With Sand Cement Mortar (1:3) 15 mm thick & 2 mm thick cement slurry at back side of tiles using cement @ 2.91 Kg/Sq.m & joint filling using white cement slurry @ 0.20kg/Sq.m. (i) Coloured decorative(b) Area of each tile above 0.09 Sq.m In ground floor | BI01010001010000000000000515BI0100001129 | 73.8 | Sqm. | 1247.7136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 92081.2637 | 92081.2637 | INR Ninety Two Thousand &Eighty One and Paise Twenty Six Only | 73743 | 435 | 492.072 | 83418.0816 | 186 | 223.2 | 252.4838 | 19 | 21.4928 | 1103 | 1247.7136
19 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] (ii)/c/ With 1:4 cement mortar ,b) 10 mm thick plaster. Ceiling Plaster | BI01010001010000000000000515BI0100001130 | 452 | Sqm | 145.9248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65958.0096 | 65958.0096 | INR Sixty Five Thousand Nine Hundred & Fifty Eight and Paise One Only | 74173 | 73743 | 83418.0816 | 83904.4976 | 34 | 40.8 | 46.153 | 90 | 101.808 | 129 | 145.9248
20 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar a) 20mm thick plaster OUTSIDE GROUND FLOOR | BI01010001010000000000000515BI0100001131 | 517.902 | SqM | 187.7792 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 97251.2232 | 97251.2232 | INR Ninety Seven Thousand Two Hundred & Fifty One and Paise Twenty Two Only | 74603 | 74173 | 83904.4976 | 84390.9136 | 34.4 | 41.28 | 46.6959 | 313 | 354.0656 | 166 | 187.7792
21 | Plaster (to wall, floor, ceiling etc.) with sand and cement mortar including rounding off or chamfering corners as directed and raking out joints including throating, nosing and drip course, scaffolding/staging where necessary (Ground floor).[Excluding cost of chipping over concrete surface] With 6:1 cement mortar b) 15mm thick plaster INSIDE GROUND FLOOR | BI01010001010000000000000515BI0100001132 | 2417.88 | SqM | 162.8928 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 393855.2433 | 393855.2433 | INR Three Lakh Ninety Three Thousand Eight Hundred & Fifty Five and Paise Twenty Four Only | 75033 | 74603 | 84390.9136 | 84877.3296 | 46 | 55.2 | 62.4422 | 162 | 183.2544 | 144 | 162.8928
22 | Net Cement Punning above 1.5mm thick in Wall dado,Window Sill Floor and Drain etc Note Cement 0.152 cum 100 Sqmts GROUND FLOOR | BI01010001010000000000000515BI0100001133 | 255.14 | SqM | 38.4608 | 9812.8885 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9812.8885 | 9812.8885 | INR Nine Thousand Eight Hundred & Twelve and Paise Eighty Nine Only | 19 | 75033 | 84877.3296 | 21.4928 | 71 | 85.2 | 96.3782 | 166.8 | 188.6842 | 34 | 38.4608
23 | Removing old paint from blistered painted surface of steel or other metal by chipping including scraping and cleaning and exposing the original surface | BI01010001010000000000000515BI0100001134 | 127.94 | SqM | 54.2976 | 6946.8349 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6946.8349 | 6946.8349 | INR Six Thousand Nine Hundred & Forty Six and Paise Eighty Three Only | 739 | 75463 | 85363.7456 | 835.9568 | 85 | 102 | 115.3824 | 171.6 | 194.1139 | 48 | 54.2976
24 | Priming one coat on steel or other metal surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc | BI01010001010000000000000515BI0100001135 | 73.626 | SqM | 32.8048 | 20440 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2415.2862 | 2415.2862 | INR Two Thousand Four Hundred & Fifteen and Paise Twenty Nine Only | 50 | 5172 | 5850.5664 | 56.56 | 30 | 36 | 40.7232 | 202.8 | 229.4074 | 29 | 32.8048
25 | Priming one coat on timber or plastered surface with synthetic oil bound primer of approved quality including smoothening surfaces by sand papering etc. | BI01010001010000000000000515BI0100001136 | 84.846 | Sqm. | 42.9856 | 18424 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3647.1562 | 3647.1562 | INR Three Thousand Six Hundred & Forty Seven and Paise Sixteen Only | 56 | 5395 | 6102.824 | 63.3472 | 80 | 96 | 108.5952 | 207.6 | 234.8371 | 38 | 42.9856
26 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary On timber or plastered surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001137 | 95.04 | Sqm. | 91.6272 | 60825.1 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8708.2491 | 8708.2491 | INR Eight Thousand Seven Hundred & Eight and Paise Twenty Five Only | 62 | 5506 | 6228.3872 | 70.1344 | 38 | 45.6 | 51.5827 | 212.4 | 240.2669 | 81 | 91.6272
27 | Painting with best quality synthetic enamel paint of approved make and brand including smoothening surface by sand papering etc. including using of approved putty etc. on the surface, if necessary On steel or other metal surface. With super gloss (hi-gloss) - Two coats (with any shade except white) | BI01010001010000000000000515BI0100001138 | 103.92 | Sqm. | 89.3648 | 57600 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9286.79 | 9286.79 | INR Nine Thousand Two Hundred & Eighty Six and Paise Seventy Nine Only | 90 | 5617 | 6353.9504 | 101.808 | 82 | 98.4 | 111.3101 | 213.6 | 241.6243 | 79 | 89.3648
28 | Applying Interior grade Acrylic Primer of approved quality and brand on plastered or cencrete surface old or new surface to receive Distemper/ Acrylic emulsion paint including scraping and preparing the surface throughly, complete as per manufacturer's specification and as per direction of the EIC. (All Floor) One Coat ii) Solvent based interior grade Acrylic Primer | BI01010001010000000000000515BI0100001139 | 2720.62 | Sqm. | 38.1214 | 364255.6 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 103713.9521 | 103713.9521 | INR One Lakh Three Thousand Seven Hundred & Thirteen and Paise Ninety Five Only | 782 | 5728 | 6479.5136 | 884.5984 | 1294 | 1552.8 | 1756.5274 | 218.4 | 247.0541 | 33.7 | 38.1214
29 | Acrylic Distemper to interior wall, ceiling with a coat of solvent based interior grade acrylic primer (as per manufacturer's specification) including cleaning and smoothning of surface. Two Coats | BI01010001010000000000000515BI0100001140 | 2720.62 | Sqm. | 79.184 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 215429.5741 | 215429.5741 | INR Two Lakh Fifteen Thousand Four Hundred & Twenty Nine and Paise Fifty Seven Only | 206 | 5839 | 6605.0768 | 233.0272 | 792 | 950.4 | 1075.0925 | 223.2 | 252.4838 | 70 | 79.184
30 | Applying decorative cement based paint of approved quality after preparing the surface including scraping the same thoroughly (plastered or concrete surface) as per manufacturer's specification. (iii) Two coats. In Ground Floor | BI01010001010000000000000515BI0100001141 | 604.27 | Sqm. | 55.4288 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33493.961 | 33493.961 | INR Thirty Three Thousand Four Hundred & Ninety Three and Paise Ninety Six Only | 586 | 674 | 762.4288 | 662.8832 | 796 | 955.2 | 1080.5222 | 40.8 | 46.153 | 49 | 55.4288
31 | Labour for taking out door and window frame including shutter for repair or replacement of different parts of the frame & refixing the same including mending good all damages complete. (Concrete and brick work for mending damage will be paid separately) upto 2.5 sqm. | BI01010001010000000000000515BI0100001142 | 132.9 | Sqm. | 134.6128 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17890.0411 | 17890.0411 | INR Seventeen Thousand Eight Hundred & Ninety and Paise Four Only | 88 | 686 | 776.0032 | 99.5456 | 655 | 786 | 889.1232 | 41.28 | 46.6959 | 119 | 134.6128
32 | a) M.S.or W.I. Ornamental grill of approved design joints continuously welded with M.S,W.I. Flats and bars of windows, railing etc. fitted and fixed with necessary screws and lugs in ground floor.(i) Grill weighing above 10 Kg./sq. Mtr upto 16kg/sq.mtr.GROUND FLOOR | BI01010001010000000000000515BI0100001143 | 11.8944 | Qntl | 11185.3056 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 133042.4989 | 133042.4989 | INR One Lakh Thirty Three Thousand &Forty Two and Paise Fifty Only | 5653 | 698 | 789.5776 | 6394.6736 | 81936 | 98323.2 | 111223.2038 | 41.28 | 46.6959 | 9888 | 11185.3056
33 | Wood work in door and window frame fitted and fixed in position complete including a protective coat of painting at the contact surface of the frame exluding cost of concrete, Iron Butt Hinges and M.S clamps. (The quantum should be correted upto three decimals). (e) Sal : Malayasian | BI01010001010000000000000515BI0100001144 | 0.5498 | Cum. | 94136.2016 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 51756.0836 | 51756.0836 | INR Fifty One Thousand Seven Hundred & Fifty Six and Paise Eight Only | 264 | 710 | 803.152 | 298.6368 | 3016 | 3619.2 | 4094.039 | 41.28 | 46.6959 | 83218 | 94136.2016
34 | Supplying solid flush type doors of commercial quality, the timber frame consisting of top and bottom rails and side styles of well seasoned timber 65mm wide each and the entire frame fitted with 37.5mm wide battens places both ways in order to make the door of solid core and internal lipping with Garjan or similar wood veneers using phenol formaldehyde as glue etc. complete, including fitting, fixing shutters in position but excluding the cost of hinges and other fittings in ground floor. (a) 35 mm thick shutters (single leaf) | BI01010001010000000000000515BI0100001145 | 18.927 | SqM | 3007.8608 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56929.7814 | 56929.7814 | INR Fifty Six Thousand Nine Hundred & Twenty Nine and Paise Seventy Eight Only | 267.96 | 196 | 221.7152 | 303.1164 | 2701 | 3241.2 | 3666.4454 | 55.2 | 62.4422 | 2659 | 3007.8608
35 | Supplying, fitting and fixing M.S. clamps for door and window frame made of flat bent bar, end bifurcated with necessary screws etc. by cement concrete(1:2:4) as per direction. (Cost of concrete will be paid separately). (a) 40mm X 6mm, 250mm Length | BI01010001010000000000000515BI0100001146 | 79.36 | Each | 32.8048 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2603.3889 | 2603.3889 | INR Two Thousand Six Hundred & Three and Paise Thirty Nine Only | 271.98 | 1012 | 1144.7744 | 307.6638 | 466 | 559.2 | 632.567 | 56.05 | 63.4038 | 29 | 32.8048
36 | Iron butt hinges of approved quality fitted and fixed with steel screws, with ISI mark 100mm X 50mm X 1.25mm | BI01010001010000000000000515BI0100001147 | 80 | Each | 48.6416 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3891.328 | 3891.328 | INR Three Thousand Eight Hundred & Ninety One and Paise Thirty Three Only | 745 | 1024 | 1158.3488 | 842.744 | 82001 | 98401.2 | 111311.4374 | 56.9 | 64.3653 | 43 | 48.6416
37 | i) Iron hasp bolt of approved quality fitted and fixed complete (oxidised) with 16mm dia rod with centre bolt and round fitting.250mm long | BI01010001010000000000000515BI0100001148 | 31 | Each | 179.8608 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5575.6848 | 5575.6848 | INR Five Thousand Five Hundred & Seventy Five and Paise Sixty Eight Only | 750 | 1036 | 1171.9232 | 848.4 | 2907 | 3488.4 | 3946.0781 | 85.2 | 96.3782 | 159 | 179.8608
38 | (ii) Anodised aluminium floor door stopper | BI01010001010000000000000515BI0100001149 | 7 | Each | 79.184 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 554.288 | 554.288 | INR Five Hundred & Fifty Four and Paise Twenty Nine Only | 755 | 1048 | 1185.4976 | 854.056 | 10286 | 12343.2 | 13962.6278 | 85.2 | 96.3782 | 70 | 79.184
39 | Anodised aluminium barrel / tower /socket bolt (full covered) of approved manufractured from extructed section conforming to I.S. 204/74 fitted with cadmium plated screws. 300 mm long X 10mm dia bolt. | BI01010001010000000000000515BI0100001150 | 27 | Each | 111.9888 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3023.6976 | 3023.6976 | INR Three Thousand &Twenty Three and Paise Seventy Only | 750 | 224 | 253.3888 | 848.4 | 655 | 786 | 889.1232 | 85.2 | 96.3782 | 99 | 111.9888
40 | Supplying fitting and fixing fibre reinforced polymer (FRP) Composite door frame as per approved section with glass fibre reinforced plastic moulded skins and a special sandwich core so as to import monolitaheic composite structure as per approved technology of Departmant of Science (DST) to satisfy IS : 4020 door testing performance . ii) 66mm X 90 mm In ground floor | BI01010001010000000000000515BI0100001151 | 17 | Rm | 562.2064 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9557.5088 | 9557.5088 | INR Nine Thousand Five Hundred & Fifty Seven and Paise Fifty One Only | 755 | 1150 | 1300.88 | 854.056 | 125 | 150 | 169.68 | 102 | 115.3824 | 497 | 562.2064
41 | Supplying, fitting & fixing fibre reinforced polymer (FRP) Composite door shutters as per approved design with glass fibre reinforced plastic moulded skins and a special sandwich core, so as to impart monolitaheic composite structure as per approved technology of Department of Science and Technology (DST) to satisfy IS:4020 door testing performance criteria. (i) 32 mm thick In ground floor | BI01010001010000000000000515BI0100001152 | 7.56 | Sqm | 3125.5056 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23628.8223 | 23628.8223 | INR Twenty Three Thousand Six Hundred & Twenty Eight and Paise Eighty Two Only | 760 | 1162 | 1314.4544 | 859.712 | 30 | 36 | 40.7232 | 102.85 | 116.3439 | 2763 | 3125.5056
42 | Anodised aliminium D-type handle of approved quality manufactured from extruded section conforming to I.S. specification (I.S. 230/72) fitted and fixed complete:(a) With continuous plate base (Hexagonal / Round rod) (v) 125 mm grip x 12 mm dia rod. | BI01010001010000000000000515BI0100001153 | 3 | Each | 116.5136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 349.5408 | 349.5408 | INR Three Hundred & Forty Nine and Paise Fifty Four Only | 186 | 1174 | 1328.0288 | 210.4032 | 43 | 51.6 | 58.3699 | 103.7 | 117.3054 | 103 | 116.5136
43 | (v) Two point nose aluminium handle including fitting and fixing. | BI01010001010000000000000515BI0100001154 | 3 | Each | 45.248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 135.744 | 135.744 | INR One Hundred & Thirty Five and Paise Seventy Four Only | 190 | 1186 | 1341.6032 | 214.928 | 163 | 195.6 | 221.2627 | 36 | 40.7232 | 40 | 45.248
44 | (vi)steel peg stay 300 mm long including fitting and fixing. | BI01010001010000000000000515BI0100001155 | 3 | Each | 28.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 84.84 | 84.84 | INR Eighty Four and Paise Eighty Four Only | 194 | 698 | 789.5776 | 219.4528 | 123 | 147.6 | 166.9651 | 36 | 40.7232 | 25 | 28.28
45 | Collapsible gate with 40mm x 40mm x 6mm Tee as top and bottom guide rail, 20mm x 10mm x 2mm vertical channels 100mm apart in fully stretched position 20mm x 5mm M.S. flats as collapsible bracings properly rivetted and washered including 38mm steel rollers including locking arrangements, fitted and fixed in position with lugs set in cement concrete and including cutting necessary holes, chasing etc. in walls, floors etc. and making good damages complete. In ground floor | BI01010001010000000000000515BI0100001156 | 20.4 | sqm. | 4898.096 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 99921.1584 | 99921.1584 | INR Ninety Nine Thousand Nine Hundred & Twenty One and Paise Sixteen Only | 198 | 703 | 795.2336 | 223.9776 | 79 | 94.8 | 107.2378 | 36 | 40.7232 | 4330 | 4898.096
46 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (A) (i) Single Socketed 3 Mtr. Length c) 110 mm | BI01010001010000000000000515BI0100001157 | 15 | mtr | 330.3104 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4954.656 | 4954.656 | INR Four Thousand Nine Hundred & Fifty Four and Paise Sixty Six Only | 161 | 708 | 800.8896 | 182.1232 | 16 | 19.2 | 21.719 | 96 | 108.5952 | 292 | 330.3104
47 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings (ii)Bend 87.5 dig.(110 MM) | BI01010001010000000000000515BI0100001158 | 15 | each | 135.744 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2036.16 | 2036.16 | INR Two Thousand &Thirty Six and Paise Sixteen Only | 165 | 713 | 806.5456 | 186.648 | 480 | 576 | 651.5712 | 96 | 108.5952 | 120 | 135.744
48 | Supply of UPVC pipes (B Type) and fittings conforming to IS-13592-1992 (B) Fittings Pipe Clip 110 mm | BI01010001010000000000000515BI0100001159 | 15 | each | 23.7552 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356.328 | 356.328 | INR Three Hundred & Fifty Six and Paise Thirty Three Only | 169 | 703 | 795.2336 | 191.1728 | 5309 | 6370.8 | 7206.649 | 96 | 108.5952 | 21 | 23.7552
49 | Taking out old damaged tarfelt from the roof, parapet etc. preparing the roof surfaces by removing all spoils, blisters, moss etc. from the working site and disposal of the same beyond the compound and cleaning the site in all respect as per direction of Engineer-in-Charge. All Floors | BI01010001010000000000000515BI0100001160 | 434.8 | Sqm. | 13.5744 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5902.1491 | 5902.1491 | INR Five Thousand Nine Hundred & Two and Paise Fifteen Only | 173 | 708 | 800.8896 | 195.6976 | 292 | 350.4 | 396.3725 | 45.6 | 51.5827 | 12 | 13.5744
50 | (b) Applying 2 coats of Non-Toxic Acrylic Polymer modified Paint having adhesive & waterproofing properties by mixing in proportion (1 liquid: 4 cementitious material) or as per manufacturer's specification for water proofing layer in water tank etc. (No Departmental Cement is required) | BI01010001010000000000000515BI0100001161 | 502.25 | Sqm. | 290.7184 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 146013.3164 | 146013.3164 | INR One Lakh Forty Six Thousand &Thirteen and Paise Thirty Two Only | 129 | 713 | 806.5456 | 145.9248 | 195 | 234 | 264.7008 | 45.6 | 51.5827 | 257 | 290.7184
51 | Ordinary Cement concrete (mix 1:2:4) with graded stone chips (6mm nominal size) excluding shuttering and reinforcement,if any, in gound floor as per relevant IS codes. Pakur variety | BI01010001010000000000000515BI0100001162 | 50.0461 | Cum. | 5672.968 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 283910.0373 | 283910.0373 | INR Two Lakh Eighty Three Thousand Nine Hundred & Ten and Paise Four Only | 133 | 718 | 812.2016 | 150.4496 | 147 | 176.4 | 199.5437 | 45.6 | 51.5827 | 5015 | 5672.968
52 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 25mm | BI01010001010000000000000515BI0100001163 | 10 | Mtr. | 200.2224 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2002.224 | 2002.224 | INR Two Thousand &Two and Paise Twenty Two Only | 137 | 1269 | 1435.4928 | 154.9744 | 85 | 102 | 115.3824 | 98.4 | 111.3101 | 177 | 200.2224
53 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 20mm | BI01010001010000000000000515BI0100001164 | 5 | Mtr. | 145.9248 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 729.624 | 729.624 | INR Seven Hundred & Twenty Nine and Paise Sixty Two Only | 141 | 1274 | 1441.1488 | 159.4992 | 21 | 25.2 | 28.5062 | 98.4 | 111.3101 | 129 | 145.9248
54 | Supplying, fitting and fixing PVC pipes of approved makeof (medium duty) conforming to ASTMD - 1785 and threaded to match with GI Pipes as per IS : 1239 (Part - I). with all necessary accessories, specials viz. socket, bend, tee, union, cross, elbo, nipple, longscrew, reducing socket, reducing tee, short piece etc. fitted with holder bats clamps, including cutting pipes, making threads,fitting, fixing etc. complete in all respect including cost of all necessary fittings as required,jointing materials and two coats of painting with approved paint in any position above ground. (Payment will be made on the centre line measurements of total pipe line including all specials. No separate payment will be made for accesories, specials. Payment for painting will be made seperately) Supreem made (a) For Exposed Work -- PVC Pipes (Dia) 15mm | BI01010001010000000000000515BI0100001165 | 5 | Mtr. | 114.2512 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 571.256 | 571.256 | INR Five Hundred & Seventy One and Paise Twenty Six Only | 119 | 1279 | 1446.8048 | 134.6128 | 33 | 39.6 | 44.7955 | 98.4 | 111.3101 | 101 | 114.2512
55 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 32mm | BI01010001010000000000000515BI0100001166 | 4 | Each | 1423.0496 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5692.1984 | 5692.1984 | INR Five Thousand Six Hundred & Ninety Two and Paise Twenty Only | 71907 | 1284 | 1452.4608 | 81341.1984 | 57 | 68.4 | 77.3741 | 1248 | 1411.7376 | 1258 | 1423.0496
56 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 25mm | BI01010001010000000000000515BI0100001167 | 8 | Each | 1031.6544 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8253.2352 | 8253.2352 | INR Eight Thousand Two Hundred & Fifty Three and Paise Twenty Four Only | 25 | 2313 | 2616.4656 | 28.28 | 84 | 100.8 | 114.025 | 1262.4 | 1428.0269 | 912 | 1031.6544
57 | Supplying, fitting and fixing Peet's valve fullway gunmetal standard pattern best quality of approved brand bearing I.S.I. marking with fittings (tested to 21 kg per sq. cm.). 20mm | BI01010001010000000000000515BI0100001168 | 8 | Each | 743.1984 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5945.5872 | 5945.5872 | INR Five Thousand Nine Hundred & Forty Five and Paise Fifty Nine Only | 2270 | 10021 | 11335.7552 | 2567.824 | 861 | 1033.2 | 1168.7558 | 1276.8 | 1444.3162 | 657 | 743.1984
58 | Supplying, fitting and fixing stainless steel sink complete with waste fittings and two coats of painting of C.I. brackets. (a) Sink only (i) 530 mm X 430 mm x 180 mm | BI01010001010000000000000515BI0100001169 | 1 | Each | 3715.992 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3715.992 | 3715.992 | INR Three Thousand Seven Hundred & Fifteen and Paise Ninety Nine Only | 477 | 10121.21 | 11449.1128 | 539.5824 | 815 | 978 | 1106.3136 | 268.8 | 304.0666 | 3285 | 3715.992
59 | Supplying, fitting and fixing Anglo-Indian W.C. in white glazed vitreous china ware of approved make complete in position with necessary bolts, nuts etc. With 'P' trap (without vent) | BI01010001010000000000000515BI0100001170 | 4 | Each | 3482.9648 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13931.8592 | 13931.8592 | INR Thirteen Thousand Nine Hundred & Thirty One and Paise Eighty Six Only | 2968 | 10222.4221 | 11563.6039 | 3357.4016 | 3788 | 4545.6 | 5141.9827 | 209 | 236.4208 | 3079 | 3482.9648
60 | Supplying,fitting and fixing 32 mm dia. Flush Pipe of approved make with necessary fixing materials and clamps complete. Polythene Flush Pipe | BI01010001010000000000000515BI0100001171 | 4 | Each | 175.336 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 701.344 | 701.344 | INR Seven Hundred & One and Paise Thirty Four Only | 47 | 10324.6463 | 11679.2399 | 53.1664 | 73761 | 88513.2 | 100126.1318 | 224 | 253.3888 | 155 | 175.336
61 | Supplying,fitting and fixing approved brand P.V.C. CONNECTOR white flexible, with both ends coupling with heavy brass C.P. nut, 15 mm dia. 900 mm long | BI01010001010000000000000515BI0100001172 | 4 | Each | 166.2864 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 665.1456 | 665.1456 | INR Six Hundred & Sixty Five and Paise Fifteen Only | 40 | 4351 | 4921.8512 | 45.248 | 334 | 400.8 | 453.385 | 950.4 | 1075.0925 | 147 | 166.2864
62 | Supplying,fitting and fixing approved brand 32 mm dia.P.V.C. waste pipe, with PVC coupling at one end fitted with necessary clamps. 1050mm long | BI01010001010000000000000515BI0100001173 | 4 | Each | 102.9392 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 411.7568 | 411.7568 | INR Four Hundred & Eleven and Paise Seventy Six Only | 17 | 81936 | 92686.0032 | 19.2304 | 6719 | 8062.8 | 9120.6394 | 956.4 | 1081.8797 | 91 | 102.9392
63 | Supplying, fitting and fixing 10 litre P.V.C. low-down cistern conforming to I.S. specification with P.V.C. fittings complete,C.I. brackets including two coats of painting to bracket etc. | BI01010001010000000000000515BI0100001174 | 4 | Each | 1148.168 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4592.672 | 4592.672 | INR Four Thousand Five Hundred & Ninety Two and Paise Sixty Seven Only | 10021 | 82136 | 92912.2432 | 11335.7552 | 119 | 142.8 | 161.5354 | 962.4 | 1088.6669 | 1015 | 1148.168
64 | Supplying, fitting and fixing bib cock or stop cock. Chromium plated Bib Cock short body (Equivalent to Code No. 511 & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001175 | 6 | Each | 609.7168 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3658.3008 | 3658.3008 | INR Three Thousand Six Hundred & Fifty Eight and Paise Thirty Only | 10121.21 | 82336 | 93138.4832 | 11449.1128 | 21 | 25.2 | 28.5062 | 955.2 | 1080.5222 | 539 | 609.7168
65 | Supplying, fitting and fixing bib cock or stop cock. PTMT (Polytetra Bib Cock / Stop Cock ( Prayag or equivalent) 15 mm | BI01010001010000000000000515BI0100001176 | 6 | Each | 174.2048 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1045.2288 | 1045.2288 | INR One Thousand &Forty Five and Paise Twenty Three Only | 10222.4221 | 82536 | 93364.7232 | 11563.6039 | 11.35 | 13.62 | 15.4069 | 961.2 | 1087.3094 | 154 | 174.2048
66 | Supplying, fitting and fixing soap holder. PTMT (Prayag or equivalent) | BI01010001010000000000000515BI0100001177 | 6 | Each | 152.712 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 916.272 | 916.272 | INR Nine Hundred & Sixteen and Paise Twenty Seven Only | 4351 | 2659 | 3007.8608 | 4921.8512 | 6.92 | 8.304 | 9.3935 | 967.2 | 1094.0966 | 135 | 152.712
67 | Supplying, fitting and fixing PTMT Smart Shelf of approved make of size 300 mm. | BI01010001010000000000000515BI0100001178 | 6 | Each | 252.2576 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1513.5456 | 1513.5456 | INR One Thousand Five Hundred & Thirteen and Paise Fifty Five Only | 29 | 2673 | 3023.6976 | 32.8048 | 6471 | 7765.2 | 8783.9942 | 786 | 889.1232 | 223 | 252.2576
68 | Supplying, fitting and fixing towel rail with two brackets. C.P. over brass 25 mm dia. and 600 mm long | BI01010001010000000000000515BI0100001179 | 8 | Each | 486.416 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3891.328 | 3891.328 | INR Three Thousand Eight Hundred & Ninety One and Paise Thirty Three Only | 38 | 2687 | 3039.5344 | 42.9856 | 769 | 922.8 | 1043.8714 | 800.4 | 905.4125 | 430 | 486.416
69 | Supplying, fitting and fixing best quality Indian make mirror 5.5 mm thick with silvering as per I.S.I. specifications supported on fibre glass frame of any colour, frame size 550 mm X 400 mm | BI01010001010000000000000515BI0100001180 | 8 | Each | 693.4256 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5547.4048 | 5547.4048 | INR Five Thousand Five Hundred & Forty Seven and Paise Forty Only | 129 | 713 | 806.5456 | 145.9248 | 4132 | 4751.8 | 5375.2362 | 814.8 | 921.7018 | 613 | 693.4256
70 | Chromium plated round shower with revolving joint 100 mm dia with rubid cleaning system (Equivalent to Code No. 542(N) & Model - Tropical / Sumthing Special of ESSCO or similar brand). | BI01010001010000000000000515BI0100001181 | 8 | Each | 511.3024 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4090.4192 | 4090.4192 | INR Four Thousand &Ninety and Paise Forty Two Only | 133 | 718 | 812.2016 | 150.4496 | 4386 | 5043.9 | 5705.6597 | 98323.2 | 111223.2038 | 452 | 511.3024
71 | ELECTRICAL SCHEDULE WORK Supply & fixing 240 volt 32A DP switch in S.S. enclosure with fuses onLS & NL to be fixed on angle frame on wall including earthing attachment.(Make Havells/HPL) | BI01010001010000000000000515BI0100001182 | 6 | Nos | 1444.5424 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8667.2544 | 8667.2544 | INR Eight Thousand Six Hundred & Sixty Seven and Paise Twenty Five Only | 137 | 1269 | 1435.4928 | 154.9744 | 139 | 159.85 | 180.8223 | 98563.2 | 111494.6918 | 1277 | 1444.5424
72 | Supply & fixing SPN MCB DB (2+12) WAY (Make Legrand/Seimens/ ABB) with S.S. Enclosure concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following. a) 40 A DP isolator - 1 No. b) 6 to 32 A range SPMCB - 12 Nos. | BI01010001010000000000000515BI0100001183 | 3 | Set | 5441.072 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16323.216 | 16323.216 | INR Sixteen Thousand Three Hundred & Twenty Three and Paise Twenty Two Only | 141 | 1274 | 1441.1488 | 159.4992 | 65 | 74.75 | 84.5572 | 98803.2 | 111766.1798 | 4810 | 5441.072
73 | Supply & fixing SPN MCB DB (2+6) 8 way (Make legrand/ Seimens/ABB) with S.S. Enclosure concealed in wall after cutting wall & mending good the damages & earthing attachment comprising with the following: a) 40 A DP isolator - 1 No. b) 6 to 16 A range SPMCB - 6 Nos. | BI01010001010000000000000515BI0100001184 | 2 | Set | 3194.5088 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6389.0176 | 6389.0176 | INR Six Thousand Three Hundred & Eighty Nine and Paise Two Only | 119 | 1279 | 1446.8048 | 134.6128 | 48 | 55.2 | 62.4422 | 3619.2 | 4094.039 | 2824 | 3194.5088
74 | Laying of 2 x 10 sqmm in underground trench 460 mm wide x 760 mm average depth, with brick protection on the top of the cable with 8 (eight) Nos. bricks per metre, including filling the space between the brick & cable and also the trench with shifted soil, leveling up and restoring surface duly rammed | BI01010001010000000000000515BI0100001185 | 30 | mtr | 183.2544 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5497.632 | 5497.632 | INR Five Thousand Four Hundred & Ninety Seven and Paise Sixty Three Only | 71907 | 1284 | 1452.4608 | 81341.1984 | 65 | 74.75 | 84.5572 | 3636 | 4113.0432 | 162 | 183.2544
75 | Laying of cable upto 2 x 10 sqmm on wall/surface incl. S & F MS saddles with earthing attachment in 10 SWG GI (Hot Dip) Wire, making holes etc. as necy. mending good damages and painting | BI01010001010000000000000515BI0100001186 | 20 | mtr | 64.4784 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1289.568 | 1289.568 | INR One Thousand Two Hundred & Eighty Nine and Paise Fifty Seven Only | 25 | 2313 | 2616.4656 | 28.28 | 246 | 282.9 | 320.0165 | 3652.8 | 4132.0474 | 57 | 64.4784
76 | Supply & fixing compression type cable gland suitable for cable with brass gland, brass ring incl.socketing the ends off by crimping method including S/F solderless socket (Dowels value) & jointing materials etc. a) 2 x 10 sq mm XLPE/A | BI01010001010000000000000515BI0100001187 | 2 | Set | 184.3856 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 368.7712 | 368.7712 | INR Three Hundred & Sixty Eight and Paise Seventy Seven Only | 2270 | 10021 | 11335.7552 | 2567.824 | 1074 | 1235.1 | 1397.1451 | 3241.2 | 3666.4454 | 163 | 184.3856
77 | Laying of 2 x 6 sq sqmm XLPE/A cable in underground trench 460 mm wide x 760 mm average depth, with brick protection on the top of the cable with 8 (eight) Nos. bricks per metre, including filling the space between the brick & cable and also the trench with shifted soil, leveling up and restoring surface duly rammed | BI01010001010000000000000515BI0100001188 | 120 | Mtr | 183.2544 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21990.528 | 21990.528 | INR Twenty One Thousand Nine Hundred & Ninety and Paise Fifty Three Only | 477 | 10121.21 | 11449.1128 | 539.5824 | 249 | 286.35 | 323.9191 | 3258 | 3685.4496 | 162 | 183.2544
78 | Laying of cable upto 2 core 6 sqmm on wall/surface incl. S & F MS saddles with earthing attachment in 10 SWG GI (Hot Dip) Wire, making holes etc. as necy. mending good damages and painting | BI01010001010000000000000515BI0100001189 | 30 | Mtr | 64.4784 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1934.352 | 1934.352 | INR One Thousand Nine Hundred & Thirty Four and Paise Thirty Five Only | 2968 | 10222.4221 | 11563.6039 | 3357.4016 | 938 | 1078.7 | 1220.2254 | 3274.8 | 3704.4538 | 57 | 64.4784
79 | Supplying & laying medium gauge 40 mm dia G.I. pipe (SI-m) for cable protection. | BI01010001010000000000000515BI0100001190 | 9 | Mtr | 278.2752 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2504.4768 | 2504.4768 | INR Two Thousand Five Hundred & Four and Paise Forty Eight Only | 47 | 10324.6463 | 11679.2399 | 53.1664 | 387 | 445.05 | 503.4406 | 559.2 | 632.567 | 246 | 278.2752
80 | Supply & fixing compression type cable gland suitable for cable with brass gland, brass ring incl.socketing the ends off by crimping method including S/F solderless socket (Dowels value) & jointing materials etc. a) 2 x 6 sq mm XLPE/A | BI01010001010000000000000515BI0100001191 | 4 | Set | 76.9216 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 307.6864 | 307.6864 | INR Three Hundred & Seven and Paise Sixty Nine Only | 40 | 4351 | 4921.8512 | 45.248 | 1208 | 1389.2 | 1571.463 | 559.2 | 632.567 | 68 | 76.9216
81 | Supply & Fixing 240 V 16 A Piano key type switch (Brand approved by EIC) on GI Modular type switch board having top cover plate and making necessary connections as required | BI01010001010000000000000515BI0100001192 | 5 | Set | 134.6128 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 673.064 | 673.064 | INR Six Hundred & Seventy Three and Paise Six Only | 17 | 81936 | 92686.0032 | 19.2304 | 456 | 524.4 | 593.2013 | 559.2 | 632.567 | 119 | 134.6128
82 | Supplying and Drawing 1.1 KV single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Brand approved by EIC) of the following sizes in 19mm bore,3mm thick polythene pipe and by the prelaid GI fish wire and making necy. connection as required a)2x56/0.3 (4 sqmm) + 1x36/0.3 (2.5 sqmm) as ECC | BI01010001010000000000000515BI0100001193 | 35 | Rm | 73.528 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2573.48 | 2573.48 | INR Two Thousand Five Hundred & Seventy Three and Paise Forty Eight Only | 10021 | 82136 | 92912.2432 | 11335.7552 | 439 | 504.85 | 571.0863 | 12343.2 | 13962.6278 | 65 | 73.528
83 | Supplying & Erection of 75x88 mm porcelain shackle insulator complete with 190x30x5 mm Galv. (Hot Dip) strips with 15.88 mm dia Galv. bolts, nuts, etc. for conductor upto 7/3.10 mm, 32 sqmm of AAC/equivalent size of ACSR | BI01010001010000000000000515BI0100001194 | 2 | Each | 80.3152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 160.6304 | 160.6304 | INR One Hundred & Sixty and Paise Sixty Three Only | 10121.21 | 82336 | 93138.4832 | 11449.1128 | 100 | 115 | 130.088 | 12466.63 | 14102.2519 | 71 | 80.3152
84 | Supplying & Erection of No. 6 SWG GI (Hot Dip) continuous earth wire with Galv. (Hot Dip) earth clamp | BI01010001010000000000000515BI0100001195 | 35 | Rm | 18.0992 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 633.472 | 633.472 | INR Six Hundred & Thirty Three and Paise Forty Seven Only | 10222.4221 | 82536 | 93364.7232 | 11563.6039 | 579 | 665.85 | 753.2095 | 12591.3 | 14243.2786 | 16 | 18.0992
85 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. a) 2 X 6 + 1 X 4 Sqmm.(SPN) | BI01010001010000000000000515BI0100001196 | 40 | Mtr | 255.6512 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10226.048 | 10226.048 | INR Ten Thousand Two Hundred & Twenty Six and Paise Five Only | 4351 | 2659 | 3007.8608 | 4921.8512 | 1369 | 1574.35 | 1780.9047 | 150 | 169.68 | 226 | 255.6512
86 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. b) 4 x 2.5 sq mm + 2.5 x 1.5 sq mm (AC) | BI01010001010000000000000515BI0100001197 | 100 | Mtr | 205.8784 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20587.84 | 20587.84 | INR Twenty Thousand Five Hundred & Eighty Seven and Paise Eighty Four Only | 29 | 2673 | 3023.6976 | 32.8048 | 156 | 179.4 | 202.9373 | 36 | 40.7232 | 182 | 205.8784
87 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. b) 2 x 2.5 sq mm + 1 x 1.5 sq mm (PP) | BI01010001010000000000000515BI0100001198 | 100 | Mtr | 166.2864 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16628.64 | 16628.64 | INR Sixteen Thousand Six Hundred & Twenty Eight and Paise Sixty Four Only | 38 | 2687 | 3039.5344 | 42.9856 | 400 | 404 | 457.0048 | 51.6 | 58.3699 | 147 | 166.2864
88 | Supply & drawing PVC insulated (FR) Copper wire through alkathene pipe recessed in wall & mending good the damages. b) 3 x 1.5 sq mm (Out door Ltg) | BI01010001010000000000000515BI0100001199 | 120 | Mtr | 142.5312 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17103.744 | 17103.744 | INR Seventeen Thousand One Hundred & Three and Paise Seventy Four Only |  |  |  |  | 823 | 831.23 | 940.2874 | 195.6 | 221.2627 | 126 | 142.5312
89 | Distn. wiring in 3 x 1.5 sqmm single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Glostr/Finolex/Havells) in 19 mm bore, 3 mm thick polythene pipe (for horizontal & vertical run in wall and celing portion through polythen pipe) complete with all accessories embedded in wall t light/fan/call bell points with Modular type switch (Ligrand/crabtree) fixed on Modular G.I. switch board with top cover plate flushed in wall incl.Mending good damages to original finish ---- a) Ave run 6 mtr. | BI01010001010000000000000515BI0100001200 | 110 | pts | 1010.1616 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 111117.776 | 111117.776 | INR One Lakh Eleven Thousand One Hundred & Seventeen and Paise Seventy Eight Only |  |  |  |  | 2210 | 2232.1 | 2524.9515 | 147.6 | 166.9651 | 893 | 1010.1616
90 | Distn. wiring in 3 x 1.5 sqmm single core stranded 'FR' PVC insulated & unsheathed single core stranded copper wire (Glostr/Finolex/Havells) in 19 mm bore, 3 mm thick polythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240 V 6A 3 pin Modular type plug socket & Modular type switch (Legrand/Cabtree) incl. S&F earth continuity wire, fixed on 4 Module GI switch board with 3/4 Module top cover plate flushed in wall incl.mending good damages (on board) | BI01010001010000000000000515BI0100001201 | 35 | pts | 281.6688 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9858.408 | 9858.408 | INR Nine Thousand Eight Hundred & Fifty Eight and Paise Forty One Only |  |  |  |  | 3090 | 3120.9 | 3530.3621 | 94.8 | 107.2378 | 249 | 281.6688
91 | Distribution wiring in 1.1 KV grade 3 x 1.5 sq mm single core stranded 'FR' PVC insulated & unsheathed copper wire (brand approved by EIC) in 19mm bore, 3mm thickpolythene pipe complete with all accessories embedded in wall to 240 V 6A 5 pin plug point incl. S&F 240V 6A 3 pin modular type plug socket & modular type switch(Brand appr. by EIC) incl. S&F earth continuity wire fixed on 4 module GI switch board with 3/4 module top cover plate flushed in wall incl mending good damage to original finish. (Ave run 4.5 mtr) | BI01010001010000000000000515BI0100001202 | 55 | pts | 1061.0656 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58358.608 | 58358.608 | INR Fifty Eight Thousand Three Hundred & Fifty Eight and Paise Sixty One Only |  |  |  |  | 170 | 171.7 | 194.227 | 19.2 | 21.719 | 938 | 1061.0656
92 | "Supply & Fixing 240 V, 16A, plug socket with separate 16 A Piano key type switch (Brand approved by EIC) on sheet metal switch board embedded in wall incl. S & F 150x100x65mm MS (16SWG) switch board and bakelite/ perspex top cover of 3mm thick by Brass screws after making housing for switch by cutting bakelite/ perspex cover and making necessary connections as required" | BI01010001010000000000000515BI0100001203 | 8 | Set | 515.8272 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4126.6176 | 4126.6176 | INR Four Thousand One Hundred & Twenty Six and Paise Sixty Two Only | [7 empty] | 576 | 651.5712 | 456 | 515.8272
93 | Supply & fixing of Modular type computer plug board of 12 module GI box with cover plate recessed in wall comprising of the following(All cabtree): a) 6/16A socket,16A switch & 6A switch ---1 set b) 6A socket --- 2 sets | BI01010001010000000000000515BI0100001204 | 12 | sets | 1841.5936 | 22099.1232 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22099.1232 | 22099.1232 | INR Twenty Two Thousand &Ninety Nine and Paise Twelve Only | [7 empty] | 6370.8 | 7206.649 | 1628 | 1841.5936
94 | Supply & Fixing 240 V, 25A Modular type socket, 25 A, Modular type starter (Brand approved by EIC) with 25A Modular switch type DP MCB (C-Curve) and 6 Module GI Modular type switch board with 6 Module top cover plate flushed in wall incl. S&F switch board and cover plate and making necy. connections with PVC Cu wire and earth continuity wire etc. | BI01010001010000000000000515BI0100001205 | 2 | sets | 1184.3664 | 2368.7328 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2368.7328 | 2368.7328 | INR Two Thousand Three Hundred & Sixty Eight and Paise Seventy Three Only | [7 empty] | 88491.6 | 100101.6979 | 1047 | 1184.3664
95 | S & F 240 V AC Call bel on HW board on wall as GS (Make-Anchor) | BI01010001010000000000000515BI0100001206 | 3 | Each | 195.6976 | 587.0928 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 587.0928 | 587.0928 | INR Five Hundred & Eighty Seven and Paise Nine Only | [7 empty] | 400.8 | 453.385 | 173 | 195.6976
96 | Fixing only single /twin fluorescent light fitting complete with all accessories directly on wall/ceiling/HW round block and suitable size of MS fastener (Room) | BI01010001010000000000000515BI0100001207 | 40 | set | 122.1696 | 4886.784 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4886.784 | 4886.784 | INR Four Thousand Eight Hundred & Eighty Six and Paise Seventy Eight Only | [7 empty] | 8062.8 | 9120.6394 | 108 | 122.1696
97 | Fixing only fan clamp for RC ceiling as per specification after cutting the ceiling & binding with reinforcement and mending good the damages. | BI01010001010000000000000515BI0100001208 | 30 | each | 273.7504 | 8212.512 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8212.512 | 8212.512 | INR Eight Thousand Two Hundred & Twelve and Paise Fifty One Only | [7 empty] | 142.8 | 161.5354 | 242 | 273.7504
98 | Supply & Fixing Socket & Step type fan regulator (Anchor/Rider) on existing sheet metal switch board with bakelite/perspex top cover by screw after making housing for regulator knob by cutting bakelite/ perspex top cover incl. making necy. connections etc. | BI01010001010000000000000515BI0100001209 | 30 | each | 266.9632 | 8008.896 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8008.896 | 8008.896 | INR Eight Thousand &Eight and Paise Ninety Only | [7 empty] | 142.8 | 161.5354 | 236 | 266.9632
99 | Earthing the the Installation by 50 mm dia G.I. Pipe (ISI -M) 3.64 mtr long & 1x4 SWG G.I.(Hot dip) wire (4 mtr long) with suitable nuts, bolts & washer etc. Incl S/F 15 mm dia GI protection pipe (1 mtr long) to be filled with bitumen partly under ground level & partly under ground level driven to an depth of 3.65 mtr below the ground level. | BI01010001010000000000000515BI0100001210 | 6 | Set | 1548.6128 | 9291.6768 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9291.6768 | 9291.6768 | INR Nine Thousand Two Hundred & Ninety One and Paise Sixty Eight Only | [7 empty] | 142.8 | 161.5354 | 1369 | 1548.6128
100 | ELECTRICAL NON SCHEDULE ITEM : Removing existing electrical Item(Excluding Ceiling Fan) from its present position and fix up the same to current position shown by ECI & mending good damages to original finish | BI01010001010000000000000515BI0100001211 | 2 | LS | 505 | 1010 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1010 | 1010 | INR One Thousand &Ten Only | [7 empty] | 21 | 23.7552 | 500 | 505
101 | Takendown, washing, cleaning including Repairing of A.C. Ceiling Fan, after dismantling part by part cleaning and greasing ball bearing and changing split pin/Jum nut/incl. S&F Ball bearing/condenser etc. as and when require & incl. Refing the same in position | BI01010001010000000000000515BI0100001212 | 30 | Each | 151.5 | 4545 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4545 | 4545 | INR Four Thousand Five Hundred & Forty Five Only | [7 empty] | 13.62 | 15.4069 | 150 | 151.5
102 | Connecting & dressing Meter looping system with 2 x 6 + 1 x 4 sq mm PVC insulated copper wire duly layed on the Ply board by link clip from Bus Bar to Meters & Meters to DP MCBs (Ave 5 meters) | BI01010001010000000000000515BI0100001213 | 5 | mtr | 169.68 | 848.4 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 848.4 | 848.4 | INR Eight Hundred & Forty Eight and Paise Forty Only | [7 empty] | 6.83 | 7.7261 | 168 | 169.68
103 | Supply & delivery of by 1.1 KV grade X LPE AL. Armoured Cable (make Gloster/Nicco/Havells) a) 2 x 10 sq mm XLPE/A cable | BI01010001010000000000000515BI0100001214 | 40 | mtr | 106.05 | 4242 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4242 | 4242 | INR Four Thousand Two Hundred & Forty Two Only | [7 empty] | 6.83 | 7.7261 | 105 | 106.05
104 | Supply & delivery of 1.1 KV grade 2 X 6 sqmm X LPE AL. Armoured Cable (make Gloster/Nicco/Havells) | BI01010001010000000000000515BI0100001215 | 150 | Mtr | 88.88 | 13332 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13332 | 13332 | INR Thirteen Thousand Three Hundred & Thirty Two Only | [7 empty] | 6.83 | 7.7261 | 88 | 88.88
105 | Supply at site the ‘EPC’ make and undermentioned capacity (by sweep) AC-230v, heavy duty Exhaust Fan with GI ventilating Louvre 9 inch (225 mm) | BI01010001010000000000000515BI0100001216 | 4 | Set | 2326.03 | 9304.12 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9304.12 | 9304.12 | INR Nine Thousand Three Hundred & Four and Paise Twelve Only | [7 empty] | 8.3 | 9.389 | 2303 | 2326.03
106 | Supply & fixing of 1200mm sweep Ceiling Fan (Orient,New Bridge/Usha, striker Plus) complete with all acessaries Incl S/F necy copper flex wire. | BI01010001010000000000000515BI0100001217 | 5 | each | 2240.18 | 11200.9 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11200.9 | 11200.9 | INR Eleven Thousand Two Hundred and Paise Ninety Only | [7 empty] | 7765.2 | 8783.9942 | 2218 | 2240.18
107 | Supply & fixing 25w colour less night Lamp (Philips) on batten point | BI01010001010000000000000515BI0100001218 | 10 | Set | 15.15 | 151.5 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 151.5 | 151.5 | INR One Hundred & Fifty One and Paise Fifty Only | [7 empty] | 922.8 | 1043.8714 | 15 | 15.15
108 | S&F 9W LED bulb(with complete fittings ) (Havells/Phylips/Crompton) | BI01010001010000000000000515BI0100001219 | 15 | Set | 176.75 | 2651.25 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2651.25 | 2651.25 | INR Two Thousand Six Hundred & Fifty One and Paise Twenty Five Only | [7 empty] | 1360.8 | 1539.337 | 175 | 176.75
109 | Supply & Fixing 4' 20w single LED Box type tube light fitting (Make Crompton/Nordusk ) complete with 1 X 20W Polycar-bonate LED Tube (at no-LT8-20-865-2) | BI01010001010000000000000515BI0100001220 | 12 | Set | 792.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9514.2 | 9514.2 | INR Nine Thousand Five Hundred & Fourteen and Paise Twenty Only | [9 empty] | 785 | 792.85
Total in Figures | [51 empty] | 2735764.7625 | 2296551.9205 | INR Twenty Seven Lakh Thirty Five Thousand Seven Hundred & Sixty Four and Paise Seventy Six Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information